[image: ]Specification and calculation for water used by sanitary appliances including thermostatic mixer valves.
(June 2021)

Redrow Homes – Harbour Views, Southleigh

Standard house types
Oxford, Oxford MSU, Letchworth, Canterbury, Windsor, Stratford, Marlow, Harrogate, Henley, Shrewsbury, Shaftesbury 

Lifestyle Types
Oxford Lifestyle, Leamington Lifestyle (Q)

Affordable house types				Affordable Houses			Affordable Maisonette
Dart, Bromsgrove, Tavy, Leadon, Tweed, Spey		Plots 26-29, 34-36, 61,62 and 65-70 	Plots 30-33 and 63-64 
						

Bossmix TMV2 (or similar) thermostatic mixer valve fitted to all baths and limited to 48°C
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Capacity/Flow _Use Fixed use Litres/person/day|
Installation Type Unit of Measure rate Factor  (litres/person/day) = [(1)x(2)] + (3)
) (2) 3) )
IWC (single flush) [Flush Volume (litres) k22 To.oo
WC (dual flush) [Full flush Volume [+ [tas  [o.00 584
(itres)
Part flush Volume  |2.6 96 [0.00 7.70
(itres)
[WC (multiple fittings) [Average effective a2 [o.00 o
flushing Volume
(litres)
[Taps (excluding Flow rate (litres/min) [5.00 iss |18 foa8
[kitchen/utility room taps)
[Bath (where shower also |Capacity to overfiow [139.00 a1 [0.00 1529
resent) (itres)
[Shower (where bath also |Flow Rate(litres/ (8.0 37 o0 [34.06
resent) minute)
Bath Only [Capacity to overflow 50 [0.00 o
(itres)
[Shower Only Flow Rate 5.60  [0.00 o
(litres/minute)
[Kitchen/Utility room sinklFlow rate [10.00 .44 [10.36 12.76
[taps (litres/minute)
[Washing Machine (Litres/kg dry load) _[8.17 1 Jooo 17.157
Dishwasher [(Uitres/place setting) [1.25 6 [0.00 5
[Waste disposal unit [(Gitres/use) lpresent o8 |o.00 o
[Water Softener (Litres/person/day) [Loofo.00 o
(5) [Total Calculated use (litres/person/day) 100.69
|=sUM(column 4)
@) [contribution from greywater o
|(itres/person/day)
2 [Contribution from rainwater o
|(litres/person/day)
8) [Normalisation factor oot
©) [Total water consumption o082
|(Code for Sustainable Homes)
= [(5)-(6)-(7)1x(8)
|(itres/person/day)
(10) [External water use 5.0
(1) [Total water consumption (Building Regulation 17.K)  104.8

(9)+(10)(litres/person/day)
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