From: Matthew Hammond <matthew@austindp.co.uk> 
Sent: 04 March 2021 12:01
To: Burton, Jane <Jane.Burton@havant.gov.uk>
Cc: 'Gareth McCreery' <garethmccreery@hotmail.com>; 'Gavin Bratcher' <gavin@austindp.co.uk>
Subject: FW: Planning application APP.20.01142 (1 Westbourne Close, Emsworth)

Good morning Jane,

Many thanks for your last email. Having reviewed the whole garage structure with material finishes, we would like to ask if you could support the following proposal? (if indeed you can, I’ve attached a copy of the revised garage elevations which show the changes, drawing 07C)

- The garage will be constructed in a timber frame with horizontal timber boarding to all elevations.

- The eaves height has now been reduced to a more domestic height to match the existing bungalow (2.1m from dpc to underside of eaves).

- The ridge height will be 3.3m from ground level with a pitch of 22.5 degrees.

- The roof finish is now proposed as slate. This is a composite slate and I’ve attached an image of the product for your information/records.

The material choices will match those found on the garage to number 10 Westbourne Avenue directly next door to the application site to the North.

We do hope the changes incorporating traditional materials to match similar structures within the area can be supported however, please let me know if you would like to discuss this further prior to making any determination. We would obviously like the garage to form part of any forthcoming approval owing to the ridge being 300mm over PD constraints.

I look forward to hearing from you.

Kind Regards,

Matthew

Managing Partner

Austin Design Partnership 
Architecture · Planning · Building Regulations

ADP, Fenwick 2,   Pikes Hill,   Lyndhurst,   Hampshire. SO43 7NG