Heritage Team Response

Date – 20/2/2023

APP/22/00999 and 1000 – 91 St Mary’s Road, HI

UPDATED RESPONSE FOLLOWING THE SUBMISSION OF AMENDED PLANS ON 26/1/2023

Amended plans have been submitted which show the removal of the brisoleil panel and the timber cladding to the ground floor boot room. This is now proposed to be finished with render.

This addresses the concerns raised in the initial response and the proposal can now be supported from a heritage perspective.

Conclusion

No objection subject to the following conditions:

- Notwithstanding the approved plans, the development hereby permitted shall not be commenced until detailed drawings of the new windows / doors have been submitted to and approved in writing by the local planning authority. The details to comprise:-

- Plans to clearly identify the window in question and its location within the building. These should be cross referenced to an elevation drawing or floor plan for the avoidance of doubt.

- 1:20 elevation and plan; 1:5 section and full-size glazing bar detail. The details to include the position of the window within the opening (depth of reveal) and method of fixing the glazing (putty or beading)

- The materials used, method of opening and finishes.

The works shall be carried out in full accordance with such approval and be retained thereafter.

- Standard material samples to be submitted / agreed condition