HAVANT  BOROUGH  COUNCIL

Town & Country Planning Act 1990

Consultation on Planning Application

MEMORANDUM

	  From: 
	 Environmental Health
	  To: 
	 Development Control

	
	 
	
	

	  Our Ref: 
	 CONS/20/03592
	  Your Ref: 
	 APP/20/00990

	
	
	
	

	  EH Case Officer Extn:
	 
	  Date: 
	21 April 2021



	  DC Case Officer:
	 Lewis Oliver 

	  DC Case Officer Extn: 
	 44 6263

	  Application Number:
	 APP/20/00990

	  Site Address: 
	Havant Thicket, Adjacent to Sir George Staunton Country Park, Middle Park Way, Havant

	  Proposed Development: 
	 Outline application for (matters to be considered outlined in Table 2.2 in the submitted Development Specification) development of a new pipeline to transfer water from Bedhampton Springs to fill the reservoir in the winter and draw it off to treat and supply when needed in the summer comprising: Construction of an underground, bi-directional pipeline linking the reservoir with the existing pumping station at Bedhampton; Emergency drawdown discharge structure at Hermitage Stream; Upgrades to existing culverts; Washout and air valve chambers (typically below ground). 



Thank you for your consultation on this application. 
Documents submitted against this application generally concern both the Reservoir (APP/20/00990 1) & 2)) and the Water Transfer Pipeline (APP/20/00991). I have reviewed these applications concurrently, and respond here with specific comments relating to construction works for all of the applications but with special concern relating to the pipeline construction works as in the Outline application for the Water Transfer Pipeline. I have no adverse comments to make with respect to the Reservoir operation. 


Observations / Comments:
I continue to have some concerns with respect to the noise and vibration assessment conclusions with respect to noise from pipeline construction because they rely on a number of assumptions. In order to provide greater certainty regarding predicted noise and vibration impacts for all the applications I would like to recommend the following conditions be applied to any consents granted :

The applicant commits to the following which I would like to require as conditions : 

Condition 1 “A noise and vibration management plan, including a targeted scheme wide construction noise and vibration monitoring and reporting programme, to be submitted by the appointed contractors, to the Local Planning Authority for approval prior to the commencement of construction works on any approved phase “

Reason 
To ensure that construction noise and vibration is managed effectively so that levels do not regularly exceed the threshold for significant impacts.

Also I note that the applicant commits to the following :

The Potential impacts section (paragraphs 12.65 to 12.111) notes that there are potentially significant impacts where night time works are required. For the reservoir site, if night time working is required, these impacts will be mitigated using acoustic screens in some locations. 12.124. The locations where it is unlikely to be able to fully mitigate night time working impacts are at receptors along Swanmore Road, Havant. As impacts from night time works cannot be fully mitigated in this area, night time earthworks will be avoided around the south west side of the site.

I would like to recommend a condition as follows :

Condition 2 – No night time working to take place in areas within the red line area that will significantly impact sensitive receptors on Swanmore Road Havant.
 
Reason 
To avoid potentially significant impacts of noise and vibration upon receptors on Swanmore Road, Havant . 

Construction Environmental Management Plan
It is appreciated that the application documents include an OEMP, which notably includes specific measures aiming to mitigate the impact of noise and vibration during construction of the pipeline and reservoir, however the application documents refer to content to be included within the CEMP that is anticipated by-, but not included within-, the OEMP. To secure a CEMP I would like to recommend the following condition:

Condition 3 
Prior to the commencement of any specific phase of development approved by this planning permission, a Construction Management Plan (CEMP) shall be submitted to and approved in writing by the Local Planning Authority. Unless agreed in writing with the Local Planning Authority the submitted CEMP shall be based upon- and be in broad accordance with- Volume 4 A2.1 of the application Environmental Statement (Outline Environmental Management Plan).

Reason: To ensure that the construction process is carried out in a manner which will minimise disturbance, pollution & nuisance to neighbouring properties or within the public realm. 

Given that this application is for outline consent, it may be more appropriate to secure the CEMP as a reserved matter. Environmental Health has no preference – the aim is to ensure that the proposed mitigation measures are secured and are made enforceable matters.

Similarly I would also like to recommend the submission of a Construction Method Statement by way of a condition as follows :

Condition 4 
Prior to the commencement of any specific phase of development approved by this planning permission, a Construction Method Statement (CMS) shall be submitted to and approved in writing by the Local Planning Authority.

Reason 
To ensure that the construction process is carried out in a manner which will minimise disturbance, pollution & nuisance to neighbouring properties or within the public realm. 

Finally I would like to formalise the requirement for updated noise and vibration assessments at the detailed design stage, to provide greater certainty regarding predicted noise and vibration impacts.

Condition 5
Prior to commencement of development, a revised and updated assessment of potential noise and vibration arising during construction shall be prepared in accordance with BS 5228-1:2009+A1:2014. The assessments shall include likely eligibility for noise insulation or temporary re‑housing and shall be submitted to and approved in writing by the Local Planning Authority and construction carried out in accordance with the agreed recommendations
Reason :
[bookmark: _GoBack]To minimise potential noise impacts on nearby sensitive receptors .

If you have any queries please do not hesitate to get in contact.



Thanks and regards 




Charlotte Adcock
Pollution Team Leader

