Condition 8 Sign off for 1A Haven Road Hayling Island ref APP/19/00067

‘Notwithstanding any description of materials in the application no above ground

construction works shall take place until samples and a further specification of the

materials to be used externally on the building(s) have been submitted to and

approved in writing by the Local Planning Authority. Such details shall include the

type, colour and texture of the materials. Only the materials so approved shall be

used, in accordance with any terms of such approval.’

The materials chosen for the construction are as below, they have been chosen to reflect the materials used in other building in Haven road to ensure the property matches well

Bricks

We propose to use Forterra Atherstone Red and example of which is shown below together with a recent extension build on Hayling Island using these brick

Roof Tiles

We propose to use Marley double roman antique brown as per the image below

Windows

We proposed to use white UPVC windows as below

The front door, facias and guttering will be white upvc to match