Conservation Consultee Response

Address – 69 New Brighton Road, Emsworth

Proposed development - Part single and part two storey and rear extensions. Dormers to the south side elevation. New side porch and revised fenestration. New garage following demolition of existing.

Assessment

The existing property, which is semi-detached, is a high-quality example of an Edwardian property, which is locally listed on the List of Building of Local Interest along with the attached neighbour at No. 71.

It has a pitched roof gable end fronting onto the highway with a smaller pitched roof, gable section attached. It has an attractive bay window on the front elevation and side (south elevation). It is constructed of traditional brick and tile materials.

The proposed works would not significantly alter the traditional character of the property or result in the removal of distinctive features which contribute to that character. The proposed use of traditional materials such as slate tiles, matching brickwork, timber windows and leaded dormer windows is welcomed.

Overall no objection to the proposed development subject to a condition being applied requiring materials samples and / or manufacturer details/specifications to be submitted and agreed prior to the commencement of any development.

Rachael McMurray

Senior Conservation Officer

13/3/19.