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	For the attention of L Oliver
<-Chief Building Control Officer
Havant Borough Council
Civic Offices
Civic Centre Road
HAVANT
Hampshire
PO9 2AX
->



	Hampshire Fire and Rescue Service HQ
Business Fire Safety
Leigh Road
Eastleigh
Hampshire
SO50 9SJ

Tel: 023 8062 6751
Email: csprotection.admin@hantsfire.gov.uk



Date:	<-15 March 2019->

Enquiries To:	<<-Charles (Bart) Forster->>	             My Reference:     F6/<<-CF->>/<<-00832111->>

Mobile Tel:	<->	             Your Reference:  <<-APP/18/01033->>


Dear Mr Oliver

[bookmark: _GoBack]Fire Rescue Services Act 2004
Part B5: Access and Facilities for the Fire Service
<<-Residential development comprising 69 No. dwellings with access, car parking, landscaping, Land East of, Castle Avenue, Havant, PO9 2RY->> 

Thank you for submitting the building consultation documents package concerning the above premises.  Documents of particular relevance to Hampshire Fire and Rescue Service (HFRS) are detailed below:
Drawings and Documents Referenced
	Title
	Project Ref / No
	Drawing No / Documents
	Revision
	Date

	Havant portal
	APP/18/01033->>

	All relevant
	Various 
	Mar 2019

	Fire con letter
	APP/18/01033->>

	None 
	None 
	04-03-2019

	
	
	
	
	

	
	
	
	
	



Description of Works:

HFRS understands that the project involves Residential development comprising 69 No. dwellings with access from St George's Avenue together with access, car parking, landscaping, electrical substation and associated works.

Note: -
Regarding this being a re-consultation there are no previous records of any such consultation
Town and country or building consultation.  

Regulatory Reform (Fire Safety) Order 2005
As there are no fire safety matters relevant to this consultation we have no further comment to make under the Fire Safety Order.
Fire Rescue Services Act 2004

Part B5: Access and Facilities for the Fire and Rescue Service

Please ensure the premises complies with the guidance contained in Part B5, Approved Document B, Volume 1, “Dwellinghouses”.

My officer must inform you that poor access and/or fire-fighting facilities could cause a delay in the commencement of fire-fighting operations and, consequently, the potentially-elevated risk to occupants and to property.

My officer must advise you to contact your insurance company and inform them of any findings concerning the inadequate access for emergency vehicles and/or poor fire-fighting facilities.

Any queries concerning these matters may be directed to the inspector named above, but all correspondence should be addressed to me.

Please quote our reference number on all correspondence.


Yours sincerely

[image: ]

Neil Odin
Chief Officer
Advisory Note

Best Practice

Fire Protection 
Hampshire Fire & Rescue Service (HFRS) would strongly recommend that consideration is given to installation of an Automatic Water Fire Suppression Systems (AWFSS) to promote life safety and property protection within the premises. 
HFRS is fully committed to promoting Fire Protection Systems for both business and domestic premises.  Support is offered to assist all in achieving a reduction of loss of life and the impact of fire on the wider community.

Fire-fighting and the Environment

Should a serious unsuppressed fire occur on the premises, the water environment may become polluted with ‘fire water run-off’ that may include foam.  The Fire and Service will liaise with the Environment Agency at any incident where they are in attendance and under certain circumstances, where there is a serious risk to the environment, a ‘controlled burn’ may take place.  This of course could lead to the total loss of the building and its contents.

Premises’ occupiers have a duty to prevent and mitigate damage to the water environment from ‘fire water run off’ and other spillages.

Timber-framed Buildings

These types of buildings are particularly vulnerable to severe fire damage and fire spread during the construction phase.

The UK Timber Frame Association publication '16 Steps to Fire Safety on Timber Frame Construction Sites' provides guidance on this issue and is available from: 
https://ttf.co.uk/download/16-steps-fire-safety-timber-frame-construction-sites/ 

This guidance should be read in conjunction with the 'Joint Code of Practice on the Protection from Fire of Construction Sites and Buildings Undergoing Renovation', published by the Construction Confederation and The Fire Protection Association (Sixth Edition, ISBN 1-902790-33-2)

Copies of the 'Joint Codes of Practice' and useful sister publication, 'Construction Site Fire Prevention Checklist' (Second edition, ISBN 1-902790-32-4), are available for purchase from the Fire Protection Association: (www.thefpa.co.uk ) 

and from the Construction Industry Press: (Publications for Construction Professionals and Builders | CIP Books)
Publications
Your attention is drawn to the series of publications produced by the Ministry Of Housing, Communities and Local Government (MHCLG), which provides information for the responsible person about the Fire Safety Order. These publications are available from the MHCLG website: https://www.gov.uk/workplace-fire-safety-your-responsibilities/who-is-responsible
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