Design and Access Statement

Application for Retrospective Planning Permission

Harts Farm Way, Havant P09 1HS

Generator Compound

Planning Permission

Planning Permission reference APP/14/00800 was granted by Havant Borough Council for the Peak Gen Power generator compound at Harts Farm Way, Havant P09 1HS on 13 February 2015 (the Planning Permission).

Development

The development and implementation of the Planning Permission commenced on 25 January 2016 and was completed with the equipment commissioned and brought into service on 26 January 2017.

The development was completed in accordance with the Planning Permission except in respect of a minor variation to the site layout and, planning condition 2: Landscaping.

Site Layout

The minor variation to the site layout was due to the need to comply with planning condition 6 and implement the approved Arbtech Tree Protection Plan. The tree protection measures identified in planning condition 6 particularly, in regard to the retained poplar tree at the entrance to the site required a rework of the site entrance and in turn repositioning of the equipment internally within the site resulting in a slightly revised fence line to the northeast. The revised site layout is detailed in drawing number HV.SP.01.G.pdf Havant Site Layout.

Landscaping

Planning condition 2 was considered by the Applicant not to be applicable. The condition requires that no development shall be commenced until a detailed soft landscaping scheme for all parts of the site not proposed to be hard surfaced has been submitted to and approved in writing by the Local Planning Authority.

Soft landscaping was not implemented within the site as all areas within the site were constructed as hard surface as a means to comply with planning condition 3 which required that prior to being discharged into any watercourse, surface water sewer or soakaway system, all surface water drainage from the compound hardstanding site shall be passed through a ‘forecourt class oil separator.’ Agreement was reached with the Environment Agency and implemented in accordance with the terms set out in the attached South West Water letter to the Applicant dated 4 August 2016 and email correspondence between the Applicant and the Environment Agency between 8 April 2016 and 20 May 2016.

The development infrastructure is tightly positioned with limited internal layout space and is surrounded by a 3.5m high close boarded wooden fence. To achieve the stated reason of planning condition 2 any landscaping would need to be of significant height >6m, in order to be visible above the perimeter fence. There is no space within the footprint of the site to accommodate any soft landscaping and such landscaping is not compatible with the development infrastructure.

The Applicant does not own any land outside the compound fence to the south of the site. The other three remaining aspects of the site are screened by the retained mature and semi-mature trees.

The requirements stated in planning condition 2 are therefore considered neither appropriate nor feasible given the function of the development and the site’s immediate context.

The Local Planning Authority has requested that the Applicant submits a retrospective planning application in respect of the as built Planning Permission development to regularise the position.

Selective Catalytic Reduction Equipment

The Environmental Permitting (England and Wales) (Amendment) Regulations

2018 (the Regulations).The Regulations came into force in January 2018. The

Regulations under paragraph 5 of Schedule 25B Environmental Permit

Conditions: General, introduce new requirements for generators such as those

installed by the Applicant at Harts Farm Way.

The Applicant will seek a permit from The Environment Agency to operate as a Tranche B Specified Generator under the Regulations from January 2019, A requirement of the permit will be that that emissions of nitrogen oxides from the generators will be limited to 190/Nm3 at 15% 02

In order to meet the requirements of the Regulations it is necessary to add exhaust gas treatment to the generators known as Selective Catalytic Reduction (SCR) which will convert the nitrogen oxides in the generator exhaust to nitrogen and water.

The addition of the SCR units requires some limited physical alteration to the containerised generator sets by adding some roof mounted equipment and associated hand rails to support maintenance access and the addition of an integrally bunded AdBlue storage tank to the standard required by the Environment Agency Pollution Prevention Guideline (PPG2) within the generator compound. In all other respects the appearance of the development will not change.

The Applicant has placed an order for the SCR units with a supplier in order to complete the installation of the SCR Equipment before January 2019.

As the SCR and associated equipment is a variation to the approved plans

under the Planning Permission the Applicant is seeking planning permission for

the installation of this equipment.

Land Ownership

The Applicant is the owner of the land shown edged blue on Drawing Number HV-LP-02 Site Location Plan registered at HM land Registry. The Applicant has the benefit of rights granted by Hampshire County Council by Deed of Grant dated 13 December 2016 over Hampshire County Council’s private road between the Applicant’s site and the public highway shown edged blue and marked as the ‘Existing Access to Highway’ on the Site Location Plan..

The Application

The Applicant Peak Gen Power 18 Limited is making this application for

retrospective planning permission for the as built development and prospective

planning permission;

- to install the SCR units

- to install  the generator container roof mounted equipment and associated handrails

- to install the integrally bunded AdBlue storage tank

as shown on the following drawings:

- Block Plan Drawing Number HV-SP-01

- Site Layout and Elevations Drawing Number HV-SP-06

- Container with SCR Installed Drawing Number PG-GA-02

DATED 10 October 2018

Peak Gen Power 18 Limited