DESIGN AND ACCESS STATEMENT

39 West Street

Havant

Hants

PO9 1LA

Replacement of 3 no. shop fronts with associated

entrance doors, display windows and top hung windows

Geo and R Carrell Properties Ltd

Job No: 1794

November 2017

ADP Architects Ltd

Richmond Court

94 Botley Road

Park Gate

Southampton

SO31 1BA

CONTENTS

1.0	Design

2.0	Access

1.0	DESIGN

Design Process

Construction of 3 new shop fronts providing access to new subdivision of the existing 	building with manually operated glazed doors and top hung windows.

Use

The premises fall within the current landowner’s boundary, this comprises of the unit

previously vacated by HSBC Bank on 31.03.2017.

Layout

The current single unit is to be converted into four separate premises this is allowable under 	the Town and Country Planning (General Permitted Development) Order 2015 (as amended) 	i.e. Class A1 or Class A2.

Scale

The existing premises consist of a two storey RC framed building fronting Park Road South, 	with only the ground level of the premises being affected.  All proposals have been designed 	to minimise as far as is practically possible the scale of this development in relation to the 	existing surroundings.

Appearance

Except for the associated construction of the new shop fronts, these will be in white powder 	coated aluminium to match the current colour scheme, the  external appearance of the 	building will remain unaffected.

Landscaping

There is no existing landscaping to the site, and there are no proposals to install any new 	landscaping.

2.0	ACCESS

Access

Public access will be from Park Road South to serve Units 2,3 and 4.  Unit 1 will utilise the 	existing entrance doors.  An existing security door to the rear of the building will provide 	access for staff only.

Vehicular and Transport Links

Vehicular movement and transport links shall remain as existing and will be unaffected by 	the proposals.

Road Layout

There are no proposed alterations to the road layout adjacent the premises, therefore the 	existing road layout will be unaffected by the proposals.