Technical specifications of proposed LED solar street lighting

| LED Lamp Units |  |
| --- | --- |
| Maximum Size | 1000(L)*300(W)*250 (T) mm |
| Maximum lamp power | 80 watts |
| Maximum Luminous Flux | 3000 Lumen |
| Maximum horizontal Illuminance (Across whole site) | 40 Lux across 375 sq metre MUGA site |
| Maximum hours of operation | 6 hours daily (3pm-9pm). |
| Solar Panels |  |
| Maximum Size | 1500(L)*1500(W)*250 (T) mm |
| Maximum Photovoltaic Power | 200 watts |
| Columns |  |
| Column height | 5m minimum / 8m maximum |
| Minimum distance of installation | 15m separation |
| Battery |  |
| Component and battery storage | Above ground cabinet |
| Battery | Lithium 60 AH capacity (Max) |