| Roof lantern | Dimensions(cm) | Comments |
| --- | --- | --- |
| A | H85 W185 L185 | Raised by 120mm to accommodate insulation for compliance with building regulations |
| B | H37 W110 L110 | Raised by 120mm to accommodate insulation for compliance with building regulations. Replaced with new dome. |
| C | H92 W198 L410 | No change |
| D | H76 W207 L290 | NEW INSTALLION OF SKY LIGHT |
| E | H78 W190 L292 | Raised by 120mm to accommodate insulation for compliance with building regulations |
| F | H67 W165 L250 | Raised by 120mm to accommodate insulation for compliance with building regulations |
| G | H86 W192 L192 | Raised by 120mm to accommodate insulation for compliance with building regulations |