Ms R. Ballard

Planning Services

Havant Borough Council

Public Service Plaza

Civic Centre Road

Havant

Hampshire

PO9 2AX

Date: 6th July 2018

Enquiries to: Stuart York

Direct Line: 023 8047 8566

Our reference: app/18

Your reference: APP/13/00804

Dear Ms Ballam,

WOODCROFT FARM DEVELOPMENT SITE, WOODCROFT LANE, WATERLOOVILLE

Thank you for your letter of the 5th July 2018 and the opportunity to comment upon the application. Having considered the application I have concluded that the condition relevant to myself is condition 15, external lighting.

15. The development hereby permitted shall not commence on each phase until plans and particulars specifying the provision to be made for external lighting of the same has been submitted to and approved in writing by the Local Planning Authority. There shall be no external lighting on the site other than as thereby approved.

Having now reviewed the “Indicative Street Lighting Scheme” dated March 18, drawing number 17-110/2020, I have the following comments to make with reference to crime prevention.

A pedestrian access is provided from James Copse Road into the development. A lamp column should be positioned in the area to the front of plot number 281 to provide lighting for those using the footpath.

A parking area is provide to the rear of plot 269 to provide lighting throughout the parking area a lamp column should be provided in the area to the rear of plot 269 and to the front of plot 274, perhaps adjacent to the boundary treatment.

A single visitor parking space is shown adjacent to the single parking space for plot number 288. To provide sufficient lighting in this area a lamp column should be provided.

If I can be of any further assistance please do not hesitate to contact me.

Yours sincerely,

S York

Crime Prevention Design Advisor

DISCLAIMER

This survey is based on information supplied by yourself and the current crime trends. I can only give a view on what measures might reduce the risk of crime and there can be no guarantee that the measures will prevent crime. The advice is given free with no intention of creating a contract. Neither the Home Office or the Police and Crime Commissioner for Hampshire take any other legal responsibility for the advice given.