Application to Discharge Planning Conditions
11, East Street, Havant – APP/15/01227

Condition 2:

Prior to the commencement of work the following details shall be supplied to

and approved in writing by the local planning authority:

1) The new windows shall be vertically sliding traditional timber

sashes. . Prior to the commencement of work the following details

shall be submitted to and approved in writing by the Local Planning

Authority:-

a) large scale (1:20) plan, elevations and section together with a

full size glazing bar detail.

b) the method of opening

c) the proposed finish.

2) Details of the proposed doors.

3) Manufactures details of the new rooflight(s), specifying the precise

model with a section through the plane of the roof to show how it

sits within the roof profile.

All work shall be carried out in full accordance with such details and retained

thereafter, unless otherwise agreed in writing by the local planning authority.
Drawing Nos. 15/45/W05 & W06 & W07 refer.

Note:
Rooflight to be Velux GGL SD% P3 Conservation rooflight for sitting and flashing against plain tiles
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Condition 3: 

All chimney stacks shall be retained above roof level to maintain their

important townscape contribution. Where alterations are made internally to

the chimney breast. alternative methods of internal support will need to be

provided.

Agreed
Condition 4:

Details of the siting and design of any proposed external meter boxes/metal

ducting/flues shall be submitted to and approved in writing by the Local

Planning Authority prior to the commencement of development.
Drawing No. 15/45/W02 refers
Condition 5:

Prior to the commencement of work, details of the refurbishment of the fascia

sign and signage to be provided shall be submitted to and approved in writing

by the local planning authority
Drawing No. 15/45/W01 refers
Note: Remaining details of fascia, pilasters and frieze to be painted.

Condition 6:

The reparation work required following the demolition of the link building as

shown on the approved drawing 15/45/P02 Rev C shall be completed within

3 months of the date of the demolition or prior to the commencement of the

conversion works at No. 11, which ever is sooner.
This condition will be superceded by the current planning application for land to the rear of No. 11/13 East Street – APP/15/00217

Condition 7:

The development shall not be brought into use until the cycle parking as shown on

Drawing Number 15/45/PO2RevC has been provided within the curtilage of the site

and thereafter all of those spaces kept available for such purposes.

Agreed
Peter Galloway July 2017

