MANAGEMENT PLAN

GUIDE TO THE LIFETIME MANAGEMENT AND MAINTENACE OF & THE

COMMUNAL PARTS ON LAND ADJACENT TO KINGSCLERE AVENUE, HAVANT

Rev - A

April 2017

1.0	INTRODUCTION

1.1	PURPOSE AND SCOPE OF DOCUMENT

The purpose of this document is to schedule all required 	maintenance regimes, operations and works necessary for the 	satisfactory management of the common parts of the site for the 	lifetime of the development. The document is intended for the 	use of the Portsmouth City Council staff that will be 	responsible 	for managing and maintaining them.

1.2	THE SITE

1.2.1	Location

The site is located between Kingsclere Avenue to the west, 	Brockenhurst Road to the north, Dunsbury Way to the east and 	Riders Junior School to the south in a predominantly residential 	area of Havant.

The site is a large open space with two informal footpaths running 	across the site between Kingsclere Avenue and Dunsbury Way. 	The site has a level difference of 3.5m from the north east corner 	to the south west corner and covers an area of approximately 	1.32ha. of amenity grassland that is predominantly used for dog 	walking and access route to Riders Junior School.

The north and west boundaries of the site are denoted by the 	fences and vegetation of the neighbouring residential properties (1 	- 21 Brockenhurst Road and 443 - 475 Dunsbury Way). The 	western edge of the site is defined by two grassed verge areas 	and the fences of neighbouring residential properties (16, 18, 36 & 	38 Kingsclere Avenue). The southern site boundary is marked by a 	number of tall mature trees and an iron railing separating 	the site 	from Riders Junior School.

A new shared-use foot and cycle path will cross the site in place of 	the informal paths and will be offered up as a dedicated route for 	Hampshire County Council to include in the Definitive Map.

1.2.2	Accommodation

The site when completed will consist of 5 no 4 bed houses, 25 no 	3 bed houses and a block of 8 no 2 bed flats.

1.2.3	Car Parking

Car parking has been provided on the following basis;

4 bed houses - 3 no spaces per house on curtilage and garage

3 bed houses - 2.5 no spaces per house

2 bed flats - 2 no spaces per flat

16 no visitor spaces

Total spaces = 91

1.2.4	Site Topography

The site slopes from the north east corner to the south west 	corner with a difference of 3.5m.

Landscaping

1.2.5	The landscaping has been planned to add life, colour and texture 	to the grounds for the benefits of the residents and the surrounding 	population. The design offers a diverse mixture of sensory 	attractive planting, in consideration of the surrounding areas. At 	the same time the design offers a practical and useable outdoor 	space suitable to the new homes.

Common Parts

1.2.6	The common parts of the site are the areas which are to be 	maintained by Portsmouth City Council and include the play area, 	the communal areas of the flats, unadopted road surfaces, parking 	areas, footpaths, cycle ways, landscaped areas and the 	water 	attenuation storage and culvert.

1.3	RECITALS

1.3.1	The Developer/Land Owner

This term refers to Portsmouth City Council (PCC) who will be 	responsible for the ongoing management and maintenance of this 	site.

1.3.2	The Local Planning Authority (LPA)

This term shall refer to Havant Borough Council (HBC) and its 	Planning and Landscape officers who are involved in the process 	of examination and approval of this documentation. This 	documentation has been issued for the satisfaction of the s106 	covenants attached to this development.

1.3.3 The Contractor

This refers to the construction company who is to undertake the 	building works of the residential units, access road and associated 	external works, which in this 	instance is Feltham Construction 	Limited.

1.3.4	The Landscape Contractor

This is Kennett Landscaping Solutions who will be undertaking the 	landscape works and the initial 12 month maintenance period from 	practical completion.

1.3.5	Green & Clean Service

This refers to the Portsmouth City Council Green & Clean Service 	team which will be responsible for carrying out the management 	and maintenance works on site in accordance with this 	Management Plan.

1.3.6	Hampshire County Council

This refers to Hampshire County Council (HCC) who as the local 	highways authority will adopt and maintain the new access road in 	perpetuity after the initial 12 month warranty period has passed 	without issue.

1.3.7	Southern Water

This refers to Southern Water who as the statutory water authority 	will adopt and maintain the surface water and foul sewers in the 	new access road, the estate road and the surface leading to 	Dunsbury Way (excluding the surface water attenuation storage 	and the private foul sewer connections) in perpetuity after the initial 	12 month 	warranty period has passed without issue.

1.3.8	The Play Area

This refers to the proposed play area in the open space of the 	development site which will be constructed once the housing site 	has been completed. The Contractor for these works has still to be 	confirmed.

2.0	ANNUAL WORKS

2.1	AIMS

2.1.1	To Ensure Health and Safety of All Visitors to the Grounds

Portsmouth City Council as landowner will uphold its duty of care 	that the landscape elements, both hard and soft, are safe, clean, 	and that all reasonable steps have been taken to minimise risk of 	injury and damage to persons and property. This is important for 	the play area, communal corridors of the flats, pedestrian 	paving 	and planting for the avoidance of trip hazards and injury.

2.1.2	To Achieve a High Standard of Maintenance

To maintain the hard and soft landscape elements in good 	condition, state of repair and clean, free from snags and hazards. 	To this end, these areas will be inspected regularly and any works 	that become necessary in respect to the condition, cleanliness and 	soundness of features, facilities, vegetation and surfaces will be 	carried out. These works shall include sweeping, wiping, washing, 	staining, painting, tidying and other such ancillary works in respect 	of hard landscape elements. Maintenance shall include weed 	control, pest control, watering, pruning, fertilising, grass cutting, ad 	general lawn care, such as spiking and scarifying and any other 	such ancillary works in respect of soft landscaping.

2.1.3	To Ensure that the Character of the Common Parts are 	Maintained as Proposed on the Planning Approved Drawings  	The	planning approved drawings proposed a level of 	maintenance and intent which is required to be maintained 	during the lifetime of the development.

2.2	OBJECTIVES

2.2.1	Shrubs

To define spaces and enhance visual amenity of spaces and to 	soften buildings and structures. To ensure sustainable health and 	growth of shrubs to natural 	shape and functional size. To prevent 	leggy growth from presenting Health and Safety problems and 	from holding litter.

2.2.2	Trees

To provide an attractive visual amenity by defining space and 	through creating a sense of height and scale. Proposed trees shall 	be maintained to ensure survival and health and open growth. To 	achieve typical heights, spreads and characteristic density of 	foliage common to the respective specie without compromising 	safety or access issues.

2.2.3	Amenity Grass

To maintain healthy, hard wearing grass with a consistent 	colouring. To ensure freedom from pests and diseases, water 	logging, drought and excessive wear that might cause degradation 	and failure. To ensure safe and comfortable use of amenity 	spaces.

2.2.4	Hard Surfaces and Block Paving

To maintain in good order free from dilapidations, trip hazards, pot 	holes, and subsidence. To ensure 	that the paving is safe and free 	from weeds, litter, debris, animal excrement and gum.

2.2.5	Attenuation Tank

To maintain in good order free from blockages. To ensure that the 	tank can function as required, free from leaves, silt and debris.

2.2.6	Communal Corridors/Refuse Store

To maintain in good order free from dilapidations and trip hazards. 	To ensure clean and safe non-slip 	surfaces, free from spills and 	litter.

2.2.7	Bat Boxes and Hibernacula

To encourage ecology and attract a variety of bats and reptiles 	to	the site in line with National and Local policy.

2.2.8	Play Area/Street Furniture

To be maintained in good order. To ensure these elements are 	safe, 	functional, clean and free from dilapidations.

2.3	METHOD

2.3.1	Planted Areas

Areas to be litter picked on every visit. Remove all weed growth 	by hand as necessary to ensure weed free and tidy planting beds. 	All weeds shall be removed from site. Planting to be pruned and 	shaped as required, in accordance with good horticultural practice. 	Traffic site lines, paths and windows to be kept clear at all times. 	Dead-heading of herbaceous plants shall be carried out regularly; 	plant die-back shall be removed at the end of winter. Light clip over 	plants where required. Cut back flowering shoots after flowering, 	remove suckers, dead, discoloured, weak or damaged stems. 	Prune to reduce size of specimen if suppressing adjoin species. 	Several visits will be required during the growing season, with an 	extra visit outside of the growing season in December or January 	to inspect the condition of the beds. Visits should occur fortnightly 	in the growing season, subject to weather conditions, from March	to October and monthly from November to February. The schedule 	may need to be flexible to account for seasonal variations, and 	with regard to good horticultural practice.

2.3.2	Herbiciding: Planted Areas

Persistent perennial weeds shall be controlled in planted areas. 	For planting beds containing herbaceous plants and shrubs, apply 	a suitable herbicide. Herbicide to be applied by qualified 	operatives and in suitable conditions as specified by the 	manufacturer.

2.3.3	Hedges

All hedges to be pruned and tidied twice per year. This work only 	to commence once established. Attention should be paid to vehicle 	site lines and windows, so if necessary, additional pruning may be 	required.

2.3.4	Amenity Grass Areas

Amenity grass areas to be regularly mown with hand mowers, ride 	on mowers and strimmers as appropriate. All machinery to be well 	maintained and suitable for the operation involved. All litter to be 	removed prior to cutting. All arisings to be collected and removed	from site. Boundaries and obstacles to be strimmed before mowing 	operations commence. Grassed areas to be cut/strimmed to a 	maximum height of 40mm. Paths to be kept free of all arisings and 	swept after mowing operations. Failed areas of grass should be re-	sown with grass seed, ideally in spring and autumn. Weeds to be 	hand weeded in order to maintain the visual amenity of the area.

2.3.5	Newly Planted Trees

A 500mm radius from the base of each tree shall be kept free of 	grass and weed growth. Slow release fertiliser shall be applied 	annually at the start of the growing season, at the discretion of the 	maintenance contractor. Be sure to prevent chafing and damage to 	the bark of the trees, caused by rubbing against stakes. It should 	be planned to remove the tree stakes in the third year after 	planting, although the final assessment should be made by the 	maintenance contractor on the suitability of this time frame. The 	failure of any trees should be investigated and similar species 	should be checked and appropriate action taken to prevent 	disease or other problems re-occurring. Failed trees should be re-	planted at the next planting season.

Formative pruning may be appropriate on young trees where 	selective removal of branches competing with the main leader 	would lead to improved timber quality and reduce the likelihood of 	crown splitting in the future. It is recommended that the trees on 	site be inspected on an annual basis by the PCC arboricultural 	officer.

All new trees planted in areas of grass are to be provided with 	black strimmer guards to prevent damage any maintenance 	equipment (strimmers, lawn mowers etc.) may cause.

2.3.6	Existing Mature Trees

Following the annual arboricultural assessment, works 	recommended for each tree shall be carried out by PCC's 	approved arboricultural contractor. Arisings from such works shall 	be removed from site.

2.3.7	Hard Surfaces and Permeable Paving

Brushing and vacuuming surface areas should take place once a 	year after autumn leaf fall, or reduced frequency as required based 	on site-specific observations of clogging or manufacturer's 	recommendations. Pay particular attention to areas where water 	runs onto previous surface from adjacent impermeable areas, as 	this area is most likely to collect the most sediment.

Stabilise and mow contributing adjacent areas as required. 	Removal of weeds or management using glyphospate applied 	directly into the weeds by an applicator other than spraying as 	required (once a year on less frequently used pavements). 	Remediate any landscaping which, through vegetation 	maintenance or soil slip, has been raised to within 50mm of the 	level of the paving. Remedial work to any depressions, rutting and 	cracked or broken blocks considered detrimental to the structural 	performance or a hazard to users, and replace lost jointing 	material. Rehabilitation of surface and upper sub-structures by	remedial sweeping every 10 to 15 years or as required (if 	infiltration performance is reduced due to significant clogging).

Inspect three-monthly, 48 hours after large storms in the first 6 	months for evidence of poor operation and/or weed growth - if 	required take remedial action.

Annually, inspect silt accumulation rates and establish appropriate 	brushing frequencies and monitor the inspection chambers.

2.3.8 Surface Water Storage (Attenuation Crates)/Culvert

Monthly for 3 months, then 6 monthly, inspect and identify any 	areas that are not operating correctly and take any remedial action 	as required.

Monthly remove any debris from the catchment surface (which 	may cause risks to performance).

Annually or as required, remove sediment from the pre-treatment 	structures - silt traps and gullies, and clean as required.

Inspect and check all inlets, outlets, vents and overflows annually 	to ensure that they are in good condition and operating as 	designed.

2.3.9	Communal Corridors/Refuse Store

Sweeping, mopping and wiping as required to maintain the 	communal corridor and refuse store in satisfactory condition.

2.3.10Bat Boxes

Bat boxes shall be inspected annually for loss, damage or 	obstruction during winter (non-invasive inspection). Lost or 	damaged boxes shall be replaced with an identical product. Bat 	boxes shall be cleared every 3 years by a bat licensed ecologist.

2.3.11Watering

Watering may be required during dry periods and until the planting 	is fully established, for a period of 3 years after completion. This 	may be required on a weekly basis.

2.3.12Monitoring

Inspection and monitoring of the landscape management is 	recommended on an annual basis, preferably accompanied with 	the PCC landscape architect and arboricultural officer, to monitor 	and guide the success of the management objectives and to 	identify and additional or revised management needs, focused on 	the strategic landscape objectives. Specific programmes for 	monitoring the trees, particularly the established and mature trees 	already on the site should be scheduled on an annual basis with 	the PCC arboricultural officer. Plant or other failures arising during 	the management period should be replaced within the appropriate 	preceding season, unless the result of circumstances requiring an 	alternative response, such as replacement of trees with a different 	species due to a pest or infection.

3.0	PLAN OF MAINTAINED AREAS

4.0	SCHEDULE OF MAINTENACE OPERATIONS

| Maintenance Operation | Number of Visits (to be dependent on season - where not dependent on season |  |  |  |  | Total number of visits per year | Additional Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Jan - Mar (13 weeks) | Apr - May (9 weeks) | Jun - Aug (13 weeks) | Sep - Oct (9 weeks) | Nov - Dec (8 weeks) |  |  |
| GENERAL |  |  |  |  |  |  |  |
| Cleaning | As required | As required | As required | As required | As required |  | Cleaning of the communal flat areas to be undertaken on a needs basis. |
| External Litter Picking | Once per month | Once every 2 weeks | Once per week | Once every 2 weeks | Once per month | 24 |  |
| PAVING |  |  |  |  |  |  |  |
| Inspection, brushing |  |  |  |  |  | 1 | Once a year after autumn leaf fall or reduced frequency as required. Pay particular attention to areas where water runs onto previous surface from adjacent impermeable areas, as this area is most likely to collect the most sediment. |
| Maintenance Operation | Number of Visits (to be dependent on season - where not dependent on season |  |  |  |  | Total number of visits per year | Additional Comments |
|  | Jan - Mar (13 wks) | Apr - May (9 wks) | Jun - Aug (13 wks) | Sep - Oct (9 wks) | Nov - Dec (8 wks) |  |  |
| Weeding |  |  |  |  |  |  | As required. Once per year on less frequently used areas. |
| Remedial works |  |  |  |  |  |  | As required. Rehabilitation of surface and sub-structures by remedial sweeping every 10-15 years or as required (if infiltration performance is reduced due to significant clogging). |
| Monitoring - initial inspections |  |  |  |  |  | 3 | Monthly for first 3 months post installation. |
| Monitoring - poor operation |  |  |  |  |  | 4 | 3 monthly. 48 hours after large storms in first 6 months. |
| Monitoring - silt accumulation and inspection chambers |  |  |  |  |  | 1 | Once a year |
| Maintenance Operation | Number of Visits (to be dependent on season - where not dependent on season |  |  |  |  | Total number of visits per year | Additional Comments |
|  | Jan - Mar (13 wks) | Apr - May (9 wks) | Jun - Aug (13 wks) | Sep - Oct (9 wks) | Nov - Dec (8 wks) |  |  |
| CULVERT / SURFACE WATER STORAGE |  |  |  |  |  |  |  |
| Inspection |  |  |  |  |  | 2 | Monthly for 3 months, then 6 monthly. |
| Debris removal |  |  |  |  |  | 12 | Monthly |
| Sediment removal from pre-treatment structures - silt traps and gullies |  |  |  |  |  | 1 | Once a year or as required. |
| Repair inlets, outlet, overflows and vents |  |  |  |  |  |  | As required |
| Monitoring - ensure operating as designed |  |  |  |  |  | 1 | Once a year and after large storms. |
| BAT BOXES |  |  |  |  |  |  |  |
| Inspection, clear of obstructions (non-invasive) |  |  |  |  |  | 1 | Once every year for bird boxes and once every 3 years for bat boxes. |
| Maintenance Operation | Number of Visits (to be dependent on season - where not dependent on season |  |  |  |  | Total number of visits per year | Additional Comments |
|  | Jan - Mar (13 wks) | Apr - May (9 wks) | Jun - Aug (13 wks) | Sep - Oct (9 wks) | Nov - Dec (8 wks) |  |  |
| PLAY AREA |  |  |  |  |  |  |  |
| Inspection and cleaning | Once per month | Once per month | Once per month | Once per month | Once per month | 12 | Document any defects. |
| LANDSCAPING |  |  |  |  |  |  |  |
| Grass cutting | Twice a month in March | Twice a month or more if required | Twice a month or more if required | Twice a month |  | 18 | Grass areas to be regularly mown with hand mowers, ride on mowers and strimmers as appropriate. All machinery to be well maintained and suitable for the operation involved. All litter to be removed prior to cutting. All arisings to be collected and removed from site. |
| Grass - leaf removal | Once per month (Jan-Feb) |  |  |  | Once per month | 4 |  |
| Weeding planted areas |  | Once per month | Once per month | Once per month |  | 7 | Weed by hand and remove arisings off site. |
| Maintenance Operation | Number of Visits (to be dependent on season - where not dependent on season |  |  |  |  | Total number of visits per year | Additional Comments |
|  | Jan - Mar (13 wks) | Apr - May (9 wks) | Jun - Aug (13 wks) | Sep - Oct (9 wks) | Nov - Dec (8 wks) |  |  |
| Spot herbiciding of planted areas | Once in late March |  | Once in late June, once in mid-August | Once in mid-October |  | 4 | To occur at approximately 6 week intervals only if required |
| Watering shrubs and trees |  | Once per month | Once every 2 weeks | Once a month (to end of Sep) |  | 10 | Watering frequency should be adjusted by the Green & Clean team depending on climatic conditions. Increase watering during hot and dry weather until plants have established. |
| Tidying beds |  |  |  |  |  |  | At each visit as required. |
| Fertilising trees and shrubs |  | Once in early May |  | Once in mid-Sep |  | 2 |  |
| Pruning of trees and planted areas |  |  |  |  |  |  | As required to sound horticultural practice between October and March. |
| Replacement of trees and planted areas |  |  |  |  |  |  | As required |
| Watering amenity grass areas |  |  |  |  |  | 5 | Watering frequency should be adjusted by the Green & Clean team depending on climatic conditions. |