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Flood Risk Assessment
Replacement Sunroom
2 The Parchment, Havant,
Hampshire,

PO9 1HD.
1.0

Generally
1.1
This Flood Risk Assessment is in support of a Planning Application to the  Havant Borough Council for a Replacement Sunroom at 2 The Parchment, Havant, Hampshire, PO9 1HD.
1.2
No other purpose is anticipated or accepted. Copyright of this report remains with Martin Critchley, Chartered Architect.
2.0
Flood Risk
2.1
The site is within an area subject to flooding, as indicated by the published Environment Agency Flood Risk Maps.
2.2
The risk is of river flooding, from the Havant Rife, approximately 150 metres west of the site

2.3
The proposal seeks to replace an existing conservatory with a more substantial single storey extension of the same ‘footprint’ size.
2.4
There is no net increase in the accommodation on the site and therefore no increased in flood risk to the premises.
2.5
Noting the above risk of flooding, we recommend the following additional precautions be taken in the design and construction of the works :-



A.
All service terminations should be above ground floor level. 



B.
All external drain and access covers should have sealed and 


locking covers.



C.
All external doors should have positive jamb and cill seals.



D.
All external door frames should be sealed to the adjacent wall 


construction.



E.
No internal electrical or plumbing services under the 



ground floor slab.
Martin Critchley, Chartered Architect.
7, North Street, Havant, 
Hampshire,  PO9 1PW.
13th November 2012.
