WATER EFFICIENCY CALCULATIONS
For
DEVELOPMENT AT 26 WEST HAYE ROAD, HAYLING ISLAND
PLOT TWO.

TOILETS
Dual Flush Toilet 1				6/3
Dual Flush Toilet 2				6/3
WCs litres/person/day						21.60
BATHROOMS
Wash Basin 1 Tap				8.00
Wash Basin 2 Tap				8.00
Bath Taps litres/person/day					18.22
Bath 1						135
Bath litres/person/day						16.85
Shower						10.00
Shower litres/person/day					21.85
KITCHEN
Sink						8.00
Sink litres/person/day						13.88
Washing Machine				8.17
Washing Machine litres/person/day				17.16	
Dishwasher					1.25
Dishwasher litres/person/day					5.50

FINAL CALCULATIONS
Water Usage (litres/person)					115.06
Greywater/Rainwater Reused					00.00
Normalised Factor						0.91
Total Consumption						104.71
External Water Allowance					5.00
Total Consumption Part G (litres/person/day)	109.71	
