WATER EFFICIENCY CALCULATIONS

For

DEVELOPMENT AT 26 WEST HAYE ROAD, HAYLING ISLAND

PLOT TWO.

TOILETS

Dual Flush Toilet 1				6/3

Dual Flush Toilet 2				6/3

WCs litres/person/day						21.60

BATHROOMS

Wash Basin 1 Tap				8.00

Wash Basin 2 Tap				8.00

Bath Taps litres/person/day					18.22

Bath 1						135

Bath litres/person/day						16.85

Shower						10.00

Shower litres/person/day					21.85

KITCHEN

Sink						8.00

Sink litres/person/day						13.88

Washing Machine				8.17

Washing Machine litres/person/day				17.16

Dishwasher					1.25

Dishwasher litres/person/day					5.50

FINAL CALCULATIONS

Water Usage (litres/person)					115.06

Greywater/Rainwater Reused					00.00

Normalised Factor						0.91

Total Consumption						104.71

External Water Allowance					5.00

Total Consumption Part G (litres/person/day)	109.71