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	Economy, Transport and Environment Department

Elizabeth II Court West, The Castle

Winchester, Hampshire SO23 8UD

Tel:
0300 555 1375 (General Enquiries)


0300 555 1388 (Roads and Transport)


0300 555 1389 (Recycling Waste & Planning)

Textphone 0300 555 1390

Fax 01962 847055

www.hants.gov.uk

	Enquiries to
	Vicki Westall
	My reference
	SWM/2015/0401

	Direct Line
	01962 845490
	Your reference
	APP/15/00772

	Date
	18 August 2015
	Email
	Swm.consultee@hants.gov.uk


Dear Sir/Madam,

Erection of a foodstore (Class A1) with associated parking, servicing, access and landscaping at Former BAE Systems, Elettra Avenue, Waterlooville PO7 7XS
Thank you for consulting us on the above planning application. Hampshire County Council as Lead Local Flood Authority has provided comments in relation to the above application as our statutory consultee role in relation to works that affect ordinary watercourses that would require consent and surface water drainage for major developments

Works in relation to ordinary watercourses

If the proposals include works to an ordinary watercourse, under the Land drainage Act 1991, as amended by the Flood and Water Management Act 2010, prior consent of the Lead Local Flood Authority is required for this work.  This consent is required as a separate permission to planning. 

Information on consenting can be found at the following link http://www3.hants.gov.uk/flooding/hampshireflooding/watercourses.htm
It is strongly recommended that this information is reviewed before Land Drainage consent application is made. 

Surface Water Drainage

We have reviewed the following information in relation to the planning application:

Planning Statement
As the site is only 0.75 ha is size, it is not necessary for us to comment on this scheme, however, we are disappointed to see that no SuDS features have been considered for the site and the only comment found about surface water drainage is that it will be connected to an existing sewer. 

For further information on what could be included to improve the site’s drainage please direct the developer to our website at http://www3.hants.gov.uk/flooding/hampshireflooding/drainagesystems.htm 

Where the proposals are connecting to an existing drainage system it is likely that the authorities responsible for maintaining those systems will have their own design requirements.  These requirements will need to be reviewed and agreed as part of any surface water drainage scheme.

Please note that the mechanism for securing long-term maintenance will need to be considered and agreed between the applicant and the Local Planning Authority.  This may involve discussions with those adopting and/or maintaining the proposed systems, which could include the Highway Authority, Planning Authority, Parish Councils, Water Companies and private management companies.  
This response has been provided using the best knowledge and information submitted as part of the planning application at the time of responding and is reliant on the accuracy of that information.

Kind Regards

The Flood and Water Management Team

EII Court West, 1st Floor

Winchester

Hampshire

SO23 8UJ

T: 01962 846730

E: swm.consultee@hants.gov.uk 

Yours faithfully,

[image: image1.png]



Vicki Westall

Flood and Water Management Co-Ordinator 

Call charges and information apply see www.hants.gov.uk



