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Ms Katie Morgans 

The Flood and Water Management Team

Ell Court West 

1st Floor 

Winchester

Hants 

SO23 8UJ

7 November 2016
Dear Katie 
RE:  Land at Ranelagh Road, Havant, PO9 1NR – Application ref:  APP/16/00379
Further to your letter dated 14th October and further email sent dated 21st October to David Eaves Planning Officer at Havant Borough Council, with regards to the above application. 
Please find below a list of your requirements as detailed in the above letter, with our response to them: 

1. No information has been provided relating to the existing drainage network for previously development (brownfield) sites, or the existing for paths of un-development (Greenfield) sites. 


Please see Drawing Number 14-2260-902 C1 – 1
2. No information has been provided relating to areas that may have been affected, by existing failures in the existing drainage regime

No failures, please specify 

3. No evidence has been provided that the proposed drainage follows the same pattern as the existing, so as top not direct more flow to another location.


Please see Drawing Number 14-2260-902 C1 – 1
4. There is no information on the correct number of treatment stages in the surface water management train

This site is an extension to an existing site, and can-not therefore be treated independently.  The only water run-off, is from the roof, therefore it is clean. 

5. As infiltration is proposed for the drainage of the site, evidence must be provided that shows that a suitable number of tests have been completed across the whole site within different geology and to a suitable depth (ie a similar depth of the proposed infiltration devices)  The tests should be completed accordingly to the BRE 365 method. 
No infiltration, clean water goes to a detention basin for evaporation 

6. Existing and proposed run-off rate calculations need to be provided, along with evidence that these calculations have been completed according to a suitable method (eg IH124 or FEH).  These calculation should demonstrate that the proposed run off rate for a one in one year event exceed the existing run off rates. 
Please see engineering calculations 
7. Existing and proposed runoff volume calculations need to be provided for a one in one hundred year, 6 hour rainfall event, along with evidence that these calculations have been completed according to a suitable method.  These calculations should demonstrate that, where reasonably practicable, runoff volume from the development in the 1 in a 100 year, 6 hour rainfall event should never exceed the greenfield runoff volume for the same event. 

Please see Drawing Number 14-2260-902 C1 – 1 and see engineering calculations 

8. Evidence need to be provided that sufficient storage / attenuation has been provided on site to accommodate the 1 in 100 year plus climate change , without increasing the runoff rate or volume off site. 
Please see engineering calculations 

9. Evidence need to be provided to demonstrate that exceedance flows and runoff in excess of design criteria have been considered – calculations and plans should be provided to show where above ground flooding might occur and where this would pool and flow. 

Please see engineering calculations 

10. Information on general maintenance regimes of the surface water management train including SuDS features is required, including who is going to be undertaking it – evidence that those maintaining the drainage system are in discussion with the developer. 

No infiltration, however the detention basin will be maintain by a Management Company 

I hope the above information; will be sufficient for you to now raise your objection for this site. 
Yours sincerely 

Samantha Collins TechRTPI 

Planning Assistant 

Encs
CC:  David Eaves – Havant Borough Council 
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