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	Economy, Transport and Environment Department

Elizabeth II Court West, The Castle

Winchester, Hampshire SO23 8UD

Tel:
0300 555 1375 (General Enquiries)


0300 555 1388 (Roads and Transport)


0300 555 1389 (Recycling Waste & Planning)

Textphone 0300 555 1390

Fax 01962 847055

www.hants.gov.uk

	Enquiries to
	FWM Team
	My reference
	SWM/2016/0017

	Direct Line
	01962 846730
	Your reference
	APP/12/00338

	Date
	19 January 2016
	Email
	SWM.consultee@hants.gov.uk


Dear Sir/Madam,

Hybrid Planning application comprising a part outline application relating to development for employment uses and a hotel with conference facilities and a part detailed application for a new access link road with bus gate to Woolston road; together with landscaping,infra structuure and associated works, (approved 19.02.2014). Request to discharge conditions A5,A10,A12,A13,A14,A16.A17,A18,B4 & B10 05.01.2016 at Dunsbury Hill Farm. Park Lane. Cowplain. Waterlooville
Thank you for consulting us on the above planning application. Hampshire County Council as Lead Local Flood Authority has provided comments in relation to the above application as our statutory consultee role in relation to surface water drainage for major developments

Surface Water Drainage

We have reviewed the following information in relation to the planning application:

List plans and documents reviewed 

· Discharge of conditions drainage document

· Below ground drainage strategy

We require further information/clarification on the proposals in order to provide a response:

· Existing and proposed run-off volume calculations

· Evidence that sufficient storage/attenuation has been provided on site to accommodate the 1 in 100 year plus 30% for climate change flooding event without increasing the runoff rate or volume off site

· Evidence that exceedance flows and runoff in excess of design criteria have been considered

Please refer to our website for further information: http://www3.hants.gov.uk/flooding/hampshireflooding/drainagesystems/planning-application-guidance.htm 

Where the proposals are connecting to an existing drainage system it is likely that the authorities responsible for maintaining those systems will have their own design requirements.  These requirements will need to be reviewed and agreed as part of any surface water drainage scheme.

Please note that the mechanism for securing long-term maintenance will need to be considered and agreed between the applicant and the Local Planning Authority.  This may involve discussions with those adopting and/or maintaining the proposed systems, which could include the Highway Authority, Planning Authority, Parish Councils, Water Companies and private management companies.  
This response has been provided using the best knowledge and information submitted as part of the planning application at the time of responding and is reliant on the accuracy of that information.

Kind Regards

The Flood and Water Management Team

EII Court West, 1st Floor

Winchester

Hampshire

SO23 8UJ

T: 01962 846730

E: swm.consultee@hants.gov.uk 

Call charges and information apply see www.hants.gov.uk



