Ventilation/Extraction specification

1) 4500mm x 1000 canopy hood

2) 1 x tcbb 500 turbo prop fan motor

3) 1 x 500 dia silencer to reduce noise levels -10dba

4) carbon filtration system

5). Fresh air Ventillation system

6)  fitted above canopy

7). 2 x Speed controller for both fan motors

8). Interconnecting ductwork