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	REPORT ON OWNERSHIP & FUTURE MAINTENANCE OF SURFACE WATER DRAINAGE AT SAINSBURY’S STORE, WATERLOOVILLE. 
Ownership:

· All site drains will remain under the ownership of Sainsbury’s Supermarkets Ltd, and as such will remain their responsibility. 

Future Maintenance:

· Oil separators/Interceptors to be emptied, typically every 12-18 months, and maintained as per the manufacturer’s specification. 
· Drainage channels, gulleys & inbuilt/separate silt traps to be regularly inspected and emptied every 12 months. 

· Attenuation tank to be jetted to keep it clear of silt/blockages, typically every 12-18 months, and maintained as per the manufacturer’s specification.

· Surface water control manholes to be have silt traps and mesh penstocks cleaned every 12 months.
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