APP/13/00830 – 23 South Street, Havant

PREVIOUS COMMENTS: 

I feel there is scope for re-orientating the building. However the proposed design is not acceptable. It is far too fussy and does not relate to anything on the site or in the vicinity. There is no reason to slavishly follow the current housing but there should be some fluidity and architectural unity, 

I attach a quick illustrative sketch to show a possible acceptable solution. The roof is simplified to a simple hip roof. I have retained the two dormers in the centre as they provide some variety and give important light to the first floor landing. I have added brick chimney stacks which have local townscape value and reflect development on the rest of the site. I have simplified the palette of materials removing the rendered upper floor and using facing brick throughout with a string course. The quality of materials should follow the benchmark so far establish e.g. timber windows, slate or plain clay tiles etc.

The sketch is purely illustrative but is intended to provide a positive way forward.

UPDATED COMMENTS 
Revised drawings 13A/015/010/revD; /005 rev.D; /006 rev.D; /007 rev.D /008 rev.D and /009 rev.D.

The revised drawings reflect suggestions made on the design of the building. I am therefore satisfied the building design issues have been satisfactorily addressed. This has the greatest bearing on the setting of the listed building and conservation area. The reworked courtyard is more of a planning issue, given screening by buildings it will not have a marked impact on the conservation area. 

Important to ensure quality of materials secured in the earlier phase is maintained and repairs to the flint boundary wall is undertaken correctly. Advise the imposition of the conditions, covering materials, joinery details and repairs to flint boundary wall. These can be modelled on conditions 2,  3, 13,and 14, suitably updated to reflect changes in legislation. I have copied earlier conditions for ease of reference.  If to use same bricks and roofinfg material, could waive requirement for samples.
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,
John Townsend 

Conservation Consultant 

01/11/13
