Application No. APP/12/00893 – Details pursuant to APP/12/00614 (Planning) & /00617(LBC) 
Address: Hall Place Cottage, South Street, Havant PO9 1DA
COMMENTS: 

Note request is to discharge conditions 2, 3, 4, 5 and 6
Both applications
Condition 2. Materials. Schedule of work satisfactory. Comfortable with what is proposed. Technically require sample panel to be agreed. They are reusing existing salvaged bricks and the areas of new brickwork is very confined, blocked up door opening, plinth walls of porch. With the mortars and pointing method included in spec. prepared to take a calculated risk and permit discharge in the absence of the sample panel.

Condition 3. Windows. Details satisfactory. Can be discharged.

Condition 4. Wall repairs. Details supplied adequate. Condition can be discharged. 

Condition 5 (/00614 only) - Chimney
Condition 6 (/00617 only) - Chimney

These differently numbered conditions on each application cover same work. This chimney is not a strong feature of the building. I have always been prepared to concede on this point is the overall scheme is satisfactory, which it now is. Condition can be discharged to allow removal of stack.
John Townsend

Conservation Consultant

06/09/12
