To:  Aaron Wright

From: Mike Smith

Date: 4th September 2012

Ref:  APP/12/00872

Site Address:  Development Site Curzon Rooms, 310A-310B London Road, Waterlooville

I am writing in connection to the above application, which has been passed to Environmental Health for comment.

The Curzon Rooms in its current condition attracts pests and anti-social behaviour so this department welcomes any proposal to develop the site.
There are however some concerns I would have in regards to demolition hours of working, control of dust, asbestos and lighting in the proposed car park.  My colleague, Jon Driver will be commenting separately on issues of air quality and ground contamination.
Condition 1
Construction or demolition work of any sort within the area covered by the application shall only take place between the hours of 0800-1800 on Monday to Fridays and 0900-1300 on Saturdays.  No work at all shall take place on Sundays and Bank or Statutory Holidays.

Condition 2

No development shall commence until a programme for the suppression of dust during the demolition of existing buildings has been submitted to and approved in writing by the Local Planning Authority.  The measures approved shall be employed throughout the period of demolition and construction unless any variation has been approved by the Local Planning Authority.

Condition 3

No bonfires to be allowed on site during the period of demolition, clearance and construction.

Condition 4

Details of any external lighting of the site shall be submitted to, and approved in writing by, the Local Planning Authority prior to the commencement of the development. This information shall include a layout plan with beam orientation and a schedule of equipment in the design (luminaire type, mounting height, aiming angles and luminaire profiles). The lighting shall be installed, maintained and operated in accordance with the approved details unless the Local Planning Authority gives its written consent to the variation.
Informative

It is likely that the existing buildings to be demolished contain elements comprising asbestos. Therefore, it is important that, prior to demolition works commencing, the buildings are surveyed by a competent person for the presence of asbestos containing materials and suitable precautions are taken to ensure safe removal. Further advice should be sought if necessary from the Health & Safety Executive. 

