Flood Risk Assessment for
Proposed Conservatory at 

165C Southwood Road Hayling Island, Hampshire, PO11 9QG
Our ref 099/74291
The proposed conservatory floor level will not be lower than the existing floor of the house and wherever applicable flood risk measures in constructing the conservatory will be carried out. Additionally any furniture positioned in the conservatory will be removable should a flood ever occur and the conservatory will not be used for storage.
The footprint of the conservatory is a small unit so any existing flood route would not be blocked or affected by this proposal.

