To:  Aaron Wright

From:  Mike Smith

Date: 31st July 2012

Ref:  APP/12/00681

Site Address: 75 Lovedean Lane, Waterlooville

Proposed Development: Installation of extract flue in timber enclosure on flat roof to rear at first floor level.
I am writing in connection to the above application, which has been passed to Environmental Health for comment.

The flue, in timber enclosure is very close to the adjoining residential property (4 Woodcroft Lane).  The applicant has stated that any noise from the flue will comply with BS 4142, although has not provided any figures to support this statement.

Furthermore, there is no detail on the application as to what the flue vents (a boiler, kitchen extract etc so there is potential for odour complaints) and what odour control is in place, apart from a wooden screen which is likely to deteriorate over time if not maintained.

I would be grateful if these points could be clarified otherwise I would have to object to the application on the basis of insufficient information.
