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14 Warren Close, Hayling Island, PO11 0HP
Flood Risk Assessment

The above site falls partially within an area that may be at risk from flooding as per the Environment Agencies defined flood zone area 2 & 3. The area concerned is lower garden area and does not fall within the area of the proposed extension and existing house.
Flood Risk Assessment.
A, all new floor levels within the proposed development will be set no lower than all existing floor levels. Existing floor levels are higher then the normal 150mm as standard, approx. 300mm above out ground level with the new floors to match this.

B, any flood proofing of the proposed development has been discussed with my client and will be implemented where appropriate and agreed by local authority Building Control Inspectors during construction. 

C, there will be no additional burden on emergency services due to increased occupancy from the new accommodation.


