Surface water pipe, build over method statement for 55 Southwood Road Hayling Island

This method statement describes the process which will be followed with regards to identifying the exact location and then building over the existing surface water pipe.
1. Before any work commences, a full building regulations application will be submitted to Havant Borough council which will include the attached plans showing the exact surveyed location and depth of the pipe on the existing site and how the extension builds over it
2. Before any work commences, a build over application will be submitted to Southern water detailing the process which will be followed during construction, this will detail the plan for  exposing the pipe at the point it will pass under any new foundations, and will provide details of the lintels that will be inserted in the foundations to protect the pipe and using a beam and block suspended floor to avoid additional load on the pipe.
3. No work will commence on site until the application is approved by southern water.
4. Southern waters and the building inspectors inspection and approval process will be followed at all times.
5. Work above ground will not commence until full sign off from Southern water and the building inspector is achieved.
We are happy the following this method statement is condition of any Planning approval that may be granted
 

