| Susie Stephen, NWS Planning 3rd Floor 45 Albemarle Street London W1S 4JL. | For Applicant: XLB Property Ltd |
| --- | --- |

The Town and Country Planning Act 1990

Notification of Decision:

Application Number: APP/25/00588

Site Address: Langstone Technology Park, 2B Langstone Road, Havant, PO9 1SA

Proposal: Discharge of Conditions 5, 20, 21, 22, 40, 41 and 43 of Planning Permission APP/22/00172 
Details: 
Condition 5 - Phasing Plan; 
Condition 20 – Delivery and Servicing Management Plan (DSMP); 
Condition 21 – Traffic Barriers Management Plan; 
Condition 22 – HGV Signage Strategy; 
Condition 40 – Maintenance of Surface Water Drainage System; 
Condition 41 – Oil/Petrol Interceptors; 
Condition 43 – EV Charging Points.

Further to your application received on 9 July 2025 (which was valid from 8 July 2025) Havant Borough Council,  as Local Planning Authority  as meeting the information requirements of the following Condition of Planning Permission APP/25/00588 in accordance with the submitted plans and particulars as detailed below.

The condition in respect of which information has been submitted is:

Condition: 43; Each phase of the development shall not be brought into use unless and until details of the provision of Electric Vehicle (EV) charging points have been submitted to and approved in writing by the Local Planning Authority for that phase. Unless otherwise agreed in writing by the Local Planning Authority, the EV charging points shall be provided on the basis of a minimum of 10% of parking spaces and with a minimum of 20% of parking spaces passively equipped. The charging points shall be installed prior to use of the associated building phase being brought into use and thereafter retained and maintained in accordance with the approved details. Reason: In the interests of sustainability and air quality having due regard to policies CS14 and DM10 of Havant Borough Local Plan (Core Strategy) 2011 and the National Planning Policy Framework. Details Submitted: Drawing Number: 11629 PL 075: EV Location Plan: Uploaded 8/7/2025. Reasons for approval: The details hereby approved are considered to be in accordance with the relevant adopted policies of the Council, in particular the policies contained within the Havant Borough Local Plan (Core Strategy) 2011.; Part Discharged; 30/10/2025. Part Discharged: Extent of this Condition Discharge: This condition is discharged in relation to PHASE 2 of this development only..

Other Important Information:

|  | This notice only relates to the decision of Havant Borough Council as Local Planning Authority under the Town and Country Planning Acts. It does not relate to any other application that may be required under the Building Regulations or under any other Act, Regulation, Byelaw or Order where the Council's approval may be needed. For further guidance as to the need for consent under the Building Regulations please phone 023 9244 6571. |
| --- | --- |
|  | Any failure to adhere to the details of the approved plans , and other documents or to comply with any conditions listed above may lead to enforcement action being taken by the Council. If you wish to depart from the approved details or conditions in any way you should contact the Planning and Development service at the Plaza or by telephoning 023 9244 6015. |

|  | Steve Weaver﻿ Steve Weaver Development Manager Havant Borough Council 30 October 2025 |
| --- | --- |