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Site Address:






39 London Road



Cowplain



Hampshire

Acoustic Engineer:




Mr. Michael Vine

Equipment used:

Norsonic Environmental Analyser 140  BS EN IEC 61672-1 2013 Class 1 – Associated frequency analyser to BS EN IEC 61260: 1996 Class 1 – serial 1407126 – calibration due March 2026

Measurement Microphone (Nor 1225) – Serial Number 305215 – calibration due March 2026

Acoustic Calibrator - (Type 1251) – Serial No 31652, Calibration due November 2026
Measurement Procedure:


The purpose of this noise impact assessment is to assist with the approved planning application shown below & to provide suitable mitigation measures to ensure the future residents are protected from the local noise sources apparent:

Site Address: 39 London Road, Waterlooville, Hampshire, PO7 7ER
Proposal: Conversion of current commercial 1st floor into 8 x bed HMO with a commercial unit remaining on the ground floor. There will be an additional floor added at 2nd floor level.
An unattended assessment measuring the current acoustic climate over a 24-hour period in each microphone location was undertaken to determine the ambient noise levels at the proposed front façade (24hours) and rear façade (24hours) of the proposed development site, to the front of proposed scheme facing London Road and to the rear facing the car park. The assessment took place between 1009hrs on Tuesday 25th to 1009hrs on Wednesday 26th November at the front and 1027hrs on the 26th to 1027hrs on the 27th of November at the rear.
The unattended assessment took measurements from the noise associated with London Road at the front. The noise sources at the rear of the site are vehicles using the local road network and people using the small car park.
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Assessment Criteria:

The National Planning Policy Framework (NPPF) came into effect in March 2012 and was updated in December 2024. It replaced other documents such as PPG24. The NPPF provides several objectives and aims that are directed towards avoiding significant adverse impacts and reducing others on quality of life and health. This document states that:

Paragraph 187 states Planning policies and decisions should contribute to and enhance the natural and local environment by:

e) preventing new and existing development from contributing to, being put at unacceptable risk from, or being adversely affected by, unacceptable levels of soil, air, water or noise pollution or land instability. Development should, wherever possible, help to improve local environmental conditions such as air and water quality, considering relevant information such as river basin management plans. 

Paragraph 198 states - Planning policies and decisions should also ensure that new development is appropriate for its location considering the likely effects (including cumulative effects) of pollution on health, living conditions and the natural environment, as well as the potential sensitivity of the site or the wider area to impacts that could arise from the development. In doing so they should: 

a) mitigate and reduce to a minimum potential adverse impact resulting from noise from new development – and avoid noise giving rise to significant adverse impacts on health and the quality of life; 

b) identify and protect tranquil areas which have remained relatively undisturbed by noise and are prized for their recreational and amenity value for this reason; and 

c) limit the impact of light pollution from artificial light on local amenity, intrinsically dark landscapes, and nature conservation.

Paragraph 200 - Planning policies and decisions should ensure that new development can be integrated effectively with existing businesses and community facilities (such as places of worship, pubs, music venues and sports clubs). Existing businesses and facilities should not have unreasonable restrictions placed on them as a result of development permitted after they were established. Where the operation of an existing business or community facility could have a significant adverse effect on new development (including changes of use) in its vicinity, the applicant (or ‘agent of change’) should be required to provide suitable mitigation before the development has been completed. 

The Planning Practice Guidance has guidance on noise, dated 22nd July 2019, and has the noise hierarchy table as shown below. Paragraphs 009 & 011 are refenced later in this report.
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NOEL – No Observed Effect Level This is the level below which no effect can be detected. In simple terms, below this level, there is no detectable effect on health and quality of life due to noise.

LOAEL – Lowest Observed Adverse Effect Level This is the level above which adverse effects on health and quality of life can be detected.

SOAEL – Significant Observed Adverse Effect Level This is the level above which significant adverse effects on health and quality of life occur.

The NPSE (Noise Policy Statement for England) states the following aims with respect to noise policy:

Through the effective management and control of environmental, neighbour and neighbourhood noise within the context of the Government policy on sustainable development:

avoid significant adverse impacts on health and quality of life;

mitigate and minimise adverse impacts on health and quality of life; and

where possible, contribute to the improvement of health and quality of life.
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PROPG: PLANNING & NOISE (2017) NEW RESIDENTIAL DEVELOPMENT [PROPG 2017] 

The ProPG Planning & Noise document was published in 2017, its development supported by the Institute of Acoustics, the Association of Noise Consultants, and the Chartered Institute of Environmental Health. The aim of the document is to provide practitioners with guidance on a recommended approach to the management of noise within the planning system in England. 

ProPG advocates a systematic, proportionate risk-based, 2 stage approach which: 

1. Encourages early consideration of noise issues;

2. Facilitates straightforward accelerated decision making for lower risk sites;

3. Assists proper consideration of noise issues where the acoustic environment is challenging.

A summary of the overall ProPG approach is included in Appendix B. The two sequential stages of the overall approach are: 

1. Stage 1 – an initial noise risk assessment of the proposed development site; and

2. Stage 2 – a systematic consideration of four key elements.

The four key elements to be undertaken in parallel during Stage 2 are: 

1. Element 1 – demonstrating a “Good Acoustic Design Process”;

2. Element 2 – observing internal “Noise Level Guidelines”;

3. Element 3 – undertaking an “External Amenity Area Noise Assessment”; and

4. Element 4 – consideration of “Other Relevant Issues”. 

The approach is underpinned by the preparation and delivery of an “Acoustic Design Statement” [ADS]. The ADS is intended to conclude in the provision of one of the following four recommendations to the decision maker: 

1. Planning consent may be granted without any need for noise conditions;

2. Planning consent may be granted subject to the inclusion of suitable noise conditions;

3. Planning consent should be refused on noise grounds in order to avoid significant adverse effects (“avoid”); or

4. Planning consent should be refused on noise grounds in order to prevent unacceptable adverse effects (“prevent”).

The overall ProPG 2017 approach is intended for implementation with projects at an earlier stage than the subject of this report. This report provides a full noise mitigation strategy for the site, rather than an initial recommendation to the decision maker. 

ProPG 2017 contains the most up to date guidance available on industry-wide adopted best-practice interpretation of relevant guidance regarding acceptable internal and external noise levels i.e., BS8233:2014 and WHO Guidelines. 

WHO GUIDELINES FOR COMMUNITY NOISE (1999) 

The guidance in this document recommends design criteria for internal noise levels within residential and commercial buildings. A summary of the recommended guidance is shown in Table 2.1. Table 2.1 – Excerpt from WHO [dB ref. 20μPa] 
	Criterion
	Environment
	Design range LAeq, T dB

	Maintain speech intelligibility, avoid moderate annoyance, daytime & evening
	Living Rooms
	35

	Prevent sleep disturbance, night time
	Bedrooms
	30


This guidance also states: 

For a good sleep, it is believed that indoor sound pressure levels should not exceed approximately 45dB LAmax more than 10-15 times a night (Vallet & Vernet 1991) 
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For outdoor living areas, it is stated that: 

To protect the majority of people from being seriously annoyed during the daytime, the outdoor sound level from steady, continuous noise should not exceed 55dB LAeq on balconies, terraces and in outdoor living areas. To protect the majority of people from being moderately annoyed during the daytime, the outdoor sound level should not exceed 50dB LAeq. Where it is practical and feasible, the lower outdoor sound level should be considered the maximum desirable sound level for new development. 

BS8233:2014 GUIDANCE ON SOUND INSULATION AND NOISE REDUCTION FOR BUILDINGS 

The guidance in this document indicates acceptable noise levels for various activities within residential dwellings. A summary of the recommended guidance is shown in the following table as listed in BS8233: 2014

	Activity
	Location
	07:00 to 23:00
	23:00 to 07:00

	Resting
	Living Room
	35 dB LAeq, 16 hour
	-

	Dining
	Dining Room
	40 dB LAeq, 16 hour
	-

	Sleeping (daytime resting)
	Bedroom
	35 dB LAeq, 16 hour
	30 dB LAeq, 8 hour


The local authority listed the below condition for the Noise Impact Assessment.
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No above ground construction works shall take place until details have been
submitted to the Local Planning Authority that confirm that the acoustic mitigation
measures to be employed with regard to the building envelope, including fenestration
and ventilation, for all residential units, will meet BS8223:2014 standards as
recommended for indoor ambient noise levels for dwellings, especially in relation to
living rooms and bedrooms i.e during the day (07:00 to 23:00) 35 dB L Aeq,16 hour
and at night (23:00 to 07:00) 30 dB L Aeq,8 hour for bedrooms. The acoustic
mitigation measures shall be fully employed prior to the occupation of the residential
units.

Reason: To protect the amenities of the future occupants of the proposed dwellings
and to ensure the residential amenity of the properties is not impacted upon by any
external noise levels, including road traffic noise having due regard to policies CS16
and DM10 of the Havant Borough Local Plan (Core Strategy) 2011 and the National
Planning Policy Framework.
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Executive Summary:


Vine Acoustics Ltd were instructed by M A Wright Ltd to undertake a Noise Impact Assessment (NIA) at 39 London Road, Cowplain. A planning application has been approved to convert the existing building into an 8-x bedroom HMO with the commercial unit remaining at ground floor level to the front. The site will be extended to the side by a small extension and a 2nd floor added using a Mansard roof system. The microphone location was used to determine the impact of the following noise sources on the proposed dwellings:

1. Noise associated with London Road – Front façade (East)
2. Noise associated with rear car park (West)

This report will address the noise source listed above and has been written to assess the impact of the noise sources on the proposed mixed-use scheme, in particular the bedrooms that will be located on both the front façade at 1st floor level (bedrooms 6 & 8) and the rear facades at ground (bedrooms 1 & 2), 1st (bedrooms 3, 4 & 5) & 2nd floor (bedroom 7). The proposed bedrooms should not be adversely affected by the noise associated with the immediate area providing the necessary mitigation measures are implemented to the scheme. The measured noise levels are consistent with the site near the noise sources listed above. The conclusions of this report illustrate that the noise associated with the immediate area will not have an adverse impact on the proposed residential scheme, providing that suitable mitigation measures are implemented to the proposed scheme. It is recommended that the scheme be fitted with an alternative ventilation system such as acoustic wall ventilation or acoustic trickle vents to assist with periods when windows are closed. However, to strike a balance between noise, overheating & ventilation it is anticipated that future residents of the scheme should be able to ventilate the bedrooms naturally by opening windows on various elevations throughout the day time and night time period. Both the measured & calculated levels indicate a generally low to moderate impact on the proposed scheme with lengthy periods whereby the rooms can be naturally ventilated via open windows without leading to an adverse impact. The rooms located to the rear are exposed to lower noise levels than the front and based on the day time and night time LAeq levels can be naturally ventilated via open windows and standard trickle vents, without leading to a change in behaviour due to noise.
Therefore, the scheme can be naturally ventilated with open windows for periods of the day time and night time. The measures to be taken by the client should ensure a satisfactory acoustic climate for the future residents of the proposed scheme.

The immediate area is in a mixed-use location with dwellings & commercial activity located to the front of the scheme and the local road network & car park located to the rear.
There are existing residential dwellings located in similar locations to the proposed, above the other commercial units and further along London Road.
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Acoustic Design Statement:

The measured average levels are moderate and constant throughout the measurement duration. The necessary noise criteria should be achieved by suitable mitigation measures for the building façade & glazing. The client will take steps and implement mitigation measures to ensure the impact of the external & internal noise should not have an adverse impact on the future residential dwelling. These steps include:

1 Install a robust glazing system to the scheme to protect the residents from external noise emissions when closed

2 Thermal mass offered by the building fabric 

3 Alternative ventilation system installed to bedrooms facing London Road to ensure ventilation when windows closed
4 Orientation of noise sensitive rooms – majority of bedrooms located to the rear
The initial risk assessment has indicated that the day time noise levels for the proposed scheme fall into the medium category at the front and negligible category at the rear and the night time levels fall into the medium category at the front and are negligible at the rear (due to screening and location). Pro PG states that for low categories ‘at low noise levels, the site is likely to be acceptable from a noise perspective provided that a good acoustic design process is followed and is demonstrated in an ADS which confirms how the adverse impacts of noise will be mitigated and minimised in the finished development’ and for the medium & high categories ‘High noise levels indicate that there is an increased risk that development may be refused on noise grounds. This risk may be reduced by following a good acoustic design process that is demonstrated in a detailed ADS. Applicants are strongly advised to seek expert advice.
As noise levels increase, the site is likely to be less suitable from a noise perspective and any subsequent

application may be refused unless a good acoustic design process is followed and is demonstrated in an ADS which confirms how the adverse impacts of noise will be mitigated and minimised, and which clearly demonstrate that a significant adverse noise impact will be avoided in the finished development.’ 
A robust & comprehensive ADS has been applied to the scheme. This is the case as can be seen above. The ADS for this scheme included robust & comprehensive mitigation measures that will ensure a suitable acoustic criterion for the future residents of the scheme.

The alternative ventilation system are not designed to ensure BS8233: 2014 compliance in isolation but offer suitable levels of ventilation during periods when windows maybe closed, but it is anticipated that the scheme can be naturally ventilated with open windows for periods of the day time and night time periods, and it is essential that a balance is struck between noise, ventilation and overheating as there will clearly be periods of the day time and night time that the dwellings will not be adversely affected by the noise sources. 

The condition listed below are the required criteria as listed by the local authority to the client.
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No above ground construction works shall take place until details have been
submitted to the Local Planning Authority that confirm that the acoustic mitigation
measures to be employed with regard to the building envelope, including fenestration
and ventilation, for all residential units, will meet BS8223:2014 standards as
recommended for indoor ambient noise levels for dwellings, especially in relation to
living rooms and bedrooms i.e during the day (07:00 to 23:00) 35 dB L Aeq,16 hour
and at night (23:00 to 07:00) 30 dB L Aeq,8 hour for bedrooms. The acoustic
mitigation measures shall be fully employed prior to the occupation of the residential
units.

Reason: To protect the amenities of the future occupants of the proposed dwellings
and to ensure the residential amenity of the properties is not impacted upon by any
external noise levels, including road traffic noise having due regard to policies CS16
and DM10 of the Havant Borough Local Plan (Core Strategy) 2011 and the National
Planning Policy Framework.




Therefore, this will form the basis of the Noise Impact Assessment 
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1 Objective:
1.1 To demonstrate that the noise associated with the immediate area will not have an adverse impact on the proposed residential scheme. A planning application has been approved to convert the existing building into an 8-x bed HMO with the bedrooms located at ground, 1st & 2nd floor, and the commercial/retail unit remaining at the ground floor.

1.2
This report will account for noise emissions produced from London Road at the front & the car park to the rear. The scheme will include comprehensive mitigation measures to reduce the impact of the sources and ensure a suitable internal acoustic environment and a balance between noise, ventilation & overheating.

2 Calibration:

2.1
The measurement microphone was calibrated before and after testing in the measurement location and there were no drifts recorded during the assessments.

3 Site Layout & Microphone Position:

3.1
London Road is the main vehicular and bus route in the centre of Cowplain, Hampshire. The proposed building is located in a terrace of mixed-use buildings located immediately to the West of London Road with the front elevation facing the street. The building is built over two floors.
3.2
The buildings are predominantly mixed-use with a large number of commercial buildings with residential located above them in the immediate area. London Road is the main vehicular route through Cowplain and is a bury route with a large and steady flow of cars and buses regularly. The car park is located to the rear of the site, beyond the car park for the scheme.
3.3
The proposed scheme will comprise of a mixed-use scheme with 1 x retail/commercial unit located at the front on the ground floor, bedrooms 1&2 located at ground floor too, facing the rear. Bedrooms 3-6 will be located at 1st floor, with bedrooms 3, 4 & 5 facing thew rear and bedroom 6 facing the front. Bedrooms 7&8 will be located at 2nd floor level with bedroom 8 facing London Road and bedroom 7 facing the rear, so it is clear to see that orientation of the bedrooms has been considered to reduce noise break in and offer a quieter façade for these rooms.
3.4
The measurement microphone was located:

1- At the building façade facing London Road. It was 1m from the building façade so a -3dB reduction has been applied to the figures to account for reflection.

2- At the building façade facing the rear of the site. It was 1m from the building façade so a -3dB reduction has been applied to the figures to account for reflection.

4 Weather Conditions:

4.1
The weather was cold & predominantly dry during the measurement procedure; the temperature ranged between 0-8 degrees on Tuesday 25th, -4-11 degrees on Wednesday 26th and 11-13 degrees on Thursday 27th November. There were light cloud and some light rain showers over the measurement period. 
5 Measurement Duration:

5.1 The continuous measurement was taken for a 24-hour period at the front façade and 24hours at the rear
façade. The immediate area was operating at normal levels and thus offers a fair reflection of the noise associated with the immediate area. 
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6
Results: 

6.1
The purpose of this measurement was to establish the levels associated with the immediate area on the proposed scheme. The levels will be compared to the necessary British Standards & relevant documents, also some bespoke measurements will be adopted. 

LAeq 16hour & 8hour Noise Levels:

	Mic Location
	LAeq 16hour Value
	Reduction needed for 

BS8233 compliance
	LAeq 8hour Value
	Reduction for 

BS8233 compliance
	LAmax Value
	Reduction for compliance

	ML 1 – Front elevation
	67dBA
	32dB
	59dBA
	29dB
	77dBA
	32dB

	ML 2 – Rear elevation
	48dBA
	13dB
	42dBA
	12dB
	60dBA
	15dB


7
Results Conclusion: 

7.1
The tables listed above clearly indicate the required sound reduction values at the proposed site. It is clear to see that the measured levels are within the low-medium category of the Pro PG document for the front façade and the low to negligible category for the rear façade. Providing suitable mitigation measures are applied to the necessary facades and the required internal criteria can be achieved. It is anticipated that the scheme can be naturally ventilated with open windows for periods during the day time and night time, to achieve a balance between noise, ventilation, and overheating and without leading to a change in behavior. Based on the LAeq values, the rear rooms should be able to have their windows open throughout the 24hour without leading to an adverse impact.
7.2
Based on the measured noise levels, the proposed mitigation measures, the location of the development and the type of noise apparent it is anticipated that the noise will fall at The NOEL value (No adverse effect level) and maybe towards the LOAEL (Lowest observed adverse effect level) and as such the noise should not have a detrimental effect on the future residents providing adequate measures are implemented to the building fabric & elements. For noise sources at the LOAEL, it is anticipated that the noise will be noticeable but not intrusive if suitable mitigation measures are implemented to the development. 

7.3
Based on the measured levels and assuming a glazing specification offering a sound reduction of 32dBA (meeting the levels required above) is installed the following internal levels would be achieved:

Front Facade
	Room
	External Level
	Sound Reduction of windows
	Internal Level
	Criteria Met

	Lounge
	67dBA
	32dB
	35dBA
	Yes

	Bedroom – LAeq
	59dBA
	32dB
	27dBA
	Yes

	Bedroom - LAmax
	77dBA
	32dB
	45dBA
	Yes


Rear Facade

	Room
	External Level
	Sound Reduction of windows
	Internal Level
	Criteria Met

	Lounge
	48dBA
	32dB
	16dBA
	Yes

	Bedroom – LAeq
	42dBA
	32dB
	10dBA
	Yes

	Bedroom - LAmax
	60dBA
	32dB
	28dBA
	Yes


7.4
The levels above indicate that the internal levels can be achieved with the windows closed. Further table shown on the following page. Section 2.30 and Figure 2 of the Pro PG document states that the internal guidelines of BS8233: 2014 can be relaxed by 5dBA (40dBA LAeq 16hour and 35dBA LAeq 8hour) when the dwellings are necessary or desirable and that residents will accept a slight increase in noise levels to ensure natural ventilation. A relaxation of 5dBA will still ensure a reasonable standard of living. This approach could be implemented to development for the day time levels and the night time levels. 
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7.5
The levels shown in the table above indicate that a reasonable standard of living can be achieved with closed windows and the calculations below indicate the levels with open windows for transportation noise.
7.6
Table 3.3 – Guidance for level 2 assessment of noise from transport services in the ANC AVO guide states that ‘Noise causes a material change in behaviour e.g., having to keep windows closed most of the time’ if the following levels are exceeded for longer periods of time:

	Internal ambient noise levels

	LAeq 16hour 0700-2300
	LAeq 8hour 2300-0700
	Individual noise events 2300-0700

	>50dB
	>42dB
	Normally exceeds 65dB LAmaxT


7.7
Using the above guidance (sliding scale as shown in the diagram below) the calculated internal levels at all facades and other screened facades (rear facades) with the windows open are also shown below. It is anticipated that the future occupants will accept an increase in the noise levels for periods of time to ensure good thermal comfort for the dwellings. The levels at the front are above the values shown in table 3.3, thus the recommendation of alternative ventilation. There will be periods of time when windows are opened and may be fewer and/or shorter at the front, but then the acoustic trickle vents can ensure suitable levels of ventilation for the bedrooms. The future residents will be able to open and close the windows at their own discretion at the rear elevations can be open as they wish.

	Front Facade
	External Level
	Sound Reduction of open windows
	Internal Level

	Lounge
	67dBA
	-13dB
	54dBA

	Bedroom – LAeq
	59dBA
	-13dB
	46dBA

	Bedroom - LAmax
	77dBA
	-13dB
	64dBA


	Rear Facade
	External Level
	Sound Reduction of open windows
	Internal Level

	Lounge
	48dBA
	-13dB
	35dBA

	Bedroom – LAeq
	42dBA
	-13dB
	29dBA

	Bedroom - LAmax
	60dBA
	-13dB
	47dBA
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7.8
Based on the measured average levels and anticipated internal levels, it is recommended that whilst the scheme can be naturally ventilated for short periods of time (front) and longer periods (at the rear), to ensure suitable internal balance and criteria that an alternative ventilation system is incorporated into the scheme. An alternative ventilation system will help to ensure that the dwellings can be ventilated when the windows are closed. These measures combined with glazing should ensure a reasonable standard of living can be achieved for the proposed dwellings.
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7.9
It can be seen (using the measured levels) that the internal levels to the rear, are all calculated to be within the values listed in Table 3.3 with windows open and therefore illustrating that the noise ingress should not lead to a change in behavior. However, at the front elevation they are above these guidelines. The purpose of the alternative ventilation system is to ensure the bedrooms can be ventilated for the period of time when the windows are closed, and a balance must be struck between noise, overheating and ventilation. It is anticipated that future residents will accept this slightly higher level for periods of time to be able to naturally ventilate their homes and the measured levels should not be intrusive. 

7.10
The proposed measures indicate that the development follows the approach recommended in the PPG Guidance (Paragraph 009) regarding the closure of windows which states: “The agent of change will also need to define clearly the mitigation being proposed to address any potential significant adverse effects that are identified. Adopting this approach may not prevent all complaints from the new residents/users about noise or other effects but can help to achieve a satisfactory living or working environment and help to mitigate the risk of a statutory nuisance being found if the new development is used as designed (for example, keeping windows closed and using alternative ventilation systems when the noise or other effects are occurring).”

7.11
Paragraph 011 of the same guidance states: Noise impacts may be partially offset if residents have access to one or more of:

· a relatively quiet facade (containing windows to habitable rooms) as part of their dwelling.

· a relatively quiet external amenity space for their sole use, (e.g., a garden or balcony). Although the existence of a garden or balcony is generally desirable, the intended benefits will be reduced if this area is exposed to noise levels that result in significant adverse effects.

· a relatively quiet, protected, nearby external amenity space for sole use by a limited group of residents as part of the amenity of their dwellings; and/or

· a relatively quiet, protected, externally publicly accessible amenity space (e.g., a public park or a local green space designated because of its tranquility) that is nearby (e.g. within a 5-minute walking distance).

7.12
The proposed scheme ensures that some of the bullet points shown above have been implemented as part of the application. There are quieter facades as part of the application that are screened from the noise sources (rear facade). In addition to the orientation of the rooms, further measures also include installing alternative ventilation measures to the scheme to ensure suitable levels of ventilation when the windows are closed, but all residents will have the ability to open their windows at their own discretion.

Residential Amenity Space:
7.13
There is currently no amenity space for the scheme, but if it were to be located to the rear then the guidelines listed in BS8233: 2014 have already been achieved and therefore the future occupants will ensure a suitable acoustic environment if there is to be amenity space located to the rear of the development.
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8
Required Levels of Mitigation:

	Elevation
	Noise Source
	Level of Sound Reduction

	Front Façade

Rear Facade
	London Road
Rear
	32dBA

15dBA


9
Building Specifications:

9.1
It is recommended that the dwellings are ventilated with an alternative ventilation system. These will ensure the dwellings can be ventilated when the windows are closed. 

A ventilation system could be an acoustic wall ventilation system, such as:

	Make
	Model
	Type

	Titon Direct 
	Sonair F+
	Wall mounted acoustic Ventilation


9.3
The above system is a wall mounted ventilation unit that allows for ventilation when the windows are closed, with elevated levels of sound reduction.

9.4
Another option could be to install acoustic trickle vents to the noise sensitive rooms, something similar to:
	Product
	Sound Reduction - open
	Sound reduction - closed

	RW Simon Acoustic EHA trickle vent

RW Simon EHAS trickle vent
	36dB

38dB
	38dB 
41dB 

	RW Simon Acoustic FV trickle vent

RW Simon Acoustic SL trickle vent
	32dB

33dB
	40dB 
39dB 


If multiple vents are required, then the performance requirement shown in Table 6.3 will increase by a value equal to +10log(N), with N being the total number of vents serving the room.

9.4
Façade Detail – The proposed façade is believed to be something like: - Aggregate block cavity wall, minimum 100mm blocks (minimum density 1350kg/m3), minimum 75mm cavity between leaves, finished with 13mm plaster. This system should achieve a sound reduction of between 50-52dB DnT,w + Ctr  ‘Code of Practice BS8233: 2014, Page 60 – Table E.1B – Airborne sound insulation of walls and partitions’. Also, a cavity wall system comprising of 7N concrete blocks (two separate frames), have a sound reduction of approximately 53dB (predicted weighted sound reduction index values of Celcon Blockwork – from H&H Celcon). The mansard roof detail will also offer a suitable level of sound reduction for the scheme.
9.5
Roof Detail – The proposed roof detail is believed to be like: Flat roof system with 100mm mineral wool on plasterboard ceiling. This system should achieve a sound reduction of 43dB Rw ‘BS8233: 2014, page 41 - Table 8 - The sound insulation of roofs’. There may be a section of a tile pitched roof with insulation and plasterboard, this system should also achieve the levels of sound reduction shown above. 
9.6
Windows - The proposed windows to be used is unknown but a robust system offering a sound reduction of more than 32dBA (front) and 15dB to the rear has been determined from the various calculations (should exceed requirements) and thus the specifications listed below will offer this level of reduction.
	Possible Units
	Thickness
	125Hz
	250Hz
	500Hz
	1KHz
	2KHz
	4KHz
	Overall reduction

	SG Solaglass 4-6-8.4
	18.4mm
	27
	26
	29
	39
	45
	46
	36-4= 32dB

	SG Solaglass 8-12-10
	30mm
	23
	28
	37
	37
	34
	39
	36-4 = 32dB


9.7
There are many other suitable products, and the client will have to show compliance with the windows before installation, the manufacturer will have the acoustic data for the windows.
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Results Summary:

10.1
The findings of this survey indicate that the noise associated with the immediate site will not have an adverse impact on the proposed residential bedrooms, providing the necessary mitigation measures are applied to the site. 

10.2
The results of the various detailed calculations indicate that the noise emissions associated with area and neighbouring venue will not lead to an adverse impact for the future residents.
10.3
The mitigation measures listed within this report offer suitable sound reduction for the necessary building elements and if they are implemented throughout the site then the future residents should be able to enjoy a reasonable standard of living. Upon implementation of the mitigation measures, the internal & external criteria of BS8233: 2014 should be met within the noise sensitive bedrooms at the proposed development. 

10.4
Planning ProPG states that a good acoustic design process is a vital part of new developments. The client has taken steps to ensure that the existing & future occupants are protected from the noise source, these steps include:

1 Install a robust glazing system to the scheme to protect the residents from external noise emissions when closed

2 Thermal mass offered by the building fabric 

3 Alternative ventilation system installed to bedrooms facing London Road to ensure ventilation when windows closed

4 Orientation of noise sensitive rooms – majority of bedrooms located to the rear

10.5
The measures taken by the client should ensure the future residents will not be adversely affected by the noise sources associated with the immediate area.
10.6
Whilst this report recommends an alternative ventilation system to be installed, this is not meant to ensure the bedrooms are solely reliant on such. There are facades on the proposed scheme that will be able to be naturally ventilated for longer periods of the day time and night time via open windows due to screening from the noise sources. It is essential to strike a balance between noise, overheating & ventilation and this report offers such measures. 
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APPENDIX

Continuous equivalent noise level, LAeq — The steady noise level (usually in dBA) which, over the period of time under consideration, contains the same amount of sound energy as the time varying noise.

LAmax - The maximum value that the A-weighted sound pressure level reaches during a measurement period. 

dB (A) — The A-weighted sound pressure level.

Decibel (dB) — A unit used for many acoustic qualities to indicate the level of sound with respect to a reference level.

A-weighting — A frequency weighting that relates to the response of the human ear.

Background noise level — Prevailing noise level in a specified environment measured in the absence of the noise being studied.

Habitable Room – A room used for sleeping or recreation/relaxation

Dne,w Weighted element normalised level difference – A single-number quantity which characterises the airborne sound insulation of a small building elements.

EPU – Environmental Protection Unit

Rw Weighted sound reduction index – A single-number quantity which characterises the airborne sound insulation of a material or building element measured in the laboratory.

LA10 – The A-weighted noise level exceeded for 10% of the measurement duration.

LA90 - The A-weighted noise level exceeded for 90% of the measurement duration.

British Standards & associated documents:

Code of Practice: BS8233: 2014 - Sound Insulation and noise reduction for buildings.

World Health Organization (WHO) - Guidelines for Community Noise.

Pro PG – Planning & Noise, Residential Development – 2017
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ML 1
	Time Period
	LAeq
	LAmax

	(2025/11/25 10:09:02.00)
	69.1
	76.8

	(2025/11/25 10:12:02.00)
	69.5
	77.6

	(2025/11/25 10:15:02.00)
	68.7
	74.4

	(2025/11/25 10:18:02.00)
	69.6
	74.5

	(2025/11/25 10:21:02.00)
	69.8
	75.3

	(2025/11/25 10:24:02.00)
	68.1
	74.4

	(2025/11/25 10:27:02.00)
	69.6
	80.4

	(2025/11/25 10:30:02.00)
	69.8
	75.9

	(2025/11/25 10:33:02.00)
	69.4
	75.8

	(2025/11/25 10:36:02.00)
	69.6
	75.3

	(2025/11/25 10:39:02.00)
	69.3
	74.6

	(2025/11/25 10:42:02.00)
	70.1
	75.9

	(2025/11/25 10:45:02.00)
	71.9
	88.3

	(2025/11/25 10:48:02.00)
	69.5
	74.5

	(2025/11/25 10:51:02.00)
	69
	75.5

	(2025/11/25 10:54:02.00)
	68.4
	74

	(2025/11/25 10:57:02.00)
	70.1
	76.2

	(2025/11/25 11:00:02.00)
	68.8
	77.3

	(2025/11/25 11:03:02.00)
	69.4
	75.7

	(2025/11/25 11:06:02.00)
	69.8
	76.1

	(2025/11/25 11:09:02.00)
	69.6
	75.4

	(2025/11/25 11:12:02.00)
	70.6
	76.8

	(2025/11/25 11:15:02.00)
	68.4
	74.5

	(2025/11/25 11:18:02.00)
	69.1
	78.4

	(2025/11/25 11:21:02.00)
	69.4
	75.4

	(2025/11/25 11:24:02.00)
	70.2
	75.4

	(2025/11/25 11:27:02.00)
	69.7
	81.9

	(2025/11/25 11:30:02.00)
	67.5
	74.3

	(2025/11/25 11:33:02.00)
	70.1
	76.6

	(2025/11/25 11:36:02.00)
	68.3
	75.5

	(2025/11/25 11:39:02.00)
	69.1
	74.8

	(2025/11/25 11:42:02.00)
	68.9
	76.1

	(2025/11/25 11:45:02.00)
	68.2
	73.5

	(2025/11/25 11:48:02.00)
	72.7
	88.6

	(2025/11/25 11:51:02.00)
	69.9
	75.8

	(2025/11/25 11:54:02.00)
	69.4
	75.4

	(2025/11/25 11:57:02.00)
	69
	74.2

	(2025/11/25 12:00:02.00)
	69.3
	82.2

	(2025/11/25 12:03:02.00)
	69.5
	74.6

	(2025/11/25 12:06:02.00)
	68.3
	73.7

	(2025/11/25 12:09:02.00)
	69.7
	76.5

	(2025/11/25 12:12:02.00)
	69.9
	76.4

	(2025/11/25 12:15:02.00)
	69.5
	74.9

	(2025/11/25 12:18:02.00)
	67.1
	73.8

	(2025/11/25 12:21:02.00)
	68.8
	74.7

	(2025/11/25 12:24:02.00)
	69.9
	74.8

	(2025/11/25 12:27:02.00)
	68.3
	75

	(2025/11/25 12:30:02.00)
	69.6
	76.7

	(2025/11/25 12:33:02.00)
	69.3
	82.4

	(2025/11/25 12:36:02.00)
	69
	76.6

	(2025/11/25 12:39:02.00)
	73.8
	89.6

	(2025/11/25 12:42:02.00)
	69.3
	75.9

	(2025/11/25 12:45:02.00)
	68.6
	76.4

	(2025/11/25 12:48:02.00)
	69.9
	87.1

	(2025/11/25 12:51:02.00)
	69.6
	76.4

	(2025/11/25 12:54:02.00)
	68.6
	74.3

	(2025/11/25 12:57:02.00)
	68.5
	74.8

	(2025/11/25 13:00:02.00)
	74.6
	90.9

	(2025/11/25 13:03:02.00)
	69.4
	74.7

	(2025/11/25 13:06:02.00)
	71.9
	86.8

	(2025/11/25 13:09:02.00)
	70.1
	76.6

	(2025/11/25 13:12:02.00)
	67.9
	72.8

	(2025/11/25 13:15:02.00)
	69.7
	74.9

	(2025/11/25 13:18:02.00)
	68.6
	76.4

	(2025/11/25 13:21:02.00)
	70.1
	83.9

	(2025/11/25 13:24:02.00)
	70
	78.7

	(2025/11/25 13:27:02.00)
	68.9
	75

	(2025/11/25 13:30:02.00)
	70.6
	82.5

	(2025/11/25 13:33:02.00)
	69.7
	74.8

	(2025/11/25 13:36:02.00)
	69.5
	75.5

	(2025/11/25 13:39:02.00)
	67.8
	75.5

	(2025/11/25 13:42:02.00)
	68.5
	75.3

	(2025/11/25 13:45:02.00)
	69.2
	75.5

	(2025/11/25 13:48:02.00)
	68.4
	77.1

	(2025/11/25 13:51:02.00)
	72.6
	87

	(2025/11/25 13:54:03.00)
	68.2
	75.8

	(2025/11/25 13:57:02.00)
	69.8
	76

	(2025/11/25 14:00:02.00)
	67.9
	76.4

	(2025/11/25 14:03:02.00)
	69.1
	74.9

	(2025/11/25 14:06:02.00)
	69.3
	74.4

	(2025/11/25 14:09:02.00)
	69.5
	75

	(2025/11/25 14:12:02.00)
	67.5
	73.4

	(2025/11/25 14:15:02.00)
	68.5
	75.2

	(2025/11/25 14:18:02.00)
	69.8
	75

	(2025/11/25 14:21:02.00)
	69.6
	76

	(2025/11/25 14:24:03.00)
	68.8
	75

	(2025/11/25 14:27:02.00)
	69.2
	75.5

	(2025/11/25 14:30:02.00)
	68.7
	75.2

	(2025/11/25 14:33:02.00)
	70.7
	78.4

	(2025/11/25 14:36:02.00)
	71.6
	84.3

	(2025/11/25 14:39:02.00)
	68.6
	76.4

	(2025/11/25 14:42:02.00)
	68
	75.1

	(2025/11/25 14:45:02.00)
	71.4
	87.5

	(2025/11/25 14:48:02.00)
	69.3
	77.1

	(2025/11/25 14:51:02.00)
	68
	75.4

	(2025/11/25 14:54:02.00)
	68.4
	80.7

	(2025/11/25 14:57:02.00)
	69
	75.4

	(2025/11/25 15:00:02.00)
	70.2
	83.9

	(2025/11/25 15:03:02.00)
	69.1
	74.4

	(2025/11/25 15:06:02.00)
	69.1
	78.8

	(2025/11/25 15:09:02.00)
	74.4
	91.3

	(2025/11/25 15:12:02.00)
	68.7
	74.5

	(2025/11/25 15:15:02.00)
	69.3
	75.2

	(2025/11/25 15:18:02.00)
	68.8
	74.3

	(2025/11/25 15:21:02.00)
	69.2
	77.5

	(2025/11/25 15:24:02.00)
	68
	73.6

	(2025/11/25 15:27:02.00)
	68.8
	82.5

	(2025/11/25 15:30:02.00)
	69
	78.5

	(2025/11/25 15:33:02.00)
	69.3
	76.2

	(2025/11/25 15:36:02.00)
	69.9
	76.7

	(2025/11/25 15:39:02.00)
	70.3
	78.7

	(2025/11/25 15:42:02.00)
	68.5
	74.2

	(2025/11/25 15:45:02.00)
	68.3
	75.7

	(2025/11/25 15:48:02.00)
	70.5
	75

	(2025/11/25 15:51:02.00)
	68.9
	74.1

	(2025/11/25 15:54:02.00)
	68.7
	77

	(2025/11/25 15:57:02.00)
	69.5
	74.8

	(2025/11/25 16:00:02.00)
	70.2
	80.7

	(2025/11/25 16:03:02.00)
	69
	74.3

	(2025/11/25 16:06:02.00)
	70.9
	82

	(2025/11/25 16:09:02.00)
	69.5
	77.3

	(2025/11/25 16:12:02.00)
	70.6
	76.2

	(2025/11/25 16:15:02.00)
	69.6
	75.8

	(2025/11/25 16:18:03.00)
	68.3
	75

	(2025/11/25 16:21:02.00)
	69
	75.2

	(2025/11/25 16:24:02.00)
	69.4
	77.3

	(2025/11/25 16:27:02.00)
	69
	75.6

	(2025/11/25 16:30:02.00)
	69.7
	75.8

	(2025/11/25 16:33:02.00)
	70.5
	78.1

	(2025/11/25 16:36:02.00)
	68.7
	75.6

	(2025/11/25 16:39:02.00)
	68.2
	74.6

	(2025/11/25 16:42:02.00)
	69.3
	78.3

	(2025/11/25 16:45:02.00)
	69.9
	75.1

	(2025/11/25 16:48:02.00)
	72.1
	85.7

	(2025/11/25 16:51:02.00)
	69.2
	75.3

	(2025/11/25 16:54:02.00)
	70.4
	87.6

	(2025/11/25 16:57:02.00)
	69.9
	76

	(2025/11/25 17:00:02.00)
	69.6
	76.1

	(2025/11/25 17:03:02.00)
	68.5
	73.5

	(2025/11/25 17:06:02.00)
	70.8
	75.7

	(2025/11/25 17:09:02.00)
	69.2
	78.8

	(2025/11/25 17:12:02.00)
	69.7
	74.8

	(2025/11/25 17:15:02.00)
	69.8
	75.8

	(2025/11/25 17:18:02.00)
	69.8
	75.4

	(2025/11/25 17:21:02.00)
	70.1
	78.5

	(2025/11/25 17:24:02.00)
	69.8
	79.7

	(2025/11/25 17:27:02.00)
	68.8
	76

	(2025/11/25 17:30:02.00)
	68.5
	74

	(2025/11/25 17:33:02.00)
	70.5
	76.2

	(2025/11/25 17:36:02.00)
	70.7
	81

	(2025/11/25 17:39:02.00)
	69.3
	74.3

	(2025/11/25 17:42:02.00)
	70.1
	75.7

	(2025/11/25 17:45:02.00)
	69.2
	82.2

	(2025/11/25 17:48:02.00)
	69.8
	77.7

	(2025/11/25 17:51:02.00)
	77.5
	99.1

	(2025/11/25 17:54:02.00)
	70
	76.1

	(2025/11/25 17:57:02.00)
	69.3
	75.9

	(2025/11/25 18:00:02.00)
	71.2
	86.7

	(2025/11/25 18:03:02.00)
	70.2
	80.5

	(2025/11/25 18:06:02.00)
	70.5
	77.6

	(2025/11/25 18:09:02.00)
	70.2
	93.3

	(2025/11/25 18:12:02.00)
	69.1
	83.4

	(2025/11/25 18:15:02.00)
	72
	83.7

	(2025/11/25 18:18:02.00)
	71
	89.6

	(2025/11/25 18:21:02.00)
	70
	77

	(2025/11/25 18:24:02.00)
	70.8
	83.7

	(2025/11/25 18:27:02.00)
	69.2
	75.4

	(2025/11/25 18:30:02.00)
	68.2
	75.5

	(2025/11/25 18:33:02.00)
	69.7
	77

	(2025/11/25 18:36:02.00)
	70.6
	89.3

	(2025/11/25 18:39:02.00)
	70.3
	78.8

	(2025/11/25 18:42:02.00)
	70.4
	76.2

	(2025/11/25 18:45:02.00)
	69.2
	77.4

	(2025/11/25 18:48:02.00)
	70.8
	78.3

	(2025/11/25 18:51:02.00)
	69.1
	76.1

	(2025/11/25 18:54:02.00)
	69.6
	77.8

	(2025/11/25 18:57:02.00)
	69.3
	75.3

	(2025/11/25 19:00:02.00)
	68
	74.9

	(2025/11/25 19:03:02.00)
	69.4
	76.7

	(2025/11/25 19:06:02.00)
	70.6
	76.7

	(2025/11/25 19:09:02.00)
	68.2
	75.6

	(2025/11/25 19:12:02.00)
	70.9
	85.9

	(2025/11/25 19:15:02.00)
	69.2
	79

	(2025/11/25 19:18:02.00)
	67.8
	76.4

	(2025/11/25 19:21:02.00)
	70
	76

	(2025/11/25 19:24:02.00)
	67.7
	73.6

	(2025/11/25 19:27:02.00)
	71.4
	87.3

	(2025/11/25 19:30:02.00)
	68.2
	76.2

	(2025/11/25 19:33:02.00)
	67.2
	73

	(2025/11/25 19:36:02.00)
	67.3
	74.5

	(2025/11/25 19:39:02.00)
	68
	78.1

	(2025/11/25 19:42:02.00)
	68
	75.2

	(2025/11/25 19:45:02.00)
	67
	74.9

	(2025/11/25 19:48:02.00)
	67.3
	73.1

	(2025/11/25 19:51:02.00)
	70.3
	79.3

	(2025/11/25 19:54:02.00)
	68.9
	76.3

	(2025/11/25 19:57:02.00)
	70.2
	81.4

	(2025/11/25 20:00:02.00)
	67.6
	77.3

	(2025/11/25 20:03:02.00)
	68.1
	80.8

	(2025/11/25 20:06:02.00)
	69.2
	75.8

	(2025/11/25 20:09:02.00)
	66
	77.1

	(2025/11/25 20:12:02.00)
	68.1
	75.8

	(2025/11/25 20:15:02.00)
	67.6
	74.9

	(2025/11/25 20:18:02.00)
	66.4
	75.9

	(2025/11/25 20:21:02.00)
	67.3
	74.7

	(2025/11/25 20:24:02.00)
	66.2
	79

	(2025/11/25 20:27:02.00)
	67.3
	75.8

	(2025/11/25 20:30:02.00)
	66.6
	75.2

	(2025/11/25 20:33:02.00)
	65.2
	74.8

	(2025/11/25 20:36:02.00)
	66.3
	78

	(2025/11/25 20:39:02.00)
	66.7
	75.3

	(2025/11/25 20:42:02.00)
	66.8
	75.4

	(2025/11/25 20:45:02.00)
	63.7
	75.6

	(2025/11/25 20:48:02.00)
	66.1
	77.3

	(2025/11/25 20:51:02.00)
	64.7
	76

	(2025/11/25 20:54:02.00)
	66.7
	74.9

	(2025/11/25 20:57:02.00)
	67
	75.4

	(2025/11/25 21:00:02.00)
	67.1
	86

	(2025/11/25 21:03:02.00)
	64.7
	73.5

	(2025/11/25 21:06:02.00)
	67.3
	78.7

	(2025/11/25 21:09:02.00)
	65.1
	74.7

	(2025/11/25 21:12:02.00)
	67.8
	76

	(2025/11/25 21:15:02.00)
	67.7
	75.2

	(2025/11/25 21:18:02.00)
	64.3
	74.1

	(2025/11/25 21:21:02.00)
	66.1
	73.9

	(2025/11/25 21:24:02.00)
	67.8
	77.8

	(2025/11/25 21:27:02.00)
	65.6
	76.7

	(2025/11/25 21:30:02.00)
	66.8
	74.4

	(2025/11/25 21:33:02.00)
	70.1
	85.1

	(2025/11/25 21:36:02.00)
	65.5
	74.5

	(2025/11/25 21:39:02.00)
	64.6
	75.3

	(2025/11/25 21:42:02.00)
	65.3
	78.3

	(2025/11/25 21:45:02.00)
	63.6
	74.7

	(2025/11/25 21:48:03.00)
	65.7
	74.8

	(2025/11/25 21:51:02.00)
	64.6
	74.1

	(2025/11/25 21:54:02.00)
	62
	71.2

	(2025/11/25 21:57:02.00)
	65.5
	74

	(2025/11/25 22:00:02.00)
	66.2
	74.9

	(2025/11/25 22:03:02.00)
	65.3
	73.5

	(2025/11/25 22:06:02.00)
	67.2
	77

	(2025/11/25 22:09:03.00)
	65.9
	73.6

	(2025/11/25 22:12:02.00)
	67.5
	75.6

	(2025/11/25 22:15:02.00)
	66.3
	78.7

	(2025/11/25 22:18:02.00)
	65.3
	75.3

	(2025/11/25 22:21:02.00)
	63.7
	74.2

	(2025/11/25 22:24:02.00)
	62.8
	73.8

	(2025/11/25 22:27:02.00)
	64.1
	72.2

	(2025/11/25 22:30:02.00)
	64.7
	75.7

	(2025/11/25 22:33:02.00)
	61.4
	73.5

	(2025/11/25 22:36:02.00)
	65.3
	75.4

	(2025/11/25 22:39:02.00)
	62.6
	74.9

	(2025/11/25 22:42:02.00)
	65.4
	75.4

	(2025/11/25 22:45:02.00)
	62.7
	72.6

	(2025/11/25 22:48:02.00)
	64.5
	74.3

	(2025/11/25 22:51:02.00)
	63.8
	73.6

	(2025/11/25 22:54:02.00)
	64.5
	74.7

	(2025/11/25 22:57:02.00)
	69.9
	88.5

	(2025/11/25 23:00:02.00)
	61.9
	76.4

	(2025/11/25 23:03:02.00)
	62.9
	77

	(2025/11/25 23:06:02.00)
	62.2
	79.8

	(2025/11/25 23:09:03.00)
	64
	77.2

	(2025/11/25 23:12:02.00)
	63.1
	74.1

	(2025/11/25 23:15:02.00)
	57.6
	71.5

	(2025/11/25 23:18:02.00)
	66.5
	79.3

	(2025/11/25 23:21:02.00)
	60.5
	76

	(2025/11/25 23:24:02.00)
	62.6
	75.3

	(2025/11/25 23:27:02.00)
	56.9
	74.6

	(2025/11/25 23:30:02.00)
	61.3
	72.9

	(2025/11/25 23:33:02.00)
	57.3
	71.1

	(2025/11/25 23:36:03.00)
	59.6
	73.7

	(2025/11/25 23:39:02.00)
	60.3
	72.1

	(2025/11/25 23:42:02.00)
	62.5
	75.7

	(2025/11/25 23:45:02.00)
	62.5
	75.9

	(2025/11/25 23:48:02.00)
	57.2
	70.5

	(2025/11/25 23:51:02.00)
	62
	77.1

	(2025/11/25 23:54:03.00)
	61.9
	74.2

	(2025/11/25 23:57:02.00)
	59.5
	75.1

	(2025/11/26 00:00:03.00)
	56.5
	73.1

	(2025/11/26 00:03:02.00)
	56.3
	69.8

	(2025/11/26 00:06:02.00)
	62.2
	75.6

	(2025/11/26 00:09:02.00)
	61.7
	78.1

	(2025/11/26 00:12:02.00)
	61.2
	75.8

	(2025/11/26 00:15:02.00)
	60.7
	75.2

	(2025/11/26 00:18:02.00)
	61
	73

	(2025/11/26 00:21:02.00)
	58.4
	72.7

	(2025/11/26 00:24:02.00)
	60.3
	73.2

	(2025/11/26 00:27:02.00)
	58.2
	72.5

	(2025/11/26 00:30:02.00)
	56.1
	75.8

	(2025/11/26 00:33:02.00)
	56.6
	73.6

	(2025/11/26 00:36:02.00)
	55.7
	71.9

	(2025/11/26 00:39:02.00)
	60.2
	77.1

	(2025/11/26 00:42:02.00)
	49.7
	65.8

	(2025/11/26 00:45:02.00)
	51.5
	64.2

	(2025/11/26 00:48:02.00)
	60.4
	72.5

	(2025/11/26 00:51:02.00)
	63.5
	76.3

	(2025/11/26 00:54:02.00)
	61.5
	79.1

	(2025/11/26 00:57:02.00)
	58
	70.3

	(2025/11/26 01:00:02.00)
	59.5
	74.3

	(2025/11/26 01:03:02.00)
	60.1
	73.6

	(2025/11/26 01:06:02.00)
	59.1
	73

	(2025/11/26 01:09:02.00)
	59.1
	74.7

	(2025/11/26 01:12:02.00)
	57.1
	73.4

	(2025/11/26 01:15:02.00)
	35
	44.8

	(2025/11/26 01:18:02.00)
	37.1
	45.1

	(2025/11/26 01:21:02.00)
	56
	71

	(2025/11/26 01:24:02.00)
	53.8
	71.2

	(2025/11/26 01:27:02.00)
	51.7
	68

	(2025/11/26 01:30:02.00)
	37.5
	49.2

	(2025/11/26 01:33:02.00)
	58.6
	75.6

	(2025/11/26 01:36:02.00)
	36.2
	52

	(2025/11/26 01:39:02.00)
	59.1
	75.4

	(2025/11/26 01:42:02.00)
	54.1
	71.2

	(2025/11/26 01:45:02.00)
	34.9
	47.9

	(2025/11/26 01:48:02.00)
	52.2
	68.6

	(2025/11/26 01:51:02.00)
	44.1
	61.3

	(2025/11/26 01:54:02.00)
	47.8
	68.3

	(2025/11/26 01:57:02.00)
	42
	57.1

	(2025/11/26 02:00:02.00)
	49.7
	65.8

	(2025/11/26 02:03:02.00)
	57.7
	73

	(2025/11/26 02:06:02.00)
	36
	45.8

	(2025/11/26 02:09:02.00)
	58.2
	75

	(2025/11/26 02:12:02.00)
	55.2
	70.7

	(2025/11/26 02:15:02.00)
	59.3
	73.9

	(2025/11/26 02:18:02.00)
	40.4
	52.2

	(2025/11/26 02:21:02.00)
	51.6
	64.6

	(2025/11/26 02:24:02.00)
	56.8
	73.3

	(2025/11/26 02:27:02.00)
	38
	52

	(2025/11/26 02:30:02.00)
	58.5
	71.1

	(2025/11/26 02:33:02.00)
	36
	47.8

	(2025/11/26 02:36:02.00)
	57.5
	73.7

	(2025/11/26 02:39:02.00)
	48.6
	59.7

	(2025/11/26 02:42:02.00)
	36.2
	46

	(2025/11/26 02:45:02.00)
	35.6
	45.6

	(2025/11/26 02:48:02.00)
	32.7
	42.3

	(2025/11/26 02:51:02.00)
	34
	41.8

	(2025/11/26 02:54:02.00)
	42.7
	55.4

	(2025/11/26 02:57:02.00)
	35.6
	42.3

	(2025/11/26 03:00:02.00)
	39.5
	51.3

	(2025/11/26 03:03:02.00)
	38.7
	46.2

	(2025/11/26 03:06:02.00)
	35.9
	51.2

	(2025/11/26 03:09:02.00)
	53.2
	68.2

	(2025/11/26 03:12:02.00)
	55.2
	71

	(2025/11/26 03:15:02.00)
	40.5
	50.1

	(2025/11/26 03:18:02.00)
	37.8
	45

	(2025/11/26 03:21:02.00)
	47.3
	61.4

	(2025/11/26 03:24:02.00)
	39.3
	44.9

	(2025/11/26 03:27:02.00)
	37.6
	48.1

	(2025/11/26 03:30:02.00)
	57.5
	74

	(2025/11/26 03:33:02.00)
	49.2
	63.5

	(2025/11/26 03:36:02.00)
	52.9
	71.8

	(2025/11/26 03:39:02.00)
	39.6
	47.7

	(2025/11/26 03:42:02.00)
	55.4
	72.2

	(2025/11/26 03:45:02.00)
	44.7
	55.8

	(2025/11/26 03:48:02.00)
	57.3
	70.2

	(2025/11/26 03:51:02.00)
	61.5
	74.4

	(2025/11/26 03:54:02.00)
	64.8
	80.7

	(2025/11/26 03:57:02.00)
	52.4
	67

	(2025/11/26 04:00:02.00)
	56.5
	72.6

	(2025/11/26 04:03:02.00)
	57.8
	76.3

	(2025/11/26 04:06:02.00)
	52.8
	66.1

	(2025/11/26 04:09:02.00)
	52.6
	64

	(2025/11/26 04:12:02.00)
	38.1
	47.4

	(2025/11/26 04:15:03.00)
	53
	70.3

	(2025/11/26 04:18:02.00)
	40.5
	52.5

	(2025/11/26 04:21:02.00)
	57.4
	72.1

	(2025/11/26 04:24:02.00)
	57.7
	69.5

	(2025/11/26 04:27:02.00)
	59.6
	72.6

	(2025/11/26 04:30:02.00)
	60.2
	73.8

	(2025/11/26 04:33:02.00)
	60.4
	74

	(2025/11/26 04:36:02.00)
	49.3
	61

	(2025/11/26 04:39:02.00)
	60.7
	78

	(2025/11/26 04:42:02.00)
	59.6
	73.9

	(2025/11/26 04:45:02.00)
	61.5
	72.9

	(2025/11/26 04:48:02.00)
	63.7
	76

	(2025/11/26 04:51:02.00)
	45.6
	53.4

	(2025/11/26 04:54:02.00)
	58.1
	72.1

	(2025/11/26 04:57:03.00)
	60
	72.1

	(2025/11/26 05:00:02.00)
	64.1
	76.1

	(2025/11/26 05:03:02.00)
	62.5
	75.1

	(2025/11/26 05:06:02.00)
	60.3
	73.2

	(2025/11/26 05:09:02.00)
	66
	76.2

	(2025/11/26 05:12:02.00)
	62.8
	76

	(2025/11/26 05:15:02.00)
	55.7
	70.8

	(2025/11/26 05:18:02.00)
	63.2
	73.6

	(2025/11/26 05:21:02.00)
	67
	81.2

	(2025/11/26 05:24:02.00)
	65.4
	78.7

	(2025/11/26 05:27:02.00)
	62.4
	73.4

	(2025/11/26 05:30:02.00)
	65.1
	76.2

	(2025/11/26 05:33:02.00)
	64.9
	74.5

	(2025/11/26 05:36:02.00)
	64.2
	74.3

	(2025/11/26 05:39:02.00)
	64.7
	77.2

	(2025/11/26 05:42:02.00)
	64.7
	78.7

	(2025/11/26 05:45:02.00)
	65.2
	75.4

	(2025/11/26 05:48:02.00)
	66.2
	77.3

	(2025/11/26 05:51:02.00)
	64.3
	74.6

	(2025/11/26 05:54:02.00)
	67.4
	76.6

	(2025/11/26 05:57:02.00)
	65.5
	74.7

	(2025/11/26 06:00:02.00)
	64.4
	73.6

	(2025/11/26 06:03:02.00)
	63.5
	74.8

	(2025/11/26 06:06:02.00)
	66.1
	76.1

	(2025/11/26 06:09:02.00)
	66.6
	76

	(2025/11/26 06:12:02.00)
	63.9
	75.2

	(2025/11/26 06:15:02.00)
	64.4
	74.9

	(2025/11/26 06:18:02.00)
	65.2
	74.5

	(2025/11/26 06:21:02.00)
	65.5
	75.3

	(2025/11/26 06:24:02.00)
	63.1
	75.8

	(2025/11/26 06:27:02.00)
	67.1
	79.5

	(2025/11/26 06:30:02.00)
	66.7
	78.3

	(2025/11/26 06:33:02.00)
	68.8
	82.7

	(2025/11/26 06:36:02.00)
	68.5
	77.1

	(2025/11/26 06:39:02.00)
	70
	88.4

	(2025/11/26 06:42:02.00)
	69
	75.6

	(2025/11/26 06:45:02.00)
	69.7
	78.4

	(2025/11/26 06:48:02.00)
	69.8
	79.1

	(2025/11/26 06:51:02.00)
	68
	78.5

	(2025/11/26 06:54:02.00)
	67.7
	76.8

	(2025/11/26 06:57:02.00)
	70.1
	78.3

	(2025/11/26 07:00:02.00)
	68.8
	77.6

	(2025/11/26 07:03:02.00)
	69.3
	77.2

	(2025/11/26 07:06:02.00)
	70.5
	77.1

	(2025/11/26 07:09:02.00)
	71.6
	85.6

	(2025/11/26 07:12:02.00)
	69.4
	77.2

	(2025/11/26 07:15:02.00)
	71.4
	79.1

	(2025/11/26 07:18:02.00)
	69.2
	75.1

	(2025/11/26 07:21:02.00)
	70.7
	76.8

	(2025/11/26 07:24:02.00)
	69.8
	76.7

	(2025/11/26 07:27:02.00)
	69.9
	75.7

	(2025/11/26 07:30:02.00)
	69.8
	80

	(2025/11/26 07:33:02.00)
	70.9
	78.1

	(2025/11/26 07:36:02.00)
	71.7
	79.2

	(2025/11/26 07:39:02.00)
	70.6
	75.9

	(2025/11/26 07:42:02.00)
	71.2
	79

	(2025/11/26 07:45:02.00)
	69.8
	76.6

	(2025/11/26 07:48:02.00)
	71.7
	79

	(2025/11/26 07:51:02.00)
	72
	77.8

	(2025/11/26 07:54:02.00)
	70.6
	79.1

	(2025/11/26 07:57:02.00)
	70.7
	76.7

	(2025/11/26 08:00:02.00)
	72.2
	80.9

	(2025/11/26 08:03:02.00)
	72.3
	77.1

	(2025/11/26 08:06:02.00)
	71.5
	77.3

	(2025/11/26 08:09:02.00)
	71.1
	77.2

	(2025/11/26 08:12:02.00)
	72
	77

	(2025/11/26 08:15:02.00)
	71.5
	76.6

	(2025/11/26 08:18:02.00)
	70.3
	76.8

	(2025/11/26 08:21:02.00)
	69.2
	75.6

	(2025/11/26 08:24:03.00)
	70.3
	82.2

	(2025/11/26 08:27:02.00)
	71
	77.9

	(2025/11/26 08:30:02.00)
	70.9
	75.3

	(2025/11/26 08:33:02.00)
	71.6
	81.2

	(2025/11/26 08:36:02.00)
	71.4
	76.7

	(2025/11/26 08:39:02.00)
	70.8
	77.7

	(2025/11/26 08:42:02.00)
	70.9
	79.8

	(2025/11/26 08:45:02.00)
	71
	76.4

	(2025/11/26 08:48:02.00)
	72
	78.4

	(2025/11/26 08:51:02.00)
	70.7
	75.5

	(2025/11/26 08:54:02.00)
	71
	76.8

	(2025/11/26 08:57:02.00)
	70
	80.1

	(2025/11/26 09:00:02.00)
	71.7
	77.2

	(2025/11/26 09:03:02.00)
	71.5
	77.6

	(2025/11/26 09:06:02.00)
	71.2
	84.6

	(2025/11/26 09:09:02.00)
	70
	76.2

	(2025/11/26 09:12:02.00)
	70.5
	78.1

	(2025/11/26 09:15:02.00)
	71.3
	76.1

	(2025/11/26 09:18:02.00)
	70
	75.9

	(2025/11/26 09:21:02.00)
	71.8
	77.2

	(2025/11/26 09:24:02.00)
	70.4
	76.7

	(2025/11/26 09:27:02.00)
	69.7
	76.4

	(2025/11/26 09:30:02.00)
	70.5
	77.3

	(2025/11/26 09:33:02.00)
	70.5
	83.8

	(2025/11/26 09:36:02.00)
	70.2
	76.4

	(2025/11/26 09:39:02.00)
	71
	77

	(2025/11/26 09:42:02.00)
	69.8
	75.9

	(2025/11/26 09:45:02.00)
	69.7
	75.8

	(2025/11/26 09:48:02.00)
	70.4
	76.7

	(2025/11/26 09:51:02.00)
	69.8
	76.2

	(2025/11/26 09:54:02.00)
	70
	76.4

	(2025/11/26 09:57:02.00)
	69.1
	75.6

	(2025/11/26 10:00:02.00)
	70.6
	77.3

	(2025/11/26 10:03:02.00)
	69.2
	75.5

	(2025/11/26 10:06:02.00)
	72.2
	84.2
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	Time Period
	LAeq
	LAmax

	(2025/11/26 10:27:02.00)
	50.9
	61.8

	(2025/11/26 10:30:02.00)
	51.4
	69.3

	(2025/11/26 10:33:02.00)
	51.8
	66.1

	(2025/11/26 10:36:02.00)
	59.6
	83

	(2025/11/26 10:39:02.00)
	51.4
	63.7

	(2025/11/26 10:42:02.00)
	53.8
	73.3

	(2025/11/26 10:45:02.00)
	51.4
	60.2

	(2025/11/26 10:48:02.00)
	52.3
	65

	(2025/11/26 10:51:02.00)
	50.5
	60.7

	(2025/11/26 10:54:02.00)
	54
	70.6

	(2025/11/26 10:57:02.00)
	51.2
	60.7

	(2025/11/26 11:00:02.00)
	51.3
	68.7

	(2025/11/26 11:03:02.00)
	50.8
	65.7

	(2025/11/26 11:06:02.00)
	50.8
	69.4

	(2025/11/26 11:09:02.00)
	49.6
	69.6

	(2025/11/26 11:12:02.00)
	52.5
	72

	(2025/11/26 11:15:02.00)
	52.4
	71

	(2025/11/26 11:18:02.00)
	54.5
	76.6

	(2025/11/26 11:21:02.00)
	51.5
	58.7

	(2025/11/26 11:24:02.00)
	50
	59.4

	(2025/11/26 11:27:02.00)
	50.6
	63.1

	(2025/11/26 11:30:02.00)
	50.5
	61.7

	(2025/11/26 11:33:02.00)
	51.8
	61.8

	(2025/11/26 11:36:02.00)
	53.1
	69.8

	(2025/11/26 11:39:02.00)
	50.5
	58.5

	(2025/11/26 11:42:02.00)
	51.1
	62.4

	(2025/11/26 11:45:02.00)
	52.2
	64.1

	(2025/11/26 11:48:02.00)
	50.1
	59.5

	(2025/11/26 11:51:03.00)
	50.1
	60.9

	(2025/11/26 11:54:02.00)
	50.9
	61.4

	(2025/11/26 11:57:02.00)
	50.6
	60.4

	(2025/11/26 12:00:02.00)
	48.6
	60

	(2025/11/26 12:03:02.00)
	51.9
	63.2

	(2025/11/26 12:06:02.00)
	49.4
	62.8

	(2025/11/26 12:09:02.00)
	49.3
	59

	(2025/11/26 12:12:02.00)
	49.1
	59.4

	(2025/11/26 12:15:02.00)
	47.8
	54.6

	(2025/11/26 12:18:02.00)
	51.2
	60.5

	(2025/11/26 12:21:02.00)
	51.5
	60.8

	(2025/11/26 12:24:02.00)
	49.7
	61.6

	(2025/11/26 12:27:02.00)
	50.6
	61.8

	(2025/11/26 12:30:02.00)
	49.8
	59.5

	(2025/11/26 12:33:02.00)
	52.1
	65.9

	(2025/11/26 12:36:02.00)
	49.9
	59

	(2025/11/26 12:39:02.00)
	47.9
	54.2

	(2025/11/26 12:42:02.00)
	52.7
	63.6

	(2025/11/26 12:45:02.00)
	50.3
	59.1

	(2025/11/26 12:48:02.00)
	52.3
	65.4

	(2025/11/26 12:51:02.00)
	50.3
	59.4

	(2025/11/26 12:54:02.00)
	49.8
	57.8

	(2025/11/26 12:57:02.00)
	50.3
	61.7

	(2025/11/26 13:00:02.00)
	49.4
	56.3

	(2025/11/26 13:03:02.00)
	49.5
	57.7

	(2025/11/26 13:06:02.00)
	49.5
	57.4

	(2025/11/26 13:09:02.00)
	50.7
	61

	(2025/11/26 13:12:02.00)
	50.9
	61.1

	(2025/11/26 13:15:02.00)
	51
	61.2

	(2025/11/26 13:18:02.00)
	50.2
	58.8

	(2025/11/26 13:21:02.00)
	49.4
	59.3

	(2025/11/26 13:24:03.00)
	50.6
	61.8

	(2025/11/26 13:27:02.00)
	49.7
	60.2

	(2025/11/26 13:30:02.00)
	50.6
	61.1

	(2025/11/26 13:33:02.00)
	48.6
	54

	(2025/11/26 13:36:02.00)
	47.7
	57.5

	(2025/11/26 13:39:02.00)
	49
	60.2

	(2025/11/26 13:42:02.00)
	51.8
	59.7

	(2025/11/26 13:45:02.00)
	49.7
	60.5

	(2025/11/26 13:48:02.00)
	49.1
	63.1

	(2025/11/26 13:51:03.00)
	51.1
	61

	(2025/11/26 13:54:02.00)
	51.1
	61.5

	(2025/11/26 13:57:02.00)
	49.1
	59.1

	(2025/11/26 14:00:03.00)
	50.1
	59.6

	(2025/11/26 14:03:03.00)
	50
	60.1

	(2025/11/26 14:06:02.00)
	49.6
	58.9

	(2025/11/26 14:09:02.00)
	50.6
	61.3

	(2025/11/26 14:12:02.00)
	51.4
	61.8

	(2025/11/26 14:15:02.00)
	49.2
	57.4

	(2025/11/26 14:18:02.00)
	49.7
	59.1

	(2025/11/26 14:21:02.00)
	48.8
	59.2

	(2025/11/26 14:24:02.00)
	50.2
	61.5

	(2025/11/26 14:27:02.00)
	49.6
	60.5

	(2025/11/26 14:30:02.00)
	51.5
	63

	(2025/11/26 14:33:02.00)
	49.9
	61.9

	(2025/11/26 14:36:03.00)
	50.5
	57.5

	(2025/11/26 14:39:02.00)
	48.8
	56.1

	(2025/11/26 14:42:02.00)
	50.6
	61.4

	(2025/11/26 14:45:02.00)
	50.3
	62.3

	(2025/11/26 14:48:02.00)
	50.5
	60.5

	(2025/11/26 14:51:02.00)
	49.6
	59.8

	(2025/11/26 14:54:03.00)
	51
	61.6

	(2025/11/26 14:57:02.00)
	51.7
	61

	(2025/11/26 15:00:02.00)
	52.3
	65

	(2025/11/26 15:03:02.00)
	52.8
	64.8

	(2025/11/26 15:06:03.00)
	51
	61.3

	(2025/11/26 15:09:02.00)
	54
	68.2

	(2025/11/26 15:12:02.00)
	48.6
	58.4

	(2025/11/26 15:15:02.00)
	49.7
	59.8

	(2025/11/26 15:18:02.00)
	48.7
	57.7

	(2025/11/26 15:21:02.00)
	52
	62.6

	(2025/11/26 15:24:02.00)
	49
	55.7

	(2025/11/26 15:27:02.00)
	50
	60.6

	(2025/11/26 15:30:02.00)
	51.3
	62.6

	(2025/11/26 15:33:02.00)
	49.1
	60.7

	(2025/11/26 15:36:02.00)
	50.6
	61.7

	(2025/11/26 15:39:02.00)
	50.5
	60.3

	(2025/11/26 15:42:02.00)
	49.5
	60.8

	(2025/11/26 15:45:02.00)
	50
	58.8

	(2025/11/26 15:48:02.00)
	50.4
	56

	(2025/11/26 15:51:02.00)
	49.9
	59.8

	(2025/11/26 15:54:02.00)
	51.1
	60.2

	(2025/11/26 15:57:02.00)
	50
	56

	(2025/11/26 16:00:02.00)
	49.7
	60.5

	(2025/11/26 16:03:02.00)
	52.6
	63.6

	(2025/11/26 16:06:03.00)
	51
	60.5

	(2025/11/26 16:09:02.00)
	52.3
	64.2

	(2025/11/26 16:12:02.00)
	50.8
	59.8

	(2025/11/26 16:15:02.00)
	50.9
	59.9

	(2025/11/26 16:18:02.00)
	51
	65.4

	(2025/11/26 16:21:02.00)
	50.2
	56.7

	(2025/11/26 16:24:02.00)
	51.1
	60.7

	(2025/11/26 16:27:02.00)
	49.5
	54.8

	(2025/11/26 16:30:02.00)
	50.8
	59.8

	(2025/11/26 16:33:02.00)
	51.2
	61.2

	(2025/11/26 16:36:03.00)
	51.1
	58.3

	(2025/11/26 16:39:02.00)
	51.1
	58.4

	(2025/11/26 16:42:02.00)
	52
	63.5

	(2025/11/26 16:45:02.00)
	60.9
	80.5

	(2025/11/26 16:48:02.00)
	52.9
	64.7

	(2025/11/26 16:51:03.00)
	50.5
	56.6

	(2025/11/26 16:54:02.00)
	55.8
	70.6

	(2025/11/26 16:57:02.00)
	55.2
	71.4

	(2025/11/26 17:00:02.00)
	51.8
	63.8

	(2025/11/26 17:03:03.00)
	51.5
	61.8

	(2025/11/26 17:06:02.00)
	50.2
	57.1

	(2025/11/26 17:09:02.00)
	50.1
	58.2

	(2025/11/26 17:12:02.00)
	50.5
	55.7

	(2025/11/26 17:15:02.00)
	52.2
	60.4

	(2025/11/26 17:18:02.00)
	51.3
	62.5

	(2025/11/26 17:21:02.00)
	50.8
	61

	(2025/11/26 17:24:02.00)
	50.6
	58.7

	(2025/11/26 17:27:02.00)
	50.3
	54.3

	(2025/11/26 17:30:02.00)
	58
	75.9

	(2025/11/26 17:33:02.00)
	51.4
	56.7

	(2025/11/26 17:36:02.00)
	50.4
	58

	(2025/11/26 17:39:02.00)
	49.9
	57.1

	(2025/11/26 17:42:02.00)
	50.8
	59.2

	(2025/11/26 17:45:02.00)
	50.7
	59.5

	(2025/11/26 17:48:02.00)
	51.5
	62.1

	(2025/11/26 17:51:03.00)
	49.2
	56

	(2025/11/26 17:54:03.00)
	50
	55.1

	(2025/11/26 17:57:02.00)
	50.1
	57.1

	(2025/11/26 18:00:02.00)
	51.2
	60.3

	(2025/11/26 18:03:02.00)
	51.5
	60.2

	(2025/11/26 18:06:02.00)
	51.8
	57.5

	(2025/11/26 18:09:02.00)
	51.2
	57.8

	(2025/11/26 18:12:02.00)
	50.9
	60.9

	(2025/11/26 18:15:02.00)
	50.7
	59.3

	(2025/11/26 18:18:02.00)
	48.9
	58.7

	(2025/11/26 18:21:02.00)
	51.8
	59

	(2025/11/26 18:24:02.00)
	50.6
	55.6

	(2025/11/26 18:27:02.00)
	52.1
	59.6

	(2025/11/26 18:30:02.00)
	50
	59

	(2025/11/26 18:33:02.00)
	51.6
	58.1

	(2025/11/26 18:36:03.00)
	50.8
	58.4

	(2025/11/26 18:39:02.00)
	49.8
	59.9

	(2025/11/26 18:42:02.00)
	49.7
	54.1

	(2025/11/26 18:45:03.00)
	50.3
	60.5

	(2025/11/26 18:48:02.00)
	48.1
	52.7

	(2025/11/26 18:51:02.00)
	49.7
	54.8

	(2025/11/26 18:54:02.00)
	50.1
	58.8

	(2025/11/26 18:57:02.00)
	49.5
	59.6

	(2025/11/26 19:00:02.00)
	50.2
	57.6

	(2025/11/26 19:03:02.00)
	51
	60

	(2025/11/26 19:06:02.00)
	49.2
	57.9

	(2025/11/26 19:09:02.00)
	50.5
	62

	(2025/11/26 19:12:02.00)
	49.8
	57.8

	(2025/11/26 19:15:02.00)
	50.8
	61.4

	(2025/11/26 19:18:02.00)
	49.6
	59.2

	(2025/11/26 19:21:02.00)
	50.1
	60.6

	(2025/11/26 19:24:02.00)
	48.5
	55.4

	(2025/11/26 19:27:02.00)
	50.3
	60.6

	(2025/11/26 19:30:02.00)
	48.9
	57.7

	(2025/11/26 19:33:02.00)
	49.4
	54.3

	(2025/11/26 19:36:02.00)
	49.9
	60.9

	(2025/11/26 19:39:02.00)
	48
	57.6

	(2025/11/26 19:42:02.00)
	50.1
	62.2

	(2025/11/26 19:45:02.00)
	48.1
	54.8

	(2025/11/26 19:48:03.00)
	49.1
	62.4

	(2025/11/26 19:51:02.00)
	48.3
	55.5

	(2025/11/26 19:54:02.00)
	46.9
	52.3

	(2025/11/26 19:57:02.00)
	46.5
	51.5

	(2025/11/26 20:00:02.00)
	48.2
	60.5

	(2025/11/26 20:03:02.00)
	49.6
	60.8

	(2025/11/26 20:06:02.00)
	47.5
	52.6

	(2025/11/26 20:09:02.00)
	48.7
	57.7

	(2025/11/26 20:12:02.00)
	48
	54.7

	(2025/11/26 20:15:02.00)
	48.8
	54.1

	(2025/11/26 20:18:02.00)
	49.7
	53.5

	(2025/11/26 20:21:02.00)
	49.8
	60.3

	(2025/11/26 20:24:02.00)
	51.5
	66.8

	(2025/11/26 20:27:02.00)
	47.7
	54.6

	(2025/11/26 20:30:02.00)
	48.1
	54.8

	(2025/11/26 20:33:02.00)
	48.5
	54.9

	(2025/11/26 20:36:02.00)
	48.5
	54.2

	(2025/11/26 20:39:02.00)
	46.7
	53.4

	(2025/11/26 20:42:02.00)
	49.2
	61.9

	(2025/11/26 20:45:02.00)
	47.7
	59

	(2025/11/26 20:48:02.00)
	45.3
	53.7

	(2025/11/26 20:51:02.00)
	45.7
	54.3

	(2025/11/26 20:54:02.00)
	46.7
	64.9

	(2025/11/26 20:57:02.00)
	46.9
	64.3

	(2025/11/26 21:00:02.00)
	47.9
	53.5

	(2025/11/26 21:03:02.00)
	45.7
	51.4

	(2025/11/26 21:06:02.00)
	48.1
	57.3

	(2025/11/26 21:09:03.00)
	48.9
	54.4

	(2025/11/26 21:12:02.00)
	47.3
	55.3

	(2025/11/26 21:15:02.00)
	47.6
	71.7

	(2025/11/26 21:18:02.00)
	49.3
	61.7

	(2025/11/26 21:21:02.00)
	47
	62.2

	(2025/11/26 21:24:02.00)
	49.9
	56.3

	(2025/11/26 21:27:02.00)
	48.7
	61

	(2025/11/26 21:30:02.00)
	47.7
	54.7

	(2025/11/26 21:33:02.00)
	50.6
	59.3

	(2025/11/26 21:36:02.00)
	50
	57.5

	(2025/11/26 21:39:02.00)
	46.8
	57.8

	(2025/11/26 21:42:02.00)
	47.9
	54.7

	(2025/11/26 21:45:02.00)
	47.7
	53.8

	(2025/11/26 21:48:02.00)
	46.9
	54.8

	(2025/11/26 21:51:02.00)
	47.3
	59.9

	(2025/11/26 21:54:02.00)
	47.7
	61.5

	(2025/11/26 21:57:02.00)
	47.2
	57.8

	(2025/11/26 22:00:03.00)
	49.3
	59.4

	(2025/11/26 22:03:02.00)
	44.9
	52.8

	(2025/11/26 22:06:02.00)
	46.8
	57.7

	(2025/11/26 22:09:02.00)
	46.8
	63.1

	(2025/11/26 22:12:02.00)
	47.1
	53.2

	(2025/11/26 22:15:02.00)
	48.1
	56.7

	(2025/11/26 22:18:02.00)
	46.9
	53.7

	(2025/11/26 22:21:02.00)
	45.6
	53.8

	(2025/11/26 22:24:02.00)
	49.5
	57.4

	(2025/11/26 22:27:03.00)
	47.4
	56.1

	(2025/11/26 22:30:02.00)
	46.5
	54.2

	(2025/11/26 22:33:02.00)
	46.9
	57.6

	(2025/11/26 22:36:03.00)
	46.1
	57.5

	(2025/11/26 22:39:02.00)
	49.2
	64.1

	(2025/11/26 22:42:02.00)
	46.7
	53.8

	(2025/11/26 22:45:02.00)
	47.6
	58.2

	(2025/11/26 22:48:02.00)
	48.7
	59.1

	(2025/11/26 22:51:02.00)
	47.6
	56.3

	(2025/11/26 22:54:02.00)
	47.9
	56.9

	(2025/11/26 22:57:02.00)
	44.5
	57.2

	(2025/11/26 23:00:02.00)
	44.5
	52.6

	(2025/11/26 23:03:02.00)
	46.5
	55.2

	(2025/11/26 23:06:02.00)
	46
	56

	(2025/11/26 23:09:02.00)
	45.8
	59.9

	(2025/11/26 23:12:02.00)
	47.7
	56.6

	(2025/11/26 23:15:02.00)
	46.9
	54.4

	(2025/11/26 23:18:02.00)
	47.3
	55.9

	(2025/11/26 23:21:02.00)
	47.6
	58.8

	(2025/11/26 23:24:02.00)
	48.1
	56.3

	(2025/11/26 23:27:02.00)
	42
	51.4

	(2025/11/26 23:30:02.00)
	46.3
	57.9

	(2025/11/26 23:33:02.00)
	44
	52.7

	(2025/11/26 23:36:03.00)
	44.6
	54.3

	(2025/11/26 23:39:02.00)
	46.2
	61.9

	(2025/11/26 23:42:02.00)
	46.9
	55.6

	(2025/11/26 23:45:02.00)
	47.3
	57.1

	(2025/11/26 23:48:02.00)
	45.5
	54.6

	(2025/11/26 23:51:02.00)
	45.8
	53.5

	(2025/11/26 23:54:03.00)
	47.9
	57.7

	(2025/11/26 23:57:02.00)
	45.8
	53.6

	(2025/11/27 00:00:03.00)
	46.1
	56.7

	(2025/11/27 00:03:02.00)
	45.6
	54.2

	(2025/11/27 00:06:02.00)
	46.5
	57

	(2025/11/27 00:09:02.00)
	47.1
	56.8

	(2025/11/27 00:12:02.00)
	45.3
	56.1

	(2025/11/27 00:15:02.00)
	46.1
	56.5

	(2025/11/27 00:18:02.00)
	47.5
	55.1

	(2025/11/27 00:21:02.00)
	46.7
	53.5

	(2025/11/27 00:24:02.00)
	43.7
	52.4

	(2025/11/27 00:27:02.00)
	43.7
	57

	(2025/11/27 00:30:02.00)
	46.5
	58.7

	(2025/11/27 00:33:02.00)
	43.2
	59.5

	(2025/11/27 00:36:02.00)
	43.6
	55.6

	(2025/11/27 00:39:02.00)
	42.9
	57.7

	(2025/11/27 00:42:02.00)
	43.1
	56.3

	(2025/11/27 00:45:02.00)
	46.8
	58.2

	(2025/11/27 00:48:02.00)
	43.8
	58.9

	(2025/11/27 00:51:02.00)
	42.7
	57.3

	(2025/11/27 00:54:02.00)
	39.6
	55.5

	(2025/11/27 00:57:02.00)
	43.2
	60.6

	(2025/11/27 01:00:02.00)
	43
	58.7

	(2025/11/27 01:03:02.00)
	44.3
	59.1

	(2025/11/27 01:06:02.00)
	47.5
	61.6

	(2025/11/27 01:09:02.00)
	45.8
	58

	(2025/11/27 01:12:02.00)
	45.5
	58.7

	(2025/11/27 01:15:02.00)
	42.4
	56.8

	(2025/11/27 01:18:02.00)
	42.4
	57.7

	(2025/11/27 01:21:02.00)
	41.4
	56.8

	(2025/11/27 01:24:02.00)
	42.8
	56.7

	(2025/11/27 01:27:02.00)
	42.7
	66.3

	(2025/11/27 01:30:02.00)
	43.6
	58.8

	(2025/11/27 01:33:02.00)
	45.8
	62

	(2025/11/27 01:36:02.00)
	43.4
	55.9

	(2025/11/27 01:39:02.00)
	43.1
	63.1

	(2025/11/27 01:42:02.00)
	43.7
	62.3

	(2025/11/27 01:45:02.00)
	40.7
	58.6

	(2025/11/27 01:48:02.00)
	39.7
	54.8

	(2025/11/27 01:51:02.00)
	44.9
	62.9

	(2025/11/27 01:54:02.00)
	42.1
	60.5

	(2025/11/27 01:57:02.00)
	45.7
	59.2

	(2025/11/27 02:00:02.00)
	45.6
	57.4

	(2025/11/27 02:03:02.00)
	41.5
	56.1

	(2025/11/27 02:06:02.00)
	35.3
	54.9

	(2025/11/27 02:09:02.00)
	38
	51

	(2025/11/27 02:12:02.00)
	38.5
	55.3

	(2025/11/27 02:15:02.00)
	47.9
	65

	(2025/11/27 02:18:02.00)
	40.1
	59.2

	(2025/11/27 02:21:02.00)
	40.3
	46.7

	(2025/11/27 02:24:02.00)
	45.6
	57.7

	(2025/11/27 02:27:02.00)
	37.2
	48.9

	(2025/11/27 02:30:02.00)
	42.8
	61

	(2025/11/27 02:33:02.00)
	40.7
	56.7

	(2025/11/27 02:36:02.00)
	44.2
	59.4

	(2025/11/27 02:39:02.00)
	40.7
	62.4

	(2025/11/27 02:42:02.00)
	43.1
	59.9

	(2025/11/27 02:45:02.00)
	43.7
	56.2

	(2025/11/27 02:48:02.00)
	44.4
	55

	(2025/11/27 02:51:02.00)
	40.4
	57.3

	(2025/11/27 02:54:02.00)
	41.2
	57.4

	(2025/11/27 02:57:02.00)
	42.3
	60.4

	(2025/11/27 03:00:02.00)
	35.5
	50.5

	(2025/11/27 03:03:02.00)
	39.7
	58.5

	(2025/11/27 03:06:02.00)
	39.7
	57.9

	(2025/11/27 03:09:02.00)
	38.9
	56.5

	(2025/11/27 03:12:02.00)
	45
	57.4

	(2025/11/27 03:15:02.00)
	41.2
	54.3

	(2025/11/27 03:18:02.00)
	38.1
	55.6

	(2025/11/27 03:21:02.00)
	39.6
	51.3

	(2025/11/27 03:24:02.00)
	44.6
	52.1

	(2025/11/27 03:27:02.00)
	38.8
	51.4

	(2025/11/27 03:30:02.00)
	32.1
	48.6

	(2025/11/27 03:33:02.00)
	40.3
	58.6

	(2025/11/27 03:36:02.00)
	35.3
	45.6

	(2025/11/27 03:39:02.00)
	32.9
	47.4

	(2025/11/27 03:42:02.00)
	38.1
	46.2

	(2025/11/27 03:45:02.00)
	37.3
	47.9

	(2025/11/27 03:48:02.00)
	39.1
	55.5

	(2025/11/27 03:51:02.00)
	39.8
	52.1

	(2025/11/27 03:54:02.00)
	44.8
	50.4

	(2025/11/27 03:57:02.00)
	39.6
	50.5

	(2025/11/27 04:00:02.00)
	38.9
	51.3

	(2025/11/27 04:03:02.00)
	36.8
	51.1

	(2025/11/27 04:06:02.00)
	39.6
	53.4

	(2025/11/27 04:09:02.00)
	33
	48.2

	(2025/11/27 04:12:02.00)
	36.7
	44.4

	(2025/11/27 04:15:02.00)
	39.2
	51.3
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78.7

65.2

75.4

66.2

77.3

64.3

74.6

67.4

76.6

65.5

74.7

64.4

73.6

63.5

74.8

66.1

76.1

66.6

76

63.9

75.2

64.4

74.9

65.2

74.5

65.5

75.3

63.1

75.8

67.1

79.5

66.7

78.3

68.8

82.7

68.5

77.1

70

88.4

69

75.6

69.7

78.4

69.8

79.1

68

78.5

67.7

76.8

70.1

78.3

68.8

77.6

69.3

77.2

70.5

77.1

71.6

85.6

69.4

77.2

71.4

79.1

69.2

75.1

70.7

76.8

69.8

76.7

69.9

75.7

69.8

80

70.9

78.1

71.7

79.2

70.6

75.9

71.2

79

69.8

76.6

71.7

79

72

77.8

70.6

79.1

70.7

76.7

72.2

80.9

72.3

77.1

71.5

77.3

71.1

77.2

72

77

71.5

76.6

70.3

76.8

69.2

75.6

70.3

82.2

71

77.9

70.9

75.3

71.6

81.2

71.4

76.7

70.8

77.7

70.9

79.8

71

76.4

72

78.4

70.7

75.5

71

76.8

70

80.1

71.7

77.2

71.5

77.6

71.2

84.6

70

76.2

70.5

78.1

71.3

76.1

70

75.9

71.8

77.2

70.4

76.7

69.7

76.4

70.5

77.3

70.5

83.8

70.2

76.4

71

77

69.8

75.9

69.7

75.8

70.4

76.7

69.8

76.2

70

76.4

69.1

75.6

70.6

77.3

69.2

75.5

72.2

84.2



Global

		Directory:		C:\Users\a\AppData\Local\Temp\Norsonic\Downloaded Measurements\NOR140_15642541\251125				File version		v1.0/6.2.1.0

		File		Date		Duration				Status		LAeq		LAIeq		LAFmax		LAE		LAF,Perc4		LAF,Perc6		Lfeq																								LfFmax																								LfF,Perc4																								LfF,Perc6

																								8.0 Hz		16 Hz		31.5 Hz		63 Hz		125 Hz		250 Hz		500 Hz		1.0 kHz		2.0 kHz		4.0 kHz		8.0 kHz		16.0 kHz		8.0 Hz		16 Hz		31.5 Hz		63 Hz		125 Hz		250 Hz		500 Hz		1.0 kHz		2.0 kHz		4.0 kHz		8.0 kHz		16.0 kHz		8.0 Hz		16 Hz		31.5 Hz		63 Hz		125 Hz		250 Hz		500 Hz		1.0 kHz		2.0 kHz		4.0 kHz		8.0 kHz		16.0 kHz		8.0 Hz		16 Hz		31.5 Hz		63 Hz		125 Hz		250 Hz		500 Hz		1.0 kHz		2.0 kHz		4.0 kHz		8.0 kHz		16.0 kHz

		NOR140_15642541_251125_0001.NBF		(2025/11/25 10:06:05.00)		(0:2:54.0)				N/A		69.3		69.9		75.9		91.7		72.9		59.6		58.9		64.6		67.5		66.2		61.5		63.1		61.3		66.6		62.8		53.7		44.1		32.5		77.7		83.4		80.9		78.3		69.9		75.3		67.7		74.3		69.5		67.7		61.7		52.1		59.3		65.1		70.8		69.3		65.1		66.4		64.9		70.3		66.5		56.9		46.3		35.6		46.6		51.6		56.9		57.1		53.4		52.7		52.6		56.2		52.9		42.8		31.7		19.2

		NOR140_15642541_251125_0002.NBF		(2025/11/25 10:09:02.00)		(0:2:57.0)				N/A		69.1		69.8		76.8		91.6		71.9		62.1		55.2		60.4		65.1		66.2		61.9		62.5		60.8		66.7		62.4		52.8		43.2		39.2		71.7		79.7		77.6		82.5		75.5		70.9		68.9		75.3		69.7		65.2		57.6		59.9		58.4		63.3		68.6		69.9		65		65.6		63.7		69.6		65.1		55.9		46.5		35.4		45.7		50.6		57.4		57		53.1		54.6		54.8		59.3		55.5		44.1		29.7		16.1

		NOR140_15642541_251125_0003.NBF		(2025/11/25 10:12:02.00)		(0:2:57.0)				N/A		69.5		70.2		77.6		92		72.9		62.3		52.3		58.3		64.2		66.9		61		62.7		61.8		67.1		62.9		52.6		44.1		36.4		71		73.2		75.9		81.4		75.1		71.2		68.8		75.5		71.6		63.7		64.8		63.6		55		61.3		67.8		69.7		64.1		66.4		65.3		70.5		66.2		55.8		47		34.6		44.4		49.9		56.7		57.9		53.6		54.5		54.8		59.6		56.2		44.7		30.6		16

		NOR140_15642541_251125_0004.NBF		(2025/11/25 10:15:02.00)		(0:2:57.0)				N/A		68.7		69.3		74.4		91.2		71.9		61.6		59.9		66.7		67.7		69.4		62.8		63.8		61.7		66		61.6		53		46.1		37.4		81.2		88.8		81.1		81.2		69.1		76.4		70.7		72.8		67.5		64.6		62.9		55.1		59.4		64.7		71		73.1		65.6		66.3		65		69.5		64.6		55.6		47		35.5		47		53.2		58.2		59.5		56.9		57		55.5		58.4		53.7		44.7		35.1		18.7

		NOR140_15642541_251125_0005.NBF		(2025/11/25 10:18:02.00)		(0:2:57.0)				N/A		69.6		70.2		74.5		92.1		72.4		64.6		55.7		62		66.8		69.8		62.1		63.7		62.2		67.2		62.7		52.6		42.3		29.6		69.7		74.9		78.6		84.4		74.3		73.3		69		72.8		67.7		64.5		54.6		43.2		59.2		65.9		70.4		71.8		64.7		66.6		65		70.2		65.5		55.3		45.9		33.4		46.5		53.1		60.4		61.1		55.5		56.8		57		62		57.7		46.9		34		18

		NOR140_15642541_251125_0006.NBF		(2025/11/25 10:21:02.00)		(0:2:57.0)				N/A		69.8		70.3		75.3		92.3		72.9		62.6		56.5		56.6		64.2		65.9		60.8		63.2		62		67.4		63.1		52.2		42.2		31.8		72.9		69.1		75.6		80.9		73		73.7		68.5		73.3		68.9		64.5		60.9		52.8		58.3		59.5		67.9		68.2		64		66.7		65.1		70.5		66.4		54.8		43.7		31.7		45.5		49.5		56.1		57		53.3		54.3		54.8		60.2		55.7		44.4		29.2		16.2

		NOR140_15642541_251125_0007.NBF		(2025/11/25 10:24:02.00)		(0:2:57.0)				N/A		68.1		68.8		74.4		90.6		71.5		61.2		56.6		65.1		65.3		65.9		60		62.1		60.6		65.5		61.3		52		41.5		28.2		73.5		84.1		81.3		76.5		72.2		70.7		67.6		72.9		67.4		69.3		53.3		40.6		58.7		66		68.6		69		63.2		65.7		64.2		69		65		55.1		45.3		32.2		45.7		50.5		56.9		58.2		53.6		53		53.9		57.8		54.8		43.1		29.4		16.7

		NOR140_15642541_251125_0008.NBF		(2025/11/25 10:27:02.00)		(0:2:57.0)				N/A		69.6		70.4		80.4		92.1		72.9		60.7		58.7		64.3		66.9		66.7		60.7		64.3		61.9		67.1		62.7		54.2		45.2		33		77.7		87.7		82.2		78.5		72.3		79.8		73.9		76.5		73.3		72.2		64.5		51.9		55.8		63.3		69.5		70.4		64.1		67		64.9		70.7		66		56.1		46.1		34		45.6		50.4		58.5		57.4		53.1		54.6		52.9		57.8		53.6		43.5		30		16.6

		NOR140_15642541_251125_0009.NBF		(2025/11/25 10:30:02.00)		(0:2:57.0)				N/A		69.8		70.4		75.9		92.3		73.1		62.1		54.8		59.2		66.1		64.7		59.7		63		62.6		67.4		62.8		52.4		42.4		30.7		69.7		74.4		79.2		75.3		70.8		73.1		71		73.6		69.8		62.4		58.6		51.2		58.6		62.4		70.1		68.2		63.3		66.7		66		70.8		66		55.6		45.2		33.2		45.7		49.1		53.5		55.5		51.8		52.4		54.5		59.4		54.8		42.1		30.7		19.8

		NOR140_15642541_251125_0010.NBF		(2025/11/25 10:33:02.00)		(0:2:57.0)				N/A		69.4		70.1		75.8		91.9		72.4		61.1		60.1		63.1		65.8		65.3		60.9		62.9		61.4		67		62.8		52.5		41.2		28.8		78.2		78.3		78.6		77.2		75.5		78.4		70.5		72.9		70.6		61.8		54.3		46.7		62.4		67.1		69.2		68.8		64		65.9		64.4		70.1		65.9		55.6		44.7		31.5		47.6		51.5		57.5		57		53.5		51.9		52.8		58.6		54.9		43.9		31.8		18.2

		NOR140_15642541_251125_0011.NBF		(2025/11/25 10:36:02.00)		(0:2:57.0)				N/A		69.6		70.2		75.3		92.1		72.3		64.8		54.6		59.1		65.7		68.9		61.2		62.8		61.7		67.3		62.7		52.1		41.7		29.1		70.4		75.5		81.4		82.6		71.6		69.3		67.6		73.8		67.6		60		51.7		40		57.4		62.5		69.1		72.3		64.9		65.7		64.4		70		65.4		55.4		45.2		32.5		46.2		51.4		58.9		60.1		54.6		57.1		56.4		62.3		58		46		33.9		21.1

		NOR140_15642541_251125_0012.NBF		(2025/11/25 10:39:02.00)		(0:2:57.0)				N/A		69.3		69.9		74.6		91.8		72.4		58.2		57.3		61.2		66.3		64.9		59.6		62.4		61.2		66.9		62.7		52		40.2		27.8		76.6		77.5		79.2		78.9		70.1		70.4		67.6		72.7		68.3		58.4		49.1		41.6		57.7		63		70.1		68.3		62.7		65.8		64.3		70.1		65.8		55.3		43.8		30.9		44.9		49		57.2		56.9		50.6		51.5		50.5		55.9		50.4		41.1		27.1		16.5

		NOR140_15642541_251125_0013.NBF		(2025/11/25 10:42:02.00)		(0:2:57.0)				N/A		70.1		70.7		75.9		92.6		73.6		62.9		60.5		64.8		67.5		67.8		62.9		64.6		62.9		67.6		63.3		53.6		44.1		33.1		79.4		85.1		80.6		77.6		74.9		75		71.6		73.7		70.3		64.9		59		52.5		62.6		63.7		70.8		71.1		65.4		67.7		66.2		71.1		66.6		56.5		46.7		35		47.1		52.6		59.7		60.4		56.8		56.2		55.3		60.4		55.1		44.8		33		22

		NOR140_15642541_251125_0014.NBF		(2025/11/25 10:45:02.00)		(0:2:57.0)				N/A		71.9		73.4		88.3		94.4		73		62.2		59.2		58.7		65.1		69.3		68		70.2		68		67.9		64.4		58.9		45.7		31.5		78.5		76.2		77.9		82.2		82.8		87.9		85.8		81.3		81.1		81.1		66.1		51.4		61.3		61		68.6		72.9		68.4		69.9		65.6		70.4		66.1		55.7		45.3		33.6		47.9		51.1		56.5		56.4		53		55.2		54.4		59.9		55.1		43		31.1		18.3

		NOR140_15642541_251125_0015.NBF		(2025/11/25 10:48:02.00)		(0:2:57.0)				N/A		69.5		70.1		74.5		92		72.5		63.5		62.4		63.3		68.6		69.1		63.3		63.6		62.7		66.9		62.6		53.2		44.2		33.2		78.5		77.4		78.9		79.1		72.8		72		71.7		72.2		68.7		61.9		54.9		49.7		65.7		66.3		71.5		72.4		67.2		66.4		65.8		70		65.6		55.7		47.6		36.4		49.1		55.7		62.7		62.7		57.3		57.8		56.8		60.1		56.7		47		35.8		21.8

		NOR140_15642541_251125_0016.NBF		(2025/11/25 10:51:02.00)		(0:2:57.0)				N/A		69		69.5		75.5		91.5		72.3		59.2		53.9		58.2		66		67		61.1		63.2		61		66.3		62.5		53.1		43.7		35.3		70.8		72		75.4		80.3		72.9		74.9		68.5		72.8		70.6		64.5		62.8		58.7		56.5		61.3		70.1		70.1		64		65.9		64.1		69.7		65.8		55.8		45.7		35		46.7		51.5		58		58.7		53.5		52.6		51.9		56.7		53		42.1		29.3		16.8

		NOR140_15642541_251125_0017.NBF		(2025/11/25 10:54:02.00)		(0:2:57.0)				N/A		68.4		69.1		74		90.9		71.7		59.3		57.8		63.2		66.2		65.4		60.9		62.6		60.5		66		61.8		51.9		42.2		30.4		76.8		86.5		83		78.3		75.7		75.9		67.5		72		68.1		61.5		55.8		48.9		58.3		61.5		68.4		68.6		63.2		65.4		63.4		69.3		65.2		55.2		45.3		33.8		46.1		49.7		56.3		55.5		51.3		51.6		52.9		56		52.8		41.6		30.5		17.8

		NOR140_15642541_251125_0018.NBF		(2025/11/25 10:57:02.00)		(0:2:57.0)				N/A		70.1		70.8		76.2		92.6		72.4		66.2		58.8		64		67.4		67.2		62.5		64		62.4		67.7		63.3		53.5		44.2		33.2		76		81.4		80.3		76.8		77		79.1		70.7		74.2		69.8		65.9		59.6		49.8		61.3		67.1		70.4		70.7		64.6		66.4		64.6		70.1		65.8		56.5		47.2		34.6		47.7		53		59.6		61		58.1		59.1		58.7		63.8		59.1		47.6		35.6		22.4

		NOR140_15642541_251125_0019.NBF		(2025/11/25 11:00:02.00)		(0:2:57.0)				N/A		68.8		69.5		77.3		91.3		71.9		57.1		56.2		62.5		63.2		64		60.6		62.4		60.9		66.6		61.9		50.8		38.8		30.1		70.3		83.5		74.8		74.5		76.9		76.8		68.3		75.4		70.8		60.6		47.4		50.2		59.9		62.8		66.6		67.4		62		65.4		64.1		69.8		65		54		42.7		30.8		45.7		49		53.9		53.4		50		51.5		50.3		54		50.1		38.1		24.6		15.3

		NOR140_15642541_251125_0020.NBF		(2025/11/25 11:03:02.00)		(0:2:57.0)				N/A		69.4		70		75.7		91.9		73		59.9		54.1		57.9		65.4		67.5		60.9		62.7		61.4		67.2		62.5		51.4		42.7		32.1		68.9		75.6		75.1		78.2		68.9		70		68.3		73.6		69.1		58		63		53		57.3		60.8		68.6		71.1		64.4		66.2		64.7		70.8		65.9		54.8		45.4		33.9		46.4		50.3		57.5		58.6		53.4		53.6		53.3		56.3		53.5		42.7		30.4		17.7

		NOR140_15642541_251125_0021.NBF		(2025/11/25 11:06:02.00)		(0:2:57.0)				N/A		69.8		70.5		76.1		92.3		72.6		64.3		62.4		60.7		66.7		69.7		63.9		64.3		62.2		67.3		62.9		52.9		43.6		36.6		79.5		72.9		83.1		85.7		79.1		77.5		69.7		73.3		69.6		65.8		57.4		63.8		66.1		64.1		69.6		71.8		65.9		67.1		64.9		70.3		66		55.8		46.2		34.4		49.4		52.3		58.8		60.8		56		57.1		56.2		61.7		57		45.5		33.8		21.5

		NOR140_15642541_251125_0022.NBF		(2025/11/25 11:09:02.00)		(0:2:57.0)				N/A		69.6		70.2		75.4		92.1		72.7		63.4		56.7		60.6		64.7		66.6		60.9		62.7		61.6		67.4		62.5		51.8		42.1		30.5		72.3		79.9		76.7		79		70.2		70.7		67.6		73.9		67.9		61.1		57.2		47.7		60		63.2		68.3		69.7		64.1		65.9		64.5		70.6		65.8		55.1		44.8		33		47		51.3		56.7		57.3		52.8		53.9		54.5		60.9		56.6		43.5		29.3		16.9

		NOR140_15642541_251125_0023.NBF		(2025/11/25 11:12:02.00)		(0:2:57.0)				N/A		70.6		71.2		76.8		93.1		73.4		63.3		59.4		66		68.3		67.6		62.9		65.2		63.1		68.1		63.7		54		43.7		31.1		81.2		82.4		82.3		76.3		77.4		80		74.8		74		69.5		73.2		59.5		45.8		60.8		69.1		71.9		71.3		65.7		67.5		65.8		70.9		66.7		56.5		45.1		33.4		45.6		51.1		58		59.5		55.9		54.6		55.2		61		56.7		44.9		31.8		18.8

		NOR140_15642541_251125_0024.NBF		(2025/11/25 11:15:02.00)		(0:2:57.0)				N/A		68.4		69		74.5		90.8		71.8		58		56.4		58.8		64.1		64.8		58.7		61.5		60.1		66.1		61.6		50.7		39.7		28.3		75.4		73.3		73.3		76.2		69.1		68.6		67.7		72.6		69.1		60.1		53.2		42.3		59.1		62.2		67.9		68.3		62		65.1		63.3		69.6		65		54.6		43		31.2		45.8		48.8		55.4		54.8		49.7		50.5		50.9		55.5		50.9		37.1		26.2		16.4

		NOR140_15642541_251125_0025.NBF		(2025/11/25 11:18:02.00)		(0:2:57.0)				N/A		69.1		70.1		78.4		91.6		72		63.5		63		59.8		64.3		70.3		68.5		63.2		61.1		66.7		62.1		51.8		41.8		31.3		79.6		76.5		75		89.3		87.1		77		70.9		76		71.7		66		56.8		52		66.2		63.2		68.1		70.9		67		65.8		64.1		69.6		65.2		55.1		45.1		33.5		46.2		49		56		59		53.9		55.1		55.1		60.9		57		44.7		31.3		18.4

		NOR140_15642541_251125_0026.NBF		(2025/11/25 11:21:02.00)		(0:2:57.0)				N/A		69.4		70		75.4		91.9		72.6		62.2		53.7		59.3		66.1		68.9		61.7		63.1		61.7		67		62.6		52.3		42.5		37.3		65.6		76.6		77.9		83.2		72.5		73.4		69.1		73.7		68.4		65.6		55.9		59.6		57.3		61.3		69.7		71.7		65		66.5		65.2		70.4		65.7		55.2		45.7		36.8		46.2		50.2		56		58.5		53.8		54.1		54.6		59.4		55.3		44.5		31.9		20.2

		NOR140_15642541_251125_0027.NBF		(2025/11/25 11:24:02.00)		(0:2:57.0)				N/A		70.2		70.9		75.4		92.7		73.2		63.3		60.5		65.9		68.5		67.7		62.3		64.3		62.8		67.7		63.3		54.4		45.2		34.9		75.8		82.1		79.6		78.8		72.5		77		69.6		73.2		70.5		67.3		59.2		54.3		63.7		69.1		71.4		70.8		65.4		67.4		66		70.9		66.1		57.5		48.4		36.4		49.4		54.9		62.6		57.8		54.7		55.5		55.2		60.6		56.9		44.5		30.3		17.2

		NOR140_15642541_251125_0028.NBF		(2025/11/25 11:27:02.00)		(0:2:57.0)				N/A		69.7		71.5		81.9		92.2		72.6		61.2		59.3		62.4		68.8		67.4		62.1		63.6		62.4		67.3		62.9		52.8		43.2		32.1		75.7		81.2		84.1		77.1		73		72.9		75.1		80.1		75.5		69		56.1		46.5		61.6		63.6		70.9		70.5		64.9		66.6		65.2		70.4		65.8		55.7		46.4		34.6		47		51.3		60.6		60.4		55.6		53.7		54.7		58.4		54.3		44.3		34.1		22

		NOR140_15642541_251125_0029.NBF		(2025/11/25 11:30:02.00)		(0:2:57.0)				N/A		67.5		68.2		74.3		90		71		61.1		61.6		59.2		63.1		65.3		58.8		61.1		59.4		65.3		60.7		49.4		39.2		32.5		76.9		75.6		73.7		76.1		69.7		71		66.2		73.1		66.6		56.3		52.1		52.8		65.3		61.9		66.5		69.2		61.9		64.9		63		68.7		64.2		53		43.2		34.7		48.3		49.7		54.5		55		51		51.6		52.6		58.7		54.2		41.9		27.2		15.5

		NOR140_15642541_251125_0030.NBF		(2025/11/25 11:33:02.00)		(0:2:57.0)				N/A		70.1		70.7		76.6		92.6		72.9		61.8		56.9		59.1		65.3		66.8		60.8		63.2		62.1		67.9		63.2		52.1		41.4		28.1		72.4		74.4		76.3		76.7		72.1		70.9		69		75.3		69.8		59.3		51.3		40.8		60.1		61.9		69.1		70.3		64.2		66.4		65.3		70.8		66.2		55.3		45.3		32.3		47.1		49.9		55.3		56.4		51.1		52.6		53.4		59.2		55.2		43.7		29.7		16.1

		NOR140_15642541_251125_0031.NBF		(2025/11/25 11:36:02.00)		(0:2:57.0)				N/A		68.3		69		75.5		90.8		71.5		55		55.1		60.2		66.5		66.5		60.2		62		60.4		65.9		61.7		51.1		39.7		27.1		71.8		79.2		82.3		80.4		73.5		72.1		67.2		73.6		69		59.2		51.7		40.7		57.9		62.6		68.5		68.9		62.5		65.3		63.8		69.3		65		54.4		43		30		46.1		50.2		54.5		55.1		49.5		48.7		48.8		50.9		47.4		38.2		28		17.6

		NOR140_15642541_251125_0032.NBF		(2025/11/25 11:39:02.00)		(0:2:57.0)				N/A		69.1		69.8		74.8		91.6		71.9		64.1		61.8		61.4		63.8		66.9		60.2		62.6		61.5		66.9		62		51.5		40.6		28		82.8		80.2		76.7		80		70.7		74.5		68.9		73.3		67.3		61.1		53.3		44.8		63.1		63.5		67		70.6		63.3		65.6		64.4		69.8		64.9		54.5		44.1		31.4		47.6		52.1		56.6		57.7		53.6		54.7		56		61.5		57		45.7		32.1		19

		NOR140_15642541_251125_0033.NBF		(2025/11/25 11:42:02.00)		(0:2:57.0)				N/A		68.9		69.5		76.1		91.4		71.1		63		60.7		65.7		67.1		68.3		63.7		65.2		62.2		66.2		62		52.7		42.5		30.4		80.2		85.1		80.5		81.2		75.3		79.3		72.1		71.9		70		65.9		57.4		45.2		61.4		66.5		69.8		71.7		67.5		66.3		64.6		68.6		64.2		55.3		45.1		32.8		47.9		53.1		59.5		57.6		53.3		55.9		55.7		60.2		55.7		45.8		32.1		19.3

		NOR140_15642541_251125_0034.NBF		(2025/11/25 11:45:02.00)		(0:2:57.0)				N/A		68.2		68.8		73.5		90.7		71		62		58		59.8		65.8		67.5		61.3		62.2		60.4		65.9		61.2		50.6		42.1		38.1		73.8		72.6		76		80.5		78.1		68.9		67.4		72.2		67.5		58.2		58.4		63.3		61.5		63.3		69		69.9		63.3		65.1		63.3		69		64		53.8		44.6		34.8		48.6		53.1		58.9		59.5		55.2		55.3		54.8		59.3		55.5		43.7		32.2		19.6

		NOR140_15642541_251125_0035.NBF		(2025/11/25 11:48:02.00)		(0:2:57.0)				N/A		72.7		73.7		88.6		95.2		73		64.6		58.1		61.8		66.9		72.8		73.1		73.7		69.1		68.5		64.5		57.7		47		34.7		77.8		76.8		76.1		87		92		93.8		86		81.7		80.3		76.2		63.6		53.6		58.2		63.8		70.1		75.7		71.2		68.1		66.1		70.5		65.9		56.9		49.6		36.6		46.1		51.5		60.3		61.3		56.5		59		57.4		61.7		57.6		47.1		33.8		19.8

		NOR140_15642541_251125_0036.NBF		(2025/11/25 11:51:02.00)		(0:2:57.0)				N/A		69.9		70.5		75.8		92.4		72.2		64.9		55.7		59.6		67.7		67.2		60.8		63.4		61.8		67.6		63		52.4		43.5		31.1		76		72.7		80		78.3		68.5		71.1		66.5		73.3		70		64.3		64.3		55.2		57.5		62.2		70.8		70.5		63.6		65.7		64.2		70.2		65.2		54		43.8		31.7		46.2		53.2		60.5		61.3		56.7		56.9		56.7		62.6		58		46.5		34.3		20.2

		NOR140_15642541_251125_0037.NBF		(2025/11/25 11:54:02.00)		(0:2:57.0)				N/A		69.4		70.1		75.4		91.9		72.3		63.7		59		60.6		65.6		67.9		61.8		63		61.3		67.1		62.7		51.9		42.4		32.3		80.7		80.8		75.3		78.6		72.9		71.4		69.4		73.8		69.9		61.9		57.1		53.4		60.5		62.3		68.7		71.5		64.6		66.2		64.5		70.3		65.4		54.6		44.7		33.3		46.4		51.8		59.6		60.3		56		56.7		55.8		60.9		57.4		45.7		32.4		18

		NOR140_15642541_251125_0038.NBF		(2025/11/25 11:57:02.00)		(0:2:57.0)				N/A		69		69.7		74.2		91.5		71.7		62.1		58.3		61.9		66		66.5		62.3		62.9		61.4		66.6		62.2		51.5		41		31.1		75.2		76.6		76.6		77.7		78.9		71.7		69.9		73.1		66.8		63.4		54.6		51.1		61		64.5		69.9		70.7		65.2		65.8		63.8		69.5		65		54.3		44.4		33.7		47.6		52.6		58		57.3		54.6		55.6		55.8		59.5		54.9		43.2		30.8		19

		NOR140_15642541_251125_0039.NBF		(2025/11/25 12:00:02.00)		(0:2:57.0)				N/A		69.3		71		82.2		91.8		72.2		62.7		59.7		63.3		66.7		67		60.9		63.1		61.2		66.6		62.3		55.8		54.3		45.7		78.1		82.6		78.3		78.4		70.9		74.7		69.4		80		76.1		75.9		77.5		69.3		61.5		63.7		69.4		70.3		63.8		65.7		64.5		70		65.2		55.8		48.2		39		46.3		52.2		59.8		59.3		54.3		56		54.9		60		55.9		43.5		31.1		18.1

		NOR140_15642541_251125_0040.NBF		(2025/11/25 12:03:02.00)		(0:2:57.0)				N/A		69.5		70		74.6		92		72.3		63.5		55.7		60.2		65.7		66.5		60.5		63		61.8		67.2		62.6		51.3		41.2		31.5		70.9		76.3		76.7		78.7		69		70.1		70.1		72.7		67.7		58.5		59		53.7		58.9		63.3		68.9		69.4		63.2		66.2		64.9		70		65.5		54.5		43.2		30		45.9		50.9		57.6		60.7		55.1		55.4		55.7		61.1		56.3		43.9		30.4		18.1

		NOR140_15642541_251125_0041.NBF		(2025/11/25 12:06:02.00)		(0:2:57.0)				N/A		68.3		68.9		73.7		90.8		71.4		62.1		55.2		57.7		64.4		64.8		58.9		61.8		60.8		66.1		61.1		49.7		39.6		28.1		75		75.8		78.9		75.5		68.6		69.1		67.9		72.1		67.7		58.8		53.2		50		57.8		60		67.8		68.4		62.2		65.3		63.6		69.3		64.2		53.2		42.6		30.6		44.7		49.3		55.9		56.8		53		54.1		54.5		59.6		54.7		42		28		15.3

		NOR140_15642541_251125_0042.NBF		(2025/11/25 12:09:02.00)		(0:2:57.0)				N/A		69.7		70.3		76.5		92.2		72.6		62.7		52.7		59.3		66.8		69.8		61.1		63.2		62.1		67.4		62.8		51.6		39.8		28.3		62.6		71.5		75.6		84		70.2		71.7		68.2		74.6		70.1		58.9		48.2		44		56		62.6		70		71.3		64		66.1		65.1		70.4		65.4		54.6		43		31		45.9		51		60.5		61.1		56.3		56.3		55.3		60		55.4		44.6		32.6		20

		NOR140_15642541_251125_0043.NBF		(2025/11/25 12:12:02.00)		(0:2:57.0)				N/A		69.9		70.5		76.4		92.4		71.9		66.6		56.8		61.5		67.3		69.1		64.2		63.5		62		67.5		63.1		52.3		42.6		36.2		75.8		77.2		76.7		83.3		78.4		71.3		67.8		74.3		70.9		59.8		52.9		62.3		59		63.2		70.6		71.6		66.8		66.1		64.4		69.7		65		55.2		46.5		33.2		45.8		53.1		61		61		57.6		59.4		58.6		64		59.5		48		36.1		22

		NOR140_15642541_251125_0044.NBF		(2025/11/25 12:15:02.00)		(0:2:57.0)				N/A		69.5		70.2		74.9		92		72.4		64.5		57.1		65.5		69.8		67.1		61.6		63.6		61.9		67.2		62.5		52.5		43.8		45.6		75.2		79.5		78.8		76.8		71.6		70.8		68.2		73.1		68.3		59.6		61.7		66.5		59.8		69.7		73.8		70.1		64		66.4		64.4		70.2		65.3		55.4		46.8		37.6		46.8		54.1		61.8		59.8		57		57.7		56.5		61.5		57.6		46.5		34.1		19.7

		NOR140_15642541_251125_0045.NBF		(2025/11/25 12:18:02.00)		(0:2:57.0)				N/A		67.1		67.7		73.8		89.5		70.3		60.7		58.3		59		66.8		64.5		59.9		61		59.5		64.7		60.1		49.3		39		35.1		72		70.8		76.9		74.4		70.1		68.2		66.8		71.8		67.5		55.7		51		60.6		62		61.9		70.4		67.5		62.8		64.4		62.6		68.2		63.2		52.3		42.1		29.4		47.8		53.3		58.4		58.3		54.1		53.3		53.2		58.1		53.6		42.3		29.6		17.5

		NOR140_15642541_251125_0046.NBF		(2025/11/25 12:21:02.00)		(0:2:57.0)				N/A		68.8		69.4		74.7		91.3		72.4		59.7		54.3		61.1		66.1		69.1		63.3		63.5		61.8		66.2		61.8		52.2		45		35		68.7		77.3		80.1		86		77.4		72.8		70.7		72.6		68.1		61.9		60.5		53.6		57.8		62.9		69.6		70.3		66.2		67.2		64.9		69.8		65.5		56.1		48.4		37.2		45.8		50.5		57.8		56.3		53.8		52.6		52.1		57.1		52.6		40.6		28.7		16.7

		NOR140_15642541_251125_0047.NBF		(2025/11/25 12:24:02.00)		(0:2:57.0)				N/A		69.9		70.5		74.8		92.4		72.9		62.8		57.8		61.1		65.8		66.4		62.6		63		62		67.8		62.8		51.5		40.7		29.5		76.2		75.8		75.8		78.1		77.6		69.1		68.2		73.5		68		58.7		50.6		51		59.2		64.7		70		70.1		65.2		66.2		65.2		70.8		65.8		54.7		44.1		31.6		46.5		51.1		55.8		56.1		53.7		54.8		55		60.4		55.7		43.1		28.6		15.5

		NOR140_15642541_251125_0048.NBF		(2025/11/25 12:27:02.00)		(0:2:57.0)				N/A		68.3		68.9		75		90.8		71.5		57.5		60.9		63.2		65.4		68.3		63.2		62.5		60.6		66		61.4		50.8		41.1		29.3		79		80.1		77.2		77.6		73.6		70		67.2		73.3		68.8		61.1		56.6		45.6		63.7		64.6		69		70.4		65.7		65.7		63.4		69.2		64.6		54.2		43.7		30.9		46.1		48.2		54.7		64.6		57.7		50.9		50.1		55		50		37.2		24.3		14.6

		NOR140_15642541_251125_0049.NBF		(2025/11/25 12:30:02.00)		(0:2:57.0)				N/A		69.6		70.2		76.7		92.1		72.8		64		58		61.3		64.1		65.3		60.6		62.5		61.4		67.3		62.7		51.4		39.8		28.8		73.2		78.1		78.1		76		76.4		71.6		71.1		75		69.2		59.7		49.1		48.3		61.6		62.6		67.1		68.8		63.3		65.5		64.3		70.6		66.1		54.9		43.6		30.6		47.3		51.5		56.5		58.4		55.5		56.8		56.4		61.3		57.3		45.4		32.9		20.1

		NOR140_15642541_251125_0050.NBF		(2025/11/25 12:33:02.00)		(0:2:57.0)				N/A		69.3		70.8		82.4		91.8		72.8		62.8		52		60.6		65.9		70.6		64.7		63.6		61.9		67		62		54.3		41.4		35.5		67		76		80.1		86.2		82.1		77.3		74.8		75.1		74.7		79.6		56.3		57.7		55		63.5		70		73.3		66.1		66.4		65		70.5		65.2		54.4		44.8		33.3		44.3		49.3		55.8		57.1		53.4		54.9		54.6		60.2		55.8		42.5		27.2		14.5

		NOR140_15642541_251125_0051.NBF		(2025/11/25 12:36:02.00)		(0:2:57.0)				N/A		69		69.7		76.6		91.5		72.4		56.5		52.7		59		68.4		67		66.7		66.3		61.4		66.2		62.2		52.6		44.1		34.7		69.2		74.5		82.7		80.7		83.7		83.6		71.7		74.3		70.9		64.8		59.3		52.3		55.1		62.3		70.8		70.3		66		67.4		64.8		69.6		65.8		55.7		45.8		34.8		44.4		48.6		54.4		54.6		50.7		49.5		49.5		53.1		51		38.7		25.2		14.5

		NOR140_15642541_251125_0052.NBF		(2025/11/25 12:39:02.00)		(0:2:57.0)				N/A		73.8		74.9		89.6		96.3		73.5		65.5		56.5		61.6		66.6		67.9		68.4		70		71.5		70.9		64		53.3		43.7		31.4		74.2		79.4		77.3		80.6		84.5		87.3		88.4		87.5		79.2		66.6		57.7		46.9		58.5		63.7		70.1		70.3		68.6		68.4		66.7		70.5		65.7		55.8		47.2		34.6		46.2		51.3		58.7		61.3		57.9		59.5		57.7		62.7		58.1		46.7		35.8		21.4

		NOR140_15642541_251125_0053.NBF		(2025/11/25 12:42:02.00)		(0:2:57.0)				N/A		69.3		70		75.9		91.8		72.8		60.6		57.3		64.3		67.4		65.9		62.5		63.8		61.8		67.1		62.2		51.3		40.6		28.6		76.6		84.8		83.1		78		73.1		76.7		68.1		74.2		69.1		62.5		55.2		42.6		58.3		66.2		70.1		68.3		65.8		66.9		65		70.8		65.8		55		44.1		31.1		44.7		50.2		58.2		58		54.2		55.3		54.2		57.5		53.1		42		29.1		16.5

		NOR140_15642541_251125_0054.NBF		(2025/11/25 12:45:02.00)		(0:2:57.0)				N/A		68.6		69.3		76.4		91.1		72		56.2		55.3		62.2		65.8		67.3		60.4		62.4		60.9		66.2		61.8		51.6		42.9		31.8		72.3		79.5		79.5		77.9		73.3		70.1		69.6		75		68.1		65.1		62.1		50		57.4		64.7		69.6		70.9		63.6		66.1		64.2		69.7		65.1		54.9		46.2		34.1		44.7		47.8		51.5		50.9		47.7		47.9		47.5		53.5		49.9		32.9		18.8		12.5

		NOR140_15642541_251125_0055.NBF		(2025/11/25 12:48:02.00)		(0:2:57.0)				N/A		69.9		71.8		87.1		92.4		72.1		61		53.3		59.9		65.9		70.3		65.4		69.1		63.4		66.9		62.1		52		43.5		37.4		73		71.9		74.9		87		81.5		93.2		83.4		75.4		68		62.4		61.7		62.6		55.8		63.8		69.6		72.4		68.3		66.9		64.6		69.7		64.9		54.5		46.4		34.3		45.2		51.1		57.1		59.5		54.3		55.1		53.9		58.5		54		42.1		29.2		16.6

		NOR140_15642541_251125_0056.NBF		(2025/11/25 12:51:02.00)		(0:2:57.0)				N/A		69.6		70.2		76.4		92		72.5		63.4		57.7		62		66.5		67.5		61.9		63.3		61.6		67.1		62.8		52.5		42.5		30.6		80.7		81.7		76.8		78.9		74.5		73.2		68.1		74.1		70.5		61.6		58.9		44.1		57.8		63.1		70.3		70.9		64.6		66.3		64.4		70.2		66.1		56		44.3		33.1		45.4		51.6		58		61.6		55.3		55.9		56.4		60.7		55.8		44.8		32.7		18.7

		NOR140_15642541_251125_0057.NBF		(2025/11/25 12:54:02.00)		(0:2:57.0)				N/A		68.6		69.3		74.3		91.1		71.5		62.7		61.7		59.2		66.4		67.4		62.2		63.3		61.5		66.2		61.5		52.4		44.6		43.1		82		77.3		77		77.5		73.9		73.9		70.5		72.5		68.3		67		61.8		70.4		64.3		61.7		70		71.5		65.3		66.1		64.3		69		64.3		54.6		47		36.6		48.5		52.3		57.4		58.1		54.1		55.2		55.2		60.1		55.3		43.5		32		19.3

		NOR140_15642541_251125_0058.NBF		(2025/11/25 12:57:02.00)		(0:2:57.0)				N/A		68.5		69.1		74.8		91		71.2		60.6		60.7		64.8		66.5		66.9		65.5		64		60.8		66.1		61.4		50.6		40.3		29.4		79		84		79.1		77		86.9		81.6		66.8		72.8		67.7		59.6		55.1		48.2		63.3		66		70.4		70.6		65.1		65.8		63.6		69		64.2		53.6		43.4		31.5		46.3		50.8		56.2		56.5		51.5		52.9		52.3		58.2		53.6		40.6		26.9		14.7

		NOR140_15642541_251125_0059.NBF		(2025/11/25 13:00:02.00)		(0:2:57.0)				N/A		74.6		75.8		90.9		97		74.1		62.8		52.2		59.8		65.5		68		70.1		72.8		71.7		71.6		64.3		53.7		44.9		34		68.4		80.5		78.1		80.9		87.3		91.1		90.1		88.4		77.7		70.4		61.9		53.1		55.1		61.6		69.3		71.3		69.4		70.4		67.8		71.8		66.5		55.6		44.6		32.5		44		49.8		56.6		56.6		56		56.9		55.3		60.1		55.9		42.4		27.6		14

		NOR140_15642541_251125_0060.NBF		(2025/11/25 13:03:02.00)		(0:2:57.0)				N/A		69.4		70		74.7		91.9		72.3		62.9		57.4		59.4		64		67.9		62.1		62.7		61.5		67.1		62.6		51.4		39.6		26.9		77.7		77.9		74.4		80.2		75.3		71.7		67.5		72.9		68		57.2		48.2		38.5		59.4		61.7		67.4		71.6		65.6		66		64.8		70		65.3		54.5		43		30.6		46		50.2		56.3		57.8		52.7		55.3		54.5		60.1		56.2		45		30.8		17.2

		NOR140_15642541_251125_0061.NBF		(2025/11/25 13:06:02.00)		(0:2:57.0)				N/A		71.9		73.1		86.8		94.4		74.3		63.2		53.1		57.9		64.3		68.3		67.7		69.8		65.4		69.1		64.3		56.7		49.4		43.5		64.9		72.7		74.3		82.4		87.6		88.1		80.8		83.6		79.7		75.6		69.7		68.7		56.5		60.5		67.7		70.6		64.7		67.9		66.5		72.2		67.3		56.3		45.9		34.4		45.8		50.6		56.1		59.2		54.2		56.3		56		60.7		56.2		44		30.5		17

		NOR140_15642541_251125_0062.NBF		(2025/11/25 13:09:02.00)		(0:2:57.0)				N/A		70.1		70.7		76.6		92.6		73		59.8		56.9		62.9		65.5		69.3		67.1		65.8		62.3		67.7		63.1		53		43.6		45.6		75.1		83.2		78.2		82.7		83		80.6		69.2		74.8		69.8		64.4		58.9		67.4		56.4		62.2		68.3		71.9		69.4		68		65.6		70.7		65.9		56.2		45.8		33.4		45		49.5		56.9		57.3		53.3		53		51.9		57.4		52.4		39		25		13.3

		NOR140_15642541_251125_0063.NBF		(2025/11/25 13:12:02.00)		(0:2:57.0)				N/A		67.9		68.6		72.8		90.4		71.2		61.8		58.6		61.1		64.8		66.1		61.4		62.8		60.7		65.5		61		50.7		40.2		27.8		81.2		80.4		76.5		77.5		72.7		76.1		67		71.1		66		57.7		50.1		40.8		59.6		62.1		67.7		69.3		64.5		65.6		64		69.1		64		53.7		44.2		31.6		46		50.8		58.3		58.3		54.4		54.7		53.7		59		54.9		42.2		30.2		17.6

		NOR140_15642541_251125_0064.NBF		(2025/11/25 13:15:02.00)		(0:2:57.0)				N/A		69.7		70.4		74.9		92.2		72.5		64		60.8		58.5		64.4		64.7		60.1		62.9		61.8		67.4		63		52.3		41.6		31.1		84.6		79		75.7		73.5		70.9		72.1		68.3		73.3		67.8		62.8		57.6		51.5		60.2		60		68.2		68.1		62.8		66.1		64.7		70.4		65.7		54.6		43		30.7		46		49.8		55.1		57.6		53.1		55.4		56.3		61.6		57.3		43.4		29.6		17.2

		NOR140_15642541_251125_0065.NBF		(2025/11/25 13:18:02.00)		(0:2:57.0)				N/A		68.6		69.2		76.4		91.1		71.6		62.4		56.4		62.5		70.5		72.1		63.6		62.9		61.5		65.8		61.6		53.4		52.3		38.9		71.3		76		87.1		90.3		74.2		69.9		68.8		73		70.8		66.5		69.7		60.1		60.2		66.4		71.7		73.3		66.4		66.1		64.5		69.2		64.6		55.8		50.6		39.4		46.6		54.1		61		62.7		57.6		57.3		56.2		58.7		54.8		46.1		35.2		20.6

		NOR140_15642541_251125_0066.NBF		(2025/11/25 13:21:02.00)		(0:2:57.0)				N/A		70.1		71.2		83.9		92.6		72.1		59.9		55.6		60.3		64.3		68.6		68		71.2		64.9		66.4		62		51.6		42.5		31		68.2		78.8		74.5		83.8		86.5		89.8		79.9		73.7		76		63		55.9		48.2		59.1		63.1		68.6		70.7		69.8		69.3		66.2		69.4		64.4		54.7		45.7		33.9		46.9		49.5		54.1		55.2		54.5		54.2		52.7		57.3		52.7		41.3		27		15.2

		NOR140_15642541_251125_0067.NBF		(2025/11/25 13:24:02.00)		(0:2:57.0)				N/A		70		70.7		78.7		92.5		73.1		61.1		58.6		64.3		65.6		67.4		66.2		66.7		64.2		67.3		62.3		52.3		42.6		30.7		77.3		85.5		76.2		80.4		82.1		81.3		76.8		76.1		70.6		68.7		61.2		50.8		62.1		64.6		68.8		70.4		67.9		68.9		66.7		70.6		65.4		55.3		45.5		32.9		47		52		57.8		59.8		54.1		53.8		54.5		58.5		53.9		42.8		28.7		16.2

		NOR140_15642541_251125_0068.NBF		(2025/11/25 13:27:02.00)		(0:2:57.0)				N/A		68.9		69.5		75		91.4		72.8		61.9		55.7		61.2		65.6		66.9		61.9		62.8		61.8		66.6		61.7		52		43.4		31.6		73.8		78		76.5		80.2		74.6		68.9		69.8		73.6		67.6		66.9		61.3		51.8		57.9		64		68.7		69.8		64.9		66.3		66		70.5		65.4		55		46.2		34.8		45.8		51		58.5		60.9		55.1		54.9		54.2		59.3		54.8		43.1		29.8		16.7

		NOR140_15642541_251125_0069.NBF		(2025/11/25 13:30:02.00)		(0:2:57.0)				N/A		70.6		71.8		82.5		93.1		73.5		63		56		62.3		66.3		66.9		62.1		65		65.8		67.5		63.5		56.1		49.7		39		76.1		83.3		80.9		79.8		76.2		76.3		81.7		75.9		76.6		74		70.4		60.7		56.2		63.2		69.6		70.2		65.1		68.2		67.9		70.7		66.2		57.4		46.2		34.3		44.6		50.9		57.7		58.6		55.8		56.4		56.9		59.4		55.5		44.1		31.1		17

		NOR140_15642541_251125_0070.NBF		(2025/11/25 13:33:02.00)		(0:2:57.0)				N/A		69.7		70.4		74.8		92.2		72.4		62		59		57.5		64.2		64.6		59.8		62.9		62.1		67.5		62.8		52.1		40.5		28.9		81.9		76.4		75.8		73.5		67.1		69.7		67.5		72.9		69.5		62.1		52.1		47.8		58.4		59.7		68.1		68.3		62.9		66.2		64.9		70.2		65.3		55.1		44		31.2		44.8		48.4		53.7		54.3		50.9		54.3		54.5		59		55.7		42.3		27.7		16.1

		NOR140_15642541_251125_0071.NBF		(2025/11/25 13:36:02.00)		(0:2:57.0)				N/A		69.5		70.1		75.5		92		72.4		64.1		53.8		59.5		65.5		65.3		60.3		63		61.6		67.1		62.8		51.5		41.3		32.9		71.2		73.9		77.3		78.7		67.9		70.7		68.3		73.4		69.4		59.3		59.7		57.3		56.3		62.1		68.8		68.5		62.9		66.1		64.5		70.1		66		54.6		43.8		32.4		45.5		50.3		55.9		57.8		55		55.9		55.5		61.7		57.5		44.7		29.6		16.5

		NOR140_15642541_251125_0072.NBF		(2025/11/25 13:39:02.00)		(0:2:57.0)				N/A		67.8		68.5		75.5		90.3		71.6		61.4		60.8		63.1		66.1		66.6		62.2		63.3		60.4		65.4		60.6		51		41		29.4		80.1		82.7		80.2		77.5		76.4		77.4		68.1		74		68.1		63.5		55.5		45.4		63.1		62.7		69.8		70.6		65.4		66.1		64.1		69.1		64.1		53.9		44		32.3		46.5		50.4		55.5		56.7		53.8		55.1		54.3		58.3		54.3		43.1		30.5		17.8

		NOR140_15642541_251125_0073.NBF		(2025/11/25 13:42:02.00)		(0:2:57.0)				N/A		68.5		69.1		75.3		91		72.6		58		61.2		62.8		65.1		65.5		60		61.8		60.5		66.2		61.5		50.5		39.6		41.3		80		80.3		76.6		78.1		72		69.6		67.8		74.1		67.9		57.3		51.2		65		63.7		65.5		69.5		69.3		63.2		65.9		64.6		70.5		65.7		54.8		43.5		32.5		46.2		49.1		54.5		53.6		49.3		51.4		49.4		55.4		50.4		38.5		29		17.5

		NOR140_15642541_251125_0074.NBF		(2025/11/25 13:45:02.00)		(0:2:57.0)				N/A		69.2		69.8		75.5		91.7		73.1		58.8		56.4		60.6		66.5		68.1		62		63.2		62.3		67		61.8		51.6		42.3		30.2		71.1		78.1		77.8		80.1		75.9		70.9		69.8		73.6		68.9		60.5		55		44.4		59.7		63.3		69.8		71.7		64.6		67.3		66.1		71.1		65.3		55		45.9		33.6		46.8		51.9		58.7		59.2		53.4		53		51.7		56		52.3		41.5		29.8		16.7

		NOR140_15642541_251125_0075.NBF		(2025/11/25 13:48:02.00)		(0:2:57.0)				N/A		68.4		69.7		77.1		90.9		71.2		64.1		66.5		63.1		68.1		69.5		62.3		63.4		61.5		65.7		61.4		52.7		51.4		35.1		92.4		81.6		82.6		82.7		72.2		75.5		77.1		73.6		72.7		63.6		72.2		53.5		63.4		67.1		71.3		72.7		65.4		66.4		64		68.5		64.3		56		50.4		37.9		47.2		52		58		60		55.8		56.7		56.3		61.4		56.8		45.1		31.3		18.4

		NOR140_15642541_251125_0076.NBF		(2025/11/25 13:51:02.00)		(0:2:57.0)				N/A		72.6		73.7		87		95		72.3		63.2		58.3		60		65.5		68		67.2		69.6		69.4		69.9		63.2		53.2		44.5		32.5		72.1		75.3		76.8		82.2		83.1		87.8		84.3		85		77.2		64.3		58.9		47.2		62.2		63.4		69.1		71.1		68.1		68.6		65.1		70.2		64.9		56.3		47.1		34.2		48.9		52.4		58.8		59.8		55.7		57		56.3		60.7		55.6		44.9		33.4		19.5

		NOR140_15642541_251125_0077.NBF		(2025/11/25 13:54:03.00)		(0:2:56.0)				N/A		68.2		68.9		75.8		90.7		72.3		57		60.2		60.4		64.9		67.9		62.9		61.7		60.4		66		61.1		49.7		43.6		28.7		75.2		80		77.7		82.7		78.7		71.6		68.9		73.9		69.2		59		67.3		53.4		63.9		63.2		68.7		71.1		64.2		65.3		64		70		65.1		53.4		42.8		30.7		47.2		50.4		55.7		54.1		51.3		51.8		50.3		54.2		49.7		37.8		27.6		16.4

		NOR140_15642541_251125_0078.NBF		(2025/11/25 13:57:02.00)		(0:2:57.0)				N/A		69.8		70.4		76		92.2		72.3		63		59.8		61.8		66.9		70.3		64.6		64.1		62.2		67.5		62.6		52.2		42.9		41.5		77.5		79.1		76.8		91.9		85.9		77.7		72.7		72.5		68.6		62		55.6		61.8		61.9		64.6		70.8		70.9		64.8		67		65		70.2		65.4		54.6		45.7		34.8		46.4		51.3		57		57.8		53.6		55.1		54.3		60.5		56.2		43		30.5		18.5

		NOR140_15642541_251125_0079.NBF		(2025/11/25 14:00:02.00)		(0:2:57.0)				N/A		67.9		68.5		76.4		90.4		71.3		61.2		53.2		61.1		67.8		70.1		62.1		62.1		60.8		65.3		61		50.8		41.2		29.1		67.4		73.2		81		87.6		78		69.5		69.2		74.5		69.6		61		52.3		40.9		56.3		65.3		71.2		72.5		65.9		65.6		64.3		69		64.3		54.3		44.7		32.5		45.9		51.6		58.6		60.7		55		55		54.2		58		54.2		43.3		30.4		16.7

		NOR140_15642541_251125_0080.NBF		(2025/11/25 14:03:02.00)		(0:2:57.0)				N/A		69.1		69.7		74.9		91.6		72.4		60.2		56.2		59		66.7		65.3		60.6		62.8		61.3		66.8		62.1		51.1		40.3		31.3		69.6		73.6		77.4		73.5		70.7		70.9		67		73.3		67.9		57.5		53.4		57.6		59.8		61.9		70.5		68.6		63.7		66.2		64.6		70.3		65.3		54		43.4		31.8		46.5		50.6		55.6		58.3		53.4		52.6		52.1		57.6		53.4		41.3		29.3		19

		NOR140_15642541_251125_0081.NBF		(2025/11/25 14:06:02.00)		(0:2:57.0)				N/A		69.3		69.9		74.4		91.8		72.3		64		54.7		60		67.3		70.2		66		63.6		61.8		66.9		62.2		52		42.1		30.4		70.9		77.6		79.2		83.8		82.7		72.9		68.7		73		67.9		59.8		52.6		44.9		57.8		61.5		71		73.9		69.3		66.6		64.6		70		65.3		55.1		45.5		33.9		46.8		51.9		58.4		60.9		56.7		57.7		56.5		61.2		57.1		46		34.1		20.3

		NOR140_15642541_251125_0082.NBF		(2025/11/25 14:09:02.00)		(0:2:57.0)				N/A		69.5		70.1		75		92		72.4		63.6		59.3		63.6		66.8		67.2		62		63		61.8		67.2		62.5		51.2		40.5		32.6		75.3		76.9		76		78.1		76.6		70.4		67.2		73.7		67.8		59.4		53.4		57.5		62.6		67.8		70		71		64.3		66.2		64.7		70.2		65.6		54.3		43.8		32.1		47		53.6		61.2		60.1		56.4		57.2		56.1		60.9		56.6		44.4		32.7		19.6

		NOR140_15642541_251125_0083.NBF		(2025/11/25 14:12:02.00)		(0:2:57.0)				N/A		67.5		68.2		73.4		90		70.4		61.6		56.1		57.9		64.1		66.5		59.3		62.5		60.2		65.2		60.3		49.9		42.3		32.5		72.5		69.5		74		77		69.2		71.5		65.3		72.1		67.3		61.1		59.1		51.8		59.1		61.2		67.3		70		61.9		65.6		63.2		68.4		63.1		52.3		43.1		31.1		46.1		51.7		57.8		58.2		53.8		55.6		53.7		59		54.8		42.2		30.1		17.7

		NOR140_15642541_251125_0084.NBF		(2025/11/25 14:15:02.00)		(0:2:57.0)				N/A		68.5		69.1		75.2		90.9		71.5		62.8		60.8		60.2		65.7		65.3		60.6		62.5		60.8		66.3		61.3		50.6		43		29.3		82.1		73.6		78.7		73.2		70.5		72		68.1		74.6		67.7		61.1		59.2		44.2		62.8		63.6		68.9		69.3		63.9		65.8		63.9		69.2		64.2		53.6		45.4		32.9		46.9		51		55.1		56.4		53.9		55.1		54.8		60.3		55.7		43.4		29.4		16.2

		NOR140_15642541_251125_0085.NBF		(2025/11/25 14:18:02.00)		(0:2:57.0)				N/A		69.8		70.4		75		92.3		72.2		64.4		62.7		63.9		66		67.1		61.4		63.3		62		67.5		62.9		52		42.6		30.4		86.2		83.9		76.4		81.2		73.3		69.6		67.3		73.2		67.6		59.8		57.7		44.7		62.5		63.9		69.7		70.4		64.5		66.1		64.3		70.1		65.5		54.8		46.3		34.5		46.2		50.9		57.1		59		54.3		55.9		56.6		61.9		57.1		45		32		18.8

		NOR140_15642541_251125_0086.NBF		(2025/11/25 14:21:02.00)		(0:2:57.0)				N/A		69.6		70.3		76		92.1		72.9		62.5		60.3		65.5		67.5		65.5		63.5		64.4		62.4		67.2		62.6		52.3		43.2		32.5		79		84.7		80.3		73.8		75		77.3		70.2		74		70.2		63.1		58.3		56.7		63.4		68.5		70.4		68.8		66.5		67.3		65.6		70.5		65.5		55.2		45.5		32.6		46.3		52.4		59.4		59.1		56		56		54.2		59		56.6		44.4		29.5		16.4

		NOR140_15642541_251125_0087.NBF		(2025/11/25 14:24:03.00)		(0:2:56.0)				N/A		68.8		69.5		75		91.3		71.6		63.9		59.3		63.2		65.4		64.9		59.8		62.8		61.1		66.6		61.7		51		45.1		48.2		77.9		82.6		78.8		76.6		67.5		69		66.5		73.3		67.8		59.8		67.8		72.6		61.3		64		68.2		67.5		62.4		65.6		64		69.5		64.6		53.9		45.1		33.8		46.9		52.7		59		59.1		55.4		57.5		56.7		61.3		56.8		45.6		33.3		19

		NOR140_15642541_251125_0088.NBF		(2025/11/25 14:27:02.00)		(0:2:57.0)				N/A		69.2		69.8		75.5		91.6		72.2		63.5		64.5		59.6		65.1		66.6		60.6		62.3		61		66.9		62.3		51		42.8		33.7		89.5		79.3		75.9		79.4		75.4		71		67.7		73.7		69.3		58.2		63.9		57.8		61.6		61.6		68.1		69.8		62.4		65.3		63.8		70.1		65.3		54.3		42.8		31.6		46.4		51.7		58.7		60		55.4		56.3		55.5		60.8		56.6		44.2		32.4		20.1

		NOR140_15642541_251125_0089.NBF		(2025/11/25 14:30:02.00)		(0:2:57.0)				N/A		68.7		69.3		75.2		91.2		71.7		63.2		53.2		58.5		64.9		67.4		62.3		62.9		61.4		66.5		61.5		50.9		41.4		32.1		72.2		74.1		78		79		74.2		70.4		69		73.3		67.7		58.7		57.8		55.4		55.5		61.4		67.9		70.2		65.2		66.3		64.5		69.6		64.3		53.9		45.2		33.9		44.9		50.3		56.9		60.6		56.7		57.3		56		60.6		56.3		44.4		31.8		18.2

		NOR140_15642541_251125_0090.NBF		(2025/11/25 14:33:02.00)		(0:2:57.0)				N/A		70.7		71.5		78.4		93.2		73.2		66.6		57.7		62		68.5		69.9		65.9		66		63.1		68.3		63.6		53.5		45.9		43.3		75.5		78.5		77.9		82.6		79.8		80.5		71.1		77.5		70.7		66.4		65.3		67		60.3		65		72.4		72.7		68.4		68.4		65.8		71.1		66.4		56		48.3		38.3		47		53.1		61.6		63.3		58.7		60.2		59.1		64		59		47.1		34		20.1

		NOR140_15642541_251125_0091.NBF		(2025/11/25 14:36:02.00)		(0:2:57.0)				N/A		71.6		72.3		84.3		94		73.1		62.6		55.7		58.3		65.7		69.5		71.8		72		69.2		67.3		62.8		52.8		43.8		33.3		75.7		73		78.3		81		87.8		88.6		85.3		74.6		72.4		64		57.6		50.1		58		61		68.9		73.1		72.3		70.8		67		70.3		65.6		55.2		46		34.9		45.3		50.8		58.9		62.2		59.7		58.6		55.9		58.9		54.8		42.7		29.5		17.8

		NOR140_15642541_251125_0092.NBF		(2025/11/25 14:39:02.00)		(0:2:57.0)				N/A		68.6		69.3		76.4		91.1		71.2		62		54.6		59.4		65.1		66		62.8		64.2		60.9		66.1		61.5		52.3		43.6		37.1		70.3		74.2		74.5		77.8		73		77.7		71.2		72.6		71.4		68		60.1		57.6		57.2		62.1		68.7		69.1		66		66.6		63.6		69		64.3		54		44.8		35.8		45.7		52		56.9		58.6		55.4		57.2		53.7		59.4		54.8		43.1		30.8		17.7

		NOR140_15642541_251125_0093.NBF		(2025/11/25 14:42:02.00)		(0:2:57.0)				N/A		68		68.8		75.1		90.5		71.1		60.8		55.9		59.2		64.8		67.8		65.2		63.8		60.7		65.5		60.9		50.8		41.1		28.1		71.2		74.9		77		86.8		82.3		81		71.6		72.4		69.1		63.3		55.1		43.9		59.4		61.8		68		69.4		64.3		65.5		63.5		69		63.9		53.5		44.8		31.2		46.6		51.4		57.8		58.8		55.1		55.9		53.7		57.8		53.4		40.7		28.6		17.2

		NOR140_15642541_251125_0094.NBF		(2025/11/25 14:45:02.00)		(0:2:57.0)				N/A		71.4		73.1		87.5		93.9		73.3		63.5		58.7		63.7		66.7		68.1		63.6		63.8		61.9		67.9		65.3		61.3		51.7		37.9		76.1		85.8		81.2		80.9		79.5		75.6		68.6		82.7		80		83		74.7		62.6		61.4		64.6		69.4		71.6		66.9		66.6		65		70.8		66.7		56.3		46.1		34.1		46.7		52.6		58.7		59.9		55.5		57.7		56		60.9		56.6		44.5		32.8		18.8

		NOR140_15642541_251125_0095.NBF		(2025/11/25 14:48:02.00)		(0:2:57.0)				N/A		69.3		70		77.1		91.8		73		62.2		57.8		65.6		67.9		68.2		62.4		63.3		62.3		66.9		62.2		51.9		42.4		35.4		73.3		82		78.5		81.2		70.8		72.9		72.8		75.3		70.1		61.4		59.5		62.1		61.1		68.1		71.2		71.8		66.2		66.9		65.9		70.7		65.8		55.6		46.4		34.2		47.7		52.6		60.2		60.2		55.7		56.5		54.2		59.6		55.1		42.8		29.7		16

		NOR140_15642541_251125_0096.NBF		(2025/11/25 14:51:02.00)		(0:2:57.0)				N/A		68		68.8		75.4		90.5		71.8		53.5		59.5		62		68.1		66.4		62.9		63.1		61		65.6		60.9		50.4		42.7		32.5		74.8		76.8		77.5		75.8		74.8		75.4		70.4		73.7		69.3		61.3		59		54.6		62.2		64.5		71.8		69.7		66.1		66.4		64.7		69.6		64.9		53.5		44.3		34.2		46.8		51.3		57.7		57.4		49.4		47.1		47.2		51.3		45.9		36.2		26.5		15

		NOR140_15642541_251125_0097.NBF		(2025/11/25 14:54:02.00)		(0:2:57.0)				N/A		68.4		69.6		80.7		90.9		71		62.7		55.4		62.7		70.9		71.5		68		67.4		63.4		65.1		60.7		51.8		44.5		33.2		70.9		77		82.7		84.1		80.7		84		79.8		75.1		70.9		59.6		58.3		52.1		58.8		65.8		74.4		75		71		68		63.9		68.1		63.5		55.2		48.7		37.3		47.4		55		62.9		63.5		58.9		58.8		55.8		58.7		54.8		46.2		36.6		23.3

		NOR140_15642541_251125_0098.NBF		(2025/11/25 14:57:02.00)		(0:2:57.0)				N/A		69		69.7		75.4		91.5		71.7		63		58.9		62.6		67.4		66.1		61.7		63.2		61.7		66.7		62		51.6		42.9		34.7		78.2		77.5		76.7		76.2		79.9		72.7		69.1		73.8		69		61.4		55.3		55.8		61.3		65.1		71.3		68.7		63.3		66		64.2		69.6		64.4		54.4		46.1		36.1		46.7		53.3		61		61.2		56.5		57.6		56.4		60.6		55.8		45.8		34.6		21.7

		NOR140_15642541_251125_0099.NBF		(2025/11/25 15:00:02.00)		(0:2:57.0)				N/A		70.2		72.6		83.9		92.7		72.1		64.4		60.3		65.8		67.8		69.3		67.3		67.9		63.2		67.6		63.1		51.5		40.9		29.5		77.7		86.9		82.7		82.3		86.4		87.9		79		74.8		82.7		61.7		53.3		48.2		62.1		66		70.6		71.6		67.6		66.9		64.4		70		65		53.9		44.4		31.9		46.9		52.8		59.5		62.2		57		57.1		56.1		61.1		58.3		46.6		32.1		18.6

		NOR140_15642541_251125_0100.NBF		(2025/11/25 15:03:02.00)		(0:2:57.0)				N/A		69.1		69.8		74.4		91.6		72.1		63.7		56		62.9		66.2		67.7		62.7		63.6		61.7		66.7		62.2		52		44.3		34.9		71.4		79.3		77.7		79.7		77.9		72.6		67.2		72.5		68.6		61.9		65.7		59.6		59.7		66.6		69.3		70.9		64.6		66.8		64.8		69.9		65.1		55		46.6		35.3		46.5		51.2		57.9		59.6		55.9		57.8		56		61		56.7		45.2		32.5		19.1

		NOR140_15642541_251125_0101.NBF		(2025/11/25 15:06:02.00)		(0:2:57.0)				N/A		69.1		70		78.8		91.6		72.1		63.4		54.8		60.1		65.8		71.5		64.5		63.7		61.7		66.8		61.7		51.5		44.2		43.7		70.9		77.4		76		84.9		78.9		75		73.9		75.4		72.3		67.4		67.2		70.7		58.2		62.2		68.6		73.7		67.5		66.7		64.5		69.8		64.8		54.2		45.5		35.1		46.4		52.7		59.8		61.7		57.2		58		56.2		61		55.9		45.1		32.2		20.3

		NOR140_15642541_251125_0102.NBF		(2025/11/25 15:09:02.00)		(0:2:57.0)				N/A		74.4		75.7		91.3		96.9		72.7		63.6		52.2		60.5		66.2		73		70.9		77.5		70.2		69.5		66.4		56.2		50.3		37.5		65.4		77		74.9		87.2		85.6		97.1		88.1		85.3		85.6		77.7		71.1		55.9		55.1		63.2		69.2		75.6		71.8		71		68.6		69.6		65.1		54.8		48.6		38.2		46.4		53.2		60.8		61.2		56.4		58.3		56.6		60.9		56.4		44.7		33		19.8

		NOR140_15642541_251125_0103.NBF		(2025/11/25 15:12:02.00)		(0:2:57.0)				N/A		68.7		69.3		74.5		91.2		71.7		63.7		58.5		66.7		68.5		67.5		62.5		63.5		61.5		66.3		61.5		51.4		42.7		30.7		76.2		86.3		85.4		81.4		73.2		74.4		69.5		73.3		67.1		62.1		58.2		45		61.3		68.2		71.2		70.6		65.6		66.2		64.6		69.2		64.5		54.1		44.8		33.5		46.4		52.9		60.9		61.2		57		58.5		56.6		61.1		56.8		45.6		34.6		21.1

		NOR140_15642541_251125_0104.NBF		(2025/11/25 15:15:02.00)		(0:2:57.0)				N/A		69.3		69.9		75.2		91.8		71.8		63.5		57.4		60.4		66.1		68.2		62.5		63.5		62		67		62.2		52.4		43.6		34.9		74.9		77.5		77.9		80.1		72.1		69.7		68.5		73.5		68.2		64.5		60		55.4		58.7		63.3		69.6		71.3		65.7		66.5		64.8		69.6		64.6		55		46.5		35.7		46.8		52		58.8		60.7		56		57.7		56.4		60.7		56.6		46		33		18.9

		NOR140_15642541_251125_0105.NBF		(2025/11/25 15:18:02.00)		(0:2:57.0)				N/A		68.8		69.4		74.3		91.3		71.3		64.3		54.7		61.9		66.7		66.8		62.1		63.7		62.2		66.4		61.5		52.3		43.8		35		73.8		77.6		79.1		79.2		72.7		75.2		69.8		71.8		68.9		66.9		61.3		55.9		56.6		64.1		69.7		70.5		65.1		66		64.3		69		63.8		53.7		45.4		33.9		46.4		53.5		59.9		59.7		56.8		57.8		57.1		61.8		57		45.7		32.6		19

		NOR140_15642541_251125_0106.NBF		(2025/11/25 15:21:02.00)		(0:2:57.0)				N/A		69.2		70.1		77.5		91.7		72.1		61.9		55.4		61.5		66.3		67		62.2		62.9		62		66.8		62.1		53		43.6		31.3		74.9		79.1		78.1		76.7		73.4		73.2		68.4		73.1		69.9		73.6		62.4		46.7		57.7		64.6		69.9		70.6		65.7		66.1		65.2		69.9		65		55		46.5		34.1		46		51.2		57.6		58.4		53.6		55.5		55.4		59		54.9		44.4		32.5		20

		NOR140_15642541_251125_0107.NBF		(2025/11/25 15:24:02.00)		(0:2:57.0)				N/A		68		68.6		73.6		90.5		71		60.4		57.9		63.8		69.3		68.9		62.8		63.1		61.1		65.6		60.7		51.1		41.6		33.9		74.9		80.1		80.5		77.9		71		70.5		67.5		71.8		67.2		59.5		57.3		55		60.9		66.9		72.4		71.9		65.5		65.8		64.1		68.8		63.5		54		44.8		34.1		46.9		54.3		63.3		63.7		57.9		55.1		54		57.3		53.1		45.5		35.7		22.1

		NOR140_15642541_251125_0108.NBF		(2025/11/25 15:27:02.00)		(0:2:57.0)				N/A		68.8		70.3		82.5		91.3		71.7		61.8		52.8		58		66.2		68		68.8		66.1		62.9		66.1		61.3		50.5		39.9		35.1		67.3		71.2		76.4		84.7		91.8		88.5		81.7		73.4		69.2		60.6		53		58.1		56.1		61		70.2		70.7		66.6		66.1		64.8		69.4		64.2		53.3		43		31.6		45.1		50.9		58		60.1		54.8		55.4		55.2		58.9		55.3		43		30.6		17

		NOR140_15642541_251125_0109.NBF		(2025/11/25 15:30:02.00)		(0:2:57.0)				N/A		69		70		78.5		91.5		72.1		63.8		59.1		64.4		67.9		67.8		65		63.5		61.7		66.4		62.1		52.6		43.7		32.1		76.5		81.5		79.7		80.1		77.5		71.2		67.9		77.3		69.8		61.7		57.1		46.3		61		67.1		71.8		71		66.9		66.6		64.9		69.8		65.1		56		46.8		35		46.3		52.6		60.1		61.7		57.7		57.9		56.8		60.3		56.8		45.8		33.7		21.1

		NOR140_15642541_251125_0110.NBF		(2025/11/25 15:33:02.00)		(0:2:57.0)				N/A		69.3		70.1		76.2		91.8		72		64.9		58.4		60.8		68		69.3		64.3		64.5		62.3		66.9		62.1		52.2		46.3		47.9		77.7		78.2		78.6		81.9		78.5		76.3		69.9		74.6		68.7		60.3		69.7		70.7		61.4		63.5		70.9		72.1		66		67		65.1		69.7		64.9		55.2		46.9		37.1		47.8		54.1		62.7		63.9		58.6		59.6		58.2		62		57.6		47.7		37		24.3

		NOR140_15642541_251125_0111.NBF		(2025/11/25 15:36:02.00)		(0:2:57.0)				N/A		69.9		70.7		76.7		92.4		72.7		65.3		52.2		58.9		66.1		69.8		65		65.6		62.7		67.4		62.7		51.6		40.6		28		65.7		71.3		76.1		82		80.2		82.3		71.5		73.6		69.7		63.7		53.5		43.6		55.3		62		69.7		73.3		67.3		67		65.4		70.2		65.2		54		43.2		31		46		52.3		59.3		61.7		56.9		58.4		57.6		62.7		58.6		45.8		33.8		19.9

		NOR140_15642541_251125_0112.NBF		(2025/11/25 15:39:02.00)		(0:2:57.0)				N/A		70.3		71.1		78.7		92.8		73.6		63.2		52.2		58.4		64.7		66.1		61.3		63.2		62.4		68		63.7		53.2		41.6		31.1		70.6		74.3		74.9		77		72.4		73.2		71.7		76.6		72.3		63		52.9		51.7		53.7		61.3		67.9		69.8		64.2		66.3		65.6		71.3		67		56.8		45.8		33.5		45.2		51		57.2		58.6		53.9		55.8		55.7		60.6		56		44.5		31.1		16.7

		NOR140_15642541_251125_0113.NBF		(2025/11/25 15:42:02.00)		(0:2:57.0)				N/A		68.5		69.2		74.2		91		71.4		62.8		55.4		61.9		66.1		69.9		62.3		62.8		61.1		66.2		61.4		51.5		42.3		30.6		74.9		79.5		78.1		85.9		78.3		70.1		72.1		73.5		66.6		61.4		57.2		46.8		55.9		63.6		69.9		72.5		64		65.6		64.1		69.3		64.1		54		44.9		33.3		45.6		51.4		58.2		59.7		55		57.4		55.8		59.9		55.7		45.4		32.1		18.2

		NOR140_15642541_251125_0114.NBF		(2025/11/25 15:45:02.00)		(0:2:57.0)				N/A		68.3		68.8		75.7		90.8		71.1		61.8		54.2		61.8		68.1		67.4		62.1		62.8		61.1		65.9		61.2		50.8		41.7		40		70.7		80.8		78.3		76.6		72.1		70.1		68.2		74		69.4		58.2		59.6		63.3		57		64.3		71		70.3		64.8		65.7		63.6		69.1		63.7		53.2		44		33.2		46.4		53.3		61.1		62.3		56.8		56.3		54.9		58.9		54.5		44		32.7		18.5

		NOR140_15642541_251125_0115.NBF		(2025/11/25 15:48:02.00)		(0:2:57.0)				N/A		70.5		71.1		75		93		73		65.2		52.6		60.9		66.8		67.8		62.7		64		62.7		68.2		63.5		52.7		44.3		33		64.6		76.8		75.7		76		73		69.6		68.2		74.5		68.8		58.3		63.8		54.6		55.8		64.2		70		70.8		65.3		66.5		65		70.8		66.2		55.2		45.9		35.5		46.2		52.6		60.6		61.5		57.5		59.1		57.7		62.5		58.1		47.2		35.8		20.9

		NOR140_15642541_251125_0116.NBF		(2025/11/25 15:51:02.00)		(0:2:57.0)				N/A		68.9		69.5		74.1		91.4		72.1		63.1		56.6		63.1		67.2		66.1		61.2		63.1		61.3		66.6		61.8		51		40.3		32		74.7		82.9		80.7		76.7		69.9		70.5		67.7		72.5		67.9		61.3		50.8		54.5		58.3		62.5		70.5		69.6		64.4		66.3		64.5		69.9		65		54.1		43.7		31.7		45.9		49.9		56		57.8		54.8		57.3		55.7		60.2		56		44.8		31.4		16.3

		NOR140_15642541_251125_0117.NBF		(2025/11/25 15:54:02.00)		(0:2:57.0)				N/A		68.7		69.4		77		91.2		72.4		62.9		52.3		60.7		68.7		72.7		65.9		63.6		61.7		66		61.9		52.6		43.8		33.2		67.7		76.9		80.1		88.8		84.1		77.1		72.2		72.3		72.6		64.3		61.3		53.1		55.2		63.4		72.3		74.6		68.1		66.6		64.8		69.8		65.5		55.1		46.4		35.3		45.4		53.7		60.4		62.4		58.1		57.3		56.4		59.4		55.8		46.5		34.1		18.8

		NOR140_15642541_251125_0118.NBF		(2025/11/25 15:57:02.00)		(0:2:57.0)				N/A		69.5		70.2		74.8		92		72.2		64.7		56.5		60.6		68.2		71.1		63.9		63.8		62.1		67.1		62.6		52.7		48.6		36.8		74.8		75.5		78.9		83.3		74.5		71.6		69.5		73.2		68.2		61.2		73.2		62.2		58.8		63.5		71.1		74.1		66.4		66		64.5		69.8		65.5		55.8		47.8		36.4		46.3		53.7		62.5		63.2		59.1		59.5		57.9		62.1		57.2		47.4		36.1		22.6

		NOR140_15642541_251125_0119.NBF		(2025/11/25 16:00:02.00)		(0:2:57.0)				N/A		70.2		71.2		80.7		92.7		72.6		65.8		51.7		61.4		71.2		68.5		67.2		65.2		63.6		67.7		63.1		51.9		42.3		31		65.2		72.5		80.4		82.5		84.8		82.7		83.2		72.8		68.4		57.7		57.9		50.1		54.7		65.9		76.3		71.5		66.6		66.3		64.4		70.2		65.7		54.7		45.5		33.5		45.2		51.7		59.2		61.9		57.4		59		58		63		58.3		47.4		35.4		22.3

		NOR140_15642541_251125_0120.NBF		(2025/11/25 16:03:02.00)		(0:2:57.0)				N/A		69		69.6		74.3		91.5		72.2		61.3		58.6		64		68.4		67.6		61.4		63.2		61.2		66.6		62.3		51.4		41.1		29.8		79.5		81.6		76.3		79.7		74		69.8		66.5		72.5		68.2		60.7		54.7		52.2		60		67.5		71.6		70.1		63.9		66.1		64		69.9		65.5		54		43.2		31.3		46.2		53.5		62.6		60.2		54.8		55.4		53.8		58.4		54.4		44.1		31.1		17

		NOR140_15642541_251125_0121.NBF		(2025/11/25 16:06:02.00)		(0:2:57.0)				N/A		70.9		72		82		93.4		73.3		65.3		55.3		60		67.1		69.9		66.9		69.4		65.6		67.9		63.4		54		44.9		33.4		75		72.3		76.7		85.4		81.7		86		81.4		77.2		73.3		68.9		63.9		51.3		57.3		63.7		70.3		73		68.6		69.7		65.6		70.7		66.1		56		47.2		34.9		46.6		52.5		60.3		61		56.5		58.4		57.4		62.6		58		46		33.9		20.2

		NOR140_15642541_251125_0122.NBF		(2025/11/25 16:09:02.00)		(0:2:57.0)				N/A		69.5		70.5		77.3		92		72.1		64.8		53.8		60.8		66.9		69.9		62.6		63.8		61.7		67.1		62.7		52.4		42.5		31.8		71.1		78		76.5		89.2		75.1		70.5		67.2		73.8		73.7		62.3		54.2		49.8		57.1		64.1		70.1		72.1		65.3		66.5		64.5		70		65.2		54.8		45.6		33.8		46		53.3		60.1		61.7		57.3		57.9		57.5		62		57.7		45.9		33.5		19.9

		NOR140_15642541_251125_0123.NBF		(2025/11/25 16:12:02.00)		(0:2:57.0)				N/A		70.6		71.3		76.2		93.1		73.2		66.6		55.3		61.9		65.5		67.6		63.1		64.3		63.8		68.1		63.6		53.9		44.4		33.9		68.7		74.9		74.2		77.7		78		72.4		70.5		75.3		69.6		64		58.5		51.8		58.3		65.8		68.8		70.9		65.4		67.2		66.9		70.6		65.9		56.1		47		36.1		47.1		53.2		59.6		61.3		57.8		59.5		59.6		64		59.4		48.5		36.2		22.2

		NOR140_15642541_251125_0124.NBF		(2025/11/25 16:15:02.00)		(0:2:57.0)				N/A		69.6		70.2		75.8		92.1		72.5		62.8		59.5		65.8		67.1		68.4		62.7		64.6		62.1		67.2		62.6		52.1		42		30.9		78.2		85.9		81.4		80.7		78.7		79.5		67.8		73.9		68.9		62.6		52.9		49.5		58.5		65.6		70.5		71.8		64.9		66.7		64.8		70.3		65.3		54.5		45		33.3		46.1		53.6		60.6		60.3		56.4		57.5		56.3		59.8		56		45.6		34.7		20.4

		NOR140_15642541_251125_0125.NBF		(2025/11/25 16:18:03.00)		(0:2:56.0)				N/A		68.3		68.9		75		90.7		70.9		63.9		52.6		62.9		70.7		69		63.5		62.3		60.5		65.7		61.6		50.8		43.4		54		66.6		78.9		81.1		80.5		78.5		67.7		65.7		72.4		69.9		58.3		61.5		75.8		55.5		65.4		73.3		72.1		65.7		64.8		62.9		68.5		64.2		53.4		44.9		43.5		46.3		56.7		65.3		62.9		57.8		58.3		56.6		60.7		57		46.8		36.8		24.3

		NOR140_15642541_251125_0126.NBF		(2025/11/25 16:21:02.00)		(0:2:57.0)				N/A		69		69.6		75.2		91.5		71.4		63.4		51.4		61.4		69.4		71.8		68.5		63		61.1		66.5		62		52.8		46.1		38.4		63.3		76.1		77		83.3		82.3		71.4		67.3		73.7		67.6		65.2		62.7		60.3		54.3		64.2		73		76.9		71.9		66		63.6		69.2		64.6		55.1		47.7		38.1		45.5		53.2		61.2		61.2		55.7		57.2		55.2		59.5		55.8		46.3		34.9		21.4

		NOR140_15642541_251125_0127.NBF		(2025/11/25 16:24:02.00)		(0:2:57.0)				N/A		69.4		70		77.3		91.9		72.3		65		56		61.6		67.2		68.7		64.7		63.9		62.2		67.1		62.1		51.5		44.3		34.6		74.4		77.8		77.2		79		78.2		74.9		69.8		75.7		71		62.1		64		53.4		58.1		64.3		70.3		72.7		67.7		66.5		66.3		70.1		64.8		54.1		44.6		32.5		46.2		54		61.4		61.6		58.8		59.5		57.6		62.2		57.5		46.8		34.3		21

		NOR140_15642541_251125_0128.NBF		(2025/11/25 16:27:02.00)		(0:2:57.0)				N/A		69		69.6		75.6		91.5		71.7		64		54		60.2		66.3		67.8		61.4		63.5		61.6		66.7		61.8		51.3		42		31.3		71.9		77.9		79.5		78		72.1		70.2		69		74		67.8		60.1		59.7		47.9		55		63.2		69.4		70.9		64.2		66.4		64.6		69.7		64.5		54.3		45		34.3		45.4		52.4		60.2		61.4		56.9		58.1		56.1		61.4		57		45.2		34		20.7

		NOR140_15642541_251125_0129.NBF		(2025/11/25 16:30:02.00)		(0:2:57.0)				N/A		69.7		70.3		75.8		92.2		72.3		62.9		56.9		63.5		68.2		67.5		61.8		63.5		62.2		67.3		62.6		53		43.4		31.3		76.3		85.7		87.2		81		75.8		71.1		68		73.8		69.7		63.5		57.1		46.6		58.9		64.2		70.6		70.3		64.6		66.3		64.8		70.2		65		56.1		46		34		45.8		52.6		61.8		59.1		53.1		55		56.1		60.5		55.6		44		34.2		21.9

		NOR140_15642541_251125_0130.NBF		(2025/11/25 16:33:02.00)		(0:2:57.0)				N/A		70.5		71.2		78.1		93		72.9		65.7		50.8		56.9		65.8		65.6		61.6		64		62.8		68.2		63.7		52.9		42.6		34.1		62.8		69.9		76.5		73.6		78.6		71.1		74.1		76.2		71.9		63.3		58.9		58.7		53.7		59.7		69.1		68.5		63.4		66.7		65.1		70.7		66		55.4		45.3		33.8		44.9		51		58.7		60.3		55.9		58.2		58.6		63.2		59		46.6		33.4		19.4

		NOR140_15642541_251125_0131.NBF		(2025/11/25 16:36:02.00)		(0:2:57.0)				N/A		68.7		69.5		75.6		91.2		71.2		64.4		54		59.5		67.4		67.8		61.3		63.2		61.3		66.3		61.8		51.7		42.1		33.9		72.1		74.7		78.9		77.7		70.7		72.2		68		71.8		70		67		60.3		55.4		55.7		62.7		71.1		71.4		64.4		65.9		63.8		69		64.3		54		44.5		33.1		45.4		51.7		59		60.5		55.4		58.9		56.9		61.5		57.5		45.9		34.3		19.7

		NOR140_15642541_251125_0132.NBF		(2025/11/25 16:39:02.00)		(0:2:57.0)				N/A		68.2		68.8		74.6		90.7		71		62.2		50.9		57.5		65.4		68.1		61.7		63.1		61.1		65.7		61.2		50.9		42.9		34.9		74.1		77.9		76.2		81.6		73.4		69.9		71.3		73.3		67.8		62.9		60.1		52.7		52.6		60		68.4		71.8		65		66		63.2		68.5		64.3		53.7		44.5		37.5		43.5		51.1		60.1		60		54.7		57.4		55.7		59.6		54.7		42.7		31.7		19.8

		NOR140_15642541_251125_0133.NBF		(2025/11/25 16:42:02.00)		(0:2:57.0)				N/A		69.3		70		78.3		91.8		72.4		63.5		53.6		62.6		69.6		69.2		64.5		68.5		62.2		66.7		61.9		52.1		45.1		35.8		74.8		87		87.2		82.5		79.2		88		70.1		72.8		67.4		59.6		66.5		56.4		54.4		62.5		73.3		72.6		66.8		68.7		65.1		69.9		65		55.3		48.1		37.7		43.5		51.5		58.9		60.1		55.3		56.6		56.3		60.5		56.2		46.5		36.6		23.6

		NOR140_15642541_251125_0134.NBF		(2025/11/25 16:45:02.00)		(0:2:57.0)				N/A		69.9		70.4		75.1		92.4		72.2		65.1		60.4		64.7		67.3		69.8		63.8		64		62.3		67.5		62.9		52.2		41.9		30.1		78.6		81.6		80.7		81.6		78		71.3		67.5		73.2		68.8		60.1		55.4		44.2		62.6		67.2		70.5		73.1		65.6		66.8		64.6		69.9		65.4		54.9		45.2		33.6		45.1		53		61		62.8		58.4		58.3		57.7		62.5		58.1		46.4		33.3		19.3

		NOR140_15642541_251125_0135.NBF		(2025/11/25 16:48:02.00)		(0:2:57.0)				N/A		72.1		73.2		85.7		94.6		74.2		63.3		51.5		59.4		65.8		68.8		69.3		74.8		66.4		68.9		63		52		42.5		33.6		66.3		76		75.3		78.9		85.1		90.3		81.2		82.6		71.7		63.2		58		57.7		53.9		61.5		69.3		72.2		72.1		73.2		67.3		71.6		66.5		55.2		44.9		32.7		43.9		49.1		54.9		56		53.7		57.3		55.4		61.1		55.1		42.7		28.8		15.3

		NOR140_15642541_251125_0136.NBF		(2025/11/25 16:51:02.00)		(0:2:57.0)				N/A		69.2		69.7		75.3		91.7		71.7		64.6		54.2		62		66.5		67.2		62.3		63		61.3		66.9		62.2		51.6		43.1		30.3		71.9		81.8		79.8		76.9		72.4		69.5		66.9		73.5		68.7		58.8		63.3		45.5		54.5		63.9		69.7		71.2		65.5		65.8		63.6		69.5		64.8		54.3		44.8		33.8		44.3		50.3		58.1		59.4		55.8		57.8		57.6		61.8		57.4		47		34.7		20

		NOR140_15642541_251125_0137.NBF		(2025/11/25 16:54:02.00)		(0:2:57.0)				N/A		70.4		72.5		87.6		92.9		72.1		62.6		50.3		58.4		65.6		71		69.4		72.1		66.4		66.5		61.7		51.6		42.5		32.8		64.8		78.1		79.4		89.7		87.5		95.1		85.6		78.6		68.6		62.5		54.9		56.8		53.1		61.1		68.4		72.2		67.1		66.7		64.5		69.7		65.1		54.8		46.2		34		44.3		51		59.4		61		56.1		55.8		55.2		59.6		55.6		43.7		32.5		18.6

		NOR140_15642541_251125_0138.NBF		(2025/11/25 16:57:02.00)		(0:2:57.0)				N/A		69.9		70.5		76		92.4		72.5		64.3		50.4		58		67		68.2		63		63.2		61.9		67.6		63.1		52		41.9		42.5		64.6		71.4		77.5		80.5		76.3		71		68.6		74.7		68.1		62.5		55.6		67.4		53		61		70.7		71.2		65.8		66.1		64.4		70.3		65.7		54.7		44.8		32.5		43.7		50.6		59.5		61		56.2		56.7		56.5		61.7		57.7		46.4		34.4		20.7

		NOR140_15642541_251125_0139.NBF		(2025/11/25 17:00:02.00)		(0:2:57.0)				N/A		69.6		70.3		76.1		92.1		72.8		64.1		56.5		64		67.2		68.5		63		64.4		62.3		67.3		62.5		51.5		41.3		29.8		78.4		82.6		80.7		80.6		78.1		77.5		69		75.1		69.1		60.4		53.9		46.9		54.6		65.1		69.9		71.7		65.3		67.1		65.4		70.6		65.6		54.5		44.3		32		44.2		51.7		59.9		62.2		56.2		57.3		56.2		61.2		57.5		45.7		31.5		17.2

		NOR140_15642541_251125_0140.NBF		(2025/11/25 17:03:02.00)		(0:2:57.0)				N/A		68.5		69.1		73.5		91		71.3		63.6		56.7		65.9		68.8		67.4		62		63		61.3		66.1		61.5		51.8		42.4		30.9		74.8		86.5		80.7		77.4		71.3		70.6		67.6		72		66.5		63.5		54.8		45.3		56.4		67.1		72.5		70.5		65.2		66		64.1		68.9		64.4		54.7		46		34.4		44.7		51.5		57.7		59.8		55.1		57.3		55.8		61		56.7		45.1		33.4		19.6

		NOR140_15642541_251125_0141.NBF		(2025/11/25 17:06:02.00)		(0:2:57.0)				N/A		70.8		71.4		75.7		93.3		73.3		65.7		51.6		60.1		67		69		63		65.4		62.9		68.4		63.9		53		42.5		30.7		67.3		74.7		77.7		79.7		74.4		75.4		68.2		74		69.4		60.5		53.4		48.1		54.3		63.3		69.9		71.9		65.3		68.2		65.3		71		66.4		55.9		46.2		34.2		43.9		51.3		59.1		59.8		56.3		59.7		57.4		63.2		58.8		47.2		32.8		19.2

		NOR140_15642541_251125_0142.NBF		(2025/11/25 17:09:02.00)		(0:2:57.0)				N/A		69.2		69.8		78.8		91.7		72.5		61.7		50		58.7		65.8		70.8		67.1		66		63.2		66.3		62		52		42.3		36.6		61.6		72.8		77.4		87.7		84.7		82.8		78.4		73.3		68.7		59.6		52.4		61.3		53.1		61.6		68.9		73.3		67.7		67.2		65.1		69.9		65.6		55.9		46.8		36.3		44.5		50.4		57		59.3		54.7		55.9		54.4		58.8		54.6		42.9		28.8		15

		NOR140_15642541_251125_0143.NBF		(2025/11/25 17:12:02.00)		(0:2:57.0)				N/A		69.7		70.2		74.8		92.2		72		65.4		52.2		56.6		65.6		67.2		61.7		63.5		62		67.4		62.8		51.4		40.4		32.3		66.2		69		79.1		77.4		76.5		70.9		68.3		73.2		68.5		58.9		50.1		51		55		59.5		68.1		70.6		63.5		66.1		64.4		69.9		65.2		54		44		33.8		45.3		50.6		58.6		60.7		56.8		59.3		57.7		62.9		58.3		46.1		32.8		19

		NOR140_15642541_251125_0144.NBF		(2025/11/25 17:15:02.00)		(0:2:57.0)				N/A		69.8		70.3		75.8		92.2		73.2		61.9		55.6		61.7		66.8		67.2		61.1		63		62		67.4		62.9		52.7		43.6		31.5		74.8		77.2		81.4		77.7		71.3		70.4		68.2		73.8		69.8		64.9		58.6		47.4		56.8		65.4		70		71.1		64.7		66.4		65.4		71		66.3		55.6		47		33.8		44		49.2		56		59.1		53.2		54.3		55		59.2		55		42.1		26.1		13.6

		NOR140_15642541_251125_0145.NBF		(2025/11/25 17:18:02.00)		(0:2:57.0)				N/A		69.8		70.4		75.4		92.3		72.4		64.5		50.1		57.6		63.6		67.7		61		63.4		62.2		67.5		63		51.7		40.9		28.3		63		73.4		72.4		81.6		75.7		70.4		69.6		73.8		67.9		58.2		51.9		41.2		52.8		60.8		67		70.6		63.3		66		64.9		70.2		65.6		54.2		43.8		31		44.6		50.6		58		59.4		55.7		58.4		57.5		61.9		57.9		46.3		34.5		20.6

		NOR140_15642541_251125_0146.NBF		(2025/11/25 17:21:02.00)		(0:2:57.0)				N/A		70.1		70.7		78.5		92.6		72.9		63.7		56.3		63.8		66.9		68.8		63.6		64.2		62.7		67.6		63.3		53.7		47.5		37.6		73.8		85.3		82.5		80.2		77.6		76.1		72.6		73.3		73.7		67.5		66.4		59.4		56.6		62.3		69.6		72.6		66		66.6		65.3		70.8		66		55.8		46.9		34.7		45.3		51.5		57.6		59.7		56		57		55.8		61		56.7		45.7		31.5		17.1

		NOR140_15642541_251125_0147.NBF		(2025/11/25 17:24:02.00)		(0:2:57.0)				N/A		69.8		70.7		79.7		92.3		72.7		62.7		58		63.7		66.1		68.6		62.2		63.7		62.2		67.4		62.8		53.6		44.4		43.1		78.9		82		81.7		81.7		71.7		74.8		75		75.4		73.9		69.5		59.9		68.3		57.4		65.2		69.3		72		65.5		66.7		64.9		70.5		66		55.1		45.9		35.6		45.5		53.1		58.4		59.9		56.4		56.9		55.6		60.3		54.8		44		31.6		15.4

		NOR140_15642541_251125_0148.NBF		(2025/11/25 17:27:02.00)		(0:2:57.0)				N/A		68.8		69.5		76		91.2		71.8		62.8		54.5		62.4		66.9		66.5		62.4		63.3		61		66.3		61.9		51.9		42.4		33.8		74.6		78.7		77.5		81.9		80.6		76.5		67.5		72.2		70.5		70.2		61.8		55.7		54.8		63.7		70.4		69.1		64.5		65.9		64.2		69.4		64.8		54.8		44.5		33.4		43		50.3		58.6		57.7		54.3		56.4		55.9		60.2		55.5		44		31.6		18.1

		NOR140_15642541_251125_0149.NBF		(2025/11/25 17:30:02.00)		(0:2:57.0)				N/A		68.5		69.1		74		91		71.7		62.3		57		63		66.1		66.8		60.7		62.4		60.9		66		61.7		51		41		34.6		75.5		77.9		76.9		77		71.8		71.5		68.3		71.8		67.5		58.3		62.9		57.4		58.3		66.4		70.1		71		64.2		65.9		64.1		69.3		65		54.6		43.8		32.7		43.1		48.6		54.8		56.4		53.1		55.5		55		59.7		55.3		42.3		28.8		15.7

		NOR140_15642541_251125_0150.NBF		(2025/11/25 17:33:02.00)		(0:2:57.0)				N/A		70.5		71.3		76.2		93		72.9		66.3		50.2		58.1		67		68.2		62.8		64.2		63.1		68.3		63.5		52.6		42.4		31.6		59.5		69.8		79.5		81.2		73.7		71.7		69.7		75.5		69		61.5		55.9		51.5		53.5		61.4		70.2		70.8		64.9		66.7		65.7		70.8		65.8		55.5		46.2		33.5		44.4		52.2		59.1		61.3		56.9		58.6		58.1		64		59.2		46.6		33.3		21.3

		NOR140_15642541_251125_0151.NBF		(2025/11/25 17:36:02.00)		(0:2:57.0)				N/A		70.7		71.3		81		93.1		73.3		66.6		50.9		58.7		68.6		68.9		64.4		64.3		62.5		68.1		64.2		54		43.1		52.2		67		70.8		79.6		78.4		79.3		76.4		72		79.2		74.8		66.2		55		73.5		53.6		61.4		71.9		71.6		66.2		66.7		65.3		71		66.6		56.2		46		34.7		44.9		53.3		62.8		63.8		59.7		60.2		58.3		63.6		59.9		48.4		36		22.5

		NOR140_15642541_251125_0152.NBF		(2025/11/25 17:39:02.00)		(0:2:57.0)				N/A		69.3		69.9		74.3		91.8		72		61.8		50.4		60		65.1		65.5		61.3		63		61.6		67		62.4		51.4		40.4		31.1		68.8		78.5		74.8		76.8		74.7		70.5		67.9		73		67.2		58		49.9		53		53.1		61.3		68.6		69.2		64.2		66		64.2		69.7		65.1		54.4		44		31.1		43.3		48.6		55.2		55.5		51		52.1		52.8		59.2		55.2		39.8		26.2		13.9

		NOR140_15642541_251125_0153.NBF		(2025/11/25 17:42:02.00)		(0:2:57.0)				N/A		70.1		70.7		75.7		92.6		72.9		65		56.7		64.3		66.8		68.1		62.8		64.2		62.1		67.6		63.4		53		42.6		30.8		75.7		85.2		78.4		75.6		73.3		74.7		68.2		73.9		68.9		59.9		55.1		47.4		57.4		65.7		69.8		71.9		66.1		67		64.8		70.4		66.4		56.2		46.3		34.1		43.6		51.5		60.1		60.6		56.8		58.2		57.1		62.3		58.3		46.9		35.2		20.7

		NOR140_15642541_251125_0154.NBF		(2025/11/25 17:45:02.00)		(0:2:57.0)				N/A		69.2		70.4		82.2		91.7		71.5		63.8		48.6		55.5		65.1		66.4		61.4		63.1		61.5		66.6		62.7		53.6		43.4		30.5		62.5		66.1		82.3		78.7		77.6		78.9		74.9		75.9		77.5		73.7		64		51.5		51.4		58.6		67.5		69.8		63.1		65.3		64.2		69.4		64.8		55.1		45		32.5		43.1		49.8		57.9		58.3		54.5		55.6		56.5		61.2		56.8		44.2		29.4		15.1

		NOR140_15642541_251125_0155.NBF		(2025/11/25 17:48:02.00)		(0:2:57.0)				N/A		69.8		70.7		77.7		92.3		72		65.1		50.8		57.3		65.4		66.6		62.3		63.9		61.8		67.4		63		52.9		43.6		32.6		67.4		73.6		76.1		76.8		77.7		74.4		68.8		74.4		72		67.4		60.3		50.6		53.6		60.2		68.6		70.3		64.1		66.1		64.2		69.7		65.3		55.1		45.2		34.3		44.4		51.8		59.3		60.4		57		59		57.5		62.9		58		46.1		34.1		21.3

		NOR140_15642541_251125_0156.NBF		(2025/11/25 17:51:02.00)		(0:2:57.0)				N/A		77.5		82.5		99.1		100		72.8		62.1		56.8		69.5		67.3		68		61.1		63.1		62		70.6		73.2		70.8		59.1		44.3		75.2		90.5		78.9		82		69.8		73		79.2		92.6		96.5		93.7		83.7		69.2		56.2		66.6		70.7		70.9		64.4		66.3		64.5		70.4		66.1		57		47.2		34.7		43.5		51.4		58		57.6		54		54.4		53.8		59.3		55.1		43.9		28		13.1

		NOR140_15642541_251125_0157.NBF		(2025/11/25 17:54:02.00)		(0:2:57.0)				N/A		70		70.7		76.1		92.5		72.6		65		49.7		59.2		67		68.2		65.3		63.7		62.4		67.7		63		52.9		44.2		30.8		66.6		74.9		77.6		80.8		82.5		73.7		70.8		73.5		69.4		66		62.4		46.1		52.3		61.8		70.3		70.8		66.7		66.6		65.3		70.5		65.6		55.2		45.2		33.2		43.5		52		60		61.6		57.1		57.5		57.2		62.4		57.9		45.9		32.1		18.7

		NOR140_15642541_251125_0158.NBF		(2025/11/25 17:57:02.00)		(0:2:57.0)				N/A		69.3		69.9		75.9		91.8		71.7		63.8		49.9		58.9		63.7		67.6		62		62.9		61.8		67		62.3		51.5		42.1		47		66.2		77		73.4		82.8		76.9		71.2		69.9		74		70.2		58.1		59.8		70.8		53		61.4		66.9		69.5		63.9		65.7		64.4		69.6		64.9		54.2		44.9		33.5		42.6		50.1		57.1		58.9		55.3		55.7		56.3		61.3		56.7		44.9		30.8		16.6

		NOR140_15642541_251125_0159.NBF		(2025/11/25 18:00:02.00)		(0:2:57.0)				N/A		71.2		73.1		86.7		93.7		74.1		64.7		49.8		57.2		67.4		70		69.5		69.5		66.3		68.2		63.4		53.5		43.2		34.6		66.6		71.1		80.7		84.6		89.2		93.2		83.9		75.6		71.4		68.4		59.1		57.8		52.2		60.5		70.1		73.7		70.3		68.6		66.8		71.3		66.9		56		45.7		34.7		43.9		51.2		59.8		62.4		57.6		57.8		57.7		62		56.9		45.4		32.2		18.9

		NOR140_15642541_251125_0160.NBF		(2025/11/25 18:03:02.00)		(0:2:57.0)				N/A		70.2		71.1		80.5		92.7		72.4		64.1		56.1		68.1		67		69.1		68.2		68.7		65.7		67		62.7		52.8		43		36.3		76.8		90.6		79.5		82.9		82.3		83.6		80.9		74.8		70		64.1		56.8		61.5		54.9		65.2		71.2		72.4		69.9		68.6		66		69.9		65.4		55.7		46.2		33.2		43.3		50.9		56.9		57.8		54.7		57.5		56.1		61.5		57.2		45		30		15.8

		NOR140_15642541_251125_0161.NBF		(2025/11/25 18:06:02.00)		(0:2:57.0)				N/A		70.5		71.1		77.6		93		73.2		66		57.9		64		69.2		67.6		64.2		64.9		62.7		68.1		63.7		53.2		43.6		31.1		78.4		83.3		82.8		78.1		77		78.6		71.4		75.3		71.3		59.9		54.7		48		54.3		63.2		72.4		70.7		66.9		66.8		65.1		70.9		66.5		56.1		47.3		34.6		44.2		51.2		59.3		61.2		57.2		59		58.6		63.1		58.9		48.4		35.6		21.4

		NOR140_15642541_251125_0162.NBF		(2025/11/25 18:09:02.00)		(0:2:57.0)				N/A		70.2		76.9		93.3		92.7		71.2		64.9		57.5		62.8		67.3		68		63.9		64.4		61.3		66.1		62.1		52.9		66.8		58.2		77.9		82.9		77.2		80		73.6		81.3		68.6		72.5		74.8		61.4		95.2		86.4		56.6		65.1		70.3		70.9		67.2		66.4		63.4		68.5		64.6		56.2		49.3		37.7		45		53.1		60.8		60.6		56.9		58.5		57.3		62.2		57.7		47.4		35		20.9

		NOR140_15642541_251125_0163.NBF		(2025/11/25 18:12:02.00)		(0:2:57.0)				N/A		69.1		70.7		83.4		91.6		72.1		60		55.4		61.7		65.1		67.8		61.1		64.1		61.9		66.5		62.3		52.8		43.9		32.5		75.9		78.3		77.9		83.5		73.1		84.2		77.2		77.9		77.8		72.3		64.5		53.7		53.8		62.6		67.9		69.5		64		66.5		65.1		69.8		65.1		54.6		46		34		43		49.8		57.5		57.6		54.1		55.4		53.9		57.1		52.5		42		30.5		16.8

		NOR140_15642541_251125_0164.NBF		(2025/11/25 18:15:02.00)		(0:2:57.0)				N/A		72		72.8		83.7		94.5		74.6		64		50.3		59.6		66.5		68.8		66.8		72.4		65.6		69.1		64		53.7		42.9		31		69.7		77.5		77.9		79.3		83.2		88.4		79.7		80.9		71		66.7		57.3		46.3		52.8		62.5		70.1		72.8		68.6		73		67.2		71.8		67.1		56.5		46.2		33.9		42.8		50.2		57.2		58.3		55.8		56.8		56.7		62		57.1		45.1		33		20.1

		NOR140_15642541_251125_0165.NBF		(2025/11/25 18:18:02.00)		(0:2:57.0)				N/A		71		74.7		89.6		93.5		73.7		62.1		53.9		66.8		66.7		66.2		61.9		64.6		62.7		68.1		65.4		53.2		42.1		31		73.2		89.3		80.5		76.5		73.5		74.9		76		76.3		88.3		68.9		61.2		55		53.9		63.5		69.8		69.8		65.5		68.6		66.1		71.3		67.1		56.4		45		32.1		43.6		51		56.5		57.5		53.3		54.3		54.2		59.5		55.6		42.9		28.2		14.3

		NOR140_15642541_251125_0166.NBF		(2025/11/25 18:21:02.00)		(0:2:57.0)				N/A		70		70.8		77		92.5		73.9		61.4		50.1		60.5		65.9		71.6		63.5		64.5		62.8		67.6		62.9		52.8		43.3		31		64		76.6		75		87.7		76.8		74.1		71.3		75		70.3		66.6		61.1		50.5		53		63		70		73		66.6		67.8		66.2		71.7		66.9		56.3		44.7		31.4		43.2		50.4		56.8		58.2		55.8		57.3		55.9		57.7		52.4		40.4		26		15.4

		NOR140_15642541_251125_0167.NBF		(2025/11/25 18:24:02.00)		(0:2:57.0)				N/A		70.8		71.8		83.7		93.3		73.2		64.1		49.8		56.7		64.8		68.4		69.3		70.9		64.9		67.8		62.7		52.9		42.2		31		65.3		70		77.3		84.8		85.3		89		80.7		79.2		69.1		64.8		55.4		48.8		52.3		60.1		68.3		70.5		70.5		73.2		66.4		70.8		65.8		55.5		45		33.3		43.4		49.8		57.9		60.7		57.1		57.4		56.9		60.2		55.2		44.6		29.9		15.9

		NOR140_15642541_251125_0168.NBF		(2025/11/25 18:27:02.00)		(0:2:57.0)				N/A		69.2		69.8		75.4		91.7		71.6		64.7		54.6		63.5		67.3		65.6		61.4		62.8		61.3		66.7		62.5		52.3		42.5		32.1		74.4		82.6		81.5		76.1		77.5		70.9		68		73.5		68.8		60.8		56.6		53.2		54		63.7		70.7		69		64.2		65.7		63.9		69.4		65.3		55.4		45.2		34.3		43.9		51.5		58.2		58		55.3		57.7		57.1		61.9		58.1		46.7		33.1		18.2

		NOR140_15642541_251125_0169.NBF		(2025/11/25 18:30:02.00)		(0:2:57.0)				N/A		68.2		68.9		75.5		90.7		71.8		57.7		57.1		61.6		66		65.2		60.5		62.1		61		65.9		61.2		50.1		46.3		32.1		77.7		78.8		77.3		78.5		72.7		69.5		69		73.6		69		58		73.7		56.5		54		62.1		70.2		69		64.2		66.1		64.8		69.7		64.7		54		42.6		29.7		42.6		48.4		53.1		53.5		49.1		51.4		50.8		55.1		51.2		36.8		19.9		11.7

		NOR140_15642541_251125_0170.NBF		(2025/11/25 18:33:02.00)		(0:2:57.0)				N/A		69.7		70.6		77		92.2		73.1		62		48.6		56		64.1		64.4		58.4		62		61.6		67.3		63		53.3		44		30.7		60.2		69.2		81		76.5		67.9		71.1		69.8		76.3		69.7		67.8		62.1		50.2		51.6		59.3		66.7		67.8		62		65.9		65.3		70.9		66.3		56.4		45.1		31.8		42.4		47.7		54.8		55.2		51.3		53.3		53.7		58.9		55.5		44.2		27.7		13.3

		NOR140_15642541_251125_0171.NBF		(2025/11/25 18:36:02.00)		(0:2:57.0)				N/A		70.6		74.7		89.3		93.1		73.5		55.9		55.8		68.3		64.3		65.5		59.4		61.8		61.9		68.1		64.7		51.8		39.9		35.5		75.9		92		81.5		77.4		71.9		70.2		74.1		84		88		70.9		57.4		59		53.4		60.9		67.8		70.3		62.6		65.9		65.8		71.3		66		55.2		44		32		41.8		46.4		53.2		51.5		48.8		47.8		48.8		53.5		48.7		36.2		20.9		12.1

		NOR140_15642541_251125_0172.NBF		(2025/11/25 18:39:02.00)		(0:2:57.0)				N/A		70.3		70.9		78.8		92.7		73.1		65.3		61.2		67.2		66.5		67.3		62.5		64.9		62.9		67.8		63.3		53.7		44.8		33.5		79.8		89.3		80.3		77.2		72.9		82.2		73.8		74		70.6		70.6		65		53		60.1		67.3		69.9		70.4		65.3		67.3		65.7		70.7		66.3		56		47.2		35.1		45		52.6		59.5		61.7		58		58.7		57.9		62.6		58.2		47.5		34.1		19.1

		NOR140_15642541_251125_0173.NBF		(2025/11/25 18:42:02.00)		(0:2:57.0)				N/A		70.4		71		76.2		92.9		72.4		66.4		56.8		62		63.7		67.2		61.3		64.6		63		68		63.6		53.5		42.4		33.6		76.7		80.4		77.2		81.6		69.4		78.4		73.1		74.1		69.3		64.5		56.8		60		53.8		61.3		66.7		70		64.5		66.5		65.5		70		66		55.9		44.5		32.2		44.4		50.6		56.6		58.7		56.2		57.2		58.1		63.9		59.6		47.8		33.3		18.3

		NOR140_15642541_251125_0174.NBF		(2025/11/25 18:45:02.00)		(0:2:57.0)				N/A		69.2		69.9		77.4		91.7		72.8		61.1		48.3		59.8		62.2		64.4		61.1		62.1		61.3		66.8		62.7		52.1		39.7		26.1		61.6		77.4		75.2		76.8		75.6		73.3		69.4		75.5		71.9		63.1		52.5		39.9		51.3		60.5		66.1		67.9		63.8		65.7		65		70.4		66.2		55.8		43.1		30.3		41.5		47.2		51.9		55.4		51.2		54.5		53.9		58		54.7		43		26.7		12.9

		NOR140_15642541_251125_0175.NBF		(2025/11/25 18:48:02.00)		(0:2:57.0)				N/A		70.8		71.4		78.3		93.3		73.1		65		48.8		56.3		65.5		67.5		61.8		63.6		62.8		68.5		64.1		53		42.4		30.6		60.7		68.9		76.8		77.8		73.4		72.2		69.4		76.4		72.3		63.1		55		47.3		51.7		59.6		69.5		71		64.1		66.5		65.1		70.8		66.3		55.4		45.4		32.5		43		49.6		57.6		60.2		56.3		57.7		57.1		62.5		58.2		46.9		33.4		19.6

		NOR140_15642541_251125_0176.NBF		(2025/11/25 18:51:02.00)		(0:2:57.0)				N/A		69.1		69.7		76.1		91.6		72.1		60.5		48		54.5		63.7		67.8		63.9		62.3		60.9		66.7		62.4		52.1		42.4		33.9		61.2		66.4		74.3		81.8		78.4		70.7		69.1		74.4		69.1		65.4		59.1		60.6		51		57.7		67.6		72		66.6		65.5		63.7		69.7		65.4		54.8		44.2		33.5		41.8		47		55.6		56.7		52.3		53.5		53.2		57.8		53.6		41.7		28.1		15

		NOR140_15642541_251125_0177.NBF		(2025/11/25 18:54:02.00)		(0:2:57.0)				N/A		69.6		70.4		77.8		92.1		73.6		54.9		48.2		54.9		62.2		64.9		60.6		62.7		62.1		67.3		62.7		51.9		41.4		32.2		60.8		68.3		78.4		80.5		73.5		72.7		70.4		76.6		72.1		61.1		59.3		53.3		51.2		58.8		66.3		68.4		64.3		66.4		66.3		71.5		66.4		55.8		44.9		32.8		42.4		44.6		51.1		52.1		48.5		48.4		48.4		51.6		47.8		34.4		24		13.6

		NOR140_15642541_251125_0178.NBF		(2025/11/25 18:57:02.00)		(0:2:57.0)				N/A		69.3		69.9		75.3		91.8		72.4		62.2		57.6		64.7		66.5		66.9		60.2		63.8		61.7		66.9		62.5		51.7		41.7		34.1		77.8		86.2		80.5		82		69.1		80		70.1		73.6		69.1		60.8		59.5		58.8		54.6		64.3		69.8		70.5		63.6		66.3		64.6		69.9		65.7		54.6		43.9		32		43.2		48.6		56		57.7		52.8		54.4		54.2		59.3		55.5		43.9		28.7		15

		NOR140_15642541_251125_0179.NBF		(2025/11/25 19:00:02.00)		(0:2:57.0)				N/A		68		68.7		74.9		90.5		72.2		57.4		56.7		60.5		63.1		65.1		58.8		61.5		59.7		65.7		61.2		50.7		41		26.2		76.3		78.3		72.9		80.6		71.6		71.5		66.8		73		68.7		61.2		55.2		38.7		56.7		61.7		66.4		67.5		62.3		65.8		63.9		70.1		65.5		55		44.1		30.4		43.9		47.1		57.6		54.6		50.7		50.8		50.7		55.1		49.9		37.9		24.5		12

		NOR140_15642541_251125_0180.NBF		(2025/11/25 19:03:02.00)		(0:2:57.0)				N/A		69.4		70.1		76.7		91.9		72.9		63.2		49.5		56.7		64.4		66.5		61.3		63.5		62.6		66.9		62.6		51.7		41.4		29.8		65.7		73.2		77.1		80.8		74.6		74.9		74.9		75.1		69.7		59.6		55.3		46.2		52.4		60.1		68.5		69.2		64.2		67		65.5		70.5		66.2		55.3		44.6		32.3		43.3		47.2		54.9		55.9		53.4		55.2		55.6		60.6		56.2		43.1		29		13.9

		NOR140_15642541_251125_0181.NBF		(2025/11/25 19:06:02.00)		(0:2:57.0)				N/A		70.6		71.5		76.7		93.1		73.8		64.4		55.9		60.8		64.9		66		63.1		63.8		63.2		68.2		64		52.9		41.6		36.9		75.6		77.5		78.2		82.6		82		80.2		77.8		74.3		71.9		62.2		59.3		61.8		54.5		61.7		68.5		68.6		63.6		66.5		66		71.5		67.2		55.8		44.7		31.9		43.3		49.5		57		58		54.5		56.9		56.8		62		57.7		45.6		30.4		15.7

		NOR140_15642541_251125_0182.NBF		(2025/11/25 19:09:02.00)		(0:2:57.0)				N/A		68.2		69		75.6		90.7		71.5		61.3		49.1		55.2		63.4		64.1		58.5		61.6		60.7		65.8		61.3		52.4		45.5		32.2		63.3		69.6		78.2		74		68.1		69		68.1		75.6		67		66.6		64.6		50.1		52.2		58.5		66.6		67.9		61.8		65		63.7		69.3		64.8		55.1		46.1		32.4		42.1		46.7		53.4		54.1		50.7		53.8		54.6		58.9		53.8		42.5		28.8		15.1

		NOR140_15642541_251125_0183.NBF		(2025/11/25 19:12:02.00)		(0:2:57.0)				N/A		70.9		73.3		85.9		93.4		72.6		64.3		58.7		65.2		65.2		64.9		60.4		63.8		62.6		66.9		64.8		61.1		58.3		48.2		77.7		83.1		76.9		78.2		70.2		78.8		75.4		80.8		80.4		81.5		78.2		68.2		57.5		67.4		68.7		67.3		63.9		66.2		65.4		69.3		66.2		60.9		56.9		44.4		43.1		50.1		57.1		58.1		54.6		56.1		57.1		61.9		57		45.5		32.9		18

		NOR140_15642541_251125_0184.NBF		(2025/11/25 19:15:02.00)		(0:2:57.0)				N/A		69.2		70.2		79		91.7		72.9		59		47.8		54.4		61.9		65.9		60		61.1		60.8		66.8		62.8		51.8		40		42		61.5		69		73.1		82.3		72.3		70.1		69.3		76.7		74.7		68.3		52.2		63.9		50.7		57.8		65.8		69		63		65		65		70.7		66.4		55.5		44.2		31		41.6		46.2		52		51.3		49		50.8		51.4		56.5		51.9		39		23.6		12.4

		NOR140_15642541_251125_0185.NBF		(2025/11/25 19:18:02.00)		(0:2:57.0)				N/A		67.8		68.5		76.4		90.3		71.1		59.4		49.3		59.3		62.6		63.5		58.6		61.4		60		65.5		61		50.1		38.3		25.4		61.6		74.1		71.6		73.8		71.2		71.7		68.8		74.8		69.6		59.4		50.4		38.8		52.5		62.9		66.8		67.3		62.1		65.3		63.6		68.8		64.4		53.3		41.6		28.7		42.2		47.6		53.8		55.1		50.8		51.8		52.1		56.2		53.1		39.9		23.3		12.2

		NOR140_15642541_251125_0186.NBF		(2025/11/25 19:21:02.00)		(0:2:57.0)				N/A		70		70.6		76		92.5		73.3		62.8		49.9		60.5		63.8		66.2		60.7		63.1		62.3		67.6		63.3		52.3		41.3		28.9		65.7		83.7		80.7		79.1		69.5		71.5		68.6		74.2		70		57.8		53		45.6		52.5		60.9		67.2		69.8		63.8		66.4		65.6		71		66.6		55.8		44.7		32.4		43.1		49		55.3		57.6		54.4		55.4		54.9		60.2		55.6		43.2		29.4		15.4

		NOR140_15642541_251125_0187.NBF		(2025/11/25 19:24:02.00)		(0:2:57.0)				N/A		67.7		68.3		73.6		90.2		71.6		49.4		54.4		60.5		64.9		64.3		59.2		61.3		59.9		65.2		61.1		50.4		39.7		27		74.3		78.6		77.9		75.9		70.4		73.7		66.6		72.2		67.5		58.8		52		40.7		52.4		61.2		68.9		68.5		62.9		65.1		63.7		69.2		65		54.4		43.6		30.5		42.7		46.2		49.4		51.5		47.6		45		43.7		47.5		40.1		30.2		19.8		12

		NOR140_15642541_251125_0188.NBF		(2025/11/25 19:27:02.00)		(0:2:57.0)				N/A		71.4		72.6		87.3		93.9		73.1		59.2		57.4		63.6		64.7		69.1		69.6		71.5		66.7		67.1		64.3		54.9		45.8		33.3		77		85.4		79.7		88		86.8		88		86.4		80		81.3		73.8		65.8		52.1		54.5		61.2		68.1		70.6		66.1		67.6		65.3		70.7		66.3		56		46		33.6		43.2		48		53.5		55.2		54.8		53.6		51.8		56.7		52.6		39.9		26.1		13.1

		NOR140_15642541_251125_0189.NBF		(2025/11/25 19:30:02.00)		(0:2:57.0)				N/A		68.2		68.9		76.2		90.7		72.4		57		48.4		57.7		60.6		62.7		60.2		61.3		60.2		65.9		61.4		50.9		40.1		27.8		68.4		82.6		78		78.7		76.3		71.3		68.4		73.7		70.3		59.7		54.4		44.2		51.1		59.7		64.3		66.5		62.6		65.1		63.8		70.1		65.7		55.4		43.9		31.1		41.8		44.2		48.1		51.7		51.4		51.9		50.6		52.9		49.1		35.8		22.5		12.1

		NOR140_15642541_251125_0190.NBF		(2025/11/25 19:33:02.00)		(0:2:57.0)				N/A		67.2		67.8		73		89.7		70.6		56.9		49.4		54.3		62.4		63.9		57.6		60		58.9		64.9		60.4		49.8		39.6		29.2		64.2		71.6		72.1		74.4		66		67.7		65.7		71.7		66.8		56		60		48.1		52.6		57.2		66.5		67.3		60.9		64		62.5		68.4		63.7		53.6		43.2		30.9		42.3		46		51		54.8		50.3		50.3		49.7		54.4		49.7		37.1		24.5		13

		NOR140_15642541_251125_0191.NBF		(2025/11/25 19:36:02.00)		(0:2:57.0)				N/A		67.3		68		74.5		89.8		71.3		56.1		49.3		57.9		63.6		64		60		60.9		59.3		64.6		60.9		52.4		43.5		32.8		65.1		83.5		80.6		75.1		72.4		72.5		67.2		72.5		68.4		67		61.2		51.5		52.1		57.5		67.6		68.2		63.3		65		63.1		68.5		65		55.1		44.5		32.5		42.7		46.7		53.1		54.7		51.5		50.6		49.9		53.8		47.8		34.6		22.2		12.6

		NOR140_15642541_251125_0192.NBF		(2025/11/25 19:39:02.00)		(0:2:57.0)				N/A		68		68.7		78.1		90.5		72.1		57.5		58.3		63.7		64.8		63.9		59.2		61		60.2		65.6		61.3		50.7		39.4		27.2		76.6		80.1		78.2		73.5		73.3		70.9		68.8		75.6		73		62.8		50.3		41		59.5		66.6		68.5		67.8		62.3		65.3		64.2		69.7		65.5		54.7		44.2		31.4		42.9		48		53.9		54.6		50.5		51.1		50.1		55		50.4		36.7		21.1		11.9

		NOR140_15642541_251125_0193.NBF		(2025/11/25 19:42:02.00)		(0:2:57.0)				N/A		68		68.7		75.2		90.5		71.9		59.1		49.3		57.6		62.1		65.8		58.8		60.9		59.6		65.7		61.3		50.6		38.9		25.9		61.5		73.2		73.6		80.4		70.9		70.1		66.8		73		69.6		63.3		54		40.9		52.4		60.9		65.9		68.5		62.2		65.4		63.5		69.7		65.3		54.7		42.6		29		42.9		46.3		52.1		53.7		50.3		50.6		50.8		56.5		51.3		38.4		22		12.3

		NOR140_15642541_251125_0194.NBF		(2025/11/25 19:45:02.00)		(0:2:57.0)				N/A		67		67.8		74.9		89.5		70.9		52.7		49.2		58.4		62.1		66.7		60.7		60.2		58.6		64.7		60.4		49.6		38		28.5		66		76		72.8		87.8		78.7		72.7		66.8		73.2		68.2		56.2		50.8		53.6		51.8		60.6		66		66.8		61.5		64.3		62.1		68.5		64.5		53.7		42.2		29.2		42.2		46.7		51.8		50.3		46.3		46.4		45.9		50.3		45.5		30.2		15.4		11.6

		NOR140_15642541_251125_0195.NBF		(2025/11/25 19:48:02.00)		(0:2:57.0)				N/A		67.3		67.9		73.1		89.7		70.4		58.1		56.2		63.2		64.6		64.7		60.8		60.9		59.3		64.9		60.5		49.6		39		26.8		76		83.6		78.5		78.5		76.1		72.6		67.1		71.6		66.6		59.4		56.9		49.4		54.7		61.6		68.1		68.8		64.3		64.2		62.4		68.1		63.8		53.3		41.8		28.5		42.8		47.4		52.6		55.8		51		51.6		51		55.6		51.1		38.8		23.8		11.9

		NOR140_15642541_251125_0196.NBF		(2025/11/25 19:51:02.00)		(0:2:57.0)				N/A		70.3		71.1		79.3		92.8		73.4		60		50.3		56		62.6		68.9		68.8		67.4		65.5		67.4		62.9		53		42.7		30.6		66		75.6		73.7		85.7		85.4		83.7		80.6		73.8		68.7		62.8		55.6		46.7		53.5		57.8		66.4		69.8		68.5		67.6		65.6		70.6		66.2		56.5		45.9		32.9		42.7		46.5		51.5		52.6		51		50.5		50.9		57.7		52.6		39.3		19.9		11.6

		NOR140_15642541_251125_0197.NBF		(2025/11/25 19:54:02.00)		(0:2:57.0)				N/A		68.9		69.5		76.3		91.4		73.2		59.4		54		62.8		62.7		65.1		64.1		62.3		60.8		66.6		62.1		51.2		39.5		27.8		74.6		81.4		75.6		77.2		80.4		71.8		68.7		74.5		70.3		58.3		50.9		47.5		54		63.8		66.8		69.4		66		66.6		65		70.8		66.7		55.1		43.2		30.8		42.5		47.2		51.9		52.8		51.3		50.3		51.3		56.9		51.9		40.1		23.2		12.2

		NOR140_15642541_251125_0198.NBF		(2025/11/25 19:57:02.00)		(0:2:57.0)				N/A		70.2		71		81.4		92.7		73.9		59		50.3		54.8		62.1		65.2		60.2		62.4		61.9		68		63.5		52.4		41.2		28.8		66.2		67.7		74.9		79.7		76.7		76.5		73.1		79.7		74.5		65.5		59		50.4		53.2		58.6		65.9		69.2		63.3		66		65.5		71.7		67.5		56.1		44.2		29.8		42.7		46		50.5		52.9		49.7		50.1		51.1		56.8		52		37.9		21.6		12.3

		NOR140_15642541_251125_0199.NBF		(2025/11/25 20:00:02.00)		(0:2:57.0)				N/A		67.6		68.3		77.3		90.1		71		59.8		49.1		53		62.2		63.2		58.9		61.2		59.5		65.2		61		50.4		39.8		28.4		60.9		66.2		72.8		77.3		71.5		70.1		69.1		75.5		70.3		59.2		50.5		41.8		52.1		56		65.7		66.2		61.4		64.6		62.2		68.5		64.7		54.3		44		32.6		43.3		46.6		54.2		55.6		51.9		52.8		53.2		57.1		52.2		40.3		26.2		13.9

		NOR140_15642541_251125_0200.NBF		(2025/11/25 20:03:02.00)		(0:2:57.0)				N/A		68.1		69.2		80.8		90.5		72.1		53.5		56.1		71.3		63.9		64.1		65.2		61.5		61.3		65.7		61		50.3		39.8		26.8		76.9		95.2		80.9		78.9		84.4		77.9		79.9		77.6		72.8		61.9		54.6		42.3		54.7		61.5		65.5		66.7		61.1		64.6		63.8		69.9		65.1		54.7		43.2		30.5		42.6		46.4		49.3		50.3		46.7		48.4		46.1		50.8		47.6		32.7		22.3		12.3

		NOR140_15642541_251125_0201.NBF		(2025/11/25 20:06:02.00)		(0:2:57.0)				N/A		69.2		69.9		75.8		91.7		73		51.4		48.5		53.5		62.1		62.9		58.4		61.6		61		66.8		62.9		51.7		38.7		25.1		61.8		66		76.2		77		67.6		69.4		68.1		73.7		70.2		58.9		47.8		37.3		51.4		57.1		65.8		65.8		61.8		65.3		64.4		70.4		66.8		56		42.8		29		41.8		44.9		47.4		50.6		46.6		45.3		45		49.6		43.9		28.2		13.1		11.5

		NOR140_15642541_251125_0202.NBF		(2025/11/25 20:09:02.00)		(0:2:57.0)				N/A		66		66.7		77.1		88.5		69.7		55.5		47.6		55.5		59.2		58.2		55.4		58.7		57.4		63.7		59.4		48		35		24.3		59.9		70.6		70.9		69		66.4		70.8		67.4		75.1		71.1		60.7		47.5		49		50.5		58.8		63.5		62.4		59.2		63.4		61.6		67.6		62.2		51.3		39.4		25.9		41.1		45.2		47.8		49.3		46.9		48.6		47		52.4		49.3		33.9		20.6		11.9

		NOR140_15642541_251125_0203.NBF		(2025/11/25 20:12:02.00)		(0:2:57.0)				N/A		68.1		69.1		75.8		90.6		72.4		56.7		51.5		58		62		64.2		57.9		60.9		60.3		65.8		61.3		50.7		40.5		42.7		74.1		82.1		83.2		78		74.6		77.4		69.8		73.8		69.3		61.1		58.8		69.6		51.6		59.1		65.1		68.3		61.4		65.3		64.6		70.2		65.4		55		44.4		33.2		41.4		46.1		51.4		52		49		50.9		49.8		53.6		49.6		38		23.1		12

		NOR140_15642541_251125_0204.NBF		(2025/11/25 20:15:02.00)		(0:2:57.0)				N/A		67.6		68.2		74.9		90.1		72.3		51.1		54.6		60.5		63.1		62.4		57.4		60.7		60		65.3		60.8		49.9		37.8		27.8		74.9		79.8		73.8		73.3		68		69.6		68.7		73.2		67.9		58.1		46.4		51.5		54.9		60.4		68.2		66.4		61.2		65		64.4		69.9		65.5		54.8		42.9		29		42.6		43.8		48.1		47.6		46.4		46.2		44.9		48.6		43.9		29		15.5		11.6

		NOR140_15642541_251125_0205.NBF		(2025/11/25 20:18:02.00)		(0:2:57.0)				N/A		66.4		67.2		75.9		88.9		70.9		46.4		48.9		53.2		60.5		63		62.3		62.1		59		64		59.3		49		38.6		28		67.1		71.4		73.5		78		78.6		79.3		72		73.2		67.7		61.9		57		48.7		50.1		55.5		64.8		67		65.6		65.6		63.7		68.4		63.7		52.8		40.6		27.7		40.5		42.5		45.7		47.5		46.1		43.4		41.1		43.7		37.9		24.2		14.1		11.5

		NOR140_15642541_251125_0206.NBF		(2025/11/25 20:21:02.00)		(0:2:57.0)				N/A		67.3		68		74.7		89.7		72.1		51.5		53		53.2		60.6		61.4		56		59.4		58.8		65		60.6		49.5		37.4		24.4		75.7		71.1		71.5		75.8		72		71.2		67.3		73.3		68.3		59		50.3		40.3		55		55.8		64.9		64.3		59.7		64.3		63.6		69.9		65.1		54.5		41.9		28.2		41.6		43.6		48.7		49.1		46.2		46.3		45.5		49.1		43.8		31.1		18.8		11.8

		NOR140_15642541_251125_0207.NBF		(2025/11/25 20:24:02.00)		(0:2:57.0)				N/A		66.2		66.9		79		88.7		70.3		45.5		56.6		62.3		62.3		62.8		61.1		62.8		59.3		63.3		59.3		51.2		41.7		29.8		75.7		84.6		79.5		77.4		78.8		80.7		74.5		76.2		71.5		69.8		60.2		50.3		55		59.3		65.1		67		62.5		64.1		62.2		67.6		63.7		54.4		43.6		30.6		41.5		44.3		49.2		47.9		45.4		43.3		40.3		42.7		36.4		26.2		18		11.8

		NOR140_15642541_251125_0208.NBF		(2025/11/25 20:27:02.00)		(0:2:57.0)				N/A		67.3		68.1		75.8		89.8		71.6		57.4		47.8		52.1		59		59.9		57.1		60		59.6		65.1		60.5		50.2		40.7		29		63.4		65.4		73.6		70.1		69.4		70.8		70.4		73.5		68.2		63.7		58.3		46.5		51		55.3		62		63.6		60.7		64.3		63.3		69.5		64.8		53.7		42.5		29.1		40.7		44.5		49.2		50.8		48.9		50.4		49.9		55.2		49.8		36.6		21.1		11.9

		NOR140_15642541_251125_0209.NBF		(2025/11/25 20:30:02.00)		(0:2:57.0)				N/A		66.6		67.3		75.2		89.1		71.3		46.6		54.4		66.8		62.6		62.9		58		59.4		58.5		64.2		60		49.5		38.4		25.8		72.1		87.5		80.5		76		69.2		70.4		68.4		73.3		68.7		59		50.8		39.7		53.4		62		65.7		67.2		62.7		64.2		63.8		68.8		64.6		54.3		43.4		30.3		41.4		42.8		45.6		46.5		43.6		42.9		41		44.4		38		23.7		15.1		11.6

		NOR140_15642541_251125_0210.NBF		(2025/11/25 20:33:02.00)		(0:2:57.0)				N/A		65.2		65.8		74.8		87.7		69.2		53.9		48.4		51.1		60.8		61.4		55		58		57.2		62.8		58.4		47.8		38.3		28.9		64.8		64.8		79.7		76.6		66		68.8		67.8		72.7		67.7		58.4		59.7		49.7		51.5		54.5		62.7		64.9		59.2		62.2		61.4		67.2		62.3		52.1		41.7		28.6		40.2		42.5		46.8		49.4		46.6		46.8		46.2		51		47		35.5		18.8		11.8

		NOR140_15642541_251125_0211.NBF		(2025/11/25 20:36:02.00)		(0:2:57.0)				N/A		66.3		67.1		78		88.8		70		54.1		48.8		52.9		58.4		62.5		55.6		59		59		64		59.5		49.4		39.4		26.8		62		72		72.5		75.9		68		71.1		71.3		75.6		72.5		62.9		54.8		44.4		52.7		56.2		61.9		66.8		59.3		63		62.4		67.8		62.9		53.9		43.3		29.9		40.7		42.6		46.5		49.3		47.1		46.7		47		51.6		46.1		31.4		16.3		11.5

		NOR140_15642541_251125_0212.NBF		(2025/11/25 20:39:02.00)		(0:2:57.0)				N/A		66.7		67.4		75.3		89.1		70.7		57		49.9		52.1		59.2		61.4		56.4		59.1		58.3		64.3		60.2		48.8		38		28.7		65.4		65		72.1		72.2		65.3		69.2		65.8		73.8		68.9		58.2		61.9		55.9		53.3		55.5		63		66		60.2		63.6		62.3		68.5		64.4		53.1		41.3		27.8		41.1		44.6		49.5		48.9		47.9		49.1		48.8		54.5		50.1		35.7		18.4		11.6

		NOR140_15642541_251125_0213.NBF		(2025/11/25 20:42:02.00)		(0:2:57.0)				N/A		66.8		67.5		75.4		89.3		70.5		58.2		50.1		53.2		59		63.8		57.3		59.6		59.4		64.5		60		49		38.2		35.2		60.7		66		70.2		78.6		70.1		69.5		69.5		73		69.2		58.8		51.1		56.6		54.7		56.1		63.3		66.6		61		63.6		62.5		68.3		63.8		53.2		42.8		28.7		42		46.6		49.9		51.8		50.3		50.2		49.7		55.9		51		36.2		20.3		11.8

		NOR140_15642541_251125_0214.NBF		(2025/11/25 20:45:02.00)		(0:2:57.0)				N/A		63.7		64.5		75.6		86.2		67.9		49.3		47.2		54		58		58.1		53		56.1		55.1		61.3		57.3		46.8		34.3		22.4		61		72.4		71.7		71.7		63.2		69.6		66.2		74.1		68.3		58.2		45.4		36.8		50		55.5		62.2		62.4		56.8		61.2		59		65.4		61.6		51.7		40.1		26.5		41.6		49.3		45.2		46.6		44.2		44.6		43.1		46.7		41.3		27.9		14.3		11.5

		NOR140_15642541_251125_0215.NBF		(2025/11/25 20:48:02.00)		(0:2:57.0)				N/A		66.1		66.9		77.3		88.6		70.6		44.1		54		60.4		60.7		59.2		54.7		57.9		57.4		63.6		59.8		49.3		36.8		23.1		74.5		79.3		75.4		70.1		67.7		70		68.4		75.4		71.4		62.6		49.8		37.5		53.7		59.7		64.7		63.6		59.1		62.9		61.8		68		64.4		54.2		42.3		27.7		41.2		42.8		47.4		47.9		43.4		41.9		39.6		41.9		33.2		19.7		13.1		11.4

		NOR140_15642541_251125_0216.NBF		(2025/11/25 20:51:02.00)		(0:2:57.0)				N/A		64.7		65.6		76		87.2		69.3		45.5		49.7		49.9		58.7		59.1		53.8		57.3		56.5		62.4		58		47.3		41.7		37.6		67		61.9		71.5		72.7		64.6		69.3		66.8		74.3		69.8		60.1		65.5		62.8		52.2		54.1		62		64		58		61.9		61.3		66.8		62.6		52.5		41.2		26.8		40.6		41.1		46.1		46.8		42.9		42		40.8		43.3		36		22.9		14.3		11.5

		NOR140_15642541_251125_0217.NBF		(2025/11/25 20:54:02.00)		(0:2:57.0)				N/A		66.7		67.5		74.9		89.2		71.7		53.1		54.7		60.8		61.9		62.1		58		60.9		58.6		64.2		60.2		50.2		39.4		29.2		74.5		80.6		76.2		74.7		71.3		79		66.7		72.7		68.5		64.9		57.1		49.5		53.6		59.2		65.8		65.5		61		64.5		63.2		69.4		65.3		54.9		42.9		29.2		41.2		44.9		49.9		52.1		47.7		48		46.6		50.2		45.6		33.1		19.3		11.7

		NOR140_15642541_251125_0218.NBF		(2025/11/25 20:57:02.00)		(0:2:57.0)				N/A		67		67.7		75.4		89.5		71.2		45.2		48.2		56.7		61.2		64		60.4		60.2		59.4		64.6		60.2		50.4		41.9		32.8		64.8		76.9		75.4		78.6		75.2		69.5		68.9		73.7		69.3		60.1		57.5		51.9		50.7		57.1		64		66.8		63.9		64.6		64.1		69		64.3		54.8		44.3		32.1		40.5		42.9		50		50.5		43.1		42.3		40.6		42.6		35.2		25.3		15.8		11.6

		NOR140_15642541_251125_0219.NBF		(2025/11/25 21:00:02.00)		(0:2:57.0)				N/A		67.1		70.3		86		89.6		71		56.1		49.7		54.7		61.1		64.7		61.4		64.5		63.5		63.9		59.6		49.1		38.5		27.7		64		72.9		80.9		83.2		82.9		87.8		88.2		76.4		70.9		65.5		55		48.5		52.5		58.2		64.3		65.6		60.8		64.9		63.6		68		64.2		53.9		42.2		29		41.7		43.4		49		49.3		46.3		48.7		48.4		52.9		49.2		35.6		17.5		11.5

		NOR140_15642541_251125_0220.NBF		(2025/11/25 21:03:02.00)		(0:2:57.0)				N/A		64.7		65.4		73.5		87.2		69.3		55.7		48.1		50.5		60		59.2		54.9		58.1		56.6		62.4		58		46.6		34.6		27.2		65.4		62		72		75.2		65.8		67.8		64.9		71.5		67.5		57.4		46.1		50.3		50.3		54.1		63.9		62.8		58.1		63		61.1		67.1		62.9		51.7		39.5		25.7		40.4		43.3		49.5		49.5		47.6		49		48.6		53.1		47.8		35.7		19.1		11.6

		NOR140_15642541_251125_0221.NBF		(2025/11/25 21:06:02.00)		(0:2:57.0)				N/A		67.3		68.3		78.7		89.8		71.6		50.3		51.7		53.8		59.5		61.1		55.1		58.9		58.5		65		60.8		50.6		40.4		27.7		72.1		72.8		74.2		73.3		68		69.4		68.8		78.1		71.7		62.4		55.4		44.5		52.1		56		62.6		65.3		58.8		63.2		62.9		69.2		65.1		55.2		44.8		30.7		41.1		42.2		46.3		50.6		46.4		45.1		44		48		42.1		28.6		17.3		11.6

		NOR140_15642541_251125_0222.NBF		(2025/11/25 21:09:02.00)		(0:2:57.0)				N/A		65.1		66		74.7		87.5		70		46.2		46.9		52.4		60.4		58.2		53.4		57.3		57.1		62.8		58.3		47.1		36.3		23.8		60.6		68.8		76.3		69.9		65.3		68.9		67.6		73.6		68.1		59		51.5		40.4		50.1		55.6		62.3		62.8		57.2		62.4		62.2		67.6		63.4		52.1		39.8		26.3		39.9		41.2		42.6		43.1		42.7		43.1		38.8		43.5		38.8		22.5		12.8		11.4

		NOR140_15642541_251125_0223.NBF		(2025/11/25 21:12:02.00)		(0:2:57.0)				N/A		67.8		68.5		76		90.3		71.7		53.3		47.6		51.3		59		62.1		57.4		59.8		60		65.5		61.1		49.7		37.6		23.7		60.4		65.3		72.6		77.5		74.3		69.8		68.7		73.4		70.5		58.5		48.4		35.9		50.8		55.1		63		65.9		60.2		63.8		64		69.7		64.8		54		42.1		28.1		40.2		42.2		46.4		47.3		44.9		45.9		44.9		51		45.1		30		14.6		11.5

		NOR140_15642541_251125_0224.NBF		(2025/11/25 21:15:02.00)		(0:2:57.0)				N/A		67.7		68.3		75.2		90.2		72.4		47		47.2		53		61.4		63.5		60		60.7		59.4		65.3		61.2		50.2		37.5		24		60.8		68.6		75.7		76.1		76.2		71.4		67.1		73.5		68.9		58.4		48.9		37.1		50.3		56.7		65.5		67.7		63.5		65.3		64		70.1		65.9		54.9		42.3		28.5		41		42.8		46.5		46.9		45.4		43.6		41.1		44.4		38.9		21.7		13.2		11.5

		NOR140_15642541_251125_0225.NBF		(2025/11/25 21:18:02.00)		(0:2:57.0)				N/A		64.3		64.9		74.1		86.7		69.5		45.6		46.9		51.2		57.5		57.7		53.6		57		56		61.8		57.9		46.7		34.2		21.6		60.8		64.2		71.8		70.2		63.8		68.3		66.2		71.5		69		58.5		48.5		37.9		49.8		55.2		61.3		62		57.9		61.6		60.4		67.1		62.9		51.8		38.8		24.8		40.6		42		44.5		44.7		43		42.8		40		43.3		36.4		21.6		12.6		11.4

		NOR140_15642541_251125_0226.NBF		(2025/11/25 21:21:02.00)		(0:2:57.0)				N/A		66.1		66.7		73.9		88.5		69.9		56.6		58.2		62.2		63.5		63.5		56.4		59		57.6		63.5		59.7		48.8		45.8		30		79.1		84.2		80.3		78.1		68.7		69.1		66		71.9		67.7		57.2		69.5		54.1		56		59.9		67.5		67.5		59.9		62.9		61.3		67.4		63.7		53.1		40.6		27.8		41.5		45.9		51.4		50.2		48.1		50.1		49.3		54		50.2		35.6		18.6		11.6

		NOR140_15642541_251125_0227.NBF		(2025/11/25 21:24:02.00)		(0:2:57.0)				N/A		67.8		68.5		77.8		90.3		72		54		56.4		61.7		66.1		65		60.1		62.1		59.5		65.2		61.4		51.2		39.5		25.7		77.5		80.8		85.8		77.4		76.2		78.7		69.1		75.5		71.4		63.2		54		41.6		56.8		59.6		64.9		70.1		63.7		65.3		63.7		69.5		65.7		55.5		42.9		29.1		41.9		44.5		49		50.3		47.8		47.8		47.4		51.2		46.7		34.1		18.1		11.6

		NOR140_15642541_251125_0228.NBF		(2025/11/25 21:27:02.00)		(0:2:57.0)				N/A		65.6		66.4		76.7		88.1		70.4		46.9		48.3		52.7		61		60.1		54.5		58.1		57.6		63.3		59.1		48.2		36.5		23.2		65.6		68.6		74.9		73.3		65.2		71		69.3		74.6		69.6		58.9		51.3		36.5		51.4		55.3		64.5		63.9		58.2		62.6		61.4		67.8		63.9		53		40.6		26.6		39.3		42.2		49.3		48.2		45.2		43.7		41.4		43.3		39		25.6		15.1		11.5

		NOR140_15642541_251125_0229.NBF		(2025/11/25 21:30:02.00)		(0:2:57.0)				N/A		66.8		67.5		74.4		89.3		71.6		54.4		49.1		53.4		64.2		62.4		56.9		59.7		58.7		64.5		60.1		49.1		37		25.9		70		66.9		76.6		73.8		70.3		69.5		67		72.7		67.9		57.3		47.9		47.7		51.5		56.8		69.2		66.5		60.6		64.7		63.6		69.3		65		54.2		42.2		29.3		39.8		43.4		47.6		48.9		45.1		48		46.3		51		47.4		31.8		15.9		11.5

		NOR140_15642541_251125_0230.NBF		(2025/11/25 21:33:02.00)		(0:2:57.0)				N/A		70.1		71.2		85.1		92.6		73.2		43.5		47.5		49.6		56.1		62.4		67.9		73.8		65.5		66.5		59.6		49.7		37.4		24		71.2		67.2		71.1		76.7		84.1		90.1		81.2		81.7		70.7		71.9		59.9		48.6		47.4		52.5		60.5		67.4		70.5		73.6		65.3		69.6		65.7		54.5		42.4		27.6		38.4		40.2		45		45		42.7		41.7		39		41.1		31.2		18		13.2		11.4

		NOR140_15642541_251125_0231.NBF		(2025/11/25 21:36:02.00)		(0:2:57.0)				N/A		65.5		66.3		74.5		88		69.8		54.6		48.4		50.7		59.8		61.5		54.5		58		57.3		63.3		58.7		48		36.2		23.7		67.5		62.9		72.6		76.6		66		69.2		66.2		72.8		68.2		61.3		54.7		43.8		50.7		54.6		64		64.4		57.6		62.2		61.5		67.7		62.7		52.3		40.3		26.7		40.3		42.1		47.6		47.8		45.8		46		46.2		52.2		47.1		32.1		16.6		11.5

		NOR140_15642541_251125_0232.NBF		(2025/11/25 21:39:02.00)		(0:2:57.0)				N/A		64.6		65.2		75.3		87		69.4		44.2		52.2		55.3		58.4		62.2		53.8		57.1		56.6		62.1		58		47.8		37.2		38.6		71.1		76.1		74		75.2		67		70.6		68.6		73.6		68.6		59.2		52.2		63.6		54.7		57.3		62.8		66.8		58.7		61.9		61.2		67.3		63		53.1		43.1		29.6		41		41.1		44.4		44.1		40.6		40.7		39.6		41.9		34.1		19.2		12.7		11.4

		NOR140_15642541_251125_0233.NBF		(2025/11/25 21:42:02.00)		(0:2:57.0)				N/A		65.3		66.4		78.3		87.8		69.3		45.4		48		49.5		57.5		58.5		54.3		56.2		56.2		63		59.1		47.9		34.8		21.4		63.7		61.7		70.9		72		69.7		68.6		68.2		76.3		72.2		63.5		51.2		36.7		50		52		61.6		62.4		58.6		60.4		60		67.1		63.1		51.1		38.8		25.3		41.6		42.3		44		45.1		42.1		41.8		40.1		43.1		36.6		21.3		13.8		11.5

		NOR140_15642541_251125_0234.NBF		(2025/11/25 21:45:02.00)		(0:2:57.0)				N/A		63.6		64.3		74.7		86.1		68.4		41.1		47.2		49.6		55.9		54.5		51.6		55.7		54.9		61.2		57.3		46		32.5		24.2		59.2		67.1		69.8		66.8		64.7		69.6		65.8		73.3		68.3		58.3		45		50.5		50.1		52.3		60.8		59.4		56.3		60.7		59.8		65.9		62.2		51		36.7		23.9		40.6		40.6		41.2		42.7		38.3		38		36.4		39.2		29.3		18.1		12.5		11.4

		NOR140_15642541_251125_0235.NBF		(2025/11/25 21:48:03.00)		(0:2:56.0)				N/A		65.7		66.4		74.8		88.2		70.7		48.2		46.7		50.8		58.8		61.4		55.6		58		57.7		63.5		59		47.8		35.2		21.6		57.8		63.8		71.4		73.6		67.5		68.4		67.8		72.5		69.4		58		45		33.4		49.7		55.1		63.2		66.3		60.3		63.5		62.9		68.6		63.7		53		41		27.1		41		39.9		41.3		42.2		38.3		40.7		41.7		45.9		40.5		21.7		12.7		11.4

		NOR140_15642541_251125_0236.NBF		(2025/11/25 21:51:02.00)		(0:2:57.0)				N/A		64.6		65.4		74.1		87.1		69.9		44.4		56.5		63.7		61		57		54.9		57.8		56.9		62.1		58		47.8		36.1		22.7		75.9		84.2		77.8		72.5		67.9		70.5		66.6		73		68.5		58.8		48.6		37		53		60.4		63.6		60.2		58.2		63.7		62.7		67.2		63.1		53.4		41.6		27.4		42.2		41.9		45.9		48.2		44.6		42		40.4		41.7		31.8		17.5		12.8		11.4

		NOR140_15642541_251125_0237.NBF		(2025/11/25 21:54:02.00)		(0:2:57.0)				N/A		62		62.8		71.2		84.5		67.2		44.5		49.6		48.5		53.1		56.8		50.9		54.5		53.4		59.8		55.4		44.4		32.2		20.1		67.5		61.4		65		75.9		65.2		64.5		62.8		69.4		65.4		54.5		45.8		35.1		52.1		52.2		57.4		59.1		54.1		60.1		58.3		64.8		60.3		49.6		37.1		23.5		42.8		42.1		41		44.1		40.6		38.8		39.4		42.6		34.7		20.9		13.9		11.5

		NOR140_15642541_251125_0238.NBF		(2025/11/25 21:57:02.00)		(0:2:57.0)				N/A		65.5		66.3		74		88		69.8		55		53.1		59.5		60.2		58.9		54.4		57.4		57		63.2		59.1		48.2		35.3		42.7		72.1		77.2		75.2		71.9		69		67.9		65.8		72.7		68.1		57		47.3		66.9		52.4		58.8		64.4		63.5		58.6		62.1		61.1		67.5		63.4		52.5		40		26.6		42.1		42.2		44.9		47.4		43		45.3		46.3		52.7		47.9		30.7		14.3		11.5

		NOR140_15642541_251125_0239.NBF		(2025/11/25 22:00:02.00)		(0:2:57.0)				N/A		66.2		66.8		74.9		88.6		70.4		45.5		47.6		51.1		56.5		65.3		64.6		60.1		57.9		63.7		59.5		48.3		35.7		39		65.1		67.6		72		85.8		84.3		75		68.2		72.7		68.8		58.6		48		63.4		50.1		54.5		61.1		65.5		61.8		63.8		62		68.1		63.6		53		40.6		27.3		41.2		42.1		43.1		45.3		40		39.4		41.4		43.9		34		20.1		14.4		11.5

		NOR140_15642541_251125_0240.NBF		(2025/11/25 22:03:02.00)		(0:2:57.0)				N/A		65.3		66		73.5		87.8		69.5		51.6		46.8		52		59.2		60		55.3		58.9		57.5		62.9		58.2		50.4		44.1		31.5		62.8		65.4		72.4		72.1		67.3		70.6		66.7		71.6		66.2		66.4		63.3		48.7		49.3		55.7		63.7		63.7		58.9		63		61.4		67.2		62.6		53.4		44.5		33.4		40.4		41.6		46.5		48.2		44		44.7		44.6		49.1		43.9		31.7		18		11.6

		NOR140_15642541_251125_0241.NBF		(2025/11/25 22:06:02.00)		(0:2:57.0)				N/A		67.2		67.9		77		89.7		71.2		55		50.9		52.3		57.8		61.1		56.7		60.3		58.8		64.9		60.6		49.7		38.2		28		66.5		68.1		70.9		76.1		69.6		71.3		69.1		75.6		70.6		61.4		50.6		49.6		53.6		55.8		61.7		64.6		60.8		64.4		62.5		69.1		64.7		53.6		43.1		30.7		41		41.8		47.8		47.2		42.8		44		46.4		52.7		48.3		32		19.2		11.8

		NOR140_15642541_251125_0242.NBF		(2025/11/25 22:09:03.00)		(0:2:56.0)				N/A		65.9		66.6		73.6		88.4		71		49.8		46.9		50.3		58.6		60.8		55.2		58.1		57.2		63.5		59.7		48.8		36		22.8		59.7		63.5		71.1		74.4		66.2		67.2		65		71.6		68		57.6		46.1		35.3		49.5		54.4		63.2		64.6		59.9		63.2		62.2		68.4		64.8		54.2		41.2		27.7		40.4		41.2		45.8		47.6		44.5		45.5		42.9		47.2		42.2		27.2		14.2		11.5

		NOR140_15642541_251125_0243.NBF		(2025/11/25 22:12:02.00)		(0:2:57.0)				N/A		67.5		68.3		75.6		90		72.6		48.3		47.6		52.5		59		60.7		55.7		59.4		59.2		65.2		60.9		50.1		37.3		23.6		60.6		68.3		70.4		77.8		71		71		68.9		74.4		69		60.6		51.6		39.4		50.9		55.9		63.7		64		59.6		64.8		63.7		70.1		66.4		55.5		42.2		28.3		40.4		40.8		45		46.5		41.9		43.5		42.8		45.9		40.2		24.9		13.9		11.5

		NOR140_15642541_251125_0244.NBF		(2025/11/25 22:15:02.00)		(0:2:57.0)				N/A		66.3		67.5		78.7		88.8		71.5		44.4		47.3		53		56.8		67.7		67.9		61.5		58.3		63.7		59.6		49.5		38.2		33.8		58.4		68.4		71.2		87.2		87		80.7		70.8		78.1		70.9		66		56.7		57.2		50.7		55.7		61.3		65.3		62.2		64.4		63.3		68.8		64.9		54.7		43		28.6		40.3		41.7		43.7		45.1		41.3		40.6		39.8		42		34.4		20.2		13.4		11.4

		NOR140_15642541_251125_0245.NBF		(2025/11/25 22:18:02.00)		(0:2:57.0)				N/A		65.3		66		75.3		87.8		69.9		48.7		46.8		53.7		58.2		61		53.8		57.4		56.6		63		58.7		47.6		35.5		36.5		61.3		74.8		71.6		76		65.4		67.7		65.4		73.8		68.4		57.8		47.3		63.3		50.1		55.7		62.4		64.3		58.2		62.3		61.6		67.5		63.4		52.2		40.7		27.4		40.1		42.6		45.6		48.3		41.5		42.8		42.5		46.5		40.4		24		13.7		11.5

		NOR140_15642541_251125_0246.NBF		(2025/11/25 22:21:02.00)		(0:2:57.0)				N/A		63.7		64.4		74.2		86.2		68.7		49.5		59.4		64.1		63.6		59.4		55.3		60.1		55.7		60.9		57.3		47		35.3		21.1		77.1		85.2		80.7		70.5		68.7		79.8		66.5		69.9		67.2		58		49.2		34.7		59		64.9		66.4		64.1		59		62.6		60.3		66		62.6		52.1		38.7		24.5		42.1		43.5		45.3		47.3		41.5		42.3		42.6		46.8		41.6		26.3		14.1		11.5

		NOR140_15642541_251125_0247.NBF		(2025/11/25 22:24:02.00)		(0:2:57.0)				N/A		62.8		63.7		73.8		85.3		67.7		44.6		51		54.8		53.5		57.4		51.6		54.7		54.2		60.1		56.7		47.4		38.6		26.6		64.7		72		69.1		73.5		67.2		67.9		65.9		71.3		68.3		62.1		56.8		44		54.7		57.1		57.7		60.2		55		59.5		58.6		64.4		61.9		52.6		39.8		26.2		41.6		39.7		42		43.5		38		37.7		38.6		42.3		36.2		21.8		14.1		11.5

		NOR140_15642541_251125_0248.NBF		(2025/11/25 22:27:02.00)		(0:2:57.0)				N/A		64.1		64.9		72.2		86.6		69		41.7		51.1		56.2		57.6		59.8		53.6		56.5		55.7		61.9		57.5		47.1		34.8		21.6		67.1		77.8		72.1		72.7		64.6		66.2		64.1		71.1		65.3		55.8		47.7		35.7		54.3		56		61.6		64.4		58.6		62		60.3		66.8		62.1		52.2		39.9		25.8		40.7		41		44		44.1		38.3		36.6		37.3		39.8		31		19.3		14.7		11.5

		NOR140_15642541_251125_0249.NBF		(2025/11/25 22:30:02.00)		(0:2:57.0)				N/A		64.7		65.5		75.7		87.2		69.2		44.3		52.7		48		52.6		58.3		57.9		56.9		57		62.2		58.3		48.1		37.1		25.1		74.3		63.1		67.8		73		75.3		71.6		70.2		74.1		69.3		64.4		56.7		46.7		53.8		51.1		56.5		63		60.8		61.1		61		66.9		62.7		51.6		38.3		22.9		39.7		41.9		43		43.9		39.6		38.6		39.8		42		35.2		18.5		12.7		11.3

		NOR140_15642541_251125_0250.NBF		(2025/11/25 22:33:02.00)		(0:2:57.0)				N/A		61.4		62.2		73.5		83.9		65.6		42.5		49.7		47		54.3		52.5		49.1		54.3		53.2		58.8		55.2		43.5		32.4		20.9		67.1		61.6		70.3		66		60.7		70.4		66.2		71.6		67.1		56.5		47.1		37.6		52.5		50.5		57		56.4		53.4		57.3		56.4		62.7		59.1		47.6		35.4		22.3		38.8		40.4		39.9		41.3		35.9		36		38.2		41		28.2		13.3		11.4		11.3

		NOR140_15642541_251125_0251.NBF		(2025/11/25 22:36:02.00)		(0:2:57.0)				N/A		65.3		66		75.4		87.8		70.5		45.7		53.9		49.5		55.2		56		52		56.7		56.9		62.9		59		47.6		33.5		20.9		71.5		61.6		68.8		69.3		64.5		69.2		68.4		73.3		69.9		58.9		45.7		43.5		57.4		53.9		59.7		60.2		56.4		61.8		61.7		68.4		63.9		52.7		38.9		24.8		40.1		39.5		41.2		43.7		37.6		38.8		40.9		43.9		33.3		19.9		12.5		11.4

		NOR140_15642541_251125_0252.NBF		(2025/11/25 22:39:02.00)		(0:2:57.0)				N/A		62.6		63.3		74.9		85.1		66.9		47.2		49.4		47.2		52.1		59.3		50.5		54		52.9		59.7		56.9		46.9		32.2		19.1		67.2		62.5		64.4		73.2		61.4		65.7		63.1		72.3		70.5		61.2		47		36.6		52.8		50.4		56.2		62.3		54.6		58.2		57.2		64		60.9		50.5		35.3		20.8		40.7		39.2		42		43.5		39.8		40.2		41.1		45.1		37.3		23.2		12.2		11.3

		NOR140_15642541_251125_0253.NBF		(2025/11/25 22:42:02.00)		(0:2:57.0)				N/A		65.4		66.2		75.4		87.8		69.8		48.8		49.2		48.8		56.4		57.8		53.5		56.8		56.7		62.9		59.1		48.1		35		22.1		62.6		60.9		71.6		72.7		72.5		69.1		66.7		73.1		69.5		58.5		48.1		37.1		52.6		52.5		59.9		61.6		57		61.6		61		66.9		64		52.9		40.2		26.3		40.7		39.7		42.9		44.3		41.7		42.2		43.2		46.5		41.2		27.3		12		11.3

		NOR140_15642541_251125_0254.NBF		(2025/11/25 22:45:02.00)		(0:2:57.0)				N/A		62.7		63.6		72.6		85.2		67.5		45.6		48.1		47.8		55.5		60.6		54.5		55.4		55.5		60.2		56		45.4		34.7		23		63.2		62.4		73.3		78.8		69.2		66.9		66.3		70.6		66.9		56.9		48.7		38.5		51.7		51.2		59.2		63.3		58.7		61.2		60.4		64.9		61.2		50.7		39.7		26.5		39.6		40.3		41.7		43.6		40		40		41		43.4		37.4		20.3		11.5		11.3

		NOR140_15642541_251125_0255.NBF		(2025/11/25 22:48:02.00)		(0:2:57.0)				N/A		64.5		65.2		74.3		87		69.2		49		55.8		60.6		59.5		59.5		54.3		57.3		56.8		62.1		57.7		47.6		37.2		24.2		75.6		80.2		76.7		75		67.3		70.5		66.8		73		66.9		62.1		55.2		42.9		55.5		59.3		62		62.5		59.1		61.6		61.4		66.8		62.1		52.3		41		26.7		39.6		41.5		43.2		44.8		42.3		42.5		43.3		46.9		39.7		24.6		11.6		11.3

		NOR140_15642541_251125_0256.NBF		(2025/11/25 22:51:02.00)		(0:2:57.0)				N/A		63.8		64.6		73.6		86.3		69		47		56.2		62.3		60.7		58.9		55.9		56.1		56.4		61.6		56.8		46.3		34.7		21.2		74.8		82.9		79.2		74		69.9		69.1		67.4		72.6		67.8		58.7		48.8		36		51.4		59.1		63.9		62.9		58.7		61.4		61.7		66.7		61.4		51.5		39		24.6		38		42.2		44.4		44.1		39.3		39.7		42.1		45.1		37.5		21.1		11.7		11.3

		NOR140_15642541_251125_0257.NBF		(2025/11/25 22:54:02.00)		(0:2:57.0)				N/A		64.5		65.3		74.7		87		69.2		42.6		46.9		48.9		56		55.8		54.3		56.6		56.1		62		58.1		47.1		36.1		24.5		62		62.8		69.2		71.3		68.1		71.2		64.7		72.7		69.2		59.2		58.7		42.9		50.5		52.3		60.4		59.9		58.9		61.6		61.6		66.9		62.8		52		40.2		25.4		37.7		42.5		43.5		41.6		37.7		37.5		38		41.3		30.2		16.1		11.4		11.3

		NOR140_15642541_251125_0258.NBF		(2025/11/25 22:57:02.00)		(0:2:57.0)				N/A		69.9		71.9		88.5		92.4		69.9		44.7		45.3		47		55.7		59.9		64.7		68.9		64.7		65.2		64		56.2		45.6		32.7		60.4		58.9		68.5		76.3		83.7		88.7		83.2		83.2		83.9		78.4		67.7		55		47.9		50.1		61.1		61.9		61.6		63.8		64.8		66.9		63.1		51.5		38.5		24.7		37.1		42.4		43		41.2		39.1		39.6		40		42		33		17		11.3		11.3

		NOR140_15642541_251125_0259.NBF		(2025/11/25 23:00:02.00)		(0:2:57.0)				N/A		61.9		63		76.4		84.4		66.7		39.3		44		47.3		53.9		55.1		51.5		55.1		53.5		59.8		54.8		44		31.1		18.7		57.9		66.5		70.1		69.4		68.8		72		68.4		74.8		68.4		60.6		49.6		39.9		47.5		48.9		56.4		59.7		56.5		56.6		57.5		64.9		59.3		48.2		32.2		16		36.6		41.6		42.1		40.3		35.4		34.5		34.9		37.5		26.7		14.5		11.3		11.2

		NOR140_15642541_251125_0260.NBF		(2025/11/25 23:03:02.00)		(0:2:57.0)				N/A		62.9		64		77		85.3		67.4		45.1		47.4		47.6		56.7		61.3		57.1		59.2		54.8		60.3		56		45.1		33.5		20.5		63.8		65.1		69.5		79.1		74.2		77.1		68.4		75.4		68.9		59		49.9		35.8		50.8		50.5		61.1		64.7		58.4		61.3		59.1		64.5		60.8		50.2		38.7		25.1		37.6		38		40.5		42.6		40.2		38.3		40.3		43.5		31		13.7		11.4		11.3

		NOR140_15642541_251125_0261.NBF		(2025/11/25 23:06:02.00)		(0:2:57.0)				N/A		62.2		63.8		79.8		84.7		64.3		44.4		48.7		46.4		51.4		61.2		60		58.6		54.1		58.8		55.7		50.4		43.8		33.2		65.6		66.3		67.2		77.7		77.1		79.3		69.7		74.1		74.5		71.5		66.4		57.3		52.1		49.8		54		58.7		58.7		59.4		57.5		61.7		57.2		47.1		34.9		20.5		37.7		37.5		39		42.2		38.7		37.9		39.4		42.6		34.3		18.3		11.4		11.2

		NOR140_15642541_251125_0262.NBF		(2025/11/25 23:09:03.00)		(0:2:56.0)				N/A		64		64.9		77.2		86.5		67.5		42.6		49.3		47.5		54.2		65.1		61.7		64.6		57.4		60.1		56.9		48.5		39.5		27.8		71.8		64		71.8		82.3		79		83		72.9		75.1		70.7		65		59		48.9		49		50.2		57.2		66.8		62.2		62.2		59.3		64		60.4		49.8		36.1		20.4		37.2		38.5		40.3		43.1		38.4		39		39.2		40.5		29.7		16.3		11.3		11.3

		NOR140_15642541_251125_0263.NBF		(2025/11/25 23:12:02.00)		(0:2:57.0)				N/A		63.1		64		74.1		85.6		68.7		41.2		48		48.8		57.7		60.3		51		56.1		54.9		60.9		56.3		45.5		33.2		19.6		66.4		60.9		74.6		75.7		65		68.6		64.5		72.4		67.2		58.7		47.2		33.2		50.4		52.4		60.4		62.8		55.6		61.4		60.8		66.3		62		51		38.5		23.9		37.7		40.1		40.3		40.1		35.7		35.6		36.9		39		27.7		12.2		11.2		11.2

		NOR140_15642541_251125_0264.NBF		(2025/11/25 23:15:02.00)		(0:2:57.0)				N/A		57.6		58.5		71.5		80.1		62.3		35.6		55.9		60.9		58.3		55.3		53.8		52.2		52.6		55		49.8		40.8		30.5		19		77.1		80.7		76.7		68.5		68.6		67.5		65.6		70.6		62.8		56.1		47.9		39.7		50.1		55		59.5		60.9		58		55.3		57.8		59.3		54.2		43.2		31.4		18.1		36.3		37.5		38.8		38.6		35		33.6		31.3		33.2		24.4		11.6		11.1		11.2

		NOR140_15642541_251125_0265.NBF		(2025/11/25 23:18:02.00)		(0:2:57.0)				N/A		66.5		67.7		79.3		89		71.2		43.1		56.5		62.6		63.3		59.3		60.6		59.6		58.2		64.3		59.5		49		38.6		28.9		79.1		82.4		81.3		74.4		82.8		79.9		73.6		77.6		71.4		62.8		60.3		52.3		53.2		60.8		65.4		63.8		60.1		63.1		63.1		68.8		64.2		53.1		40.5		26.4		37.2		37.2		40.7		40.9		36.6		36.7		36.8		41.2		33.6		14.5		11.2		11.2

		NOR140_15642541_251125_0266.NBF		(2025/11/25 23:21:02.00)		(0:2:57.0)				N/A		60.5		61.4		76		83		63.6		41.9		57.3		67.2		57.6		56.9		53.2		53.3		51.8		57.5		54.8		44.3		32.4		20.2		78.6		89.4		77.5		73.5		69.4		68.2		65.2		74		70.8		60.7		49		37.6		51.6		60.8		58.7		59.2		54.9		54.3		55.6		60.3		58		46.7		32.4		17.4		36.1		37.4		39.5		41.6		37.8		36.3		36.8		40		31.1		13.6		11.2		11.2

		NOR140_15642541_251125_0267.NBF		(2025/11/25 23:24:02.00)		(0:2:57.0)				N/A		62.6		63.4		75.3		85.1		67.3		41.4		42.6		50.7		54.3		55.8		52.7		55		54.9		60.4		55.6		45.4		34.1		21		57.9		71.5		71.4		73.2		67.6		68.7		67.4		74		68.6		59		51.1		38.4		45		51.5		57		58.7		57.3		58.2		59.4		64.9		60.4		49.8		37.2		22.9		36.3		37.3		39.2		40.1		35.2		34.8		36.6		39.7		27.6		15.2		11.5		11.3

		NOR140_15642541_251125_0268.NBF		(2025/11/25 23:27:02.00)		(0:2:57.0)				N/A		56.9		58.6		74.6		79.4		56.7		36.7		45.8		43.1		47		55.5		55.8		49.9		48.2		53.6		50.7		46.2		40		29.1		61.2		61.4		63.3		74.7		77.2		68.8		63.3		68.7		70.2		66.8		62.2		52.7		48.3		45.7		49.8		53.3		51.1		48.7		49.3		54.1		49.8		38.6		24.7		12.4		37.1		35.4		36		37.1		32.6		31.2		32.9		34.9		22.3		11		11.2		11.2

		NOR140_15642541_251125_0269.NBF		(2025/11/25 23:30:02.00)		(0:2:57.0)				N/A		61.3		62.1		72.9		83.7		66.8		39		51.3		48.9		52.5		53.6		52.9		52.5		52.1		58.7		55.4		44		28.8		17.2		70.2		64.3		65.2		71.1		74.9		67.5		64.1		70.8		68.1		57.2		43		38.1		53.6		51.8		56.2		55		53.3		55.8		57.4		63.7		60.9		49.2		33.7		17.5		38		37.6		37.5		37.9		33.4		33.5		35.2		36.9		25.5		11.6		11.3		11.2

		NOR140_15642541_251125_0270.NBF		(2025/11/25 23:33:02.00)		(0:2:57.0)				N/A		57.3		58.2		71.1		79.8		60		37		52.8		46.8		54.4		51.6		45.1		49.5		48.5		55.4		50		38.4		26		14.5		69.2		64.1		78.4		72		59.6		65.5		62.1		70.3		62.7		51.9		41.5		28.7		56.2		50.7		51.8		54.5		50		50		52.1		58		53		40.6		27.5		14.5		38.5		36.7		36.8		37.8		32		31.3		32.5		35.8		22.5		11.7		11.3		11.2

		NOR140_15642541_251125_0271.NBF		(2025/11/25 23:36:03.00)		(0:2:56.0)				N/A		59.6		60.1		73.7		82.1		65.4		41		48.2		45.5		51		49.9		47.5		50.8		50.1		57		53.7		42.5		28.9		16.7		63.6		61.9		67.4		66.3		60.8		65.8		65		71.7		68.5		57.3		45.9		34.6		51.1		48.4		54.8		54.1		52.4		54.3		54.9		62.3		59.1		48.5		31.4		15.2		37.4		37.3		38.2		39.9		35.5		35.2		36.6		39.1		28.1		11.4		11.2		11.2

		NOR140_15642541_251125_0272.NBF		(2025/11/25 23:39:02.00)		(0:2:57.0)				N/A		60.3		61.1		72.1		82.8		65.8		45.3		46.8		46.6		53.4		55.7		53.6		53.5		51.9		58		53.7		42.5		31.9		18.6		67		60.5		66.1		75.3		73		67.7		63.8		69.5		66.3		55.1		49.8		34.5		47.7		50.1		56.3		55.1		53.3		58.3		57.1		63.5		59.1		48.1		34.3		18.6		35.9		38.5		41.7		40.1		36.9		39		40.3		43		34.7		24.2		11.5		11.3

		NOR140_15642541_251125_0273.NBF		(2025/11/25 23:42:02.00)		(0:2:57.0)				N/A		62.5		63.5		75.7		84.9		66.6		45.5		54.3		61.8		60.5		68.1		63.1		59.6		56.2		59.2		55.2		48.4		41.9		29.8		75.3		78.1		74.8		88.7		82.9		74.8		70.9		72.8		69.4		65.7		59		47.4		54.1		65.4		63.2		68.4		64.6		64.1		59.5		62.7		59.6		51.3		41.4		27.1		38.5		42.9		52.1		44		42.1		41		42		43.3		34.1		26		19		11.6

		NOR140_15642541_251125_0274.NBF		(2025/11/25 23:45:02.00)		(0:2:57.0)				N/A		62.5		63.2		75.9		85		67.4		43.6		56.5		63.5		60.9		59		52.5		55.2		54.1		60.3		55.6		45.4		33.2		19.3		77.7		85.7		78.5		74.9		65.6		69.3		67.3		74.3		67.9		58.8		49		34.4		50.1		58.7		63.3		62.2		57.3		58.8		58.6		65.2		60.5		50.1		37.1		22.4		36.2		41.3		52.1		42.5		41.5		37.8		39.9		40.8		33.6		26.2		18.6		11.5

		NOR140_15642541_251125_0275.NBF		(2025/11/25 23:48:02.00)		(0:2:57.0)				N/A		57.2		57.9		70.5		79.7		61.9		36.8		47.5		60.1		54.6		56.9		51.5		52.8		49.8		54.4		50.3		42.6		34.7		22.3		63.7		78.4		72		70.5		64.8		67.2		62		69.1		63.1		55.7		49.3		38.1		50.4		63.7		59.2		61.4		56.4		57.8		55.3		59.1		54.8		47.5		39.1		25		34.7		36.4		37.9		38.7		32.9		32		32.4		34.7		24.5		11.7		11.1		11.2

		NOR140_15642541_251125_0276.NBF		(2025/11/25 23:51:02.00)		(0:2:57.0)				N/A		62		63		77.1		84.5		63.9		38.5		40.9		44.6		54.1		60.9		54.8		53.5		53.5		59.6		55.6		44.7		31.2		17.8		54.9		60.8		71		77		73.2		68.1		66.7		75		71.3		61.7		48.1		35.1		44.2		48.3		57.1		63.4		57.1		55.3		56.6		61.7		57.1		46.1		32.4		17.8		34.1		34.2		37.5		39.1		34		32.9		34.6		36.8		24.5		11.7		11.1		11.2

		NOR140_15642541_251125_0277.NBF		(2025/11/25 23:54:03.00)		(0:2:56.0)				N/A		61.9		62.7		74.2		84.3		67.1		39.8		42.5		45.9		50.5		53.1		49.1		53		52.3		59.4		55.6		44.8		31.5		17.9		59.1		66.6		68		68.2		63.3		67		64		72.3		68.9		59.4		46.3		32.5		44.5		48.1		54.6		57.2		52.5		56.1		58.3		64.2		61.2		50.1		36		20.4		33.7		34.3		37.4		39.2		32.6		32.4		34.3		38		27.3		11.3		11.1		11.2

		NOR140_15642541_251125_0278.NBF		(2025/11/25 23:57:02.00)		(0:2:57.0)				N/A		59.5		60.6		75.1		82		61.8		40		45.2		43.1		53		48.6		45.1		49.5		50.3		57.1		53.4		41.7		27.6		14.8		60.1		60.8		71.1		64.6		63.1		66.5		65.2		73.2		69.3		58.1		44.5		30.4		48.4		45.2		51.7		50.9		47.3		47.6		50.2		59		56.2		40.2		21.2		11.8		35.7		35.1		37		38.7		33.6		33		36.2		38.4		24.8		10.7		11.1		11.2





Sheet1

		Time Period		LAeq		LAmax

		(2025/11/25 10:09:02.00)		69.1		76.8

		(2025/11/25 10:12:02.00)		69.5		77.6

		(2025/11/25 10:15:02.00)		68.7		74.4

		(2025/11/25 10:18:02.00)		69.6		74.5

		(2025/11/25 10:21:02.00)		69.8		75.3

		(2025/11/25 10:24:02.00)		68.1		74.4

		(2025/11/25 10:27:02.00)		69.6		80.4

		(2025/11/25 10:30:02.00)		69.8		75.9

		(2025/11/25 10:33:02.00)		69.4		75.8

		(2025/11/25 10:36:02.00)		69.6		75.3

		(2025/11/25 10:39:02.00)		69.3		74.6

		(2025/11/25 10:42:02.00)		70.1		75.9

		(2025/11/25 10:45:02.00)		71.9		88.3

		(2025/11/25 10:48:02.00)		69.5		74.5

		(2025/11/25 10:51:02.00)		69		75.5

		(2025/11/25 10:54:02.00)		68.4		74

		(2025/11/25 10:57:02.00)		70.1		76.2

		(2025/11/25 11:00:02.00)		68.8		77.3

		(2025/11/25 11:03:02.00)		69.4		75.7

		(2025/11/25 11:06:02.00)		69.8		76.1

		(2025/11/25 11:09:02.00)		69.6		75.4

		(2025/11/25 11:12:02.00)		70.6		76.8

		(2025/11/25 11:15:02.00)		68.4		74.5

		(2025/11/25 11:18:02.00)		69.1		78.4

		(2025/11/25 11:21:02.00)		69.4		75.4

		(2025/11/25 11:24:02.00)		70.2		75.4

		(2025/11/25 11:27:02.00)		69.7		81.9

		(2025/11/25 11:30:02.00)		67.5		74.3

		(2025/11/25 11:33:02.00)		70.1		76.6

		(2025/11/25 11:36:02.00)		68.3		75.5

		(2025/11/25 11:39:02.00)		69.1		74.8

		(2025/11/25 11:42:02.00)		68.9		76.1

		(2025/11/25 11:45:02.00)		68.2		73.5

		(2025/11/25 11:48:02.00)		72.7		88.6

		(2025/11/25 11:51:02.00)		69.9		75.8

		(2025/11/25 11:54:02.00)		69.4		75.4

		(2025/11/25 11:57:02.00)		69		74.2

		(2025/11/25 12:00:02.00)		69.3		82.2

		(2025/11/25 12:03:02.00)		69.5		74.6

		(2025/11/25 12:06:02.00)		68.3		73.7

		(2025/11/25 12:09:02.00)		69.7		76.5

		(2025/11/25 12:12:02.00)		69.9		76.4

		(2025/11/25 12:15:02.00)		69.5		74.9

		(2025/11/25 12:18:02.00)		67.1		73.8

		(2025/11/25 12:21:02.00)		68.8		74.7

		(2025/11/25 12:24:02.00)		69.9		74.8

		(2025/11/25 12:27:02.00)		68.3		75

		(2025/11/25 12:30:02.00)		69.6		76.7

		(2025/11/25 12:33:02.00)		69.3		82.4

		(2025/11/25 12:36:02.00)		69		76.6

		(2025/11/25 12:39:02.00)		73.8		89.6

		(2025/11/25 12:42:02.00)		69.3		75.9

		(2025/11/25 12:45:02.00)		68.6		76.4

		(2025/11/25 12:48:02.00)		69.9		87.1

		(2025/11/25 12:51:02.00)		69.6		76.4

		(2025/11/25 12:54:02.00)		68.6		74.3

		(2025/11/25 12:57:02.00)		68.5		74.8

		(2025/11/25 13:00:02.00)		74.6		90.9

		(2025/11/25 13:03:02.00)		69.4		74.7

		(2025/11/25 13:06:02.00)		71.9		86.8

		(2025/11/25 13:09:02.00)		70.1		76.6

		(2025/11/25 13:12:02.00)		67.9		72.8

		(2025/11/25 13:15:02.00)		69.7		74.9

		(2025/11/25 13:18:02.00)		68.6		76.4

		(2025/11/25 13:21:02.00)		70.1		83.9

		(2025/11/25 13:24:02.00)		70		78.7

		(2025/11/25 13:27:02.00)		68.9		75

		(2025/11/25 13:30:02.00)		70.6		82.5

		(2025/11/25 13:33:02.00)		69.7		74.8

		(2025/11/25 13:36:02.00)		69.5		75.5

		(2025/11/25 13:39:02.00)		67.8		75.5

		(2025/11/25 13:42:02.00)		68.5		75.3

		(2025/11/25 13:45:02.00)		69.2		75.5

		(2025/11/25 13:48:02.00)		68.4		77.1

		(2025/11/25 13:51:02.00)		72.6		87

		(2025/11/25 13:54:03.00)		68.2		75.8

		(2025/11/25 13:57:02.00)		69.8		76

		(2025/11/25 14:00:02.00)		67.9		76.4

		(2025/11/25 14:03:02.00)		69.1		74.9

		(2025/11/25 14:06:02.00)		69.3		74.4

		(2025/11/25 14:09:02.00)		69.5		75

		(2025/11/25 14:12:02.00)		67.5		73.4

		(2025/11/25 14:15:02.00)		68.5		75.2

		(2025/11/25 14:18:02.00)		69.8		75

		(2025/11/25 14:21:02.00)		69.6		76

		(2025/11/25 14:24:03.00)		68.8		75

		(2025/11/25 14:27:02.00)		69.2		75.5

		(2025/11/25 14:30:02.00)		68.7		75.2

		(2025/11/25 14:33:02.00)		70.7		78.4

		(2025/11/25 14:36:02.00)		71.6		84.3

		(2025/11/25 14:39:02.00)		68.6		76.4				68.8		72.2		71.7		70.6		68.8		69.3		74.6		67.9		70.2		70.2		69.6		71.2		68		67.6		67.1		66.2

		(2025/11/25 14:42:02.00)		68		75.1				69.3		72.3		71.5		69.2		69.4		69.5		69.4		69.1		69.1		69		68.5		70.2		69.4		68.1		64.7		65.3

		(2025/11/25 14:45:02.00)		71.4		87.5				70.5		71.5		71.2		72.2		69.8		68.3		71.9		69.3		69.1		70.9		70.8		70.5		70.6		69.2		67.3		67.2

		(2025/11/25 14:48:02.00)		69.3		77.1				71.6		71.1		70		69.1		69.6		69.7		70.1		69.5		74.4		69.5		69.2		70.2		68.2		66		65.1		65.9

		(2025/11/25 14:51:02.00)		68		75.4				69.4		72		70.5		69.5		70.6		69.9		67.9		67.5		68.7		70.6		69.7		69.1		70.9		68.1		67.8		67.5

		(2025/11/25 14:54:02.00)		68.4		80.7				71.4		71.5		71.3		68.7		68.4		69.5		69.7		68.5		69.3		69.6		69.8		72		69.2		67.6		67.7		66.3

		(2025/11/25 14:57:02.00)		69		75.4				69.2		70.3		70		69.6		69.1		67.1		68.6		69.8		68.8		68.3		69.8		71		67.8		66.4		64.3		65.3

		(2025/11/25 15:00:02.00)		70.2		83.9				70.7		69.2		71.8		69.8		69.4		68.8		70.1		69.6		69.2		69		70.1		70		70		67.3		66.1		63.7

		(2025/11/25 15:03:02.00)		69.1		74.4				69.8		70.3		70.4		68.1		70.2		69.9		70		68.8		68		69.4		69.8		70.8		67.7		66.2		67.8		62.8

		(2025/11/25 15:06:02.00)		69.1		78.8				69.9		71		69.7		69.6		69.7		68.3		68.9		69.2		68.8		69		68.8		69.2		71.4		67.3		65.6		64.1

		(2025/11/25 15:09:02.00)		74.4		91.3				69.8		70.9		70.5		69.8		67.5		69.6		70.6		68.7		69		69.7		68.5		68.2		68.2		66.6		66.8		64.7

		(2025/11/25 15:12:02.00)		68.7		74.5				70.9		71.6		70.5		69.4		70.1		69.3		69.7		70.7		69.3		70.5		70.5		69.7		67.2		65.2		70.1		61.4

		(2025/11/25 15:15:02.00)		69.3		75.2				71.7		71.4		70.2		69.6		68.3		69		69.5		71.6		69.9		68.7		70.7		70.6		67.3		66.3		65.5		65.3

		(2025/11/25 15:18:02.00)		68.8		74.3				70.6		70.8		71		69.3		69.1		73.8		67.8		68.6		70.3		68.2		69.3		70.3		68		66.7		64.6		62.6

		(2025/11/25 15:21:02.00)		69.2		77.5				71.2		70.9		69.8		70.1		68.9		69.3		68.5		68		68.5		69.3		70.1		70.4		68		66.8		65.3		65.4

		(2025/11/25 15:24:02.00)		68		73.6				69.8		71		69.7		71.9		68.2		68.6		69.2		71.4		68.3		69.9		69.2		69.2		67		63.7		63.6		62.7

		(2025/11/25 15:27:02.00)		68.8		82.5				71.7		72		70.4		69.5		72.7		69.9		68.4		69.3		70.5		72.1		69.8		70.8		67.3		66.1		65.7		64.5

		(2025/11/25 15:30:02.00)		69		78.5				72		70.7		69.8		69		69.9		69.6		72.6		68		68.9		69.2		77.5		69.1		70.3		64.7		64.6		63.8

		(2025/11/25 15:33:02.00)		69.3		76.2				70.6		71		70		68.4		69.4		68.6		68.2		68.4		68.7		70.4		70		69.6		68.9		66.7		62		64.5

		(2025/11/25 15:36:02.00)		69.9		76.7				70.7		70		69.1		70.1		69		68.5		69.8		69		69.5		69.9		69.3		69.3		70.2		67		65.5		69.9

		(2025/11/25 15:39:02.00)		70.3		78.7

		(2025/11/25 15:42:02.00)		68.5		74.2				61.9		56.5		59.5		49.7		39.5		56.5		64.1		64.4

		(2025/11/25 15:45:02.00)		68.3		75.7				62.9		56.3		60.1		57.7		38.7		57.8		62.5		63.5

		(2025/11/25 15:48:02.00)		70.5		75				62.2		62.2		59.1		36		35.9		52.8		60.3		66.1

		(2025/11/25 15:51:02.00)		68.9		74.1				64		61.7		59.1		58.2		53.2		52.6		66		66.6

		(2025/11/25 15:54:02.00)		68.7		77				63.1		61.2		57.1		55.2		55.2		38.1		62.8		63.9

		(2025/11/25 15:57:02.00)		69.5		74.8				57.6		60.7		35		59.3		40.5		53		55.7		64.4

		(2025/11/25 16:00:02.00)		70.2		80.7				66.5		61		37.1		40.4		37.8		40.5		63.2		65.2

		(2025/11/25 16:03:02.00)		69		74.3				60.5		58.4		56		51.6		47.3		57.4		67		65.5

		(2025/11/25 16:06:02.00)		70.9		82				62.6		60.3		53.8		56.8		39.3		57.7		65.4		63.1

		(2025/11/25 16:09:02.00)		69.5		77.3				56.9		58.2		51.7		38		37.6		59.6		62.4		67.1

		(2025/11/25 16:12:02.00)		70.6		76.2				61.3		56.1		37.5		58.5		57.5		60.2		65.1		66.7

		(2025/11/25 16:15:02.00)		69.6		75.8				57.3		56.6		58.6		36		49.2		60.4		64.9		68.8

		(2025/11/25 16:18:03.00)		68.3		75				59.6		55.7		36.2		57.5		52.9		49.3		64.2		68.5

		(2025/11/25 16:21:02.00)		69		75.2				60.3		60.2		59.1		48.6		39.6		60.7		64.7		70

		(2025/11/25 16:24:02.00)		69.4		77.3				62.5		49.7		54.1		36.2		55.4		59.6		64.7		69

		(2025/11/25 16:27:02.00)		69		75.6				62.5		51.5		34.9		35.6		44.7		61.5		65.2		69.7

		(2025/11/25 16:30:02.00)		69.7		75.8				57.2		60.4		52.2		32.7		57.3		63.7		66.2		69.8

		(2025/11/25 16:33:02.00)		70.5		78.1				62		63.5		44.1		34		61.5		45.6		64.3		68

		(2025/11/25 16:36:02.00)		68.7		75.6				61.9		61.5		47.8		42.7		64.8		58.1		67.4		67.7

		(2025/11/25 16:39:02.00)		68.2		74.6				59.5		58		42		35.6		52.4		60		65.5		70.1

		(2025/11/25 16:42:02.00)		69.3		78.3

		(2025/11/25 16:45:02.00)		69.9		75.1

		(2025/11/25 16:48:02.00)		72.1		85.7

		(2025/11/25 16:51:02.00)		69.2		75.3

		(2025/11/25 16:54:02.00)		70.4		87.6

		(2025/11/25 16:57:02.00)		69.9		76

		(2025/11/25 17:00:02.00)		69.6		76.1

		(2025/11/25 17:03:02.00)		68.5		73.5

		(2025/11/25 17:06:02.00)		70.8		75.7

		(2025/11/25 17:09:02.00)		69.2		78.8

		(2025/11/25 17:12:02.00)		69.7		74.8

		(2025/11/25 17:15:02.00)		69.8		75.8

		(2025/11/25 17:18:02.00)		69.8		75.4

		(2025/11/25 17:21:02.00)		70.1		78.5

		(2025/11/25 17:24:02.00)		69.8		79.7

		(2025/11/25 17:27:02.00)		68.8		76

		(2025/11/25 17:30:02.00)		68.5		74

		(2025/11/25 17:33:02.00)		70.5		76.2

		(2025/11/25 17:36:02.00)		70.7		81

		(2025/11/25 17:39:02.00)		69.3		74.3

		(2025/11/25 17:42:02.00)		70.1		75.7

		(2025/11/25 17:45:02.00)		69.2		82.2

		(2025/11/25 17:48:02.00)		69.8		77.7

		(2025/11/25 17:51:02.00)		77.5		99.1

		(2025/11/25 17:54:02.00)		70		76.1

		(2025/11/25 17:57:02.00)		69.3		75.9

		(2025/11/25 18:00:02.00)		71.2		86.7

		(2025/11/25 18:03:02.00)		70.2		80.5

		(2025/11/25 18:06:02.00)		70.5		77.6

		(2025/11/25 18:09:02.00)		70.2		93.3

		(2025/11/25 18:12:02.00)		69.1		83.4

		(2025/11/25 18:15:02.00)		72		83.7

		(2025/11/25 18:18:02.00)		71		89.6

		(2025/11/25 18:21:02.00)		70		77

		(2025/11/25 18:24:02.00)		70.8		83.7

		(2025/11/25 18:27:02.00)		69.2		75.4

		(2025/11/25 18:30:02.00)		68.2		75.5

		(2025/11/25 18:33:02.00)		69.7		77

		(2025/11/25 18:36:02.00)		70.6		89.3

		(2025/11/25 18:39:02.00)		70.3		78.8

		(2025/11/25 18:42:02.00)		70.4		76.2

		(2025/11/25 18:45:02.00)		69.2		77.4

		(2025/11/25 18:48:02.00)		70.8		78.3

		(2025/11/25 18:51:02.00)		69.1		76.1

		(2025/11/25 18:54:02.00)		69.6		77.8

		(2025/11/25 18:57:02.00)		69.3		75.3

		(2025/11/25 19:00:02.00)		68		74.9

		(2025/11/25 19:03:02.00)		69.4		76.7

		(2025/11/25 19:06:02.00)		70.6		76.7

		(2025/11/25 19:09:02.00)		68.2		75.6

		(2025/11/25 19:12:02.00)		70.9		85.9

		(2025/11/25 19:15:02.00)		69.2		79

		(2025/11/25 19:18:02.00)		67.8		76.4

		(2025/11/25 19:21:02.00)		70		76

		(2025/11/25 19:24:02.00)		67.7		73.6

		(2025/11/25 19:27:02.00)		71.4		87.3

		(2025/11/25 19:30:02.00)		68.2		76.2

		(2025/11/25 19:33:02.00)		67.2		73

		(2025/11/25 19:36:02.00)		67.3		74.5

		(2025/11/25 19:39:02.00)		68		78.1

		(2025/11/25 19:42:02.00)		68		75.2

		(2025/11/25 19:45:02.00)		67		74.9

		(2025/11/25 19:48:02.00)		67.3		73.1

		(2025/11/25 19:51:02.00)		70.3		79.3

		(2025/11/25 19:54:02.00)		68.9		76.3

		(2025/11/25 19:57:02.00)		70.2		81.4

		(2025/11/25 20:00:02.00)		67.6		77.3

		(2025/11/25 20:03:02.00)		68.1		80.8

		(2025/11/25 20:06:02.00)		69.2		75.8

		(2025/11/25 20:09:02.00)		66		77.1

		(2025/11/25 20:12:02.00)		68.1		75.8

		(2025/11/25 20:15:02.00)		67.6		74.9

		(2025/11/25 20:18:02.00)		66.4		75.9

		(2025/11/25 20:21:02.00)		67.3		74.7

		(2025/11/25 20:24:02.00)		66.2		79

		(2025/11/25 20:27:02.00)		67.3		75.8

		(2025/11/25 20:30:02.00)		66.6		75.2

		(2025/11/25 20:33:02.00)		65.2		74.8

		(2025/11/25 20:36:02.00)		66.3		78

		(2025/11/25 20:39:02.00)		66.7		75.3

		(2025/11/25 20:42:02.00)		66.8		75.4

		(2025/11/25 20:45:02.00)		63.7		75.6

		(2025/11/25 20:48:02.00)		66.1		77.3

		(2025/11/25 20:51:02.00)		64.7		76

		(2025/11/25 20:54:02.00)		66.7		74.9

		(2025/11/25 20:57:02.00)		67		75.4

		(2025/11/25 21:00:02.00)		67.1		86

		(2025/11/25 21:03:02.00)		64.7		73.5

		(2025/11/25 21:06:02.00)		67.3		78.7

		(2025/11/25 21:09:02.00)		65.1		74.7

		(2025/11/25 21:12:02.00)		67.8		76

		(2025/11/25 21:15:02.00)		67.7		75.2

		(2025/11/25 21:18:02.00)		64.3		74.1

		(2025/11/25 21:21:02.00)		66.1		73.9

		(2025/11/25 21:24:02.00)		67.8		77.8

		(2025/11/25 21:27:02.00)		65.6		76.7

		(2025/11/25 21:30:02.00)		66.8		74.4

		(2025/11/25 21:33:02.00)		70.1		85.1

		(2025/11/25 21:36:02.00)		65.5		74.5

		(2025/11/25 21:39:02.00)		64.6		75.3

		(2025/11/25 21:42:02.00)		65.3		78.3

		(2025/11/25 21:45:02.00)		63.6		74.7

		(2025/11/25 21:48:03.00)		65.7		74.8

		(2025/11/25 21:51:02.00)		64.6		74.1

		(2025/11/25 21:54:02.00)		62		71.2

		(2025/11/25 21:57:02.00)		65.5		74

		(2025/11/25 22:00:02.00)		66.2		74.9

		(2025/11/25 22:03:02.00)		65.3		73.5

		(2025/11/25 22:06:02.00)		67.2		77

		(2025/11/25 22:09:03.00)		65.9		73.6

		(2025/11/25 22:12:02.00)		67.5		75.6

		(2025/11/25 22:15:02.00)		66.3		78.7

		(2025/11/25 22:18:02.00)		65.3		75.3

		(2025/11/25 22:21:02.00)		63.7		74.2

		(2025/11/25 22:24:02.00)		62.8		73.8

		(2025/11/25 22:27:02.00)		64.1		72.2

		(2025/11/25 22:30:02.00)		64.7		75.7

		(2025/11/25 22:33:02.00)		61.4		73.5

		(2025/11/25 22:36:02.00)		65.3		75.4

		(2025/11/25 22:39:02.00)		62.6		74.9

		(2025/11/25 22:42:02.00)		65.4		75.4

		(2025/11/25 22:45:02.00)		62.7		72.6

		(2025/11/25 22:48:02.00)		64.5		74.3

		(2025/11/25 22:51:02.00)		63.8		73.6

		(2025/11/25 22:54:02.00)		64.5		74.7

		(2025/11/25 22:57:02.00)		69.9		88.5

		(2025/11/25 23:00:02.00)		61.9		76.4

		(2025/11/25 23:03:02.00)		62.9		77

		(2025/11/25 23:06:02.00)		62.2		79.8

		(2025/11/25 23:09:03.00)		64		77.2

		(2025/11/25 23:12:02.00)		63.1		74.1

		(2025/11/25 23:15:02.00)		57.6		71.5

		(2025/11/25 23:18:02.00)		66.5		79.3

		(2025/11/25 23:21:02.00)		60.5		76

		(2025/11/25 23:24:02.00)		62.6		75.3

		(2025/11/25 23:27:02.00)		56.9		74.6

		(2025/11/25 23:30:02.00)		61.3		72.9

		(2025/11/25 23:33:02.00)		57.3		71.1

		(2025/11/25 23:36:03.00)		59.6		73.7

		(2025/11/25 23:39:02.00)		60.3		72.1

		(2025/11/25 23:42:02.00)		62.5		75.7

		(2025/11/25 23:45:02.00)		62.5		75.9

		(2025/11/25 23:48:02.00)		57.2		70.5

		(2025/11/25 23:51:02.00)		62		77.1

		(2025/11/25 23:54:03.00)		61.9		74.2

		(2025/11/25 23:57:02.00)		59.5		75.1

		(2025/11/26 00:00:03.00)		56.5		73.1

		(2025/11/26 00:03:02.00)		56.3		69.8

		(2025/11/26 00:06:02.00)		62.2		75.6

		(2025/11/26 00:09:02.00)		61.7		78.1

		(2025/11/26 00:12:02.00)		61.2		75.8

		(2025/11/26 00:15:02.00)		60.7		75.2

		(2025/11/26 00:18:02.00)		61		73

		(2025/11/26 00:21:02.00)		58.4		72.7

		(2025/11/26 00:24:02.00)		60.3		73.2

		(2025/11/26 00:27:02.00)		58.2		72.5

		(2025/11/26 00:30:02.00)		56.1		75.8

		(2025/11/26 00:33:02.00)		56.6		73.6

		(2025/11/26 00:36:02.00)		55.7		71.9

		(2025/11/26 00:39:02.00)		60.2		77.1

		(2025/11/26 00:42:02.00)		49.7		65.8

		(2025/11/26 00:45:02.00)		51.5		64.2

		(2025/11/26 00:48:02.00)		60.4		72.5

		(2025/11/26 00:51:02.00)		63.5		76.3

		(2025/11/26 00:54:02.00)		61.5		79.1

		(2025/11/26 00:57:02.00)		58		70.3

		(2025/11/26 01:00:02.00)		59.5		74.3

		(2025/11/26 01:03:02.00)		60.1		73.6

		(2025/11/26 01:06:02.00)		59.1		73

		(2025/11/26 01:09:02.00)		59.1		74.7

		(2025/11/26 01:12:02.00)		57.1		73.4

		(2025/11/26 01:15:02.00)		35		44.8

		(2025/11/26 01:18:02.00)		37.1		45.1

		(2025/11/26 01:21:02.00)		56		71

		(2025/11/26 01:24:02.00)		53.8		71.2

		(2025/11/26 01:27:02.00)		51.7		68

		(2025/11/26 01:30:02.00)		37.5		49.2

		(2025/11/26 01:33:02.00)		58.6		75.6

		(2025/11/26 01:36:02.00)		36.2		52

		(2025/11/26 01:39:02.00)		59.1		75.4

		(2025/11/26 01:42:02.00)		54.1		71.2

		(2025/11/26 01:45:02.00)		34.9		47.9

		(2025/11/26 01:48:02.00)		52.2		68.6

		(2025/11/26 01:51:02.00)		44.1		61.3

		(2025/11/26 01:54:02.00)		47.8		68.3

		(2025/11/26 01:57:02.00)		42		57.1

		(2025/11/26 02:00:02.00)		49.7		65.8

		(2025/11/26 02:03:02.00)		57.7		73

		(2025/11/26 02:06:02.00)		36		45.8

		(2025/11/26 02:09:02.00)		58.2		75

		(2025/11/26 02:12:02.00)		55.2		70.7

		(2025/11/26 02:15:02.00)		59.3		73.9

		(2025/11/26 02:18:02.00)		40.4		52.2

		(2025/11/26 02:21:02.00)		51.6		64.6

		(2025/11/26 02:24:02.00)		56.8		73.3

		(2025/11/26 02:27:02.00)		38		52

		(2025/11/26 02:30:02.00)		58.5		71.1

		(2025/11/26 02:33:02.00)		36		47.8

		(2025/11/26 02:36:02.00)		57.5		73.7

		(2025/11/26 02:39:02.00)		48.6		59.7

		(2025/11/26 02:42:02.00)		36.2		46

		(2025/11/26 02:45:02.00)		35.6		45.6

		(2025/11/26 02:48:02.00)		32.7		42.3

		(2025/11/26 02:51:02.00)		34		41.8

		(2025/11/26 02:54:02.00)		42.7		55.4

		(2025/11/26 02:57:02.00)		35.6		42.3

		(2025/11/26 03:00:02.00)		39.5		51.3

		(2025/11/26 03:03:02.00)		38.7		46.2

		(2025/11/26 03:06:02.00)		35.9		51.2

		(2025/11/26 03:09:02.00)		53.2		68.2

		(2025/11/26 03:12:02.00)		55.2		71

		(2025/11/26 03:15:02.00)		40.5		50.1

		(2025/11/26 03:18:02.00)		37.8		45

		(2025/11/26 03:21:02.00)		47.3		61.4

		(2025/11/26 03:24:02.00)		39.3		44.9

		(2025/11/26 03:27:02.00)		37.6		48.1

		(2025/11/26 03:30:02.00)		57.5		74

		(2025/11/26 03:33:02.00)		49.2		63.5

		(2025/11/26 03:36:02.00)		52.9		71.8

		(2025/11/26 03:39:02.00)		39.6		47.7

		(2025/11/26 03:42:02.00)		55.4		72.2

		(2025/11/26 03:45:02.00)		44.7		55.8

		(2025/11/26 03:48:02.00)		57.3		70.2

		(2025/11/26 03:51:02.00)		61.5		74.4

		(2025/11/26 03:54:02.00)		64.8		80.7

		(2025/11/26 03:57:02.00)		52.4		67

		(2025/11/26 04:00:02.00)		56.5		72.6

		(2025/11/26 04:03:02.00)		57.8		76.3

		(2025/11/26 04:06:02.00)		52.8		66.1

		(2025/11/26 04:09:02.00)		52.6		64

		(2025/11/26 04:12:02.00)		38.1		47.4

		(2025/11/26 04:15:03.00)		53		70.3

		(2025/11/26 04:18:02.00)		40.5		52.5

		(2025/11/26 04:21:02.00)		57.4		72.1

		(2025/11/26 04:24:02.00)		57.7		69.5

		(2025/11/26 04:27:02.00)		59.6		72.6

		(2025/11/26 04:30:02.00)		60.2		73.8

		(2025/11/26 04:33:02.00)		60.4		74

		(2025/11/26 04:36:02.00)		49.3		61

		(2025/11/26 04:39:02.00)		60.7		78

		(2025/11/26 04:42:02.00)		59.6		73.9

		(2025/11/26 04:45:02.00)		61.5		72.9

		(2025/11/26 04:48:02.00)		63.7		76

		(2025/11/26 04:51:02.00)		45.6		53.4

		(2025/11/26 04:54:02.00)		58.1		72.1

		(2025/11/26 04:57:03.00)		60		72.1

		(2025/11/26 05:00:02.00)		64.1		76.1

		(2025/11/26 05:03:02.00)		62.5		75.1

		(2025/11/26 05:06:02.00)		60.3		73.2

		(2025/11/26 05:09:02.00)		66		76.2

		(2025/11/26 05:12:02.00)		62.8		76

		(2025/11/26 05:15:02.00)		55.7		70.8

		(2025/11/26 05:18:02.00)		63.2		73.6

		(2025/11/26 05:21:02.00)		67		81.2

		(2025/11/26 05:24:02.00)		65.4		78.7

		(2025/11/26 05:27:02.00)		62.4		73.4

		(2025/11/26 05:30:02.00)		65.1		76.2

		(2025/11/26 05:33:02.00)		64.9		74.5

		(2025/11/26 05:36:02.00)		64.2		74.3

		(2025/11/26 05:39:02.00)		64.7		77.2

		(2025/11/26 05:42:02.00)		64.7		78.7

		(2025/11/26 05:45:02.00)		65.2		75.4

		(2025/11/26 05:48:02.00)		66.2		77.3

		(2025/11/26 05:51:02.00)		64.3		74.6

		(2025/11/26 05:54:02.00)		67.4		76.6

		(2025/11/26 05:57:02.00)		65.5		74.7

		(2025/11/26 06:00:02.00)		64.4		73.6

		(2025/11/26 06:03:02.00)		63.5		74.8

		(2025/11/26 06:06:02.00)		66.1		76.1

		(2025/11/26 06:09:02.00)		66.6		76

		(2025/11/26 06:12:02.00)		63.9		75.2

		(2025/11/26 06:15:02.00)		64.4		74.9

		(2025/11/26 06:18:02.00)		65.2		74.5

		(2025/11/26 06:21:02.00)		65.5		75.3

		(2025/11/26 06:24:02.00)		63.1		75.8

		(2025/11/26 06:27:02.00)		67.1		79.5

		(2025/11/26 06:30:02.00)		66.7		78.3

		(2025/11/26 06:33:02.00)		68.8		82.7

		(2025/11/26 06:36:02.00)		68.5		77.1

		(2025/11/26 06:39:02.00)		70		88.4

		(2025/11/26 06:42:02.00)		69		75.6

		(2025/11/26 06:45:02.00)		69.7		78.4

		(2025/11/26 06:48:02.00)		69.8		79.1

		(2025/11/26 06:51:02.00)		68		78.5

		(2025/11/26 06:54:02.00)		67.7		76.8

		(2025/11/26 06:57:02.00)		70.1		78.3

		(2025/11/26 07:00:02.00)		68.8		77.6

		(2025/11/26 07:03:02.00)		69.3		77.2

		(2025/11/26 07:06:02.00)		70.5		77.1

		(2025/11/26 07:09:02.00)		71.6		85.6

		(2025/11/26 07:12:02.00)		69.4		77.2

		(2025/11/26 07:15:02.00)		71.4		79.1

		(2025/11/26 07:18:02.00)		69.2		75.1

		(2025/11/26 07:21:02.00)		70.7		76.8

		(2025/11/26 07:24:02.00)		69.8		76.7

		(2025/11/26 07:27:02.00)		69.9		75.7

		(2025/11/26 07:30:02.00)		69.8		80

		(2025/11/26 07:33:02.00)		70.9		78.1

		(2025/11/26 07:36:02.00)		71.7		79.2

		(2025/11/26 07:39:02.00)		70.6		75.9

		(2025/11/26 07:42:02.00)		71.2		79

		(2025/11/26 07:45:02.00)		69.8		76.6

		(2025/11/26 07:48:02.00)		71.7		79

		(2025/11/26 07:51:02.00)		72		77.8

		(2025/11/26 07:54:02.00)		70.6		79.1

		(2025/11/26 07:57:02.00)		70.7		76.7

		(2025/11/26 08:00:02.00)		72.2		80.9

		(2025/11/26 08:03:02.00)		72.3		77.1

		(2025/11/26 08:06:02.00)		71.5		77.3

		(2025/11/26 08:09:02.00)		71.1		77.2

		(2025/11/26 08:12:02.00)		72		77

		(2025/11/26 08:15:02.00)		71.5		76.6

		(2025/11/26 08:18:02.00)		70.3		76.8

		(2025/11/26 08:21:02.00)		69.2		75.6

		(2025/11/26 08:24:03.00)		70.3		82.2

		(2025/11/26 08:27:02.00)		71		77.9

		(2025/11/26 08:30:02.00)		70.9		75.3

		(2025/11/26 08:33:02.00)		71.6		81.2

		(2025/11/26 08:36:02.00)		71.4		76.7

		(2025/11/26 08:39:02.00)		70.8		77.7

		(2025/11/26 08:42:02.00)		70.9		79.8

		(2025/11/26 08:45:02.00)		71		76.4

		(2025/11/26 08:48:02.00)		72		78.4

		(2025/11/26 08:51:02.00)		70.7		75.5

		(2025/11/26 08:54:02.00)		71		76.8

		(2025/11/26 08:57:02.00)		70		80.1

		(2025/11/26 09:00:02.00)		71.7		77.2

		(2025/11/26 09:03:02.00)		71.5		77.6

		(2025/11/26 09:06:02.00)		71.2		84.6

		(2025/11/26 09:09:02.00)		70		76.2

		(2025/11/26 09:12:02.00)		70.5		78.1

		(2025/11/26 09:15:02.00)		71.3		76.1

		(2025/11/26 09:18:02.00)		70		75.9

		(2025/11/26 09:21:02.00)		71.8		77.2

		(2025/11/26 09:24:02.00)		70.4		76.7

		(2025/11/26 09:27:02.00)		69.7		76.4

		(2025/11/26 09:30:02.00)		70.5		77.3

		(2025/11/26 09:33:02.00)		70.5		83.8

		(2025/11/26 09:36:02.00)		70.2		76.4

		(2025/11/26 09:39:02.00)		71		77

		(2025/11/26 09:42:02.00)		69.8		75.9

		(2025/11/26 09:45:02.00)		69.7		75.8

		(2025/11/26 09:48:02.00)		70.4		76.7

		(2025/11/26 09:51:02.00)		69.8		76.2

		(2025/11/26 09:54:02.00)		70		76.4

		(2025/11/26 09:57:02.00)		69.1		75.6

		(2025/11/26 10:00:02.00)		70.6		77.3

		(2025/11/26 10:03:02.00)		69.2		75.5

		(2025/11/26 10:06:02.00)		72.2		84.2
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A graph showing the LAeq & LAmax 3minute values in ML 2 - Rear Façade
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51.9

63.2

49.4

62.8

49.3
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49.6

60.5

51.5

63

49.9
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49.5

54.8

50.8

59.8

51.2

61.2

51.1

58.3

51.1

58.4

52

63.5

60.9

80.5

52.9

64.7

50.5

56.6

55.8

70.6

55.2

71.4

51.8

63.8

51.5

61.8

50.2

57.1

50.1

58.2

50.5

55.7

52.2

60.4

51.3

62.5

50.8

61

50.6

58.7

50.3

54.3

58

75.9
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49.9

57.1

50.8

59.2

50.7

59.5

51.5

62.1

49.2

56

50

55.1

50.1

57.1

51.2

60.3

51.5

60.2

51.8

57.5

51.2

57.8

50.9

60.9

50.7

59.3

48.9

58.7

51.8

59

50.6

55.6

52.1

59.6

50

59

51.6

58.1

50.8

58.4

49.8

59.9

49.7

54.1

50.3

60.5

48.1

52.7

49.7

54.8

50.1

58.8

49.5

59.6

50.2

57.6

51
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57.9
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49.8
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47
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61
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56.8

42.8
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Global

		Directory:		C:\Users\a\AppData\Local\Temp\Norsonic\Downloaded Measurements\NOR140_15642541\251126				File version		v1.0/6.2.1.0

		File		Date		Duration				Status		LAeq		LAIeq		LAFmax		LAE		LAF,Perc4		LAF,Perc6		Lfeq																								LfFmax																								LfF,Perc4																								LfF,Perc6

																								8.0 Hz		16 Hz		31.5 Hz		63 Hz		125 Hz		250 Hz		500 Hz		1.0 kHz		2.0 kHz		4.0 kHz		8.0 kHz		16.0 kHz		8.0 Hz		16 Hz		31.5 Hz		63 Hz		125 Hz		250 Hz		500 Hz		1.0 kHz		2.0 kHz		4.0 kHz		8.0 kHz		16.0 kHz		8.0 Hz		16 Hz		31.5 Hz		63 Hz		125 Hz		250 Hz		500 Hz		1.0 kHz		2.0 kHz		4.0 kHz		8.0 kHz		16.0 kHz		8.0 Hz		16 Hz		31.5 Hz		63 Hz		125 Hz		250 Hz		500 Hz		1.0 kHz		2.0 kHz		4.0 kHz		8.0 kHz		16.0 kHz

		NOR140_15642541_251126_0001.NBF		(2025/11/26 00:00:03.00)		(0:2:56.0)				N/A		56.5		57.4		73.1		78.9		56.2		36.1		41		39.8		45.7		54.9		41.8		46.6		48.1		54.8		48.8		37.8		24.1		13.4		56		54		63.7		72.7		59		65.2		64.8		71.5		66.1		55.2		42.9		29.5		43.9		42		46.4		52.3		41.1		41.9		45.9		55.1		47.2		32.4		13.6		11.6		33.7		33.5		36.7		38.4		32.3		31.7		32.2		34.5		22.4		10.5		11		11.2

		NOR140_15642541_251126_0002.NBF		(2025/11/26 00:03:02.00)		(0:2:57.0)				N/A		56.3		57		69.8		78.8		61.1		40.2		40.1		40.9		46.1		49.3		45.6		50.7		48.8		53.8		49.6		39.2		29.7		19.1		56		58		64.4		65.6		60.3		67.8		62.2		68.2		63		53.7		46.5		37.1		42.8		43.2		48.2		51.6		48		52.2		53.5		58		54.4		42.6		27.6		13.6		34.3		34.2		36.2		38.6		33.9		33.3		35.3		38.3		25.4		10.5		11		11.2

		NOR140_15642541_251126_0003.NBF		(2025/11/26 00:06:02.00)		(0:2:57.0)				N/A		62.2		63.1		75.6		84.7		66		38.3		45.9		47.6		51.1		53.2		53.8		53.9		54.2		60.2		55		43.8		30.5		17.2		66.7		66.4		70.2		70.1		77.7		74.8		68.2		74.6		68.6		58.8		46.6		33.8		48.4		50.3		52.3		53.8		54.5		53.4		57.2		63.9		59		46.2		30.5		14.8		36.3		37.6		36.9		38.1		32.8		32.7		34.5		36.6		23.1		10.7		11.1		11.2

		NOR140_15642541_251126_0004.NBF		(2025/11/26 00:09:02.00)		(0:2:57.0)				N/A		61.7		62.6		78.1		84.2		64.1		37.6		47.3		49.5		49.8		54.6		47.3		53.4		53.7		59.7		54.6		43.3		31.3		18.2		63.3		67.3		71.1		73.4		65.6		72.8		69.3		76.3		70.9		61.9		51.4		38.8		50.7		52		49.6		54.2		48.9		51.4		55.4		61.8		56.5		42.7		24.8		12.3		36.9		38.3		38.2		40.2		32.6		31.7		33.4		36		23.2		11.8		11.3		11.2

		NOR140_15642541_251126_0005.NBF		(2025/11/26 00:12:02.00)		(0:2:57.0)				N/A		61.2		62.7		75.8		83.7		63.7		41.7		49.1		45		54.5		59.7		49.9		53.4		53.1		58.9		54.6		43.8		31.2		18.1		65.7		62.9		71.6		78.9		66.4		69.8		70.3		74.2		68.5		59.2		48.1		34		52.5		47.6		57.5		57.9		54.5		57.1		55.3		61.7		56.5		46.1		33.4		20		37		35.3		38.1		39.6		34.4		35.2		36.8		40		31		15.7		11.7		11.3

		NOR140_15642541_251126_0006.NBF		(2025/11/26 00:15:02.00)		(0:2:57.0)				N/A		60.7		61.5		75.2		83.2		61.5		35.9		56.3		62.8		61.4		53.9		52		58.5		52.6		57.6		54.5		44.8		33.4		25.3		78.4		85.2		81.2		69.9		68.3		78.8		67.1		73.3		69.5		59.7		51		50.4		53.1		56.2		60.2		57.3		55.1		56		53.5		58.2		54.6		45		35.6		20.6		36.7		36		36.9		36.6		32.1		31		31.9		34.1		21		11.5		11.3		11.2

		NOR140_15642541_251126_0007.NBF		(2025/11/26 00:18:02.00)		(0:2:57.0)				N/A		61		61.9		73		83.5		66		38.8		48.4		49.7		51.6		54		50.3		52.3		52.5		58.4		54.9		44.8		35.4		21.4		65.9		66.7		67.8		67.3		66.3		67.7		64.2		71		67.1		57.3		50.5		37.7		51.4		52.3		55.2		58.9		54.4		55.7		57.5		63.3		60.3		50.2		39.3		25.2		39.3		40.7		41.9		42.7		38		35.9		36		36.2		23.6		12.6		11.4		11.2

		NOR140_15642541_251126_0008.NBF		(2025/11/26 00:21:02.00)		(0:2:57.0)				N/A		58.4		59.6		72.7		80.9		62.1		36.7		42.7		42.5		49.2		46.8		44		50.2		49.3		55.8		52.4		40.7		27.7		17.1		55.5		57.9		65.2		61.9		59.4		68.7		62.6		71.5		65.7		55.6		45.8		35.8		46.2		45.8		51.8		49.9		47.8		48.6		53		58.9		56.7		43.8		25.4		12.4		35.6		34.1		36.1		37.3		31.9		31.7		33.3		34.7		23		11.3		11.2		11.2

		NOR140_15642541_251126_0009.NBF		(2025/11/26 00:24:02.00)		(0:2:57.0)				N/A		60.3		61.4		73.2		82.8		65		35.9		44.2		44.8		51.7		56.2		45.7		52.4		51.7		58.1		53.7		42.7		30.2		17.1		61.1		61.7		66.5		73.3		62.8		70		66.8		71.6		66.5		56.7		45.3		32.2		47.2		47		55.1		56.5		49.3		51.8		55.2		62.7		59		46.6		31.4		16		34.8		34.4		36.7		37.9		32.1		31.2		31.9		33.9		22.2		11.4		11.3		11.2

		NOR140_15642541_251126_0010.NBF		(2025/11/26 00:27:02.00)		(0:2:57.0)				N/A		58.2		59.1		72.5		80.7		61.7		38.2		46.5		45		49.9		49.8		45.1		48.4		49.5		55.7		52.2		40.9		28.1		15.5		70.9		66		69.5		63.5		62.6		65.8		63.8		70.5		67.2		56.2		45.7		32.9		47.9		45.9		52.4		53.9		48.3		48.4		52.8		58.9		56.1		43.3		27.4		12.7		35.5		36.4		38.7		38.7		32.8		32.7		35.3		35.7		21.4		11.1		11.2		11.2

		NOR140_15642541_251126_0011.NBF		(2025/11/26 00:30:02.00)		(0:2:57.0)				N/A		56.1		57.2		75.8		78.6		44.1		34.5		40.9		41.3		55.5		42.8		40.1		45.4		48.4		54.4		48.7		37.7		25.5		13.8		58.6		64		74.6		63.9		63.6		66.6		68.4		74.3		68.3		58.9		47.3		33.2		43		40.7		42.7		41.9		36.4		35.4		39.4		42.9		33.3		19.9		11.8		11.6		32.5		32.3		35		36.1		30.4		29.6		30.7		32.9		20.3		10.8		11.1		11.2

		NOR140_15642541_251126_0012.NBF		(2025/11/26 00:33:02.00)		(0:2:57.0)				N/A		56.6		57.7		73.6		79.1		55.2		34.2		40.5		40		43.9		45.8		43.8		47.5		48		55		48.7		36.4		23.3		12.8		52.9		61.9		61.4		61.9		61		66.2		65.7		72.5		66.2		53.7		42.2		27.9		44		40.1		42.8		44.7		43.1		43.3		45.7		53.6		46.7		28.8		13.7		11.6		33.3		32.1		35.8		37		31.7		30.6		30.5		31.6		22.2		11		11.1		11.2

		NOR140_15642541_251126_0013.NBF		(2025/11/26 00:36:02.00)		(0:2:57.0)				N/A		55.7		56.6		71.9		78.2		53		34.5		43.3		43.5		46.9		44.7		42.6		46.9		47.7		53.4		49.2		39.5		26.7		14.5		59.8		66.7		68.4		62.9		61		66.9		64.2		70		65.5		57		45.3		32.3		47.1		42.2		44.8		46.1		41.8		40.9		44.3		50		47.5		33.1		16.3		11.6		32.4		32.5		36		37.4		31		30.2		31.6		32		21		11.4		11.2		11.2

		NOR140_15642541_251126_0014.NBF		(2025/11/26 00:39:02.00)		(0:2:57.0)				N/A		60.2		61.4		77.1		82.6		62.4		35.1		45.6		43.6		47.6		51.2		46.5		50.3		53.9		58.4		51.8		40.3		27.5		15.8		60.6		61.5		66.3		68.7		65.1		68.1		72		76.1		66.2		55.1		44.7		34.5		48.9		45.4		47.7		51.5		48.1		47.9		53.3		59.2		55.7		42.5		25.1		12.4		35.5		34.4		35.2		36.7		30.7		29.9		31.8		33.1		20.1		12.1		11.5		11.2

		NOR140_15642541_251126_0015.NBF		(2025/11/26 00:42:02.00)		(0:2:57.0)				N/A		49.7		50.3		65.8		72.2		44.2		32.7		42.9		45.5		48.7		47.1		42.6		44.6		46.7		46.5		41.2		33.5		23.2		13.7		60.7		65.3		68.8		70.1		58.7		63.6		63.3		63.3		57.8		52.9		47.5		35.4		45.7		42.8		42.8		45.5		42.5		39.5		41.8		41.6		34.3		25.4		13		11.6		32.8		33.5		34.6		35.5		30.1		29.7		29.5		30.3		16.8		11.1		11.2		11.2

		NOR140_15642541_251126_0016.NBF		(2025/11/26 00:45:02.00)		(0:2:57.0)				N/A		51.5		52.4		64.2		74		56.2		29.4		45.1		42.4		45.5		45.2		45.1		50.9		50.6		45.6		43.7		37.7		27.2		14.7		65.4		59.5		65.3		64.3		61.1		68.4		66		57.9		58.1		53.6		50.1		38		47.3		44.1		45.2		46.4		47.8		55.3		54.6		50.9		48.6		39		23.6		12.8		32.3		31.9		34.6		36.2		31.3		28.3		27		25.2		18.1		12.2		11.4		11.2

		NOR140_15642541_251126_0017.NBF		(2025/11/26 00:48:02.00)		(0:2:57.0)				N/A		60.4		61.2		72.5		82.9		65.7		35		42.7		43.5		50.5		49.7		46.7		52.6		52.8		58.2		53.6		42.3		28		15.3		59.2		60.4		67.6		64.6		61.8		67		66		70		67.2		56.6		43.1		30.8		44.9		46.3		52.7		55		51		54.4		58.4		63.7		58.7		46.8		30.5		14.3		32.7		34.5		35.6		36.5		31.8		30.7		31.9		33		19.4		10.9		11.1		11.2

		NOR140_15642541_251126_0018.NBF		(2025/11/26 00:51:02.00)		(0:2:57.0)				N/A		63.5		64.7		76.3		86		69.1		36.1		45.1		47.6		51.7		55.6		55.8		59.1		55.8		60.9		57		47		35.7		23.2		59.2		63.7		66.9		72.7		70.3		77.5		69.1		75.2		68.9		59.2		49.7		37.5		48.5		51.8		56.2		59.1		59.9		62.1		61		65.3		62.5		52.9		41.1		27.7		35.8		35.9		38.2		38.3		33.2		32		33.3		33.6		23		12		11.2		11.2

		NOR140_15642541_251126_0019.NBF		(2025/11/26 00:54:02.00)		(0:2:57.0)				N/A		61.5		62.6		79.1		83.9		60.2		36.1		43.2		43.7		46.1		49.4		46		51.2		52		58.7		55.9		45.7		30.7		16.7		61.2		63.8		66.8		69.2		64.9		67.5		68.1		77.4		72.5		63.8		50.4		36.4		45.9		43.9		45.9		50.1		49.5		53.3		51.9		57.6		54.6		43.3		24.9		12.7		33.3		34		35.3		36		32.5		36		33.4		32.3		24.6		15.3		11.4		11.2

		NOR140_15642541_251126_0020.NBF		(2025/11/26 00:57:02.00)		(0:2:57.0)				N/A		58		59.1		70.3		80.4		62.1		35		40.4		45.1		49.6		51		54.2		56.6		53.5		54.5		50.7		41.1		29.3		15.5		55.5		60.7		66		64.6		73.6		74.6		69.5		68.7		64.3		53.4		42.6		28		43.3		49.8		54.2		55.5		57.4		59.3		57		58		54.6		45.7		34.5		18.3		33.2		32.8		35.3		36.9		31.3		35.9		32.7		31		23.5		13.8		11.2		11.2

		NOR140_15642541_251126_0021.NBF		(2025/11/26 01:00:02.00)		(0:2:57.0)				N/A		59.5		60.6		74.3		82		61.7		34.4		41.8		44		47.1		48.1		45.5		50		49.7		56.9		53.8		43.3		28.5		15.3		52.6		61.6		64.4		64.1		65		66.8		65.2		72.3		69.2		59.8		45.9		31.1		45.2		45.4		50		51.1		49.2		49.1		51		59.2		55.7		42.9		28.6		14.7		35.3		33.8		35.7		36		30.4		29.6		30.5		32.6		19.4		10.7		11.1		11.2

		NOR140_15642541_251126_0022.NBF		(2025/11/26 01:03:02.00)		(0:2:57.0)				N/A		60.1		61.1		73.6		82.6		64.4		36.7		43.7		47.6		54		56.7		48.9		51.6		50.4		57.3		54.4		44.9		33.7		19.3		62.7		64.9		69.8		74.9		63.6		67.2		64.3		71.4		68.7		59.9		52.8		37.1		46.2		51.1		57.2		56.7		52.9		54.8		54.4		61.5		58.6		49.4		35.1		20.7		36		36		36.7		36.7		31.2		31		32.7		34.6		22.2		11.4		11.1		11.2

		NOR140_15642541_251126_0023.NBF		(2025/11/26 01:06:02.00)		(0:2:57.0)				N/A		59.1		60.4		73		81.6		62.6		37.4		41.6		42.1		49.9		49.5		45.2		50.3		50.1		57.2		51.9		40.2		28		16		57.2		59.3		69.2		66.9		60.5		68.3		63.9		71.7		65.3		55.1		45.7		33.4		43.7		44.9		51		52.7		49.6		50.1		52.9		60.8		55.8		42.9		26.4		12.9		33.4		33.4		36.1		36.2		31.2		30.6		33.2		35.6		22.6		10.9		11.1		11.2

		NOR140_15642541_251126_0024.NBF		(2025/11/26 01:09:02.00)		(0:2:57.0)				N/A		59.1		60.3		74.7		81.6		61.4		37.6		42.3		42.8		51.9		53		50.8		50.5		50.5		56.5		52.3		45.8		40.1		29		56.1		65.1		69.6		68.2		66.7		66.6		64.9		73.4		66.9		65.4		61.5		51.6		45.8		43.7		50.8		56.5		54.8		53.7		54.4		58.4		53.9		44.7		31.7		15.4		32.7		31.4		35.2		36.6		31.8		32.1		33.5		35.4		24.2		12.1		11.2		11.2

		NOR140_15642541_251126_0025.NBF		(2025/11/26 01:12:02.00)		(0:2:57.0)				N/A		57.1		57.8		73.4		79.6		57.6		32.6		38.7		39.8		46.8		42.9		41.3		46		46.4		54.4		51.6		41.2		24.9		13.2		54.9		60.4		65.1		58.7		57.2		64.4		62.5		70.9		67.6		58.8		42.7		28.5		40.8		39.5		43.5		42.8		40.9		42.5		45.5		55		51.1		37.5		15.1		11.6		31.7		31.5		34.8		35.6		30.5		29		29.5		30.3		15.5		10.6		11.1		11.2

		NOR140_15642541_251126_0026.NBF		(2025/11/26 01:15:02.00)		(0:2:57.0)				N/A		35		36.4		44.8		57.5		39		29.2		36.4		35.5		36.2		36.5		31		30.1		31.6		33.4		20		12.1		11.3		11.4		46.5		42.2		42.3		43.4		41.4		40.1		39.7		42.1		40.8		36.3		21.8		21.4		39.3		38		38.2		38.4		33.1		32.6		35.8		37.3		23		11.9		11.4		11.5		31.2		31.6		33.5		33.9		28.2		27		25.7		27		14.8		10.3		11		11.2

		NOR140_15642541_251126_0027.NBF		(2025/11/26 01:18:02.00)		(0:2:57.0)				N/A		37.1		38.1		45.1		59.6		41.6		23.5		36.8		36.4		37		38.1		32.7		31.3		34.6		35.1		21.6		11.5		11.2		11.4		45.4		44.5		44.2		48.8		40.6		43.5		44.1		43		40.3		35		22.7		16.2		39.6		39.1		39.2		41.6		36.4		34.3		39.2		39.7		25.8		11.2		11.4		11.5		31.9		31.8		33.1		32.9		27.8		25.8		21		17.6		10.7		10.2		11		11.2

		NOR140_15642541_251126_0028.NBF		(2025/11/26 01:21:02.00)		(0:2:57.0)				N/A		56		56.9		71		78.4		59.1		28.8		37.8		41.9		60.2		49.8		44.6		48.9		49.7		53.9		48		37.7		26		14.3		50.6		58		78.7		65		62.3		65.1		62.5		69.8		62.8		53.7		42.9		29		40.6		44.3		54.3		54.1		48		52.8		54.9		56.7		51.3		40.6		28.9		14.2		32.3		32.3		34.4		34.8		28.7		27.7		25.2		26.3		16.6		10.5		11		11.2

		NOR140_15642541_251126_0029.NBF		(2025/11/26 01:24:02.00)		(0:2:57.0)				N/A		53.8		54.9		71.2		76.3		46.3		27.3		37.3		39.4		47.8		48.3		40		45.9		45.5		52.1		45.7		35.3		23.6		13.4		50.4		58		67.7		68.7		58.8		63.7		61.5		70.5		63.5		51.7		42.5		30.2		39.8		38.3		43.8		40.5		37.1		38.5		40.6		44.8		38.4		21.7		12.2		11.6		31.6		31.4		33.7		34		28.2		27.3		25.1		23.1		13.1		10.4		11		11.2

		NOR140_15642541_251126_0030.NBF		(2025/11/26 01:27:02.00)		(0:2:57.0)				N/A		51.7		52.7		68		74.2		49		28.4		37.3		39.3		46.8		44.4		41.2		44.4		43		49.3		45.4		35.6		23.9		14		48.2		55.2		64.4		61.3		59		63.1		58.7		66.7		60.8		52.2		41.9		30.6		40		41.2		45.1		46.1		41.3		40.1		41.1		46.9		41.6		29		15.3		11.6		32.3		33		34.1		34.7		28.4		27.2		24.9		25.7		15.4		10.6		11.1		11.2

		NOR140_15642541_251126_0031.NBF		(2025/11/26 01:30:02.00)		(0:2:57.0)				N/A		37.5		38.5		49.2		60		40.2		29.2		39.5		38.6		37.9		38.4		32.8		31.3		32.3		35.2		29.6		15.4		11.8		11.4		51.7		46.5		50		49.1		47.5		41		41.2		47		45.5		30.5		30.5		21.5		42.6		41.4		39.8		40.3		33.8		34.4		36.4		38.4		30.3		17.5		11.8		11.5		33.3		33.9		34.3		33.8		28.7		26.6		25.6		26.8		15.1		10.6		11.1		11.2

		NOR140_15642541_251126_0032.NBF		(2025/11/26 01:33:02.00)		(0:2:57.0)				N/A		58.6		59.3		75.6		81		52		28.4		39.3		40.9		43.8		54		43.8		49.1		50.5		55.8		52.8		41.8		28.3		15.6		55.5		60.5		63.5		73.6		65.5		69.2		69.1		72.8		70.1		60.8		48.9		35.7		41.6		40.9		40.6		49.9		38.3		40.3		42.6		49.8		45.4		31		14.4		11.6		32.6		32.7		34.3		34.1		28.7		27.5		25.6		25		14.7		10.9		11.1		11.2

		NOR140_15642541_251126_0033.NBF		(2025/11/26 01:36:02.00)		(0:2:57.0)				N/A		36.2		36.9		52		58.7		37.2		29.1		39.6		37		37.1		38.8		32.6		30.7		30.8		34.3		27.1		14.3		12.1		11.4		50.3		48.1		47.4		52.3		42.1		40.2		44.5		50.1		45.1		27.6		30.1		14.8		43.5		39.7		39		39.4		35		32.3		32.6		36.1		24		14.6		12.2		11.6		32.5		32.1		34.4		34.1		28.7		27.8		25.6		26		16.2		11.6		11.4		11.2

		NOR140_15642541_251126_0034.NBF		(2025/11/26 01:39:02.00)		(0:2:57.0)				N/A		59.1		60.1		75.4		81.6		61.8		31.5		39.2		41.4		46.6		53.6		50.6		49.7		50.2		56.9		52.6		41.6		28.7		15.4		52.3		58.2		61.5		69.4		68.4		67.1		66.6		73.5		69		58.1		46		32.4		42.2		43.7		51.5		55.5		52		49.1		52.3		59.4		55.3		43.5		27.3		12.9		32.8		33.2		34.5		32.9		28.7		28		28		28.4		19		12.8		11.6		11.2

		NOR140_15642541_251126_0035.NBF		(2025/11/26 01:42:02.00)		(0:2:57.0)				N/A		54.1		55.1		71.2		76.6		50.7		29.9		43.5		42.1		42.8		42.2		41.9		46.2		45.2		51.6		48.2		37.1		24.5		13.6		62		60.9		62.8		62.1		62.5		65.3		61.8		69.5		64.8		55.1		43.3		29.5		44.6		43.2		41.6		41.6		40.6		41.9		42		49.1		43.5		30		15.5		11.6		34.4		35.4		34.8		33		28.4		28.2		26.9		26.6		16.5		13.1		11.8		11.2

		NOR140_15642541_251126_0036.NBF		(2025/11/26 01:45:02.00)		(0:2:57.0)				N/A		34.9		36.4		47.9		57.4		37		32.1		46		40.6		37.6		38.4		32.2		33		32.8		32.3		19.9		15		12.8		11.5		61		53.4		46.9		46.2		39.4		41.5		42.8		47.4		34.6		26.8		22.9		16.8		49.5		43.3		39.4		40.6		34		35.3		34.7		34.9		21.8		16		13.6		11.6		37.1		35.3		35		35.2		29.9		30		30		28.1		16.9		13.6		12		11.3

		NOR140_15642541_251126_0037.NBF		(2025/11/26 01:48:02.00)		(0:2:57.0)				N/A		52.2		53.4		68.6		74.7		52.2		29.5		40.9		40.5		46.6		47.4		42.4		46.4		44.3		50.3		44.5		35.5		27		15.7		55.9		57.6		66.6		64.3		61.1		64.6		61.3		67.1		60.1		53.4		46.2		33.9		43.8		42.3		44.7		46.7		41.6		43.1		43.1		49.7		45.5		32.2		18.8		11.7		34.6		34.7		36.3		35.9		30.2		28.8		27.3		25.7		15.4		12.6		11.6		11.2

		NOR140_15642541_251126_0038.NBF		(2025/11/26 01:51:02.00)		(0:2:57.0)				N/A		44.1		44.6		61.3		66.6		42.2		30.8		40.1		38.5		42		42.4		36		35.2		37.3		41.4		37.8		25.4		13.7		11.4		55.9		51		57.2		59		53.1		51.8		54.8		58.2		55.8		44.3		29.6		16.2		42.5		41.1		42.7		42.7		37.7		37.1		37.7		39.9		32.8		17.6		12.7		11.6		33.9		34		36.8		35.5		30.3		28.3		28.3		27.5		15.7		12.1		11.5		11.2

		NOR140_15642541_251126_0039.NBF		(2025/11/26 01:54:02.00)		(0:2:57.0)				N/A		47.8		49.2		68.3		70.3		38.7		31.3		39.7		39.9		48.7		44.8		37.1		42.6		40.3		45.4		40.5		30.3		19.3		12.1		49.6		48.9		68.8		65.3		56		62.2		57.8		67.4		60.3		49.4		39.6		26.1		42.8		42.8		48.2		43.9		36.8		35.6		37.3		36.3		24.4		15.6		12.9		11.6		33.6		34.8		38.7		37.9		30.3		29.5		29.2		27.3		14.8		12		11.5		11.2

		NOR140_15642541_251126_0040.NBF		(2025/11/26 01:57:02.00)		(0:2:57.0)				N/A		42		42.7		57.1		64.5		42.4		31.6		41.9		37.8		44.1		43		37.3		39.3		38.6		38.8		33.5		23		13.6		11.4		55.4		52.3		56.2		52.7		48.7		54.7		53.7		53.4		50.1		39.7		26.8		16.5		45.2		40.5		48.9		46.5		41.2		42.4		40.3		39.7		33.9		19.9		14.3		11.6		34.2		32.7		36.9		37.7		30.9		30.3		28.5		28.7		16.9		12.1		11.5		11.2

		NOR140_15642541_251126_0041.NBF		(2025/11/26 02:00:02.00)		(0:2:57.0)				N/A		49.7		50.8		65.8		72.2		49.2		27.1		53.4		47.8		48		49.7		43.3		44.9		44.5		45.9		42.8		39.2		33.6		24.4		74.8		66.7		65.1		69.3		59.3		61.8		61.6		61.9		59.2		56.9		51.7		45.9		54		50.1		50.3		46		43.1		44.3		45.3		45.7		42.2		33.3		23.8		12.2		36.8		34.7		37.2		36.6		29.7		27.3		24.5		21.7		14.8		12.1		11.5		11.2

		NOR140_15642541_251126_0042.NBF		(2025/11/26 02:03:02.00)		(0:2:57.0)				N/A		57.7		58.4		73		80.1		57.5		34.2		50.1		45		44.4		50.2		44.7		50.2		51.3		55		51.3		40.3		24.2		13.2		66.5		61.7		64.4		69.1		63.9		69		66.9		70.5		67.6		57		42.7		28.2		53.5		48.1		43.7		46		43.2		46.7		50.2		54.2		51.6		38.3		18		11.9		35.6		35.8		37.6		37.9		31.2		30		31.1		31.9		19.2		11.9		11.4		11.2

		NOR140_15642541_251126_0043.NBF		(2025/11/26 02:06:02.00)		(0:2:57.0)				N/A		36		37.2		45.8		58.5		38.5		31.6		49.7		42.6		39.4		38.8		32.8		31.5		32.5		34.3		21.7		13.7		12.2		11.4		66.6		57.4		48		44.3		42		39.3		43.2		45.8		30.7		22.2		22.3		18.3		53		45.9		41.4		40.9		34.9		33.2		35		37.1		24.1		15.2		13.2		11.6		36.6		35.1		36.5		36		29.3		29.1		28.3		28.8		17.9		11.6		11.3		11.2

		NOR140_15642541_251126_0044.NBF		(2025/11/26 02:09:02.00)		(0:2:57.0)				N/A		58.2		59.4		75		80.7		55.4		36.7		43.2		43.4		50.5		46.8		44.1		50.1		49.8		56.1		51.5		39.3		26.4		14.5		61.6		64.5		69.7		62.3		61.6		70.5		66.9		73.5		68.5		56.9		45.6		32.1		45.6		42.8		47.7		49.4		45.8		45		47.7		53.3		48		32.6		16.2		11.6		35.4		35.4		38.4		38.1		31.2		31.6		32.5		34.4		25.7		12.7		11.3		11.2

		NOR140_15642541_251126_0045.NBF		(2025/11/26 02:12:02.00)		(0:2:57.0)				N/A		55.2		55.9		70.7		77.7		44.6		34.1		46.7		43.7		42.1		45.7		41.7		48.6		48.7		52.5		49		37.8		21.6		12.3		63.4		60.4		57.1		63.2		59.5		66.2		65.5		67.9		65		53.7		37.8		24.1		49.9		46		42.6		44.2		38.2		40		41.8		43		32.2		19.9		14.3		11.7		36.2		36.3		36.6		36.3		30.3		30.1		30		32.2		19.8		11.8		11.4		11.2

		NOR140_15642541_251126_0046.NBF		(2025/11/26 02:15:02.00)		(0:2:57.0)				N/A		59.3		60.4		73.9		81.8		62.9		34.2		42		45.1		47.9		47.2		45.8		50.1		50.5		57.4		52.3		40.1		27.3		15.9		59.4		62.3		68.9		61.5		62.9		66.6		66.3		72.5		67		54.3		44.2		35.5		44.1		45.7		48.9		50.2		49.8		50.2		54.4		60.6		56.1		43.1		24.6		12.5		34.6		36.4		38.3		37.5		30.1		30.1		30.7		31.6		19		11.6		11.3		11.2

		NOR140_15642541_251126_0047.NBF		(2025/11/26 02:18:02.00)		(0:2:57.0)				N/A		40.4		41.8		52.2		62.9		44.8		30.8		41.1		39		39.5		39.2		31.7		37.6		38.8		37.7		23.7		12.1		11.6		11.4		55		49.8		44.6		46.9		39.5		50		50		50.2		34.4		19.9		21.5		17		44		41.3		41.4		41.5		34.3		42.5		43.4		41.4		27.7		13.2		12.2		11.5		33.6		35		36.8		35.5		28.5		27.8		27.1		28.7		15.3		11		11.1		11.2

		NOR140_15642541_251126_0048.NBF		(2025/11/26 02:21:02.00)		(0:2:57.0)				N/A		51.6		52.3		64.6		74.1		56.1		31.9		40.4		39.3		46.3		45.6		41.1		44		44.8		48.2		46.1		34.2		20.5		12.1		58.4		49.6		61.9		61.8		54.5		59.2		56		62.8		60.1		48.2		34.1		22.7		42.6		41.7		44.9		45.9		45.1		47.9		51.6		52		50.5		36.5		18.7		11.6		33.4		34.6		36.1		36.4		29.3		28.6		28.5		29.5		17.1		10.6		11.1		11.2

		NOR140_15642541_251126_0049.NBF		(2025/11/26 02:24:02.00)		(0:2:57.0)				N/A		56.8		57.6		73.3		79.3		56.1		30.5		41.3		42.3		46		46.3		44.5		49.3		48		54.6		49.9		39.3		27.5		15.9		56.8		67.3		65.1		64.3		60.6		66.7		64.1		71.8		65.9		56.2		45.6		34		44.7		41.1		44.6		44.3		43.8		44.7		46.5		53.6		49.2		34.8		18.1		11.6		33.8		33		36		35.8		29		27.6		26.5		28.4		16.5		10.4		11		11.2

		NOR140_15642541_251126_0050.NBF		(2025/11/26 02:27:02.00)		(0:2:57.0)				N/A		38		39.5		52		60.5		41.6		28.8		39.7		37.5		39.8		37		30.1		33.4		35.5		35.9		21.4		10.9		11.3		11.4		50.4		45.5		45		42.5		39.9		48		50.5		49.7		32		24.9		21.5		22.8		42.8		39.8		41.8		38.9		31.8		35.1		38.1		40.2		25.9		11.4		11.4		11.5		33.3		33.7		37		34.4		27.8		27.8		26.2		24.6		12.3		10.2		11		11.2

		NOR140_15642541_251126_0051.NBF		(2025/11/26 02:30:02.00)		(0:2:57.0)				N/A		58.5		59.3		71.1		81		62.4		32.3		40.8		42.6		46.2		46.3		44.7		51.1		51.2		56.2		51.6		40.2		25.1		13.7		54.6		58		62.1		59.9		60.2		67.4		65.2		70		65.7		54.3		40		29.5		43.8		45.9		48.7		50.1		48.7		52		55.2		60.2		55.7		44.3		25.9		12.7		34.5		35.3		37.8		35.9		28.9		29.3		29.1		30		19		10.7		11.1		11.2

		NOR140_15642541_251126_0052.NBF		(2025/11/26 02:33:02.00)		(0:2:57.0)				N/A		36		37.9		47.8		58.5		39.9		25.5		43.7		37.8		36.8		37.9		30.5		31.1		31.6		34.6		22		11.4		11.4		11.4		62.5		50.3		46.7		45		40.5		40.6		43.8		46.9		31.9		20		20.5		15.2		46.5		40.2		39.2		40.6		32.3		33.5		34.8		38.6		25.8		12.4		11.5		11.5		33		32.6		33.5		33.6		27.1		26.2		22.7		21.6		12.1		10.4		11		11.2

		NOR140_15642541_251126_0053.NBF		(2025/11/26 02:36:02.00)		(0:2:57.0)				N/A		57.5		58.2		73.7		79.9		57		33.7		46.2		42.6		43.1		44.3		39.9		46.1		46.5		54.3		52.4		42.6		26		13.5		63.8		58		61.1		60.3		56.1		64.6		62.4		71.3		68.7		60		43.6		28.8		50.3		45.7		43.6		45.4		39.9		43.4		46.1		54.4		51.6		38.5		17.5		11.6		35.2		34.8		34.7		35.4		29		28		29.8		31.7		18.9		10.5		11		11.2

		NOR140_15642541_251126_0054.NBF		(2025/11/26 02:39:02.00)		(0:2:57.0)				N/A		48.6		49.4		59.7		71.1		55		30.4		37.2		37.3		39.7		44.8		39.9		43.5		44.5		45.7		41.3		29.3		14.5		11.6		48.9		50.9		56		62.2		54.5		56.2		55.7		57.2		53.3		41.1		26.5		24.9		40		39.5		42.8		46.6		43.9		49.6		50.3		52.1		47.8		35.7		18.4		11.6		31.2		31.2		34.2		34		28.3		27.3		26.7		28.4		14.9		10.3		11		11.2

		NOR140_15642541_251126_0055.NBF		(2025/11/26 02:42:02.00)		(0:2:57.0)				N/A		36.2		37.5		46		58.7		39		31		41.3		37.5		36.8		39		31.2		29.4		33.8		34.3		20.6		10.8		11.2		11.4		57.6		47		42.6		46.1		40.6		36.8		45.7		43.3		29.3		15.9		21.5		18.9		44.2		40.3		38.6		41.2		33.3		31.5		36.4		37.6		24.1		11.6		11.4		11.5		33.2		32.7		34.3		35.8		27.8		26.3		28.2		28		14.6		10.2		11		11.2

		NOR140_15642541_251126_0056.NBF		(2025/11/26 02:45:02.00)		(0:2:57.0)				N/A		35.6		36.8		45.6		58.1		38.1		30.4		42.5		38.4		37.6		38.4		32.7		32.3		32.8		33.5		21		11.1		11.4		11.4		57.7		50.3		43.7		48.1		41.3		47.3		44.3		43.6		30.9		26		25.6		18.3		45.4		41.2		39.6		41.3		36.4		34		35.2		36.3		23.9		12		11.4		11.5		33		33.6		34.7		34.4		28.1		26.6		27		28.3		15.4		10.3		11		11.2

		NOR140_15642541_251126_0057.NBF		(2025/11/26 02:48:02.00)		(0:2:57.0)				N/A		32.7		33.8		42.3		55.2		35.3		29		39.6		38.6		37.6		39.2		30.6		28		30.4		30.4		17.2		10.8		11.3		11.4		51		51.1		44.7		47		35.3		34.1		41.8		38.9		24		27.2		22.1		17.7		42.9		41.2		39.6		42.2		32.3		29.5		33.2		33.1		19.6		10.9		11.4		11.5		32.7		33.8		34.9		35		28.5		26.2		26.1		26.3		14.1		10.2		11		11.2

		NOR140_15642541_251126_0058.NBF		(2025/11/26 02:51:02.00)		(0:2:57.0)				N/A		34		35		41.8		56.5		36.1		29.5		42.5		38.6		38.6		37.7		31.3		28.6		31.4		32		18.4		10.7		11.2		11.3		57.9		53.1		47.3		45		39.4		38.4		38		40.9		27.3		16.4		24.9		16.8		44.9		40.8		40.5		39.8		33.4		30.8		33.6		34.2		20.5		11.2		11.4		11.5		34.1		33.7		35.5		34.7		28.6		25.7		26.7		27.2		14.5		10.3		11		11.2

		NOR140_15642541_251126_0059.NBF		(2025/11/26 02:54:02.00)		(0:2:57.0)				N/A		42.7		43.7		55.4		65.2		46.9		30		44.7		39.4		39.6		40.3		34		35.4		36.9		41		33.8		18.4		11.5		11.4		60.7		53.4		49.6		51.6		44.6		47.5		47.3		54.3		48.1		32.9		24.7		15.7		47.4		42		41.8		43.1		35.9		39.5		41.5		45.2		38.1		24.4		11.7		11.5		34.4		33.7		36.3		35.4		29.6		27.5		27.4		27.1		14.6		10.5		11.1		11.2

		NOR140_15642541_251126_0060.NBF		(2025/11/26 02:57:02.00)		(0:2:57.0)				N/A		35.6		36.7		42.3		58.1		38.2		31.4		43.2		39.2		39.1		38.9		32.8		30.6		33.5		33.4		20.3		13.8		11.5		11.4		57.5		48.7		46.1		46.6		39.3		35.3		41.4		41.6		31.8		30.6		29.5		22.7		46.2		41.9		41.3		41.4		35.1		32.3		36		36.3		21.8		13.2		11.5		11.5		34.7		34.7		36.2		35.6		29.6		28.5		29.2		28.3		16.6		10.5		11.1		11.2

		NOR140_15642541_251126_0061.NBF		(2025/11/26 03:00:02.00)		(0:2:57.0)				N/A		39.5		40.3		51.3		61.9		41.8		32.2		44.3		41		41.5		40.1		34		33.7		35.6		37.4		29.5		15.2		11.3		11.4		60.6		51.3		57.5		48.8		42.5		43.6		43.9		50		43.5		26.7		21.5		16.6		47.5		44		42.8		43.3		37.6		36.6		39.1		39.7		31		18.7		11.5		11.5		35.3		36		36.6		35.6		28.9		28		28.5		29.8		16.9		10.4		11		11.2

		NOR140_15642541_251126_0062.NBF		(2025/11/26 03:03:02.00)		(0:2:57.0)				N/A		38.7		39.7		46.2		61.2		41.8		31.7		45.4		40.7		39.4		39.5		33.1		33.4		37		36.5		22.1		11		11.2		11.4		62.4		54		45.4		49.9		43.1		45.8		46.9		44.5		30.7		18.7		20.4		24.1		48		43.2		41.5		42		35		35.2		40.4		39.7		24.9		11.8		11.4		11.5		36.9		35.5		36.5		35.8		29.9		29.4		29		29.2		17.3		10.3		11		11.2

		NOR140_15642541_251126_0063.NBF		(2025/11/26 03:06:02.00)		(0:2:57.0)				N/A		35.9		37.7		51.2		58.4		38.8		27.8		41.6		41.3		40.4		37.8		32.4		31		32.4		34.3		22.3		11.1		11.2		11.4		52.8		50.6		48.2		46.2		41.6		37.7		47.3		50.7		35.2		18.7		23		19.8		44.5		44.2		42.4		39.8		34.6		33.5		35.2		37.1		25.5		12.6		11.3		11.5		35.4		36.4		37.4		34.9		28.9		27.6		25.5		24.9		13.3		10.2		11		11.2

		NOR140_15642541_251126_0064.NBF		(2025/11/26 03:09:02.00)		(0:2:57.0)				N/A		53.2		54.2		68.2		75.7		56.6		35.5		38.4		43.1		49.2		56.6		46.9		47.9		45.9		51.3		45.3		35		25.1		15		55.3		60		64.2		72.7		61.3		65.2		60.4		67		59.1		50.6		41.8		31.2		40.8		45.8		52.6		57		51.4		49.1		49		54.2		49.2		38.9		26.4		14.1		32.6		37		39.4		39.5		31.5		30.1		33.1		33		19		10.5		11		11.2

		NOR140_15642541_251126_0065.NBF		(2025/11/26 03:12:02.00)		(0:2:57.0)				N/A		55.2		56.1		71		77.6		54.2		32.5		39.2		41.1		46.4		42.7		41.3		47.4		47.1		52.9		48.6		36.1		22.4		14.4		49.7		53.8		62.6		58.8		57.1		65.5		63.6		69.5		64.7		52		42.2		38.5		42.1		43.8		48.9		44.7		42.1		44.2		46.5		52.1		47.6		31.7		14.5		11.6		33.9		36.3		37.3		35.3		30		30.8		29.4		29.8		16.7		10.3		11		11.2

		NOR140_15642541_251126_0066.NBF		(2025/11/26 03:15:02.00)		(0:2:57.0)				N/A		40.5		41.7		50.1		63		43		36.1		41.6		41.6		40.8		40.9		41.3		36.3		38.5		38.3		22.8		10.8		11.3		11.4		57.2		50.4		46.2		53.5		53.7		45.4		47.8		49.8		32.3		21.7		24.2		22.3		44.3		44		42.7		43.1		44.9		39.3		41.1		40.9		25.4		11.6		11.3		11.5		35.7		37.6		38.1		37.3		31.9		31.7		33.9		33.5		19.1		10.2		11		11.2

		NOR140_15642541_251126_0067.NBF		(2025/11/26 03:18:02.00)		(0:2:57.0)				N/A		37.8		38.9		45		60.3		40.8		32.6		40.8		44.2		41.4		41.5		33.8		33.2		34.8		36.1		22.1		11.9		11.3		11.3		53.3		55		49.9		50.5		38.7		42.1		42.9		44.6		28.7		22.8		19.3		14.2		43.8		47.2		44.1		45.2		35.4		35.2		37.7		39.1		25		12.8		11.4		11.5		35.4		38.7		37.4		36.8		31.8		30.4		30.2		29.5		17.7		10.3		11		11.2

		NOR140_15642541_251126_0068.NBF		(2025/11/26 03:21:02.00)		(0:2:57.0)				N/A		47.3		48.2		61.4		69.8		47.8		35.1		43.4		47.6		57.2		54.9		44		40.5		40.4		44.7		40.6		30.1		19.8		12.9		55.6		63.4		75.1		75		64		52.7		52.6		59		56.8		45		40.1		27.8		46.4		50.2		52.1		49.9		42.9		41.7		42		45		39.9		25.9		13		11.6		37.6		42.4		42.8		40.4		34.7		32.3		32.7		31.7		17.2		10.5		11		11.2

		NOR140_15642541_251126_0069.NBF		(2025/11/26 03:24:02.00)		(0:2:57.0)				N/A		39.3		40.2		44.9		61.8		41.4		35.6		42.8		44.5		50.3		45.5		36.1		39.6		37.1		36.6		22.6		11		11.2		11.3		60.5		66.5		63.2		55.6		46.4		45.9		43.9		43.6		31.2		15.6		20.8		18.3		45		46.8		53.5		49		38.4		42.5		39.2		39.3		25.1		11.9		11.4		11.5		34.2		37.1		42.5		39.2		32.2		34.7		33		31.7		18.4		10.3		11		11.2

		NOR140_15642541_251126_0070.NBF		(2025/11/26 03:27:02.00)		(0:2:57.0)				N/A		37.6		40.3		48.1		60		39.9		33.7		46.4		41.8		44.9		42.5		34.7		35.3		34.2		35.3		23.5		21.3		20.7		16.4		63.4		60.5		60.6		57.2		58.2		48.2		45.3		43.8		41.1		46.1		39.1		33.8		49		43.4		47.2		45.2		36.1		38.8		36.6		37.7		25.6		21.5		19.4		14.3		35.8		36.5		41.2		38.3		30.2		30.1		30		31.4		18.9		10.5		11		11.2

		NOR140_15642541_251126_0071.NBF		(2025/11/26 03:30:02.00)		(0:2:57.0)				N/A		57.5		58.6		74		80		57		35.1		43.8		43.3		46.6		52.2		42.3		47.6		49.9		55.2		51		39.9		24.7		13.1		62.7		62.3		59.9		68.4		59.3		66.2		66.9		71.6		67.8		57.5		42.8		28.9		46		44.7		48.8		52.1		42.6		43.7		47.9		55		49.1		32.7		14		11.6		35.1		36.9		41.3		40		32.7		32.5		31.9		32.8		19.2		10.5		11		11.2

		NOR140_15642541_251126_0072.NBF		(2025/11/26 03:33:02.00)		(0:2:57.0)				N/A		49.2		50.2		63.5		71.7		53.3		34		41.1		40.2		49		44.7		40.7		42.6		42.9		46.2		42.9		31.1		18.1		12.2		54.4		55.6		65.5		58.2		52.6		55.9		55.8		60.6		58.1		45.7		34.2		22.8		44.3		42.9		48.6		47.7		45.9		47.2		47.7		50.3		46.9		36.3		21		11.9		35		34.9		39.6		37.6		31		30		30.2		32		17.9		10.4		11		11.2

		NOR140_15642541_251126_0073.NBF		(2025/11/26 03:36:02.00)		(0:2:57.0)				N/A		52.9		54.1		71.8		75.4		46.6		36		41.1		39.2		51		50		47.8		47.6		47.8		47.9		47.6		41.6		31.6		21		55.6		50.4		69		65.1		64.5		67.2		66.5		67.1		66.5		61.2		51.4		42.6		44.3		42		49		51.4		46.4		41.3		43.2		43.5		39.4		29.4		14.1		11.6		33.1		34.6		38.7		40.2		33.2		32.8		32.6		33.4		20.9		10.6		11		11.2

		NOR140_15642541_251126_0074.NBF		(2025/11/26 03:39:02.00)		(0:2:57.0)				N/A		39.6		40.5		47.7		62.1		42.7		35.5		43.1		38.9		39.4		40.8		32.8		34		37		37.7		25.1		11.6		11.3		11.4		54		46.3		45.5		51.9		38.7		42.3		45.5		46.1		34		21.9		25.6		26.3		46.5		41.2		41.3		43.1		34.8		37.2		40.2		40.8		28.4		12.3		11.4		11.5		36.2		35.2		36.7		37.6		30.3		29.9		32.2		33.6		20.2		10.3		11		11.2

		NOR140_15642541_251126_0075.NBF		(2025/11/26 03:42:02.00)		(0:2:57.0)				N/A		55.4		56.3		72.2		77.8		53.3		40.4		43.8		45.8		52.2		54.8		50.1		47.4		47.7		53.4		48		36.3		25.6		15.5		58.5		66		69		70.4		68		65.2		63.9		71		64.6		53.1		43.6		34.2		46.8		45.4		50		53.9		47.1		47.2		46.3		51.6		45.9		31.6		20.1		13.5		35.8		36.7		40.9		40.5		34.2		35.6		37.2		35.5		20.7		10.3		11		11.2

		NOR140_15642541_251126_0076.NBF		(2025/11/26 03:45:02.00)		(0:2:57.0)				N/A		44.7		45.6		55.8		67.2		46.4		39.1		41.9		40.4		41.8		40.9		35.1		39.6		40.3		42.8		34.2		16.6		11.2		11.3		51.7		48.4		48.5		46.7		44.2		52.1		48.7		54.1		49.5		31.1		16.6		15.5		45.1		43.3		44.3		42.9		37.5		41.1		42.8		44.8		34.7		18.4		11.4		11.5		35.5		35.6		38.1		38.3		31.7		33.6		35.9		37.3		23.4		10.2		11		11.2

		NOR140_15642541_251126_0077.NBF		(2025/11/26 03:48:02.00)		(0:2:57.0)				N/A		57.3		58		70.2		79.8		61.7		38.9		41.4		41.7		46.2		54.1		49.2		50.5		49.3		54.5		51.2		42.2		31.2		18.5		52.4		54.9		63		70.6		65.8		65.8		62.1		67.6		65.4		56.5		48.3		35.7		44.9		44.8		50.5		53.7		51.4		55.4		54.9		59.1		54.5		44.7		29.5		14.5		34.5		34.7		37.7		37.6		32.5		32.7		34.5		37.4		23.9		10.8		11.1		11.2

		NOR140_15642541_251126_0078.NBF		(2025/11/26 03:51:02.00)		(0:2:57.0)				N/A		61.5		62.2		74.4		83.9		64.8		38.2		43.9		46.4		48.2		53.6		48.4		52.7		52.9		58.8		55.3		44.6		30.9		16.6		57.1		63.5		65.7		72.6		65.3		69.7		67.2		72.4		68.6		58.8		46.6		33.1		47.3		46.9		49.9		52.2		50.8		51.6		55.7		62.3		58.8		47.3		29.3		13.1		35.7		34.5		38		39.2		34.6		33.4		35.2		36.1		22.8		11.4		11.1		11.2

		NOR140_15642541_251126_0079.NBF		(2025/11/26 03:54:02.00)		(0:2:57.0)				N/A		64.8		66		80.7		87.3		68		40.6		44.6		46.2		52.6		62.4		65.2		68.4		61.8		59.7		55.5		47.7		38.6		28.6		55.4		65.2		69.1		79.5		84.4		88.8		78.5		77.1		71		66.3		58.8		50.9		48		48.5		56.2		63.2		61.8		63.1		62.6		63.7		59.3		49		35.9		19.6		38.1		37		39.3		40.5		35.1		35.1		36.3		38.7		25.8		11		11.1		11.2

		NOR140_15642541_251126_0080.NBF		(2025/11/26 03:57:02.00)		(0:2:57.0)				N/A		52.4		53.2		67		74.9		46.3		37.1		45.5		43.1		44.7		46.1		39.9		41.2		46.3		48.1		47.8		36.4		24.1		14		56.5		56.7		60		63.5		55.2		56.3		64.4		62.4		63.9		52.9		39		27.3		48.7		46.6		46.8		47.6		40.4		41.1		44.7		42.8		37.7		37.6		23.1		11.7		38.7		36.6		38.6		38.7		33.5		32.6		33.7		35.1		21		10.4		11		11.2

		NOR140_15642541_251126_0081.NBF		(2025/11/26 04:00:02.00)		(0:2:57.0)				N/A		56.5		57.7		72.6		78.9		58.5		37.5		45.2		55.8		51.5		50.5		47.7		53.3		51.4		53.9		48.1		41		32.3		21.4		61.1		79.2		70.7		66.7		62.5		72.9		68.1		70.7		62.9		59.1		52.2		42.7		47.6		53.3		52.6		52		51.3		51.5		53.2		55.5		50.7		43.2		32.9		16.3		38.4		39.2		39.5		39.7		34.6		32.9		34.3		35.2		21.9		10.5		11		11.2

		NOR140_15642541_251126_0082.NBF		(2025/11/26 04:03:02.00)		(0:2:57.0)				N/A		57.8		58.6		76.3		80.3		47.9		36.9		43.2		43.5		46.4		47.6		44.7		48.9		48.9		55.5		51.5		39.9		26.5		15		53.2		61.5		65.1		66.2		63.9		68.4		67		74.7		69.9		58.8		46.1		33.8		46.5		45.3		48		49.4		45.1		45.6		45.3		45.1		35.6		38		22.3		11.6		36.8		37.5		38.6		38.6		35		33.7		32		33.9		20.9		10.4		11		11.2

		NOR140_15642541_251126_0083.NBF		(2025/11/26 04:06:02.00)		(0:2:57.0)				N/A		52.8		53.8		66.1		75.3		58		34.2		42		43.4		46.7		46.9		44.7		43.6		44.3		50.1		46.6		36.1		22		12.1		54.4		60.5		65.6		63.4		61		58.1		56.1		63.8		61.4		49.3		37.3		21.3		45		45.2		46.1		48		48.4		47.9		50.9		54.9		51.6		41.2		25.9		12		36		37.5		38.9		37.7		34.7		30.6		30.8		30.7		19.1		10.5		11.1		11.2

		NOR140_15642541_251126_0084.NBF		(2025/11/26 04:09:02.00)		(0:2:57.0)				N/A		52.6		53.4		64		75		57.3		38.2		38.6		39.4		43.6		45.4		42.8		44.8		44.2		50.3		45.6		35.5		21.3		12.3		46.5		51.1		59.4		58.4		55.9		56		55.5		62.4		57.2		49.6		34.6		21.8		41.6		42		44.7		46.2		45.1		49.3		48.8		54.3		51.1		41.2		25.6		12		33.6		34.7		38.4		39.8		36.6		32.8		33.7		36.2		23.8		11.2		11.2		11.2

		NOR140_15642541_251126_0085.NBF		(2025/11/26 04:12:02.00)		(0:2:57.0)				N/A		38.1		41.2		47.4		60.6		40.8		33.5		41		41.3		43.4		40.9		36.5		32.8		33.8		34.8		25.4		30.5		16.9		11.4		50.8		53.7		54.1		48.6		40.6		41.2		45.4		42.4		39.3		45.8		31.4		18.1		44		43.7		45.1		43.8		38.3		34.6		36.6		37.5		28.7		35.3		20.6		11.6		35.8		36.8		39.7		37.3		33.9		30.5		29.2		30.4		18.3		10.8		11.2		11.2

		NOR140_15642541_251126_0086.NBF		(2025/11/26 04:15:03.00)		(0:2:56.0)				N/A		53		54.1		70.3		75.5		48.9		37.4		57.9		64.5		62.5		53.5		52		51.7		48.5		50		44.1		39.5		29.4		17		77.4		87.4		84.5		71.6		69.7		71.9		66		67.7		60.8		56.6		48		36.7		51.5		57.7		57		51.1		49.8		47.3		43.9		44.8		40.2		39.9		27		12.4		36.3		38.3		41.1		40.1		34.3		31.8		33.2		34.9		21.4		10.9		11.2		11.2

		NOR140_15642541_251126_0087.NBF		(2025/11/26 04:18:02.00)		(0:2:57.0)				N/A		40.5		45.1		52.5		62.9		43.8		35.6		42.1		41.6		42.4		41.2		35.1		34.2		35.7		35.8		25.9		35.3		24.1		11.7		57.6		50.7		48.9		47.8		42.1		44.9		44.8		43		38.9		51.2		41		20.5		44.6		44.3		44.2		43		36.7		36.2		38.4		38.3		29.2		40.2		27.5		12		35.1		37.2		39.9		38.8		33.1		31.3		31.5		32.2		20.4		12.2		11.3		11.2

		NOR140_15642541_251126_0088.NBF		(2025/11/26 04:21:02.00)		(0:2:57.0)				N/A		57.4		59.4		72.1		79.9		60.2		37.8		47.8		51.2		58.4		56		49.1		50.1		49.8		54.5		50.4		46.7		36.8		19.3		66.7		73.5		81.3		73.3		68.3		67.5		65.1		70.3		64.1		60.6		51.7		37		51.2		48		56.5		58.4		53		49.6		52.4		57.5		52.6		51.8		41		22.3		35.5		38.8		41.6		41.3		33.3		32.7		33.6		34.7		22.2		11.4		11.2		11.2

		NOR140_15642541_251126_0089.NBF		(2025/11/26 04:24:02.00)		(0:2:57.0)				N/A		57.7		59.2		69.5		80.2		62		41.4		39.5		44.5		47		47		43.1		48.9		49.2		55.4		50.5		45.1		35		16.8		50.9		57.6		63.1		58		56.1		63.8		61.8		68.1		63.1		59.6		49.8		30.8		42.2		47.3		49.8		51.1		47.7		49		53.4		59.5		55		50.5		38.6		20		34.8		38.8		41.1		41.2		34.4		35.2		37.6		38.5		25.9		12.6		11.3		11.3

		NOR140_15642541_251126_0090.NBF		(2025/11/26 04:27:02.00)		(0:2:57.0)				N/A		59.6		60.8		72.6		82.1		64.8		41.2		46.1		44.8		49		52.1		50.9		50		51		56.8		53.8		42.9		28.4		15.5		60.7		59.2		66.2		70.2		67		63.8		62.6		69.9		67.6		58.4		45		29.9		50.5		48.3		49.6		52.9		52.4		54		56.1		62		58.8		47.1		31.9		19		34.9		37.2		40.3		40.7		36.3		36.6		37.4		38.4		26.6		12		11.2		11.2

		NOR140_15642541_251126_0091.NBF		(2025/11/26 04:30:02.00)		(0:2:57.0)				N/A		60.2		61.2		73.8		82.7		64.8		40.3		56.5		60.4		60.1		56.4		50.9		54.1		53.1		57.9		53		44		32.6		19		78.7		81.6		78.7		72.1		65.2		69.2		66.4		72		67.4		56.8		47.6		36.6		51.5		59.5		61.1		59.9		56.1		56.3		57.9		62.6		57.5		47.4		34.8		17.9		38.3		41.7		42.3		41		35.1		35.6		36.6		37.7		24.8		13.7		11.6		11.2

		NOR140_15642541_251126_0092.NBF		(2025/11/26 04:33:02.00)		(0:2:57.0)				N/A		60.4		61.6		74		82.9		63.3		42.3		43.7		50.4		54.2		59.4		58		53.7		52.1		57.1		54.9		46.4		35		21.3		56.6		67.2		67.9		76.7		76.5		68.2		64.5		72.8		68.1		60.2		51.2		41		47		53.2		58.3		61.8		58.1		57.1		55.7		60		57.7		49.9		38.3		22.1		37.1		39		41.6		41.4		36.5		36.3		37.9		39.6		29.2		15.1		11.8		11.3

		NOR140_15642541_251126_0093.NBF		(2025/11/26 04:36:02.00)		(0:2:57.0)				N/A		49.3		50.7		61		71.8		54.2		40.7		39.7		42.3		49.7		47.6		41.5		43.7		42.9		46.2		42.3		37		25.7		12.3		51.3		52		68.1		62.9		53.1		57.4		53.2		57.9		56		50.3		42.4		20.8		42.5		45.3		48.4		48.9		45.4		47		46.7		51.2		47.8		42.1		29.7		13.4		34.4		36.9		40.4		40.8		35		34.9		36.3		38.1		26.4		11.1		11.1		11.2

		NOR140_15642541_251126_0094.NBF		(2025/11/26 04:39:02.00)		(0:2:57.0)				N/A		60.7		62.2		78		83.2		62.7		39.3		40.5		41.1		52.8		56.8		57.6		65.6		55.4		55.6		49.8		44.9		38.7		28.2		49.6		55.3		68.8		72.6		75.6		84.2		73.1		74.4		64		62.5		58.4		48.6		43.4		43.3		54.6		57.1		57.6		61.9		56.7		58.1		51.9		45.7		34.8		18.2		34.9		36.5		40.6		41.2		34.6		36.1		35.9		36.3		22.3		10.8		11.1		11.2

		NOR140_15642541_251126_0095.NBF		(2025/11/26 04:42:02.00)		(0:2:57.0)				N/A		59.6		60.5		73.9		82.1		62.6		41.4		44.2		49.4		54.1		55.2		52.1		52.7		52		57		53.1		42.3		31.4		17.9		55.8		68.4		70.7		73.9		69.1		70.7		67.1		71.6		67.8		55.7		46.5		33.5		47.5		48.5		54.8		58.8		53.5		52.6		54.9		59.8		56.5		45.1		32.2		15.3		37.6		39.1		40.8		41.9		34.5		35.9		37.5		39.2		26.5		10.9		11.1		11.2

		NOR140_15642541_251126_0096.NBF		(2025/11/26 04:45:02.00)		(0:2:57.0)				N/A		61.5		62.4		72.9		84		66.6		42.5		42.5		46.6		51.1		50.7		47.8		53.1		52.4		59		55.3		44.5		31.2		19.7		54.7		58.5		63		62.8		60.9		68.3		63		70.6		67.3		58.5		47.4		41.4		45.4		49.7		55.4		55		52.5		58.1		57.2		64.2		60.5		48.8		36		21.5		36.9		40		43.2		42.8		35.8		37.1		38.9		40.1		28.1		11.9		11.1		11.2

		NOR140_15642541_251126_0097.NBF		(2025/11/26 04:48:02.00)		(0:2:57.0)				N/A		63.7		64.6		76		86.2		69		45.4		42.4		45.4		52.2		56.1		49.7		54.7		55		61.2		57.8		47.3		34		25.3		57		59.3		65.3		68.9		61.6		67.1		67		73.8		70.7		60.6		45.7		45		45.1		49		56.1		60.4		54.5		59.2		60.5		66.2		63		52.1		39.3		26		34.6		37.3		41.8		42		36.3		37.8		39.3		43.6		34.7		19.3		11.3		11.2

		NOR140_15642541_251126_0098.NBF		(2025/11/26 04:51:02.00)		(0:2:57.0)				N/A		45.6		46.7		53.4		68.1		48.5		41.5		42.9		41.8		44.6		45.4		38.5		39.9		40.7		43.6		34.7		31.3		19.9		11.5		57.6		49.2		55.1		56.9		50.7		53.7		48.4		50.9		47.5		48.4		37.6		17.8		45.7		44.3		47.2		48.1		40.5		41.5		43.2		46.3		37.7		35.9		22		11.6		35.4		37.8		40.6		40.7		35.1		35.7		37.1		39.6		27.2		11.3		11.1		11.2

		NOR140_15642541_251126_0099.NBF		(2025/11/26 04:54:02.00)		(0:2:57.0)				N/A		58.1		59		72.1		80.6		62.4		42.1		43.1		43.9		51.7		49.3		45		49.5		49.5		55.5		52.1		41.6		27.9		14.6		55.3		60		68		64.6		60.6		66.6		63.3		70.7		64.4		56.2		43.7		30.7		46.4		45.5		50.4		52.2		48.5		52.3		54.6		59.5		56.6		46.3		31.9		15		36.1		38.3		41.7		42		36.1		37.2		38.4		40		27.6		11.9		11.1		11.2

		NOR140_15642541_251126_0100.NBF		(2025/11/26 04:57:03.00)		(0:2:57.0)				N/A		60		60.8		72.1		82.5		64.6		43.9		54.1		58.3		59.3		54.7		50.7		52.8		51.4		57.1		54.2		44.7		33.4		19		74.7		77.4		75.5		71.8		66.2		66		62.2		70.5		66.5		58.8		48.8		35.3		51.4		56.9		60.7		57		55		56.6		56.5		61.4		58.5		49.7		36.2		20.6		38.6		41.2		44.8		43.1		37.9		39		40.2		41.5		30.1		14.5		11.3		11.2

		NOR140_15642541_251126_0101.NBF		(2025/11/26 05:00:02.00)		(0:2:57.0)				N/A		64.1		64.9		76.1		86.6		68.4		48.7		51.7		60.4		62.2		61.9		54.8		55.8		56.8		61.4		57.7		48.8		38		25		70.4		80.7		82.4		77.1		71.8		68.9		70		74.7		70.2		62.3		54.5		40.4		51.5		58.2		61.7		64.1		57.1		59.7		59.9		65.9		61.9		53		42.6		26.6		40.4		44.5		46.7		47.1		41.5		41.8		44.3		46.6		37.2		22.8		12.9		11.3

		NOR140_15642541_251126_0102.NBF		(2025/11/26 05:03:02.00)		(0:2:57.0)				N/A		62.5		63.3		75.1		85		67.6		46.8		56		65.3		60.9		57.5		53.1		54.8		54.7		59.8		56.3		47.4		36.5		21.6		77.5		90.6		80.7		72		67.7		69.7		66.2		72.6		69.6		59.2		50.5		39.9		52.1		62.1		62.2		61.8		58		58		60		64.5		61		52.2		41.2		23.6		39.4		42.3		44.1		45.7		38.3		39.5		43.5		44.5		33		14.2		11.3		11.2

		NOR140_15642541_251126_0103.NBF		(2025/11/26 05:06:02.00)		(0:2:57.0)				N/A		60.3		61		73.2		82.7		65.1		45.7		44.1		46.3		51		52.5		47.2		51.3		51.7		58		53.8		42.3		29.1		16.6		59		65.1		65.5		66.6		61.6		65.6		64.8		71.8		66.5		57.4		46.4		34		47		48.6		54.1		55.4		52.1		55.6		55.5		62.8		58.8		45.5		29.6		17.1		38.3		40.3		41.7		42.5		37.4		37.4		40.7		44.2		32.3		12.2		11.1		11.2

		NOR140_15642541_251126_0104.NBF		(2025/11/26 05:09:02.00)		(0:2:57.0)				N/A		66		66.8		76.2		88.5		71.7		48.5		42.5		47.3		52.6		54.6		51		55.9		57.1		63.6		59.8		48.5		32.8		18.3		51.6		60.3		65.3		66.3		64.4		68.3		67.1		73.8		70.7		60.3		43.7		33.1		45.5		50.9		57		58.5		55.9		61.4		62.5		69.2		65.5		54.3		39.1		23.3		37		40.1		43.4		43.7		38.7		40.1		43.7		47		37.1		17.1		11.2		11.2

		NOR140_15642541_251126_0105.NBF		(2025/11/26 05:12:02.00)		(0:2:57.0)				N/A		62.8		63.5		76		85.3		67.2		46.1		42.5		47.1		53.3		52.7		49.3		53.3		56.3		60.3		56.1		45.3		29.5		16.2		54		59.2		69.3		66.1		63.5		69.7		70.8		73.5		70.5		60.2		44.9		33.4		45.2		49.7		56.1		55.8		52.9		55.4		59.4		64.8		60.3		49.1		31.1		15.5		37		41.2		44.6		45.2		39.5		39.8		42.2		44.3		32.2		13.5		11.1		11.2

		NOR140_15642541_251126_0106.NBF		(2025/11/26 05:15:02.00)		(0:2:57.0)				N/A		55.7		57.2		70.8		78.2		60.5		46.3		42.9		46.7		53		60.4		56.4		53		51		52.1		47.4		44.3		38.5		28.3		54		56.9		67.5		76.7		73.7		71		68.4		65.3		63.9		65.2		60		50.1		45.6		49.3		56.1		59.9		56.6		55.6		55.3		56.1		51.9		44.1		32.5		19.8		37.8		42.4		44.3		45.4		40.3		40.3		42.4		44.7		32.8		12.5		11.1		11.2

		NOR140_15642541_251126_0107.NBF		(2025/11/26 05:18:02.00)		(0:2:57.0)				N/A		63.2		64.1		73.6		85.6		67.9		49.2		43.4		46.7		53		64.3		62.3		65.5		61.6		58.3		54.2		42.6		29.6		19		57		61.7		65.2		80.4		78.5		81.6		75.8		71.6		68.2		56.6		44.1		35.8		46.4		49.8		57.4		63.6		61.1		66.5		65.6		62.7		58.3		46		33.1		21.4		38		40.9		43.7		44.4		40.2		42.4		44.2		47.7		36.4		13.9		11.1		11.2

		NOR140_15642541_251126_0108.NBF		(2025/11/26 05:21:02.00)		(0:2:57.0)				N/A		67		68.6		81.2		89.4		71.5		49.4		44.6		50.2		58.8		66.3		69.2		68.3		61.5		63.1		59.1		50.2		40.7		30.7		57.6		64.4		75		82.7		86.5		86.8		81		74.7		70.2		64.9		58.1		50.1		47.4		53.9		61.2		68.2		66.5		67.3		63.3		68.2		64.9		55.6		42.9		27.1		38.5		42.3		46.2		48.9		44.7		44.8		45		47		35.8		22.3		12.7		11.3

		NOR140_15642541_251126_0109.NBF		(2025/11/26 05:24:02.00)		(0:2:57.0)				N/A		65.4		66.2		78.7		87.9		69.6		48		57.2		63.3		62.5		64.2		56.6		61.9		60.2		62.5		57.8		50.9		41.8		28.1		75.3		82.3		77.9		82.5		71.7		79.9		77.4		74.7		69.3		65.9		59.2		48.4		55.9		62.8		66.1		65.4		60.3		63.4		63.3		66.4		62.2		55.2		45.3		27.9		40.5		42.9		46		45.5		40.7		42.4		43.9		46.1		33.5		19.5		11.8		11.3

		NOR140_15642541_251126_0110.NBF		(2025/11/26 05:27:02.00)		(0:2:57.0)				N/A		62.4		63.5		73.4		84.9		65.9		52.5		47.1		51.8		56.5		58.4		53.3		55.3		55.1		59.9		55.2		47.9		38.4		28.4		59.2		67		70.8		69.3		69.8		66.7		66.1		71.6		68		61.3		54.1		51.1		50.4		55		59.2		62.6		56.5		59.2		58.5		63.5		58.8		52.4		41.6		24.9		40.8		45.1		47.5		49.6		43		45.7		47.2		49.5		41.4		31.3		15.3		11.3

		NOR140_15642541_251126_0111.NBF		(2025/11/26 05:30:02.00)		(0:2:57.0)				N/A		65.1		66		76.2		87.6		69		49.9		52.8		59.4		59.3		59.6		53.9		57.3		56.5		62.5		58.8		50.8		39.6		24.3		72.1		79.3		75.7		74.4		67.3		72.8		67.9		74.5		70.6		61.4		52.8		41.9		51.4		57.7		60.9		62.2		58.7		61.7		61.6		66.5		62.8		56.1		44.3		26.8		40		42.9		48.3		48.6		42.3		42.6		44.4		47.2		37.5		28		15.1		11.4

		NOR140_15642541_251126_0112.NBF		(2025/11/26 05:33:02.00)		(0:2:57.0)				N/A		64.9		65.8		74.5		87.4		69.3		50.8		50		50.8		58.8		57.6		51.7		56.2		56.5		62.7		58		49.3		40.6		24.1		61.9		62.8		75.3		68.9		64.8		68.3		68.2		73.5		68.1		60.1		54.2		37.8		53.3		53.8		61.6		61.3		55.4		60.8		60.3		67.1		62.6		53.9		45.7		28.5		42.8		44.8		48.1		49.2		42.9		43.4		45.9		48.6		38.4		32		17.7		11.4

		NOR140_15642541_251126_0113.NBF		(2025/11/26 05:36:02.00)		(0:2:57.0)				N/A		64.2		65.1		74.3		86.7		68.9		50.8		48.6		49.2		55.9		58.1		51		55		55.6		61.7		58		49.2		39		20.5		65.8		66		70.1		74.6		63		69.4		65.6		72.7		69		60.4		55.2		32.7		51.4		51.5		58.5		61.2		54.5		59.8		60.4		66.7		62.7		54.2		43		25.1		42.2		43.7		47.3		48.1		41.9		42.7		45.2		47		38.5		27.9		15.1		11.4

		NOR140_15642541_251126_0114.NBF		(2025/11/26 05:39:02.00)		(0:2:57.0)				N/A		64.7		65.7		77.2		87.2		68.7		51.8		48.7		52.4		56.1		58.9		55.3		56.7		56.5		62.2		58.2		50.1		42.2		30		57.7		72.2		71		72.3		72.7		70		68.1		75.6		70.6		62.1		56.6		47		52.3		53.2		60.2		62.7		57.3		60.1		60.7		66		62.7		54.4		46.3		33.3		42.3		44.4		47.1		47.9		43		43.9		45.4		49.1		41.7		29.4		19.1		11.8

		NOR140_15642541_251126_0115.NBF		(2025/11/26 05:42:02.00)		(0:2:57.0)				N/A		64.7		65.6		78.7		87.2		68.8		50.9		46.7		50.6		55.9		58.9		52.8		55.5		55.7		61.9		58.8		50		39.3		23.6		57.8		64.1		70.1		72.6		66.6		68		67.8		76.6		73.3		64.1		55.5		38.5		49.5		53.7		59.7		63		57		58.8		59.5		65.9		63.2		54.4		44		27.1		41.5		44.3		47.1		48.9		42.3		44		46.4		48.8		38.9		28.2		12.6		11.3

		NOR140_15642541_251126_0116.NBF		(2025/11/26 05:45:02.00)		(0:2:57.0)				N/A		65.2		66.1		75.4		87.7		69.5		51.5		56.1		63.3		62.2		61		57.8		58.8		58.2		62.4		58.6		51.3		42.1		30.3		75.7		83.9		76.4		75.5		70.8		70.3		69.7		73.7		70		68.9		57.6		48.5		54.7		62.2		65.1		65.7		63		63.2		63		66.4		62.4		55.1		45.1		29.7		41.9		46.6		49.8		50.2		45.9		45.3		47		48.4		40.8		33.3		20.3		11.6

		NOR140_15642541_251126_0117.NBF		(2025/11/26 05:48:02.00)		(0:2:57.0)				N/A		66.2		66.8		77.3		88.7		71.1		50.5		46.4		52.8		57.5		62.2		53.5		56.4		57.3		63.5		60.3		51.1		39.8		26.2		58.1		74.9		72.8		78.5		68.5		70.3		68.3		74.7		72.5		64.2		55.9		44.9		49.3		53.6		60.9		64.5		57.6		61.3		61.6		68.4		65		55.6		44.1		28.2		41.1		44.1		46.6		47.1		41.7		43		45.6		48.6		37.2		26.3		17.3		11.6

		NOR140_15642541_251126_0118.NBF		(2025/11/26 05:51:02.00)		(0:2:57.0)				N/A		64.3		65		74.6		86.8		68.1		52.5		53.9		60.6		61.5		60.6		53.7		56.9		56.5		61.6		58		49.6		39.1		24.6		73.3		79.3		74.8		75.1		67		68.3		66		72.3		69.3		61.6		52.5		39.5		52		59.7		65.5		64.7		57.6		62.1		60.6		65.4		61.3		53.6		43.4		27.1		41.4		44.7		48		49		42.9		44.3		47.2		50.2		43.2		32.7		20.2		11.9

		NOR140_15642541_251126_0119.NBF		(2025/11/26 05:54:02.00)		(0:2:57.0)				N/A		67.4		68.1		76.6		89.9		72.4		49.7		46.6		53.4		59.3		59.7		57.5		58		58.2		64.8		61.4		51.9		39.9		24		56.8		72.7		71.9		76.1		70.9		71.4		69.5		75.4		71.3		61.6		53.6		39.7		49.5		55.2		63.2		63.9		61.4		63.3		62.8		69.8		66.4		56.6		44.7		27.2		40.8		44.2		48.6		49.1		41.8		42.2		45.3		47.9		37.3		28.8		18.7		12

		NOR140_15642541_251126_0120.NBF		(2025/11/26 05:57:02.00)		(0:2:57.0)				N/A		65.5		66.4		74.7		88		70.9		51.6		47.3		53.2		58.8		58		53.1		56.1		56.6		63.2		58.9		50.4		39		22.9		59.4		73.6		70.7		70.3		65.3		67.5		66.9		73.3		69.6		60.9		52		42.2		50.1		53.8		60.8		62		57.4		61.6		61.4		68.6		64.5		55.1		43.2		26.4		41.7		45.2		56.1		49.4		43.1		42.8		46.2		48.6		40.4		33.4		20.7		12.4

		NOR140_15642541_251126_0121.NBF		(2025/11/26 06:00:02.00)		(0:2:57.0)				N/A		64.4		65.4		73.6		86.9		69.9		51.1		48.5		58.6		59.3		57.3		51.5		55.7		55.2		61.8		58.3		50.3		39.3		21.5		61.3		78.2		70.9		72		62.3		69.4		66.3		71.9		68.1		61		52.7		38.4		51.5		56.2		62.1		61.2		56.2		61.3		60.2		67.1		63.6		54.5		43.5		25.1		42.5		45.6		55.6		48.2		41.4		41.9		44.7		47.8		38.9		34.4		22		12.5

		NOR140_15642541_251126_0122.NBF		(2025/11/26 06:03:02.00)		(0:2:57.0)				N/A		63.5		64.3		74.8		86		67.1		52.5		57.2		62.1		64.2		59.2		55.1		60.5		56.7		60.6		56.3		49.3		40.6		25.3		77.8		80.6		82.9		72.5		68.6		80.7		69.1		72.8		68.6		59.4		52.7		40.2		54.1		60.9		63.9		63.4		59.3		62.3		61.1		64.2		59.7		53.9		45.4		28.7		43.3		47		55.6		47.9		41.6		43.9		47.9		50.2		38.4		32.1		20.7		12.4

		NOR140_15642541_251126_0123.NBF		(2025/11/26 06:06:02.00)		(0:2:57.0)				N/A		66.1		66.9		76.1		88.6		70.2		54.5		48.7		52.6		58.8		60.6		56.4		57.5		58.2		63.8		59.3		50.1		40		26.3		57.6		65.6		71.7		72.9		68.5		68.2		68.2		74.8		70.8		60.4		52.8		44.8		51.5		55.1		62.3		64.8		60.6		62.7		62.4		67.9		63.3		54.1		43.8		28.3		43.6		46.7		49		50.4		44.7		46.2		49.1		52.5		41.9		36.6		24.3		12

		NOR140_15642541_251126_0124.NBF		(2025/11/26 06:09:02.00)		(0:2:57.0)				N/A		66.6		67.4		76		89		71.7		54.2		53.8		61		62.2		59.1		54.5		57.5		58.6		64.3		59.9		50		38.8		23.6		73.4		78		77.5		70.5		64.5		68.9		71.1		74.9		70.1		59		51.7		39.6		52.7		61.3		65		63		58.8		62.7		62.8		69.3		65.2		54.8		43.6		27.9		42.8		46.8		49.6		50.3		44.6		46.9		49.2		52.2		43.2		31.6		19.3		12.1

		NOR140_15642541_251126_0125.NBF		(2025/11/26 06:12:02.00)		(0:2:57.0)				N/A		63.9		64.7		75.2		86.4		68.7		51.8		47.1		53.3		59		65.3		57		55.6		55.2		60.8		58.1		50.7		41.7		28.7		59.6		69.1		69.2		80.2		73.4		69.2		65.8		72.9		70.2		64		59.4		46.6		49.9		55.2		61.9		70.4		60.9		60.1		59.7		64.9		63.5		56.1		45.7		29.6		41.8		45.8		55.1		49.9		43.1		44.8		47.7		50		38.6		29		18.8		12.3

		NOR140_15642541_251126_0126.NBF		(2025/11/26 06:15:02.00)		(0:2:57.0)				N/A		64.4		65.3		74.9		86.9		69.6		50.8		48.8		51.6		58.9		59.8		52.7		55.4		55.6		62		58		48.2		36.6		22.1		61.1		66.8		68		73.3		64.6		67.1		65.7		73.2		69.7		59.8		51.7		35.9		51.8		54.4		61.5		63.2		57.2		60.8		60.3		67		63.2		52.8		41.3		26.5		42.4		45.6		55.1		49.4		44.6		44.5		46.2		48.8		37.9		31.6		20.5		12.5

		NOR140_15642541_251126_0127.NBF		(2025/11/26 06:18:02.00)		(0:2:57.0)				N/A		65.2		65.9		74.5		87.7		69.4		56.1		55.9		60.3		66		63.7		57.1		58.1		57.9		62.5		58.5		50.6		41.5		27.2		79.1		79.3		77.6		80.3		71.7		70.2		66.9		73.4		68.8		61.2		55		43		54.5		62.9		69.3		66.1		60.1		62.6		62.3		66.8		62.6		54.8		45.1		31.6		43.6		49.5		58.7		56.8		49.5		48.5		50.1		53.2		47.4		38.3		25.7		13.2

		NOR140_15642541_251126_0128.NBF		(2025/11/26 06:21:02.00)		(0:2:57.0)				N/A		65.5		66.3		75.3		88		70.8		53		47.1		53.4		61.8		61.9		56.4		57.6		57.8		63		58.7		51.1		41.8		28		57.2		68.7		70.4		75.4		69		68.3		67.9		73.9		67.8		62.4		55.5		45.9		50		56.3		64.5		65.7		60.4		63		62.8		67.8		64.3		55.3		46		30.3		41.8		46.5		57		50.9		44.7		45.4		46.9		50		43.1		35.7		23.5		13.1

		NOR140_15642541_251126_0129.NBF		(2025/11/26 06:24:02.00)		(0:2:57.0)				N/A		63.1		63.8		75.8		85.6		67.2		51.3		46.2		49.5		58.8		55.7		50.7		54.3		54.8		60.4		56.8		48.6		38.7		22.6		56.9		64.9		71		75.7		65.1		68.1		66.8		73.8		70.8		62		51.9		37.3		49.1		51.8		60.5		58.3		53.9		57.9		58.8		64		61.2		52.9		43.1		25.3		41.2		44.9		56.4		49		43.5		44.5		46.1		49.3		38.8		31.1		21.1		13

		NOR140_15642541_251126_0130.NBF		(2025/11/26 06:27:02.00)		(0:2:57.0)				N/A		67.1		68		79.5		89.6		71.2		54.7		57.5		63.9		62.7		60.1		56.6		61.4		59.2		64.7		60.5		50.8		40.2		25.3		76.3		85.9		81.3		74.4		71.6		79.7		71.4		78.1		72.8		63.8		52.4		41		54		62.3		64.5		63.9		60.3		63.7		63.5		68.6		63.9		54.5		44.8		28.8		42.6		46.4		53.3		50.6		45.1		46.5		48.4		51.9		45		35.6		21.6		12.4

		NOR140_15642541_251126_0131.NBF		(2025/11/26 06:30:02.00)		(0:2:57.0)				N/A		66.7		67.9		78.3		89.2		71.1		53.5		54.4		60		60		59.6		62.4		66.7		59.7		63.8		59.4		49.1		38		21.9		76.8		77.7		75.6		72		79		85		74.1		75.6		71.4		59.9		52.2		36.6		52.1		59.3		63.6		63.3		67.2		67.6		63.3		67.9		64		53.5		42.4		25.5		43.2		47.3		49.5		49		44.2		46.8		47.7		51		42.1		30.8		16.4		11.4

		NOR140_15642541_251126_0132.NBF		(2025/11/26 06:33:02.00)		(0:2:57.0)				N/A		68.8		70.1		82.7		91.3		72.3		56.9		51.9		61.8		69		64.4		67.3		68.3		63.5		65.4		61.2		52.3		43.6		29.8		69.4		81.4		88.1		76.9		85.9		88.1		80.9		79.8		72.8		67.1		60.5		47.4		51.8		60.3		68.4		67.1		64.5		65.9		64.8		69.4		64.7		55.7		45.2		31.6		42.6		46.7		52.2		53.7		47.1		49.1		50.2		54.1		50.1		38		21.6		11.6

		NOR140_15642541_251126_0133.NBF		(2025/11/26 06:36:02.00)		(0:2:57.0)				N/A		68.5		69.2		77.1		91		72.5		53.2		49.1		56.5		61.1		61		58.8		59.4		60.1		65.9		62.3		53.2		42.7		29.5		63		76.1		74.7		74.5		73.5		69.4		70		75.3		71.5		62.9		59.2		49.6		51.8		58.2		64.5		64.6		61.1		63.7		64.1		70.1		66.7		57.2		46.3		30.8		43.8		47.5		49.9		49.6		45.3		46.5		48.1		50.7		41.3		37.2		24.1		12

		NOR140_15642541_251126_0134.NBF		(2025/11/26 06:39:02.00)		(0:2:57.0)				N/A		70		73.1		88.4		92.5		73.2		56.5		49.2		56.5		61.2		64.9		64		63.1		61		66.9		64		57.4		49.4		36.4		59.2		72.9		71.7		77.7		81.4		79.5		75.3		80.4		82.6		83.2		76.9		64.3		52.1		58.9		64.6		68.1		65.1		66.1		63.9		70.5		67.6		57.7		47.2		33.6		44		48.5		52.3		52.4		45.8		46.8		48.1		52.6		49.4		44		28		12.9

		NOR140_15642541_251126_0135.NBF		(2025/11/26 06:42:02.00)		(0:2:57.0)				N/A		69		69.7		75.6		91.5		72.8		60.1		49.5		57.8		60.6		62		57		60.4		60.7		66.6		62.6		53.1		42.2		29.1		64.1		75.9		71.3		73.3		65.7		69.1		67.7		74		69.8		63.5		57.1		47.6		52.1		60.5		64.3		66		60.8		64.4		64.1		70.3		67		57		45		30.9		43.6		49.5		52.7		54.1		49.1		49.8		52.9		58.1		51.8		41.4		25.7		12.1

		NOR140_15642541_251126_0136.NBF		(2025/11/26 06:45:02.00)		(0:2:57.0)				N/A		69.7		70.3		78.4		92.2		73.7		59.3		57		61.5		65.1		63.7		58.6		61.5		61.3		67		63.6		54.3		44		31.6		76.6		79.4		80.8		76.7		71.5		72.4		70.1		75.4		73.2		65.1		60.7		48.1		56		64.3		68.2		67.9		62.3		66.1		65.1		71		67.7		58.5		46.2		31.2		44.6		49.3		51.7		53		49.8		50.3		52.6		56.7		51.8		41.3		23.6		11.6

		NOR140_15642541_251126_0137.NBF		(2025/11/26 06:48:02.00)		(0:2:57.0)				N/A		69.8		70.5		79.1		92.2		73.9		60.1		54.1		59		62.5		62.8		58.9		61		61.6		67.3		63.4		53.4		41.1		26.7		71.4		74.5		75.4		73.8		68.5		71.5		71.8		77.4		73		64.1		52.4		41.6		56.4		63.2		66.6		66.9		63.1		65.4		66.1		71.5		67.5		57.2		45.4		30.7		44.2		48.1		53		54.2		49.8		51.7		53.7		57.1		51.9		43.5		27.4		12.4

		NOR140_15642541_251126_0138.NBF		(2025/11/26 06:51:02.00)		(0:2:57.0)				N/A		68		68.9		78.5		90.5		72.1		56.1		54.9		62.1		62.7		62.8		58.6		59.6		59.4		65.3		61.8		52.6		41.1		28.3		74.5		82.8		77.2		74.6		74.6		70.8		68.9		76.2		73		63.6		53		42.8		53.2		61.4		66		66.7		61.8		64.1		63.6		69.5		66.1		56.6		45.6		32.6		43.4		46.7		51.9		52.6		46.7		49.6		51.5		53.3		46.9		38.5		25.9		13.3

		NOR140_15642541_251126_0139.NBF		(2025/11/26 06:54:02.00)		(0:2:57.0)				N/A		67.7		68.5		76.8		90.2		72.7		54		58		65.7		63.5		61.9		58.2		59.7		59.5		65.3		61.3		51.4		40.6		27.9		79.6		87.5		80.5		75.5		70.9		70.7		69.7		75.5		69.7		61.1		53.4		44.3		53.6		60.4		67		65.8		62.1		64.8		63.8		70.3		66		56		44.7		31.8		44.1		47.3		51.8		53.3		47.2		47.3		48.2		51.9		45.6		37.1		21.4		11.6

		NOR140_15642541_251126_0140.NBF		(2025/11/26 06:57:02.00)		(0:2:57.0)				N/A		70.1		70.8		78.3		92.6		73.7		61		55.3		63.9		66.5		65		58.3		61.8		62.1		67.5		63.9		53.8		42.3		30.5		77.1		83.4		85.1		81.1		71.8		73.4		75.2		75.8		72.6		62.2		54.2		48.1		54.7		65.7		67.7		67.5		61.2		65.3		64.3		71.1		67.7		57.6		45.3		32.3		44.5		48.6		54.7		54.5		49.2		50.7		52.7		58.5		54.5		43.1		25.2		12

		NOR140_15642541_251126_0141.NBF		(2025/11/26 07:00:02.00)		(0:2:57.0)				N/A		68.8		69.5		77.6		91.2		72.7		61.3		53.8		60.1		62.8		62.5		56.5		60		60.1		66.2		62.8		52.2		39.6		26		73.1		76.3		79.6		72.4		66.1		69.1		67.4		75.3		71.8		62.8		53.4		39.2		54.1		61.9		65.3		66.3		59.8		64		64		70.2		66.6		55.9		43.7		30.2		44.3		48.5		52.8		53.7		49.1		51.9		53.4		58.9		53.8		40.9		24.8		12

		NOR140_15642541_251126_0142.NBF		(2025/11/26 07:03:02.00)		(0:2:57.0)				N/A		69.3		70		77.2		91.8		73		60.4		49.8		54.8		61.4		63.9		58.6		61		60.9		66.7		63.2		53		43.4		33.7		58.3		69.2		71.2		76.5		72.7		72.2		69.1		75.1		72.3		63.4		57.8		54.9		52.8		57.4		64.8		67.8		61.6		64.9		64.3		70.5		66.7		56.9		47.2		33.9		44.5		49		54.2		55.3		51.3		52		53.1		57.6		53.8		44		28.7		13.5

		NOR140_15642541_251126_0143.NBF		(2025/11/26 07:06:02.00)		(0:2:57.0)				N/A		70.5		71.1		77.1		93		73.7		62.8		53.8		62.4		66		66.4		60.2		61.9		62		67.7		64.5		54.7		43.4		32		71.6		81.6		81.6		76.5		69.5		71.2		69		75.2		71.5		64.8		57.2		51.5		54.4		62.4		68.1		70.7		64		65.5		65.3		71.3		68.1		58.6		46.8		34.8		45.4		49.8		54		55.7		51		51.5		54.1		60.2		56.5		44.5		25.8		12.2

		NOR140_15642541_251126_0144.NBF		(2025/11/26 07:09:02.00)		(0:2:57.0)				N/A		71.6		73.1		85.6		94.1		75.6		59.7		50		56.2		61.1		66.5		65.5		64.7		63.6		68.8		65.5		56.2		45.8		32.3		61.6		70.1		72.4		77.1		83.2		80.6		75.9		79.9		80.4		78.6		71		56		52.8		59.5		64.8		71		64.9		66.9		67		73		69.3		59.1		46.5		33.4		44.7		48.4		53.4		56.4		50.8		50.9		52.2		57.3		53.1		41.6		24.6		11.9

		NOR140_15642541_251126_0145.NBF		(2025/11/26 07:12:02.00)		(0:2:57.0)				N/A		69.4		70		77.2		91.9		73.1		61.8		56.4		65.9		66.5		64.1		59.4		62.1		61.6		66.8		63		53.5		42		29.5		75.1		87.7		80.4		75.3		72.6		72.4		71.8		75.9		70.5		68.5		57.2		49.3		55.8		67.4		70.5		67.2		62.4		66		65		70.6		66.9		56.5		44.8		31.7		45.6		51.2		56.1		57.3		52.7		55		54.9		59		54.7		43.7		28.1		13

		NOR140_15642541_251126_0146.NBF		(2025/11/26 07:15:02.00)		(0:2:57.0)				N/A		71.4		72.1		79.1		93.9		74.4		65.1		51.5		59.2		66.4		68		66.9		66.2		64.2		68.7		65		55		43.8		30.2		64.2		72.6		80.5		82.6		86		84.9		77.1		77.2		73.8		64.8		58.7		44.3		54.5		62.8		69.1		71		66.4		66.4		66		71.8		68.1		57.7		46.9		33.2		46.1		51		57.7		58.8		55		56.2		57.7		62.5		57.9		46.6		32.6		16.1

		NOR140_15642541_251126_0147.NBF		(2025/11/26 07:18:02.00)		(0:2:57.0)				N/A		69.2		69.8		75.1		91.6		73.1		60.2		56.1		61.8		65.6		66.2		59.5		61.3		60.8		66.7		62.8		52.5		41.4		30.4		75.7		78.2		76.5		80.7		70.8		69.3		68.1		73.4		69.2		60.8		52.9		52.4		56.3		64.4		69.8		68.7		62.7		65		64.2		70.9		66.7		56.5		44.6		31.7		46.7		50.8		57.1		59.5		53		52.7		53.5		57.7		53.1		41.3		23.7		12

		NOR140_15642541_251126_0148.NBF		(2025/11/26 07:21:02.00)		(0:2:57.0)				N/A		70.7		71.3		76.8		93.2		74.1		62.8		55		61.9		65.7		68.4		62.4		63		62.3		67.9		64.8		55.2		42.1		28.7		71.5		77.8		78.1		85.6		76.7		71		68.6		75		71.4		67.7		50.5		41.9		57.1		63.6		69.4		69.5		64.8		66.2		65.7		71.4		68.3		58.7		46.1		32.6		46.6		52		56.9		58.2		53.3		55.2		55.3		59.7		56.5		45.6		30		14.9

		NOR140_15642541_251126_0149.NBF		(2025/11/26 07:24:02.00)		(0:2:57.0)				N/A		69.8		70.5		76.7		92.3		73.3		61.7		58.1		64.4		68.6		70.5		64.2		63.6		62.7		67.1		63.4		53.6		43.8		34		79.4		83.1		85.4		81.7		77.9		74.4		72		74.7		70.8		64.2		57.4		50.9		59.4		66.3		72.9		75.3		67.8		66.6		65.8		70.7		66.7		56.9		46.7		35.4		46.1		51.1		57		58.1		53.6		55		55.3		57.2		55.1		44.9		30.5		14.8

		NOR140_15642541_251126_0150.NBF		(2025/11/26 07:27:02.00)		(0:2:57.0)				N/A		69.9		70.6		75.7		92.4		73.4		62.6		58.6		66.7		67.5		67.8		61		63.3		61.8		67.2		63.6		53.9		44.2		34.3		77.6		84.8		82.1		82.7		73.4		77.1		68.5		73.7		70.1		64		56.7		48.9		59.7		70.1		70.7		71		64.2		65.8		64.7		70.9		67.2		57.3		46.5		35.8		46.9		53.2		59.2		60.4		55.4		55		56.3		59.8		55.3		45.9		31.4		16.8

		NOR140_15642541_251126_0151.NBF		(2025/11/26 07:30:02.00)		(0:2:57.0)				N/A		69.8		71.4		80		92.3		72.8		63		52		60.7		63.8		66.6		60		61.9		61.8		67.3		63.4		52.9		42.5		42.1		69.1		77.2		75.3		77.5		70.5		71.6		68.6		77.2		75.1		64.6		59		63.5		54.6		64.2		67.2		70.1		63		65.1		64.6		70.4		66.4		56.1		45		33.9		45.7		51.2		57.5		59.1		53.9		54.8		55.8		60.4		55.9		44.8		30.8		15.3

		NOR140_15642541_251126_0152.NBF		(2025/11/26 07:33:02.00)		(0:2:57.0)				N/A		70.9		71.7		78.1		93.4		74.1		62.7		51.5		59.1		64.6		66.9		61.4		63		62.6		68.2		64.8		54.3		42.6		29		62.8		74.8		80.2		77.9		70.6		72.8		69.2		75.8		72.7		63.6		53.9		42.1		54.4		62.2		67.3		70.3		64.7		66.1		65.7		71.5		68.1		57.3		45.3		32.5		45.8		51.7		57.2		58.7		53.9		55.7		56.1		59.1		56.2		46.7		34.8		19.3

		NOR140_15642541_251126_0153.NBF		(2025/11/26 07:36:02.00)		(0:2:57.0)				N/A		71.7		72.4		79.2		94.2		74.8		65.4		63.4		72.2		68.8		69.3		63.6		64.7		64.3		69		65.4		55.6		44.5		32.1		82		93.4		84.6		79.1		72.9		76.9		75.5		76.4		72.3		65.3		56.8		47.9		63.5		72.2		71.5		72.5		66.7		67.1		67		72.3		68.8		58.6		47.5		34.9		48		53.7		59.9		62.6		58.1		58		58.2		62.5		58.8		49.1		36.3		20.8

		NOR140_15642541_251126_0154.NBF		(2025/11/26 07:39:02.00)		(0:2:57.0)				N/A		70.6		71.2		75.9		93.1		72.7		65.1		52.4		62		66.9		68.3		62.2		63.5		62.4		67.9		64.5		54.7		46.2		38		64.6		73.2		75.4		79.5		73.5		71.4		67.8		74.6		69.4		63.7		63.4		62.3		55.2		66.2		70.1		71.1		64.5		65.9		64.4		70		66.8		57.2		48.1		36.9		47		53.8		61.1		62.9		58.2		57.4		57.7		62.4		58.7		49		36.3		21.8

		NOR140_15642541_251126_0155.NBF		(2025/11/26 07:42:02.00)		(0:2:57.0)				N/A		71.2		71.9		79		93.7		74		64.1		51.8		59.1		66.3		68.5		61.9		63.5		63		68.6		65		54.8		43.4		34.2		66.1		74.8		77.7		82.6		72.2		73.2		69.9		75.2		74.5		67.9		56.3		51.8		54.6		62		69.6		71.7		64.8		66.2		65.5		71.5		67.9		57.6		46.5		35.4		46.2		52.7		59.3		62.1		56.1		56.9		57		60.9		57.8		47.3		33.4		17.2

		NOR140_15642541_251126_0156.NBF		(2025/11/26 07:45:02.00)		(0:2:57.0)				N/A		69.8		70.4		76.6		92.3		73.4		62.2		55.9		62.3		66.2		68.3		61		62.4		61.5		67.3		63.5		53.2		42		32.3		72.5		79.7		79.2		83.9		72.9		70.8		68.3		74.8		70.3		61.1		53.2		53.3		58.5		64.7		69.8		70.2		64.1		65.8		64.7		71		67.2		57		46.2		34.8		47.1		52.5		58.4		60.5		55.1		55.7		55.8		59.5		55.3		45.1		30.8		15.8

		NOR140_15642541_251126_0157.NBF		(2025/11/26 07:48:02.00)		(0:2:57.0)				N/A		71.7		72.3		79		94.2		74.8		65.9		58.3		64		66.3		67.2		61.8		63.8		63.7		69.1		65.4		55.3		43		30.3		77		78.5		75.8		79.6		70.8		70.9		74.4		77.1		72.6		63.2		53		47.4		59.8		67.7		69.3		70.1		64.5		67		67.1		72.3		68.5		58.8		46.4		33.6		48.7		53.4		60.5		61.2		56.8		58.1		57.8		63		59.7		48.9		35.1		20.5

		NOR140_15642541_251126_0158.NBF		(2025/11/26 07:51:02.00)		(0:2:57.0)				N/A		72		72.5		77.8		94.4		75.5		61.7		57		64		66.9		69.2		62		63.8		63.2		69.3		66		55.6		44		31.5		75.4		82.6		78.9		80.6		70		70.8		69.2		75.8		72.5		64.1		60.5		50.6		56.6		66.5		70.2		72.8		65.3		67		66.5		72.8		69.6		59.1		47.3		34.2		47.7		53		58.6		59.1		53.3		52.2		54		59.1		55.5		42.6		28.7		12.8

		NOR140_15642541_251126_0159.NBF		(2025/11/26 07:54:02.00)		(0:2:57.0)				N/A		70.6		71.7		79.1		93.1		74.2		55.6		56.5		63.1		66.3		68.4		61.2		62.7		62.3		67.7		64.6		55.6		44.7		32.9		77.5		84.9		84.1		80.6		70.4		73.3		75.4		78.2		72.7		67.8		61.1		48.4		56.4		63.5		69.5		72.2		65.3		66.8		66.1		71.2		68.3		59.3		48		36.3		46.4		50.4		56		56.6		50.6		50.7		51.2		52.7		46.8		38.7		24.5		13.8

		NOR140_15642541_251126_0160.NBF		(2025/11/26 07:57:02.00)		(0:2:57.0)				N/A		70.7		71.3		76.7		93.2		74		62.8		55.1		62.4		65.5		66.6		61.1		62.5		62.3		68.1		64.6		54.5		43		34.7		72.6		78.1		77.4		79.8		72.5		70.1		69.6		75		71.8		64.5		58.8		60.2		56.8		65.3		69.2		69.7		63.7		65.9		65.2		71.5		68.2		57.6		46.8		33.6		47.1		52		57.7		59.6		54.9		55.2		55.5		60.1		55.9		45.3		31.5		17

		NOR140_15642541_251126_0161.NBF		(2025/11/26 08:00:02.00)		(0:2:57.0)				N/A		72.2		72.7		80.9		94.6		75		66.8		56.7		64.4		67		68		63.6		65.2		63.9		69.4		65.9		56.7		52.6		43.3		74.7		85		79.8		75.2		76.4		78.6		73.3		75.8		74.9		72.4		73.3		64.9		56.1		65.1		70		71		66.1		67.4		66.7		72.3		68.9		59.7		48.2		36		47.6		53.3		59.8		63		58.1		59.7		59.2		64		60.3		50		36.3		20.8

		NOR140_15642541_251126_0162.NBF		(2025/11/26 08:03:02.00)		(0:2:57.0)				N/A		72.3		72.9		77.1		94.8		75		67.7		54.3		61		67.8		67.8		62.5		64.4		64		69.9		66		55.2		43.4		33		67.4		73.4		80.9		79.4		71.9		70.5		70.6		75.2		71.2		62.6		60.6		53.8		56.9		64		70.8		70.6		64.9		67.2		66.7		72.7		68.6		57.6		45.9		34.3		48.2		54.5		61.5		62.3		58.6		60.1		59.2		65		61.6		51.1		36.8		22.8

		NOR140_15642541_251126_0163.NBF		(2025/11/26 08:06:02.00)		(0:2:57.0)				N/A		71.5		72.1		77.3		93.9		74.4		66.8		53.8		61.7		68.5		68		62.9		64.4		63.6		68.8		65.2		54.9		44.6		39.4		74.8		76.1		78.8		77.1		72.5		70.8		71.2		75.1		71.5		61.9		56.4		61.2		55.9		65		72.1		71.3		65.4		67.2		66.4		71.9		68.2		57.7		47.7		38.8		47.6		54.3		61.6		62.2		58.8		59.8		59.1		63.9		60		50		38.3		24.7

		NOR140_15642541_251126_0164.NBF		(2025/11/26 08:09:02.00)		(0:2:57.0)				N/A		71.1		71.6		77.2		93.6		73.9		65.9		53.3		63.3		68.1		68.8		62.8		63.7		62.9		68.6		64.7		54.4		44.9		37.4		66.3		77.2		78		77.7		72		71.6		69.4		75.2		71		61		61.5		60.2		56		66.5		71.1		72		65.4		66.4		65.8		71.6		67.4		57.5		47.1		37.4		48		55.6		62.2		64.3		58.7		59		58.2		62.9		59.7		49.3		36.3		22.8

		NOR140_15642541_251126_0165.NBF		(2025/11/26 08:12:02.00)		(0:2:57.0)				N/A		72		72.6		77		94.5		74.9		67.1		52.8		60.3		68.8		69		63.6		64.4		63.7		69.6		65.6		55.1		45		38.7		70.6		73.3		77.4		81.4		74.6		72.2		70		75		70.8		62.6		62.8		61		55.1		63		71.4		71.5		66.3		67.2		66.4		72.6		68.6		58		46.9		35		47.1		55.1		64.6		63.2		58.7		60.4		59.3		64.4		60.5		50.2		37.9		25.1

		NOR140_15642541_251126_0166.NBF		(2025/11/26 08:15:02.00)		(0:2:57.0)				N/A		71.5		72		76.6		94		74.1		67.3		54.3		61.5		68		68.1		62.5		63.8		63.6		68.9		65.2		54.7		43.6		32.1		65.8		73.7		77.3		78.3		74.3		69.8		70.8		75.1		69.6		60.2		54.6		52.5		57.1		64.9		70.6		71.3		64.8		66.4		66.4		71.6		68		57.3		46.6		35.2		48.3		55.4		63.6		62.7		58.6		59.3		59.1		64.7		60.5		49.5		36.7		23.2

		NOR140_15642541_251126_0167.NBF		(2025/11/26 08:18:02.00)		(0:2:57.0)				N/A		70.3		70.9		76.8		92.8		73.4		65.9		53.3		63		70.9		69.6		63.4		64		62.6		67.6		64.1		54.5		45.2		38.9		66.2		80		79.2		78.3		73.1		72.4		68.7		75.1		70.6		61.5		58.3		59.3		56.1		65.1		73.4		72.4		65.6		66.3		65.3		70.8		67.1		57.2		48		39.9		47.9		57		66.9		65.1		59.5		60.5		58.8		62.3		59.6		50.7		39.6		26.5

		NOR140_15642541_251126_0168.NBF		(2025/11/26 08:21:02.00)		(0:2:57.0)				N/A		69.2		69.8		75.6		91.7		72.9		63.3		56.8		63.3		70.8		69.9		63.1		62.6		61		66.5		62.8		53.5		44		42.7		78.1		80.2		78.9		77.9		74.6		70		68.3		74		70		60.4		60.3		67.3		55.5		64.2		73.2		73		65.2		65.8		63.9		70.3		66.6		57.1		46.9		37.4		46.9		55.7		67		65.1		59.3		57.5		56.5		60.3		56.1		47.2		37.3		24.3

		NOR140_15642541_251126_0169.NBF		(2025/11/26 08:24:03.00)		(0:2:56.0)				N/A		70.3		71.2		82.2		92.8		73.4		64.5		58.5		64.4		70.7		71		70.1		66.2		63.1		67.4		63.7		54.8		45.8		45.1		79.4		82.7		83.7		82.8		89.9		83.5		78.8		79.4		71.4		62.5		57		66.6		58.2		65.6		73.2		74.4		68.4		67.3		65.2		70.7		67.1		58.1		49.2		42.5		48.1		56.3		65.7		65.1		59.5		58.9		57		61.2		57.6		48.6		37.9		25.2

		NOR140_15642541_251126_0170.NBF		(2025/11/26 08:27:02.00)		(0:2:57.0)				N/A		71		71.8		77.9		93.5		73.4		66.8		60.9		63.6		70.4		71.2		64.6		65.7		63.3		68.3		64.5		54.8		48.6		50		82.6		82.5		78		81.9		73.5		77.8		69.9		73.7		69.6		64.5		75.2		78.7		56.8		65		73		74.5		67.3		68.1		65.8		70.8		67.1		57.3		47.6		37.7		47.5		55.9		66.2		66.1		60.2		60.5		59.6		63.8		60.5		50.1		38.2		24.8

		NOR140_15642541_251126_0171.NBF		(2025/11/26 08:30:02.00)		(0:2:57.0)				N/A		70.9		71.5		75.3		93.4		73.5		67.1		55.2		62.7		68		69.1		64		64.1		62.9		68.4		64.5		54.4		46.3		34.2		72.3		79.6		76.6		80.1		76.2		75.1		72.6		73.6		69.8		61.9		63.7		53		56.9		64.2		70.7		72.2		66.5		66.7		65.2		71		67		57.2		47.9		36.8		47.2		53.9		62.7		61.9		57.2		58.9		59.1		64.3		60.8		49.7		35.6		20.5

		NOR140_15642541_251126_0172.NBF		(2025/11/26 08:33:02.00)		(0:2:57.0)				N/A		71.6		72.4		81.2		94.1		74.6		66.8		52.8		58.8		67		70.1		66.5		65.7		64		69.1		65.1		54.9		45.7		35		63.8		74.5		76.6		85		86.1		83		78.6		78.2		70.9		62.8		64.1		57.3		55.9		61.4		69.5		72.9		66.2		66.9		66.3		72		68.1		57.9		47.1		35.7		47.1		53.6		62.8		63		57.4		59.2		58.9		63.8		60.3		49.2		36.9		22

		NOR140_15642541_251126_0173.NBF		(2025/11/26 08:36:02.00)		(0:2:57.0)				N/A		71.4		72		76.7		93.9		74.4		66.5		51.7		58.4		67		68.7		62.5		63.7		63.1		68.9		65.2		54.7		44.2		39.5		61.9		71.1		75.8		79		72.6		70.2		69.6		74.3		71.4		66.4		63.8		61.3		54.2		61		69.9		71.9		65.2		66.3		65.4		71.8		68.3		57.7		46.3		35.7		47		53.3		62.3		63.3		58.2		59.2		59		64		59.3		49		37.1		22.8

		NOR140_15642541_251126_0174.NBF		(2025/11/26 08:39:02.00)		(0:2:57.0)				N/A		70.8		71.4		77.7		93.3		74.1		64.2		57.9		65.2		67.8		67.5		62.1		63.3		63.4		68.1		64.4		54.5		43		31.4		75.2		81.4		80.1		79		76.1		72.6		73.6		76		71.8		62.9		54.5		48.9		59.3		67.1		71.5		70.7		65.4		66.8		66.5		71.6		68		58.3		46.7		33.7		47.4		53.4		61.1		61.7		55.5		55.3		56.5		61.7		57.1		46		32.4		18

		NOR140_15642541_251126_0175.NBF		(2025/11/26 08:42:02.00)		(0:2:57.0)				N/A		70.9		71.5		79.8		93.4		73.8		63.8		51		58.7		66.9		66.3		60.8		62.7		62.4		68.5		64.5		54.3		43.2		30.4		62		73.8		75		76.6		72		71.8		71.6		77.5		74.2		66.8		57.4		46.4		53.7		61		69.5		69.6		63.9		65.8		65.2		71.7		67.3		56.8		45.3		32.7		46		52.2		63.2		60.4		55.3		57.1		56.2		61		57.2		46		32.3		17

		NOR140_15642541_251126_0176.NBF		(2025/11/26 08:45:02.00)		(0:2:57.0)				N/A		71		71.6		76.4		93.5		74.2		64.1		52.2		60.1		66.8		67.5		60.9		63.1		62.7		68.5		64.6		54.1		42.2		30.2		63.6		74.9		79.1		80.2		70.4		70.2		69.5		74.9		70.2		61.7		52.6		44.7		55.1		63.2		69.8		70.8		64		66.1		66		71.9		67.8		57.4		45.5		33.6		46.7		52.7		60.4		61.1		55.8		57.5		56.5		61.2		57.8		46.8		33.7		20.1

		NOR140_15642541_251126_0177.NBF		(2025/11/26 08:48:02.00)		(0:2:57.0)				N/A		72		72.7		78.4		94.5		74.5		66.7		52.7		60.2		68		67.7		62.1		64		64		69.5		65.7		55.7		47.6		43.1		69.3		76.1		78.9		81.3		70.4		72.7		72.5		74.7		72.9		69.3		65.5		64.4		55.1		63		71.1		70.2		65		66.4		66.4		71.9		68.5		58.3		48.5		40.3		46.9		53.8		61.9		61.2		57.1		58.5		58.7		64.1		60.3		49.6		35.8		21.7

		NOR140_15642541_251126_0178.NBF		(2025/11/26 08:51:02.00)		(0:2:57.0)				N/A		70.7		71.3		75.5		93.2		73.8		65.6		56.5		62.2		66.5		67.4		62		63.2		62.6		68.2		64.3		53.8		42.5		32.1		75.4		77.5		74.9		77.5		74.2		73.7		67.4		73.6		69.5		60.2		53		47.8		57.7		64.9		69.4		70.7		64.5		66		65.6		71.5		67.6		56.8		45.2		34.4		48.2		54.1		62		62.1		57.1		58.4		57.9		62.9		58.8		48.5		35.8		22.1

		NOR140_15642541_251126_0179.NBF		(2025/11/26 08:54:02.00)		(0:2:57.0)				N/A		71		71.6		76.8		93.5		73.7		65.7		59.4		62.8		69.3		72		63.8		63.8		62.8		68.4		64.7		55.1		45.9		38.8		75.9		77.5		80.1		83.8		74.1		71.3		69.7		75		70.3		66.1		64.6		60.5		61.7		66.2		71.9		75.5		66.7		66.2		65		71.2		67.6		57.8		47.8		38.1		48.2		55.3		65		65		59.2		60.2		59.1		62.6		58.9		49.2		37.5		23.2

		NOR140_15642541_251126_0180.NBF		(2025/11/26 08:57:02.00)		(0:2:57.0)				N/A		70		71.3		80.1		92.4		72.7		65.6		60.4		67.2		69.9		67.8		62.3		64.1		62.2		67.1		63.7		55		47.1		35		79.8		88		85		75.8		71.4		77		69.7		73.3		74.7		74.2		70.3		55.7		61.3		69.8		73.4		70.6		65		66.3		65.1		69.8		66.6		57.5		47.6		36		47.7		54.4		63.1		63		57.9		59.3		58		62.8		59.1		48.3		36.2		22.6

		NOR140_15642541_251126_0181.NBF		(2025/11/26 09:00:02.00)		(0:2:57.0)				N/A		71.7		72.3		77.2		94.2		74.8		65.9		52.8		60.9		67.1		68.2		62		64.1		63.5		69.3		65.3		54.8		44.4		43.9		63.6		75.9		75.6		78.8		69		70.4		69.3		75		71.1		62.9		58.5		71.5		55.9		63.3		69.3		70.9		64		67.1		66.5		72.4		68.4		58		46.2		34.8		46.9		54.9		63.9		63.5		59.1		59.1		58.3		63.1		59.6		49.7		37.6		23.2

		NOR140_15642541_251126_0182.NBF		(2025/11/26 09:03:02.00)		(0:2:57.0)				N/A		71.5		72.1		77.6		94		74.6		65.7		53		64.3		67.5		71.3		64.4		64.5		63.2		69		65.1		54.9		43.8		34.6		65.9		83.5		78		84.7		81.5		76.5		70		76		70.7		64.7		57.3		59		56		65.6		70.3		74.7		66.8		67.3		66.2		72.2		68.3		58		47.5		35.8		47		53.8		62.4		62		56.7		57.9		57.7		63		58.8		48.3		36.3		21.6

		NOR140_15642541_251126_0183.NBF		(2025/11/26 09:06:02.00)		(0:2:57.0)				N/A		71.2		72.1		84.6		93.7		74.1		63.2		52.9		60.8		65.8		69.6		71.2		69.8		67.8		67.5		63.6		54.1		43.5		34.6		69.8		80		78.6		81.8		89.7		89.5		85.6		76.7		72.7		65.6		57.8		54.6		55.1		62.9		68.5		73.1		71		67.7		67.7		71		67.1		57.5		46.6		34.9		45.4		52		60.2		59.9		53.6		56.3		55.6		60.1		56.9		44.3		30.7		17

		NOR140_15642541_251126_0184.NBF		(2025/11/26 09:09:02.00)		(0:2:57.0)				N/A		70		70.5		76.2		92.5		73.1		61.7		54.8		59.6		66.5		66.1		61.7		63.2		62.3		67.4		63.6		53.7		43.3		35.8		69.7		71.1		80		76.2		72.5		73.2		69		73.9		70.5		67.6		60.4		60.7		58		63.1		69.3		69.1		64.5		66		65.6		70.5		67.1		57.3		46.1		33.9		47.1		52.6		60.6		59.6		54.8		55.2		55.1		58.6		54.6		45.3		32.1		15.9

		NOR140_15642541_251126_0185.NBF		(2025/11/26 09:12:02.00)		(0:2:57.0)				N/A		70.5		71.2		78.1		93		74.6		61.3		56		62.6		66.8		66.2		60.1		63		62.5		68		64.2		54.2		42.4		33.9		74.2		78.3		79.4		77.6		71.7		73.8		70.5		76.7		71.7		65.4		55.2		54.5		56.6		65.4		70.4		69.6		63.5		66.9		66.4		72		68.7		58.4		46.3		33.7		47		53.4		59.4		57.8		50		54.3		54.5		58.9		53.7		42.4		28.7		12.7

		NOR140_15642541_251126_0186.NBF		(2025/11/26 09:15:02.00)		(0:2:57.0)				N/A		71.3		71.8		76.1		93.8		74		63.7		51.7		59.6		67.5		67.4		61		63.7		63.1		68.8		65		54.5		43.4		35.8		61.3		74.8		77.1		76.6		67.7		71.7		68.5		74.6		70		62.3		55.1		58.6		54.5		62.6		70.6		70.6		63.7		66.4		65.5		71.4		67.8		57.5		46.5		34.4		46.1		53.5		60.3		61.2		56.4		57.6		55.9		60.4		57.8		46.2		34.7		21.3

		NOR140_15642541_251126_0187.NBF		(2025/11/26 09:18:02.00)		(0:2:57.0)				N/A		70		70.6		75.9		92.5		73		63.3		51.1		61.2		65.1		67.8		61.7		62.4		62.5		67.5		63.6		53.1		42.9		33.3		61		79.2		76.7		78		75.4		70.3		71.5		74		70.2		62.2		57.4		52.8		54.2		61.6		68.2		71.9		64.2		65.6		65.7		70.6		66.5		56.2		44.6		33.1		45.4		51.7		57.5		59		53.3		55.5		56.2		60.4		57.3		45.8		31.5		17.2

		NOR140_15642541_251126_0188.NBF		(2025/11/26 09:21:02.00)		(0:2:57.0)				N/A		71.8		72.3		77.2		94.3		75.5		62.5		51.6		57.5		65.1		67.3		62.1		64.3		64.1		69.1		65.5		55.7		46.5		35.6		65.4		68.7		78.4		80.1		73		73.7		72.7		75.3		70.9		64.7		58.2		51.5		54.4		60.6		68.5		70.6		65.7		68.1		67.8		72.9		69.2		59.3		51.9		38.6		45.6		50.7		55.8		58.6		53.7		56.4		56.2		59.5		55.5		44.5		30.4		15

		NOR140_15642541_251126_0189.NBF		(2025/11/26 09:24:02.00)		(0:2:57.0)				N/A		70.4		70.9		76.7		92.9		74		61.8		57.7		66.5		66.3		67.8		60		63.7		62.2		67.9		64		53.8		43.2		32.6		77.7		85.3		83.6		80.8		70.2		78.1		69.6		74.8		70.1		63.1		55.5		47.1		56.8		64.3		69.3		71.4		63.4		66.8		65.9		71.7		67.6		57.5		46.5		35.3		45.4		50.6		55.8		57		52.4		54.7		55.2		59.3		54.2		42.7		28.2		14.8

		NOR140_15642541_251126_0190.NBF		(2025/11/26 09:27:02.00)		(0:2:57.0)				N/A		69.7		70.3		76.4		92.2		74.2		57.4		60.2		66.4		66.6		65.6		61		62.7		61.8		67.3		63.2		52.7		41.4		34		81.1		87.8		80.7		77.7		71.3		71.7		69.7		74.8		70.1		59.9		53.5		55.8		58.2		65.7		70.3		69.3		64.8		67		65.9		71.8		67.5		56.8		45		33		46.6		52.1		57.7		56.8		51.1		51.6		51.4		54.9		49.2		37.6		24		13.9

		NOR140_15642541_251126_0191.NBF		(2025/11/26 09:30:02.00)		(0:2:57.0)				N/A		70.5		71.1		77.3		93		73.6		64.4		51.4		61.4		67		67.3		62.6		63.6		63.1		67.9		64		54.7		45.9		32.6		62.3		79.9		78.5		78.4		76.6		76.1		75.7		74.6		71.1		70.9		64.2		50.2		54.3		63.6		70.4		70.8		65.1		66.5		65.8		71.3		67		57.4		47.3		35.5		45.6		51.4		58.9		60.4		55.9		56.5		56.8		61.7		57.9		46.4		32		17.3

		NOR140_15642541_251126_0192.NBF		(2025/11/26 09:33:02.00)		(0:2:57.0)				N/A		70.5		71.8		83.8		93		73.5		63.3		51.1		58.6		64.3		66.4		59.8		62.8		62		67.9		64.2		55.9		44		33		61.3		77		75.8		80.8		69.9		74.8		70.8		74.4		78.3		79.9		66.2		57.6		54		61.4		67.8		70		63.1		66.4		65.6		71.1		67.2		57.8		46.8		34.4		45.6		50.4		55.3		56.9		52.6		54.1		54.5		60.3		56.8		44.2		28		15.5

		NOR140_15642541_251126_0193.NBF		(2025/11/26 09:36:02.00)		(0:2:57.0)				N/A		70.2		70.7		76.4		92.7		73.3		60.8		54.2		59.4		64		66.9		60.4		62.3		61.8		67.7		63.8		53.2		41.5		30.7		68.6		72.7		74		79.1		71.1		70.8		69.1		73.8		71.3		61.4		52		48.4		56.9		62.3		67.6		69.8		63.2		65.1		65		70.8		66.9		56.4		44.9		33.6		46.6		51.6		55.1		56.7		51.2		52		52.4		58.3		53.4		39.4		22.4		12.6

		NOR140_15642541_251126_0194.NBF		(2025/11/26 09:39:02.00)		(0:2:57.0)				N/A		71		71.5		77		93.5		74.1		66		59.5		63.6		68.4		69		64.4		64.2		62.3		68.4		64.7		54.8		44.7		34.1		79.6		83.8		80.2		83.7		75.6		76		67.5		75.2		70.7		63.8		58.5		50.9		58.1		62.5		71.5		71.7		67.5		66.6		65		71.6		68.1		57.9		46.7		35.2		46.9		53.3		62.3		61.2		58		57.3		57.4		63.1		59.6		48.9		34		18.7

		NOR140_15642541_251126_0195.NBF		(2025/11/26 09:42:02.00)		(0:2:57.0)				N/A		69.8		70.5		75.9		92.3		73.3		60.1		55.5		61.7		66.4		69.1		62.9		62.7		61.5		67.2		63.7		53.3		42.2		29.7		76.4		83.7		82		83.3		75.9		72.5		67.7		73.8		70.4		61.7		54.9		46.6		56.1		64.1		69.7		73.2		66.1		66.4		65		70.7		67.2		56.8		45.3		32.9		46.1		51		56.8		56.1		52.1		53		52.7		57.1		53.6		42.1		28.8		14.9

		NOR140_15642541_251126_0196.NBF		(2025/11/26 09:45:02.00)		(0:2:57.0)				N/A		69.7		70.4		75.8		92.2		73.1		63.4		51.1		57.3		64.5		66.1		59.9		61.8		61.3		67.3		63.3		52.6		41.4		29.6		64		76.4		76.4		78.9		68.5		70.2		68.5		74		69.3		60.2		52.4		49.9		53.8		59.4		67.6		69.1		63.2		65.3		64.9		70.7		66.8		56.1		45.2		32.5		45.3		50.7		56.9		57.1		52.1		54.9		55.6		60.9		56.7		43.8		29.8		15

		NOR140_15642541_251126_0197.NBF		(2025/11/26 09:48:02.00)		(0:2:57.0)				N/A		70.4		71.1		76.7		92.9		73.5		62.8		59.3		66.5		66.8		65.2		59.6		62.7		62.2		68		64		53.5		41.5		28.3		80.1		90.4		81.2		77.4		68.3		74.9		70.6		75.3		70		62		53.6		47.4		56.8		65		69.4		68.6		62.9		65.7		65.4		71.1		67.1		56.7		44.1		31		46.4		50.8		56.9		56.8		52.3		53.3		54.8		60.2		56.3		44.3		28.7		14.6

		NOR140_15642541_251126_0198.NBF		(2025/11/26 09:51:02.00)		(0:2:57.0)				N/A		69.8		70.4		76.2		92.3		72.8		63.8		57.2		66.7		67.8		70.4		64.9		63.6		62.1		67.1		63.4		53.9		44.2		30.7		77.5		87.9		81		85.4		77.4		76.3		71		74.1		69.7		64.3		61.4		47.4		56.8		65.1		71.2		73.8		66.9		66.6		64.8		70		66.3		56.8		45.6		32.7		45.3		51.6		59.5		59.2		54.6		55.6		56		61.1		57.2		46.6		33.9		19.2

		NOR140_15642541_251126_0199.NBF		(2025/11/26 09:54:02.00)		(0:2:57.0)				N/A		70		70.7		76.4		92.5		73.3		62.5		53.3		59.5		66.8		67		60.7		62.2		61.8		67.5		63.6		52.8		41.2		31.1		74		82		83.2		78.9		73.2		72.2		68.5		74.5		70		63.4		53.3		52.3		54.7		61.4		70.1		70.7		63.7		65.8		65.1		70.8		66.9		56.6		44.8		33.4		45		50.9		58		58.5		52.9		54		54.3		59.9		55.8		44.2		30.3		16.3

		NOR140_15642541_251126_0200.NBF		(2025/11/26 09:57:02.00)		(0:2:57.0)				N/A		69.1		69.7		75.6		91.5		73.1		60.6		57.5		62.5		66.4		68.1		63.1		62.6		60.9		66.4		62.7		53.1		44.2		33.1		78.4		81.8		80.3		87.1		82.4		75.5		68.1		73.8		70.5		67		58.2		52.5		54.5		61.8		70.6		71.4		66		66.5		64.8		70.7		66.9		57.4		47.9		36.9		44.9		51.3		57.1		58		53.7		54.8		54.2		57.7		53.6		44.2		31.3		16.5

		NOR140_15642541_251126_0201.NBF		(2025/11/26 10:00:02.00)		(0:2:57.0)				N/A		70.6		71.1		77.3		93.1		73.3		62.1		55		63.5		66.4		67		63.3		63.8		62.6		68.1		64.2		53.9		42.7		36.3		71.1		79.2		76.6		77.3		75.5		74.2		70.2		75.5		71		60		52.1		56.2		57		65.9		69.9		70.4		66.1		66.7		65.3		71		67.2		57.1		46.1		34.7		45.6		52.1		59.1		59.6		54.7		56.1		56.3		59.2		55.4		45.4		32		17.4

		NOR140_15642541_251126_0202.NBF		(2025/11/26 10:03:02.00)		(0:2:57.0)				N/A		69.2		69.8		75.5		91.7		72.4		63.5		55.7		62.9		67.4		69.7		63.8		63		61.5		66.7		62.6		53		42.6		30.5		74.2		82.6		80.2		84		76.5		70.7		68.4		73.5		69.4		64.6		56.9		46.3		56.4		63.7		71.5		72.6		67.1		66.5		64.6		69.9		65.9		56.4		46.2		34.3		45.1		50.9		56.9		57.1		55.1		56		56		60.8		56.3		45.3		31.9		17.2

		NOR140_15642541_251126_0203.NBF		(2025/11/26 10:06:02.00)		(0:2:57.0)				N/A		72.2		73.1		84.2		94.7		74.1		67.6		54.6		62.4		68.6		70.6		73.2		70.8		66.2		69.3		64.7		55.1		46.9		37.9		73.6		80		83.8		85.3		89.6		89		80.7		82.4		74		68.1		66.8		58.5		56.8		65.3		71.6		73.9		74.5		68.7		66.6		71.5		66.9		57		46.8		36.5		46.7		53		61		61.8		57.7		59.7		59.3		64.5		60.8		49.9		37.3		23.4

		NOR140_15642541_251126_0204.NBF		(2025/11/26 10:09:02.00)		(0:2:57.0)				N/A		69.9		70.6		79		92.4		73.2		62.7		52.9		58.2		64.6		65.8		61.1		62.2		61.4		67.4		63.6		53.6		42.2		30		64.8		72		76.4		77.9		72.3		71.7		70		76.3		73.2		69.6		54		46		56.1		61.6		68		69.1		64.2		65.5		64.5		70.9		66.8		56.8		45.8		33		47.2		50.5		55.4		57		53.7		54		54.3		59.7		56.7		44.9		29.1		14.2

		NOR140_15642541_251126_0205.NBF		(2025/11/26 10:12:02.00)		(0:0:18.0)				N/A		72.1		72.7		74.3		84.8		73.2		69.7		57.4		62.5		67.8		69		63.1		65.1		63.5		69.7		65.7		55.1		43.6		31.9		65.9		70.8		74		73.6		66.1		68.8		66.2		72.5		67.8		57.6		48.2		41		61.3		66.6		71		71.1		64.5		66.9		64.6		70.9		66.9		56.6		45.7		35		49.3		54.8		63.1		66.3		61.2		62.7		61.9		67.2		63.4		52		40.2		26.2

		NOR140_15642541_251126_0206.NBF		(2025/11/26 10:24:39.00)		(0:2:20.0)				N/A		52.3		56		64.6		73.8		54.7		46.2		52		58.1		62.2		59.7		50.1		51		51.3		48.1		42.1		35.5		28		24.2		66.5		75.3		73.2		76.4		62.3		64.2		67.1		58.6		55.7		55.1		44.6		46.4		54.9		61.1		65.4		60.2		52.6		54.3		53.4		51.2		45		38.5		30.4		22.1		43.3		49.8		55.5		52		45.5		43		46.1		41.5		33.8		26.9		18.3		11.7

		NOR140_15642541_251126_0207.NBF		(2025/11/26 10:27:02.00)		(0:2:57.0)				N/A		50.9		53.4		61.8		73.4		53.2		44.8		48.8		55		58.9		56.6		48.2		46.9		47		48.2		41.7		34.8		30.3		14.4		58		68.1		72.7		71		57.5		61.2		62.3		60		54.1		54.8		52.6		32.9		51.5		57.7		61.1		59.4		50.6		49.4		48.8		51		44.3		37.1		32.4		14.2		43.8		49.1		52.6		50.8		44.5		42.3		41.8		40.9		33.6		24.8		14.9		11.3

		NOR140_15642541_251126_0208.NBF		(2025/11/26 10:30:02.00)		(0:2:57.0)				N/A		51.4		56.6		69.3		73.9		52.8		45.6		53.1		60.7		61.2		58.1		50.6		48.6		49.3		48		41.5		34.4		26.4		12.7		68.9		82.3		74.3		73.9		63.1		67.2		69.5		64.8		60		53.8		44.2		22.6		55.8		62.5		64.3		60.9		53		50.5		49.5		50.4		43.1		36.5		29.4		13.5		44.1		49.9		54.7		52.2		44.4		42.1		42.2		42.1		35.2		25.4		16.3		11.5

		NOR140_15642541_251126_0209.NBF		(2025/11/26 10:33:02.00)		(0:2:57.0)				N/A		51.8		54.4		66.1		74.3		53.2		46.5		48.8		55.6		59.9		58.4		48.7		47.3		47.6		49.3		43		35.6		26.3		13.8		60.9		66.9		72		72.2		63.4		62.8		65.7		62.3		59.2		52.8		41.4		28.2		51.3		58.4		61.9		60.6		50.7		48.6		49		51		44.2		37.6		28.8		13.8		43.8		50.5		54.6		52.1		44.7		42		41.9		43.7		37.4		27.1		16.7		11.3

		NOR140_15642541_251126_0210.NBF		(2025/11/26 10:36:02.00)		(0:2:57.0)				N/A		59.6		68.3		83		82.1		53.5		42.8		49.1		54.1		58.8		56.7		47.8		49.2		55.1		56.1		52.6		47.4		33.1		18.6		65.2		71.9		76.6		73.1		61.8		68.9		78.5		79		76.8		72.2		56.7		38.2		51.6		56.5		61.8		58.6		50.2		49.2		49.6		51.6		44.5		37.6		27.3		15.7		43.5		48.9		52.7		50.7		43.5		40		38.9		39.6		32.9		24.5		14		11.2

		NOR140_15642541_251126_0211.NBF		(2025/11/26 10:39:02.00)		(0:2:57.0)				N/A		51.4		52.6		63.7		73.9		54.2		43.3		49.7		54.9		60.6		57.8		52.5		50.8		47.6		48.7		41		32.3		23.1		13		68.1		69.9		78.4		75.4		68.9		66.7		60.8		61.1		52.8		45		37.5		27.4		51.7		57.2		64.1		61.1		54.5		53		50.3		51.8		44.1		35.3		25.5		13.7		43.2		48.6		51.7		50		43.9		40.6		38.6		40.2		32.3		24.3		15		11.4

		NOR140_15642541_251126_0212.NBF		(2025/11/26 10:42:02.00)		(0:2:57.0)				N/A		53.8		60.2		73.3		76.3		53.8		43.2		50.2		54.6		59.2		57.6		48.4		44.6		45.6		51.5		47.3		37.1		30.8		14.5		68.7		71.6		73.8		73.6		64.2		54.1		61.4		69.4		70.4		57.5		47.8		27.8		52.4		56.8		62.4		59.2		50.6		47.8		48.4		51.9		44.8		39.7		32.1		17.2		44		49.2		50.3		49		43.6		39.2		37.7		38.3		33.9		26		15.5		11.4

		NOR140_15642541_251126_0213.NBF		(2025/11/26 10:45:02.00)		(0:2:57.0)				N/A		51.4		52		60.2		73.9		53.3		48.1		49.3		58.4		65		59.9		50.5		47.5		47.1		48.3		43.2		35.9		26.2		17.4		62.9		78.8		82.5		72.7		60.4		54.3		55.7		57.8		53.4		44		42.8		36		52.1		60.1		67.8		62.5		52.5		49.7		49.3		50.6		44.8		38.1		28.4		19.8		43.9		51.4		58.2		54.2		47		44.2		43.9		44.3		40.2		32.1		19		11.4

		NOR140_15642541_251126_0214.NBF		(2025/11/26 10:48:02.00)		(0:2:57.0)				N/A		52.3		54.8		65		74.8		54.8		47.6		54.2		61.3		63.6		58.2		51.7		49.8		49.4		48.9		43.2		36.3		27.2		15.8		71.1		77.3		73.9		73.3		60.3		61.5		62.7		60.7		57.8		53.4		46		35.3		56.5		63.6		66.9		61.2		55.3		53.3		52.3		51.7		45.4		37.4		29.6		17.1		45.2		52.1		56.2		52.7		47.2		44.1		42.9		43.9		38.7		29.4		21.6		12.4

		NOR140_15642541_251126_0215.NBF		(2025/11/26 10:51:02.00)		(0:2:57.0)				N/A		50.5		51.4		60.7		73		53.2		44.3		51.8		59.2		63.4		57		49.7		46.6		46		47.9		41.8		32.8		27.3		16.5		65.8		74.7		76.1		67.4		59.4		56		57.1		58.1		53.2		44.8		43.5		33.5		54.5		61.9		66.9		59.7		52		49.6		49.5		50.9		44.8		35.5		29.7		16.4		44.9		51.5		58.1		52.1		44.9		42.6		40.6		40.8		35.5		27.4		21.4		12.6

		NOR140_15642541_251126_0216.NBF		(2025/11/26 10:54:02.00)		(0:2:57.0)				N/A		54		55.4		70.6		76.5		55.9		43.7		53.5		59.4		65.9		61.7		56.8		53.5		50.9		50.7		43.7		35.3		26.4		15.1		72.5		76		79.2		77.7		76.8		71.8		69.1		68		59.1		49		39.5		28.7		54.4		60.9		68		62.7		55.2		52.5		50.8		52.1		46.7		38.5		29.6		17		44.6		52.9		60.6		53.8		46.1		41.6		39.7		39.4		35		28		21.1		12.4

		NOR140_15642541_251126_0217.NBF		(2025/11/26 10:57:02.00)		(0:2:57.0)				N/A		51.2		52.7		60.7		73.7		54.3		43.5		50.8		58.5		64.1		61.5		50.1		47		46.5		48.5		42.6		34.3		27.1		15.7		69.1		78.1		80.1		80.1		70.5		55.5		56.7		58.9		52.8		48.8		44.5		33		52.1		59.3		67.8		64.4		52.5		50.2		50.1		51.6		46.1		37.1		29.7		17.3		43.6		50.7		57		52.6		43.6		40.5		39.4		39.7		34.9		28.8		21.7		12.7

		NOR140_15642541_251126_0218.NBF		(2025/11/26 11:00:02.00)		(0:2:57.0)				N/A		51.3		55.3		68.7		73.7		53		42.8		51.4		59		62.3		58.3		48.5		47.5		48		48		43.1		35.8		24.7		13.5		67.5		74.9		76.5		72.4		60.8		63.4		67.7		64		63.3		57.7		42.2		24.1		53.6		62.4		64.3		60.6		51.8		50.3		48.4		50.5		44.3		35.4		25.9		13.9		44.1		50.2		55.8		51.8		42.4		39.9		38.8		37.1		31.1		26.3		20.3		12.3

		NOR140_15642541_251126_0219.NBF		(2025/11/26 11:03:02.00)		(0:2:57.0)				N/A		50.8		54.2		65.7		73.3		53.5		43.5		50.3		55.5		59.8		55.9		48.9		48.6		47.4		47.6		42		33.9		23.8		14.2		62.8		71		71.9		70.9		63.6		66.7		66.8		59.9		59.1		54.6		40.3		35.8		53.2		58.3		61.9		58.9		52		51		49.7		51		44.9		36.3		26		14.2		44.8		49.3		55.7		50.1		42.2		39.6		38.4		40.3		35		26.9		20.1		12.3

		NOR140_15642541_251126_0220.NBF		(2025/11/26 11:06:02.00)		(0:2:57.0)				N/A		50.8		54.4		69.4		73.3		52.8		42.4		50.2		56.2		61.5		56.8		49		47.1		47.4		47.4		43		36.1		25.1		13.7		69.3		74		75.4		73.9		62.9		62.5		66.7		63.9		64		58.4		43.3		22.5		52.1		58		64.5		58.9		51.5		50		49.1		50.3		43.7		34.7		26.9		15		43.4		49.5		56.6		51.1		43		39		37.9		38.7		33.6		27.2		20		12.3

		NOR140_15642541_251126_0221.NBF		(2025/11/26 11:09:02.00)		(0:2:57.0)				N/A		49.6		53.9		69.6		72.1		51.3		41.8		50.4		56.6		60		57.5		47.5		45.4		45.7		46.7		41.3		34.2		27.3		13.1		64.7		75		71.6		69.8		59.5		62.7		68		64.5		63.1		58		47.5		26.3		52.9		58.2		62.7		60.6		50.3		47.2		45.8		49.1		42.7		35.1		26.6		13.6		44.4		49.6		55.3		50.1		42.1		39		38.4		37.7		33.2		27.3		20		12.3

		NOR140_15642541_251126_0222.NBF		(2025/11/26 11:12:02.00)		(0:2:57.0)				N/A		52.5		56.6		72		75		53.1		45.4		55.3		55.8		61.1		58.8		49.2		48		49		49		44.9		38.2		26.1		15.8		73.1		69		72.9		69.7		62.9		65.4		69.2		66.1		66.6		61.1		45.6		28.1		58		58.7		64.3		61.8		51.6		49.1		48.7		50.6		44.7		37.8		29		19.5		43.8		50.6		54.7		52.7		44.3		43		41.7		42.1		36.2		27		16.8		11.5

		NOR140_15642541_251126_0223.NBF		(2025/11/26 11:15:02.00)		(0:2:57.0)				N/A		52.4		56.1		71		74.9		54		44.2		50.8		59.3		64.8		60.1		49.7		47.5		47.8		49.4		44.7		37.7		26.9		22.4		64.7		81.5		79.4		79.4		64.1		62.5		65.4		66.7		65.5		60.8		46.8		45.7		53.5		61		67.7		63.1		53		50.7		49.5		51.7		45.8		36.9		27.6		16.4		44.7		51.1		56.6		51.8		43.3		39.7		39.3		40.9		35.5		25.7		15.6		11.4

		NOR140_15642541_251126_0224.NBF		(2025/11/26 11:18:02.00)		(0:2:57.0)				N/A		54.5		62.5		76.6		76.9		52		42		51.1		54.6		57.7		55.2		46.9		46.8		50.7		50.3		47.8		42.1		28.8		15.8		62.8		66.2		71.7		68.1		53.9		63.4		71.8		71.9		70.9		66.3		52		33.4		54.2		57.5		59.9		57.7		49.1		48.3		46.7		50.2		43.5		35.2		27		19		45		49.5		51.6		50.9		43.6		39.3		39		37.8		32.4		23.4		14.7		11.3

		NOR140_15642541_251126_0225.NBF		(2025/11/26 11:21:02.00)		(0:2:57.0)				N/A		51.5		52.8		58.7		74		53.8		47.5		53.6		59.7		62.8		58.7		50.4		47.6		46.6		48.5		43.8		35.9		33.2		20		72.2		76.3		74.4		75.4		62		58.8		54.6		56.6		54.3		46.1		55		41.7		56.3		61.7		65.8		61.7		52.7		50.6		49		51		46.5		39		34.4		19.7		45.3		52.1		55.7		52.5		46.8		44.2		42.6		44.1		39.6		31.8		23.3		13.8

		NOR140_15642541_251126_0226.NBF		(2025/11/26 11:24:02.00)		(0:2:57.0)				N/A		50		51.2		59.4		72.5		52.2		46.1		54.6		58.7		63.5		58		49.9		45.7		45.4		47.5		41.1		32.4		25		13.3		70		74.6		77.2		74.5		62.9		57.1		60.1		57		51.9		44.4		45.2		23.1		57.9		61.9		65.2		60.3		52		47.6		46.8		50.3		43		34.4		27.6		14.3		45.7		51.9		57.4		53.7		46.3		42.6		41.9		42.1		37.4		28.1		17.3		11.5

		NOR140_15642541_251126_0227.NBF		(2025/11/26 11:27:02.00)		(0:2:57.0)				N/A		50.6		52.2		63.1		73.1		53.1		44.7		55		60.5		63.7		58.3		48.4		47		45.7		48.1		42		33.3		26.8		15.2		70.7		77.4		75.5		70.6		60		57.5		56.4		61.3		54.7		46.4		46		30.1		58.5		63.4		66.9		61		51.4		50.9		48.8		50.5		44.8		36.3		29.1		17.4		45.2		51.9		56.5		52.1		43.4		41.8		40.4		41.1		35		26		17.3		11.7

		NOR140_15642541_251126_0228.NBF		(2025/11/26 11:30:02.00)		(0:2:57.0)				N/A		50.5		51.6		61.7		73		52.7		43.3		53.6		57.6		62.3		57.9		50.3		45.4		45		48		42.5		33.2		24		26		69.7		75.9		77.4		71.3		67.8		57.1		57.8		59.5		54.7		44.8		39.3		49.7		56.3		58.9		65.3		61.2		51.9		48.3		46.8		50.6		45		36.7		27.6		16		46.2		51.3		55.1		52		43.7		39.6		38.6		40.2		34.3		25.1		15.9		11.6

		NOR140_15642541_251126_0229.NBF		(2025/11/26 11:33:02.00)		(0:2:57.0)				N/A		51.8		52.3		61.8		74.3		55.6		45.4		52.7		58.4		60.8		60.3		57.6		52.6		47.4		47.8		41.6		32.3		22.8		13.3		65.4		75.7		71.8		74		67.9		62		56.2		59.6		54.2		45.9		34.7		24.2		55.8		60		64.3		63.3		62.1		57.6		51.2		49.9		43.6		35.4		26.2		14.3		45.1		51.3		53.6		52.6		48.1		43.2		41.5		41.8		35.9		25.1		15.5		11.5

		NOR140_15642541_251126_0230.NBF		(2025/11/26 11:36:02.00)		(0:2:57.0)				N/A		53.1		54.8		69.8		75.6		54.2		45.7		53.1		58		62.1		61		51.4		47.7		47.2		49.3		45.9		42.7		30.4		20		68		76.1		75.3		74.7		68.6		60.3		65		63.7		64.2		63.5		49.9		40.2		56.1		60.6		64.5		63.6		53		50.2		49.3		50.7		46.3		38.5		30.2		20.1		46		52.3		56.6		53.5		44.5		43.2		40.7		43		36.3		27.1		16.9		11.7

		NOR140_15642541_251126_0231.NBF		(2025/11/26 11:39:02.00)		(0:2:57.0)				N/A		50.5		51.1		58.5		73		53.1		45		51.1		58.2		65.3		61.2		49.2		46.6		45.4		48		41.8		33		26.3		18.4		62.6		75.8		76.4		78.8		60.7		55.8		53.9		56.7		51.2		44.2		41.9		34.1		53.8		59.6		69		62.2		51.2		49.7		49.3		50.7		44.5		36.3		30.1		21		45.6		52.2		57.2		53.5		45.4		42.4		40.6		41.7		35.8		26.5		17.4		11.7

		NOR140_15642541_251126_0232.NBF		(2025/11/26 11:42:02.00)		(0:2:57.0)				N/A		51.1		52.8		62.4		73.6		53.5		44.2		53.4		59.9		60.8		57.7		51.7		47		46.2		47.8		43.5		39.2		29.5		20.6		71.1		79.8		74		71.5		63.8		57.2		56.6		57.8		58		61		45.1		42.3		54.7		61.5		64.2		60.6		55.5		50.6		49.4		50.4		44.7		38.6		31.6		22.6		44.5		50.5		52.9		51.4		44.9		40.3		39.1		40.8		35.1		26.9		18.3		12.3

		NOR140_15642541_251126_0233.NBF		(2025/11/26 11:45:02.00)		(0:2:57.0)				N/A		52.2		53.7		64.1		74.6		55.4		44.6		52		56.9		61		60.1		50.1		47.1		46.6		49.1		44.8		38.5		33.4		22		73		72.2		72.9		71.2		62.4		57.1		62.4		59.5		59		56.4		58.6		45.9		52.5		59.7		64.3		63.7		53		50.7		50.1		52.7		47.7		39.1		33.5		24.2		44.1		50.7		54.6		52.6		44.7		41.2		39.4		41.3		35.7		28.3		17.8		12

		NOR140_15642541_251126_0234.NBF		(2025/11/26 11:48:02.00)		(0:2:57.0)				N/A		50.1		50.8		59.5		72.6		53.1		43.7		51.9		57.3		61		61.9		49.5		46		44.6		47.7		41.5		33.7		26.6		19.7		69.9		72.5		72.2		79.8		63.5		55.9		53.5		56.8		52.3		46.2		39.4		43.6		53.7		59.9		63.9		62.9		52.1		48.5		47.5		50.9		43.9		36.8		30.1		22.5		44.5		50.5		55		52.1		43.5		40.4		38.5		40.4		34.5		27.4		19		12.5

		NOR140_15642541_251126_0235.NBF		(2025/11/26 11:51:03.00)		(0:2:56.0)				N/A		50.1		50.8		60.9		72.6		51.9		45.7		49		55.7		60.9		58.2		50.9		46.2		44.5		47.6		41.7		33.5		28.6		20.8		58.9		68.1		73.2		73.8		68		56.4		54.6		58.3		54.7		44.5		42.5		32.8		51.7		58.9		64.1		60.7		51.7		48.2		46		49.6		43.3		35.6		31.7		23.8		44		48.9		51.6		51.1		44.5		42.2		40.6		42.2		37.2		28.5		21.8		15.5

		NOR140_15642541_251126_0236.NBF		(2025/11/26 11:54:02.00)		(0:2:57.0)				N/A		50.9		51.6		61.4		73.4		53.6		45		51.8		57.6		64.9		60.8		50.1		46.6		45.8		48.5		42.2		33.5		26.9		19.7		67.9		70.4		75.7		75		59.3		54.4		56.5		59.6		52.3		44.3		42.7		37.5		53.5		59.9		67.8		62.9		53.2		49.5		48.8		51.3		44.9		36.5		30.3		21.5		44.3		53.9		58.5		55.1		44.2		42		41.3		41.6		35.4		25.6		20.1		15.6

		NOR140_15642541_251126_0237.NBF		(2025/11/26 11:57:02.00)		(0:2:57.0)				N/A		50.6		51.5		60.4		73.1		54.5		42.9		52.9		59.7		61.3		58.3		48.8		45.9		45.2		48.1		42.6		33.7		32.8		19.5		68.1		78.6		73.3		71.6		65.2		60.1		55.1		57.5		55.5		47.5		48.3		40.5		54.9		60.9		64.3		60		51.8		49.7		49.4		51.8		46.8		37.3		37.5		21.5		45		50.9		55.9		51.7		43		38.7		38.5		39.2		33.7		25.8		19.5		14.8

		NOR140_15642541_251126_0238.NBF		(2025/11/26 12:00:02.00)		(0:2:57.0)				N/A		48.6		49.6		60		71.1		50.8		43.2		51.4		56.9		60.6		57.3		48.6		44.8		43.3		46.2		40.1		30.9		28		17		68.7		73.1		73.8		71.3		57		55.2		53.6		57.5		54		44.4		46.3		35.5		53.8		58.8		63.1		59.7		51.4		47		45.3		48.7		42.1		33.5		29.3		19		44.7		50.5		55.5		53		44.9		40.1		38.8		39.1		33.6		24.8		17.3		13.3

		NOR140_15642541_251126_0239.NBF		(2025/11/26 12:03:02.00)		(0:2:57.0)				N/A		51.9		52.9		63.2		74.4		54.3		47.2		50.1		57.9		62.7		61.5		54.7		48.7		46.7		49.4		43.1		33.3		24.1		18.6		62.9		75.8		74.2		77		72		63.9		61.7		61.4		55.6		45.7		39.7		42.1		52.9		60.2		65.3		63.8		56.8		50.5		49.3		51.6		45.4		36		27.2		19.6		44.6		52.3		57.9		54.8		46.7		43.5		41.8		43.9		37.2		28		18		13.3

		NOR140_15642541_251126_0240.NBF		(2025/11/26 12:06:02.00)		(0:2:57.0)				N/A		49.4		50.1		62.8		71.9		50.9		42.8		49.8		57.6		60		57		47.9		45.4		44.1		47		41.1		31.2		23.4		15.8		60.8		69.8		73.4		69		60.2		56.3		56.6		60.2		56.2		46.2		38.9		33.1		52.5		60.7		62.7		60.5		51		48		46		48.8		42		33.4		25.5		17.6		44.7		51.6		54.6		50.6		42.3		39.4		37.8		40		34.5		24.2		16		12.4

		NOR140_15642541_251126_0241.NBF		(2025/11/26 12:09:02.00)		(0:2:57.0)				N/A		49.3		50.3		59		71.8		52.9		43.3		50.4		56.4		58.3		58.1		47.1		45.3		43.9		47.2		40.2		31.2		22.6		14.5		66.1		69.1		72.3		71.6		60.1		57		56.3		58.1		51.6		47.1		40.8		32.8		53		59.5		61.2		59.8		49.1		47.7		47.1		51		43.6		33		22.6		14.8		43.8		50.2		53.1		52.1		42.8		39.5		38.1		40.5		33.9		22.8		14.8		12.2

		NOR140_15642541_251126_0242.NBF		(2025/11/26 12:12:02.00)		(0:2:57.0)				N/A		49.1		50.5		59.4		71.6		52.3		37.8		52.9		58.8		58.8		57.1		47.8		44.9		44		46.8		40.2		31		21.6		14.4		68.3		74.3		72.3		72.8		61.4		55.5		57		57.7		51.6		48.2		42.5		32.8		55		61.5		61.7		58.8		50		47.4		46.5		50.5		43.1		33.1		23.9		15.7		43.7		49.1		50		47.6		41.4		35.7		34.1		34.6		28.2		19.8		14.5		12.1

		NOR140_15642541_251126_0243.NBF		(2025/11/26 12:15:02.00)		(0:2:57.0)				N/A		47.8		49.1		54.6		70.3		50.1		45		52.1		56.3		59.5		58.1		48.6		44.2		42.5		45.5		38.8		28.9		22.9		14.6		67.7		71.1		73.9		74.1		67.4		52.8		51.7		52.6		47.1		37.1		42.7		32.7		54.5		59.2		62.1		60		50		46.2		44.3		47.9		41.2		31.3		24.7		15.3		44		50.3		53.6		51.6		42.9		40.8		39.7		41.9		36		25.6		16.9		12.4

		NOR140_15642541_251126_0244.NBF		(2025/11/26 12:18:02.00)		(0:2:57.0)				N/A		51.2		52.4		60.5		73.7		53.6		45.2		49.3		56.2		61		59.2		49.7		46.3		45.8		48.9		42.9		34.1		25.3		18.3		60.7		74.3		74		73.4		63.7		56.6		55		58		53.8		49.7		40.3		36.2		52.1		58.2		64.1		60.9		52.1		48.6		48		51.6		45		36.3		27.6		19.7		43.9		50.7		54.1		51.9		43.8		41		39.8		42.7		36.6		26.9		17.3		12.4

		NOR140_15642541_251126_0245.NBF		(2025/11/26 12:21:02.00)		(0:2:57.0)				N/A		51.5		52.9		60.8		74		54		46.4		53.5		60.4		62.7		62.5		53.1		47.5		47.2		48.7		42.5		34.2		24.4		15.2		69.4		80.8		79.8		81.4		66.6		59		58.3		57.6		52.7		46		39.2		25.8		56		61.4		66.7		65.3		56.1		50		49.5		51.6		44.7		35.5		25.8		16.6		44.7		51		54.9		52.2		46.6		43.1		41.8		42.4		38		29.6		19.8		12.7

		NOR140_15642541_251126_0246.NBF		(2025/11/26 12:24:02.00)		(0:2:57.0)				N/A		49.7		50.6		61.6		72.2		51.5		42.3		56.1		58.3		58.6		57.7		48.2		46		45.1		47.2		41.2		31.4		27.4		14.7		69.7		74.4		70.9		70		58.8		56		58		58.8		56		45.6		43		30.1		59.9		61.1		60.8		60.3		50.9		48.1		46.6		49.6		42.6		31.8		32.3		16.2		45.8		50.8		53.1		52.2		44.6		40		38		38.6		32.4		23		15.9		12.2

		NOR140_15642541_251126_0247.NBF		(2025/11/26 12:27:02.00)		(0:2:57.0)				N/A		50.6		51.7		61.8		73.1		53.2		42.7		54.2		59.9		60.9		58.8		53.6		50		46.4		47.7		41.2		32.3		23.8		14.9		69.9		77.5		72.7		74.8		72.4		65.3		58.8		59.6		54.6		44.9		36.8		25.7		57.8		62.1		64.1		61.1		53.5		51.8		49.4		50.5		44.1		36.1		27.5		16.6		44.8		50.1		53		51		45.2		40.4		38.8		39.3		32.9		22		14.8		12.1

		NOR140_15642541_251126_0248.NBF		(2025/11/26 12:30:02.00)		(0:2:57.0)				N/A		49.8		51.3		59.5		72.3		52.3		44.7		55.2		60		63.3		58.9		49.2		45.8		44.6		47.6		40.8		30.3		24.2		32.5		69.6		76.6		81		77.4		60.9		55.1		55.7		57.3		53.7		45.6		43.6		54.7		58.7		63.1		65.5		62.1		53		48		46.4		50.5		43.1		32.8		25		16.9		45.4		50.6		53.2		50.5		43.4		42.1		40.1		41.4		35.3		23.5		16		12.2

		NOR140_15642541_251126_0249.NBF		(2025/11/26 12:33:02.00)		(0:2:57.0)				N/A		52.1		53.8		65.9		74.6		54.3		44.8		53.3		60		65.3		63.9		50.2		49.2		46.6		48.3		45.1		39.1		32.3		26.5		65.3		78.9		80.9		82.6		63.9		66.2		61.9		60.1		61.2		54.7		50		52.8		56.4		61.3		69.3		66.7		53.8		51.3		49.1		50.4		47.2		41		34.3		22.3		46.1		50.8		53.8		50.9		43.2		40.7		39.6		42.1		36.1		25.6		17.1		12.5

		NOR140_15642541_251126_0250.NBF		(2025/11/26 12:36:02.00)		(0:2:57.0)				N/A		49.9		50.8		59		72.4		52.8		43.8		53.2		56.3		60.4		60.1		50.9		46.8		44.5		47.4		40.9		30.4		21.6		14.5		70.6		76.1		72.9		76.6		61.5		58.1		54.4		57.2		52.3		41.7		34.8		26.7		55.4		58.1		63.9		62.1		55.1		50.6		47.5		50.5		43.3		33.1		24.7		16.8		44.7		50		53.1		51.7		44.3		39.3		39.2		40.9		34.9		23.7		15.1		12

		NOR140_15642541_251126_0251.NBF		(2025/11/26 12:39:02.00)		(0:2:57.0)				N/A		47.9		48.8		54.2		70.4		50.4		43.3		54.5		55.9		59.8		58.3		47.1		44.2		43.2		45.5		38.8		29.5		21.4		14.3		74.8		71.2		70.7		72.2		56.1		52.5		50.5		52.2		45.9		42.3		37.2		26.9		56.8		58.6		63.1		61.2		50.1		46.4		45.9		48.3		41.3		32.6		24.1		15.8		43.9		50.3		54		48.1		41		38.8		39.1		40.4		34.4		23.8		15.5		12.1

		NOR140_15642541_251126_0252.NBF		(2025/11/26 12:42:02.00)		(0:2:57.0)				N/A		52.7		54.1		63.6		75.1		55.6		45.4		54.2		58.7		61.6		62.6		53.5		50.1		49.6		49.7		42.2		31.6		21.2		14.1		71.6		80.8		76.5		77.6		69.7		65.9		63		61.3		56.5		45.5		33.6		30		57.4		60.1		65.2		65.7		56.1		52.5		52.2		52.2		43.6		33.7		24.1		15.7		44.4		51		54.8		50.6		44.2		41.6		40.2		41.9		35.6		24.8		15.6		12

		NOR140_15642541_251126_0253.NBF		(2025/11/26 12:45:02.00)		(0:2:57.0)				N/A		50.3		51.3		59.1		72.8		52.6		45		51.5		56.2		61.1		58.5		48.6		45.8		45		48.1		41.5		31.8		23.3		15.8		73.3		72.2		74.1		73.9		61.6		56.4		55		57.2		52.2		45.2		40.2		26.3		53.1		58.4		63.3		60.7		50.2		47.6		47		50.8		43.7		35.1		27		19.1		44.3		50.8		56		52.1		44.6		42.2		40.9		42		35.4		24.2		16.2		12.2

		NOR140_15642541_251126_0254.NBF		(2025/11/26 12:48:02.00)		(0:2:57.0)				N/A		52.3		53.1		65.4		74.8		54.7		48.3		56		59.4		65		61.7		52		49.3		47.7		49.4		43.9		37		28.9		18.7		73.3		78.5		76		74.3		64.1		61.9		61.3		62.2		57.3		54.1		47.4		36.4		59.2		62.1		67.6		64.7		53.7		51.7		50.4		51.9		45.7		38.5		29.1		18.9		46.1		51.8		58.6		55		47.8		44.7		43		44.8		39.9		30.5		18.9		12.6

		NOR140_15642541_251126_0255.NBF		(2025/11/26 12:51:02.00)		(0:2:57.0)				N/A		50.3		51.4		59.4		72.8		53		44.5		57.2		59.1		64.5		61.7		50.4		46.9		45.7		47.7		41.1		32.5		24.6		14.5		74.2		76.6		76.5		75.4		64.4		58.1		57.7		56.3		52.5		46.3		44.8		26		61.1		60.4		67.9		63.9		53.2		50		48.4		50.8		44		35		25.7		16.3		45.7		51.8		56.7		53.9		43.5		40.2		39.8		40.4		35.4		26.4		17.4		12.1

		NOR140_15642541_251126_0256.NBF		(2025/11/26 12:54:02.00)		(0:2:57.0)				N/A		49.8		50.5		57.8		72.3		52.8		45.2		51.8		57.9		67.3		58.7		48.3		45.5		44.6		47.6		40.7		30.7		23.3		16.3		65.1		74.9		80.5		70.8		60.8		54		52.5		55.9		49		40		37.2		35.4		54.7		60.2		68.2		60.5		50.2		48.5		47.2		50.9		43.8		33.4		25.5		16.9		44.7		51.4		64.7		53.9		44.2		41		40.5		42.5		35.6		26.1		18.9		12.6

		NOR140_15642541_251126_0257.NBF		(2025/11/26 12:57:02.00)		(0:2:57.0)				N/A		50.3		51.9		61.7		72.8		52.8		44.3		52.4		57.5		61.8		60.2		58.6		50.8		44.7		47.1		40.3		30.6		22.6		14.4		69.6		74.8		79.6		77.4		78.4		70		58.7		54.6		50.1		40.6		35.7		25.2		55.1		59.6		64.7		61.2		55.9		49.1		47.1		50.4		43.3		33.7		26.3		16.7		44.7		50.3		54.4		51.3		43.9		41.5		39.5		41.2		35.1		24.2		15.6		11.8

		NOR140_15642541_251126_0258.NBF		(2025/11/26 13:00:02.00)		(0:2:57.0)				N/A		49.4		50.2		56.3		71.9		51.8		44.8		56.4		58.2		62.7		56.3		47.9		45.8		45.2		47.1		40.2		30		20.8		13.9		72		72.5		80.2		70.5		59.7		52.6		52.1		54.1		48		41.4		33.8		28.4		60.5		61.3		64.4		59.1		50.7		47.9		47.5		49.9		42.8		32.6		23.6		15.7		45.4		50.8		53.4		50.9		43.6		42		42		41.3		34		23.1		15.6		11.8

		NOR140_15642541_251126_0259.NBF		(2025/11/26 13:03:02.00)		(0:2:57.0)				N/A		49.5		50.3		57.7		72		51.4		44.8		57		59.3		64.2		62.6		53.7		49.2		44.2		46.5		40.2		30.9		23.1		14.4		74.2		73.1		78.1		81.5		69.2		65.6		52		55.4		50		44.4		41.4		31.5		61		61.8		68.2		63.3		57		51		46.7		48.8		42.2		33.7		25.6		16.1		45.9		52.3		56.2		52.1		44.1		41		40.4		41.5		36		26.4		17.5		12

		NOR140_15642541_251126_0260.NBF		(2025/11/26 13:06:02.00)		(0:2:57.0)				N/A		49.5		50.7		57.4		71.9		52		44.9		62.6		62.2		61.6		58.2		49.3		46.1		45.4		47		39.8		30.4		23.1		15.3		85.6		86.3		79.7		79.3		62.9		55.9		58.6		54		45.5		40.5		36.4		27.2		61.8		62		65		60.5		51.9		48.4		47.6		49.6		42.2		32.9		26.4		18.2		45.8		50.5		54		52		44.3		42.3		40.7		41.6		35.1		25.8		16.7		12

		NOR140_15642541_251126_0261.NBF		(2025/11/26 13:09:02.00)		(0:2:57.0)				N/A		50.7		51.8		61		73.1		52.8		46.4		59.7		57.7		60		58.1		56.1		48.6		45.2		47.9		41.6		32.5		24.5		15.6		75.7		74.7		77.1		71.8		74.6		63.4		55.9		58.7		54.2		45.2		39		27.8		64.1		60		61.6		60.7		52.4		49.5		47.2		49.8		42.5		35.2		27.1		17.6		45		50		53.7		51.1		44.2		42.3		41.6		43.3		36.5		26.1		16.7		12

		NOR140_15642541_251126_0262.NBF		(2025/11/26 13:12:02.00)		(0:2:57.0)				N/A		50.9		51.9		61.1		73.4		53.6		44.2		53.4		55.9		60.7		59.8		50.2		46.5		45.7		48.4		42.8		33.7		24.4		15.6		71.8		71.7		72.5		74.9		65.8		55.6		55.8		58.7		55.2		47.1		37.3		26.9		54.6		58.4		64.2		61.8		51.3		49.7		48.6		51.2		45.4		37.2		27.9		19		44.6		49.9		54.1		52		43.8		40.4		40		41.4		34.8		24.8		16		11.9

		NOR140_15642541_251126_0263.NBF		(2025/11/26 13:15:02.00)		(0:2:57.0)				N/A		51		51.6		61.2		73.5		53.6		46.9		53.6		56.1		60.5		59.3		50.1		47.9		46.7		48.2		42.5		33.3		25.8		16		71.3		71.8		75.2		70.7		61.5		61.2		57.2		58.4		53.5		43.6		42.7		27.1		56.4		59		63.2		61.6		51.9		50.6		49.1		50.8		45.1		35.9		27.5		17.8		44.8		50.1		54.3		53.9		46.6		43.1		42.4		43.5		38.1		26.9		17.3		12.4

		NOR140_15642541_251126_0264.NBF		(2025/11/26 13:18:02.00)		(0:2:57.0)				N/A		50.2		51.3		58.8		72.6		52.9		45		54.6		57.9		62		60.2		49.4		46.1		45		47.7		41.4		33.1		25.8		16.9		72.7		72.1		72.9		74		60.8		55.6		53.3		57.5		50.7		48		45		37.8		56.6		60.8		65.1		63.6		52.7		49.2		47.8		50.4		44.2		35.5		28.6		18.5		44.4		51.1		55		52.2		44.4		41.1		41.1		41.8		35.8		25.7		16.1		11.9

		NOR140_15642541_251126_0265.NBF		(2025/11/26 13:21:02.00)		(0:2:57.0)				N/A		49.4		50.7		59.3		71.9		52.6		43.5		52.4		55.6		62.3		64.1		49.4		45.2		45.5		46.5		40.4		31.6		26.1		15.5		69.3		73.9		82.1		82.3		64.8		57.5		59.8		55.4		53.7		45.8		44		33.4		54.5		58		64.5		63.1		49.9		47.2		47.3		49.8		43		34.4		29.2		16.3		44.7		49.3		54.3		52.2		42.9		39.6		39.7		40.3		34		24.7		15.7		11.8

		NOR140_15642541_251126_0266.NBF		(2025/11/26 13:24:03.00)		(0:2:56.0)				N/A		50.6		51.3		61.8		73		53.4		43.3		51.8		55.7		59.8		57.9		49		46		45.9		48		42		33.5		25.6		15.2		68.3		72.6		73.7		72.6		64.4		55.9		57.5		59.4		54		47.8		39.2		27.9		54.5		58.1		63.6		61		51.2		48.7		49		51.1		45.1		36.7		29.1		16.7		42.8		48.7		52		50.8		43.5		40.3		39.3		39.8		33.7		23.8		15.7		11.8

		NOR140_15642541_251126_0267.NBF		(2025/11/26 13:27:02.00)		(0:2:57.0)				N/A		49.7		50.5		60.2		72.2		51.4		45.8		59.7		61.2		60.4		60.6		50.6		48		45.4		46.7		40.8		33.4		25.2		16.3		78.8		77.5		69.8		77.1		62.7		61.1		56.7		57.1		53.6		48.5		44.5		37.5		62.9		63.9		63.1		62.7		53.2		50.4		46.9		48.8		42.1		35.5		27.3		17.1		46.3		51.5		55.7		53.4		45.6		43.7		41.9		42		36.3		26.9		18		11.9

		NOR140_15642541_251126_0268.NBF		(2025/11/26 13:30:02.00)		(0:2:57.0)				N/A		50.6		52.7		61.1		73		53.8		45.4		53.6		58.4		61.9		60.6		52.4		48		46.1		47.5		42.1		33.7		26.1		16.9		72.2		73.4		73.9		73.8		66.5		56.8		54		58.5		56		50.1		40.4		33.8		54.2		60.5		66.2		63		54.5		51.2		49		50.1		45.4		37.2		30.6		18.8		44.5		52.6		54.5		54.7		46		42.9		41.2		41.6		35.3		24.4		16.5		11.9

		NOR140_15642541_251126_0269.NBF		(2025/11/26 13:33:02.00)		(0:2:57.0)				N/A		48.6		49.3		54		71.1		51.4		44.6		56.2		60.4		59.4		57.1		49.2		46.5		44.2		46.1		39		29.5		20.4		14.7		74.8		77.2		70.3		68.3		58.5		59		53.7		51.8		44.5		41.6		32.3		38.5		59.2		63.1		61.9		60.2		52.8		49		46.5		49.2		41.6		31.9		22.7		14.1		46		53.2		55.3		51.7		43.8		43		41		41.1		35.2		26.1		17.5		11.7

		NOR140_15642541_251126_0270.NBF		(2025/11/26 13:36:02.00)		(0:2:57.0)				N/A		47.7		49.2		57.5		70.2		50.5		42		52.9		54.3		55.8		54.4		46.1		43.2		41.9		45.8		38.3		27.1		17.3		12.8		71.7		68.6		71.5		64.5		56.4		56.7		54.7		56.1		46.6		42.2		34.6		26.3		55.7		56.7		57.8		57.7		48.4		45.5		44.3		48.9		41.2		30.1		19.5		13.8		44.2		49.6		50.8		49.1		42.9		39		37.3		39.2		32.8		20.2		13.2		11.5

		NOR140_15642541_251126_0271.NBF		(2025/11/26 13:39:02.00)		(0:2:57.0)				N/A		49		50.1		60.2		71.5		52		42.8		64		60.2		65		57.8		48.2		45.1		44.2		46.8		39.5		30		21.6		14		85.5		80.1		83.8		70.3		61.1		56.7		56.1		58.8		51.6		40.8		33.2		25.6		64		60.8		69.2		61.2		51.4		47.5		46.8		49.9		42.1		33.9		25.1		16.3		46.2		51.5		52.8		51.3		42.6		38.6		38.4		39.8		33.6		22.4		14.9		11.7

		NOR140_15642541_251126_0272.NBF		(2025/11/26 13:42:02.00)		(0:2:57.0)				N/A		51.8		52.7		59.7		74.3		55.7		46.9		60.8		59.1		63.3		60		55.9		49		46.8		48.9		43.4		35.5		27.2		17		80.1		77.8		83.2		71.1		72.5		64.2		56.3		57.8		51.5		45.9		43.8		26.9		63.4		60.9		65.9		63.2		57.3		51.5		50.3		52.6		47.5		38.8		29.8		19.9		45.2		51.4		54.4		54		46.8		43.6		42.3		43.2		38.9		30.9		21.8		13.7

		NOR140_15642541_251126_0273.NBF		(2025/11/26 13:45:02.00)		(0:2:57.0)				N/A		49.7		50.5		60.5		72.2		51.8		43.3		56.9		57.6		60.7		59.8		50.1		45.9		44.9		47.3		40.6		31.7		22.3		15.7		73.9		71.5		71.1		74.3		64.3		58.7		54.4		58.2		53.4		49.6		40		37.5		60		60.2		63.5		61.8		52.9		48.3		47.9		49.8		42.8		33		23		15.4		45.8		51.4		54		53.2		43.9		40		39.1		39.8		34.1		23.4		14.9		11.6

		NOR140_15642541_251126_0274.NBF		(2025/11/26 13:48:02.00)		(0:2:57.0)				N/A		49.1		51.2		63.1		71.6		50.6		45		56.1		59.5		58.9		56.5		49.3		47.4		44.7		46.7		38.7		28.1		18.9		12.9		73.2		73.8		69.4		65.6		65.2		63.2		57.9		62		51.4		41.4		32.8		23.3		59.4		62.5		62		59.3		50.1		47.3		46.2		48.8		40.3		29.8		20.9		14		47.2		52		53.9		52		44.6		42.1		40.9		42.3		35		23.5		14.5		11.5

		NOR140_15642541_251126_0275.NBF		(2025/11/26 13:51:03.00)		(0:2:56.0)				N/A		51.1		52.2		61		73.6		54.1		45.5		55.2		59.4		64.2		61.1		52		49.7		46.7		48.1		42.5		33.5		24.9		17.3		73		75.4		79.8		75.8		65.6		65.7		58		58.1		54.9		45.8		36.7		34.1		58.3		62.1		66.7		63.6		54.2		52.5		50.1		50.8		45.5		36.6		28.9		18.2		46.1		52.4		56.9		55.1		45.5		42.5		40.8		42		36.1		25.6		16.2		11.7

		NOR140_15642541_251126_0276.NBF		(2025/11/26 13:54:02.00)		(0:2:57.0)				N/A		51.1		52		61.5		73.5		55.3		43.5		51.7		57.4		63.2		58.3		52.7		47.2		45.5		48.4		43		33.3		23.5		15		65.5		71.4		79.4		70.5		71.2		59.4		56.1		59.2		54.4		46.4		38.9		33.6		54.3		60.9		65		61.3		53.2		51.2		49.8		52.4		47.9		37.8		26.9		16.3		45.9		51.3		55		52.3		44.6		40.7		38.7		39.1		33		23.8		14.6		11.5

		NOR140_15642541_251126_0277.NBF		(2025/11/26 13:57:02.00)		(0:2:57.0)				N/A		49.1		49.9		59.1		71.6		51.3		42.8		56.4		59.4		61.5		56.6		47.7		44.6		44		46.7		40.6		31.2		21.6		14.3		72.5		79.9		75		70.8		58.1		55.2		54.3		56.4		52.7		42.8		36.3		34.4		59.2		60.5		65.3		59.7		50.4		47		46.5		49.5		42.3		34.5		23.1		15		46.3		52		54		50.5		42.7		39.9		38.1		39.9		33.4		22.5		13.8		11.4

		NOR140_15642541_251126_0278.NBF		(2025/11/26 14:00:03.00)		(0:2:56.0)				N/A		50.1		51		59.6		72.6		52.9		42.7		51.5		58.9		61.1		58.1		48.6		46		44.5		47.9		41.5		31.9		22.4		14.3		66.9		72.8		76.1		68.4		59.3		53.8		54.7		57.4		53.5		45.6		37		29.5		53.9		61.8		63.6		61.4		51.6		49.4		47.7		50.7		43.9		35		25.3		15.6		44.8		51.5		55.8		52.8		43.5		39.5		37.8		39.6		33.2		23.2		14.4		11.5

		NOR140_15642541_251126_0279.NBF		(2025/11/26 14:03:03.00)		(0:2:56.0)				N/A		50		51.3		60.1		72.5		52.6		45.3		54.2		59.6		62.3		58.7		51.8		46.8		45		47.4		41.3		31.5		21		13.2		71.1		74.2		77.1		74.3		66.5		59.2		55.1		58.9		53.5		44		34		22.1		56.2		62.3		64.6		61.9		54.3		49.7		48.1		50.3		43.9		34.2		23.4		14.5		46.8		53		55.9		52.7		46.1		41.7		40.1		42.4		35.6		24.9		14.7		11.5

		NOR140_15642541_251126_0280.NBF		(2025/11/26 14:06:02.00)		(0:2:57.0)				N/A		49.6		50.5		58.9		72.1		51.7		43.7		58		56.5		59.3		58.8		52.3		47.8		44.7		46.9		40.4		30		20.7		13.5		74.6		72.2		72.1		75.4		61.4		57.6		55.3		56.2		52.2		44.5		34.9		31		61.5		58.9		62		60.6		56.7		51.3		47.5		49.2		42.3		31.3		22.7		14.6		48.7		51.9		54.5		52.1		44.6		41.1		38.7		40.3		33.7		22.2		13.7		11.3

		NOR140_15642541_251126_0281.NBF		(2025/11/26 14:09:02.00)		(0:2:57.0)				N/A		50.6		51.5		61.3		73.1		52.8		47		54.6		60.1		59.6		58.2		51.7		46.9		45.7		47.5		42.9		34.8		27		18.3		71.2		79.6		75.9		73.1		68		55.1		56		57.8		56		51.5		45		35.1		56.9		60.3		62.7		61		53.8		49.5		48.7		50		45.2		36.3		28.2		19.9		47.5		51.5		54.1		52.8		45.8		43.4		42.2		43.3		39.1		29.8		18.5		12.7

		NOR140_15642541_251126_0282.NBF		(2025/11/26 14:12:02.00)		(0:2:57.0)				N/A		51.4		52.6		61.8		73.9		54.3		44.4		54.9		59.7		65.5		62		51.5		48.3		46.4		48.8		42.6		33.2		24.1		15		71.9		81		85.6		79.8		61.9		55.8		57.1		60.1		53.2		48.8		41.7		33.7		57.9		61.3		68		64.3		54		51.4		49.7		51.7		45.9		36.9		28.3		17.6		47.2		54.1		58		52.9		45.1		42.2		39.6		41.2		35.1		23.8		14.8		11.5

		NOR140_15642541_251126_0283.NBF		(2025/11/26 14:15:02.00)		(0:2:57.0)				N/A		49.2		50.2		57.4		71.7		51.1		45.5		52.9		56.5		60.4		58.1		50.3		45.2		43.7		46.9		40.2		30.5		21.7		13.8		66.5		77.1		76.7		68.3		66.1		54.1		54.3		54.7		50.4		42.3		37.3		30		55.4		57.9		62.9		61.2		51.6		47.2		45		49.4		41.4		33.1		24.5		15.2		46.4		50.7		55.3		53.5		46		41.7		40.5		42.8		36.2		24.5		15.1		11.6

		NOR140_15642541_251126_0284.NBF		(2025/11/26 14:18:02.00)		(0:2:57.0)				N/A		49.7		51		59.1		72.2		52.3		43.3		54.8		57.6		61.3		59.9		54.8		53.2		43.5		45.9		38.9		28		17.8		12.4		70		77.6		78.8		71.9		65.9		64.5		55		55.2		54.1		44.6		29.9		23.6		57.7		59.6		64.2		62.6		59.2		57.8		45.8		49.1		41.5		30.8		20.5		13.4		47.6		51.8		53		52.8		46.2		41.5		39.3		39.9		32.8		20.8		13.5		11.4

		NOR140_15642541_251126_0285.NBF		(2025/11/26 14:21:02.00)		(0:2:57.0)				N/A		48.8		50		59.2		71.3		50.5		43.2		52.6		56.2		60.3		56.3		47.4		44.2		43.4		46.6		39.9		28.6		18.4		12.6		66.8		76.3		78.4		69.7		59		53.3		55.6		57.3		52		40.6		31.6		23.1		55.3		57.4		62.1		59		49.8		46		45.4		48.8		41.3		30.9		21.1		13.8		47.1		50.8		52.3		51.6		43.7		39.7		39.1		39.8		34		21.6		14.1		11.4

		NOR140_15642541_251126_0286.NBF		(2025/11/26 14:24:02.00)		(0:2:57.0)				N/A		50.2		50.9		61.5		72.6		53.2		46		55.5		59.7		63.1		57.8		49.5		46.9		47.2		47.3		41.3		31.7		24		16.4		69.5		80.6		77.6		77.4		64.2		58.8		56.8		58.4		55.2		48		42.6		35.6		58.7		62.3		65		60.2		50.9		49.6		49.2		50.8		44.7		34.7		24.5		15.5		46.7		51.7		56.9		52.1		46.4		43		43.5		40.8		35		23.3		15.7		11.6

		NOR140_15642541_251126_0287.NBF		(2025/11/26 14:27:02.00)		(0:2:57.0)				N/A		49.6		51		60.5		72.1		52.6		44.8		54		58.4		62.5		58.8		49		45.4		44.9		46.9		41.2		33.2		25.2		17.2		77.7		72.6		77.2		76		59.6		57.3		58.9		58.6		50.8		46.5		39.4		35.7		53.5		61.2		65.1		60.8		52.1		48.5		47.9		50		44.2		36.4		27.9		18.5		45.5		53		56.1		52.9		44.6		40.8		39.8		41.9		35.6		25.1		15		11.5

		NOR140_15642541_251126_0288.NBF		(2025/11/26 14:30:02.00)		(0:2:57.0)				N/A		51.5		52.6		63		74		54.5		45.5		53.6		57.9		61.2		61.1		51.4		47.8		46.6		49		43		32.3		23.7		27.1		71.4		76		79		77.3		67		60.1		58.4		60.2		55.6		45.1		44.4		51		55.6		60		63.6		62.3		53.1		50.8		49.5		51.9		46.8		35.9		25.5		16.6		45.7		52.1		54.7		52.9		46.3		43.1		41		42		35.9		24.6		15.8		11.6

		NOR140_15642541_251126_0289.NBF		(2025/11/26 14:33:02.00)		(0:2:57.0)				N/A		49.9		50.7		61.9		72.4		51.9		44.7		52.8		57.9		60.4		59.8		49		45.4		44.7		47.7		41.2		30.5		20.1		13.7		68.2		71.7		74.2		76.6		64.3		56.5		56.6		59.3		55		43.9		33.1		32.2		56.1		59.9		62.7		61		50.8		47.1		46.6		50		43		32.2		22.4		14		44.9		51.8		55.7		54		45		41.9		41.1		41.4		35.5		25.1		16.4		11.5

		NOR140_15642541_251126_0290.NBF		(2025/11/26 14:36:03.00)		(0:2:56.0)				N/A		50.5		51.1		57.5		72.9		52.4		47.6		52.1		58.5		61.8		62.7		49.8		46.5		45.1		47.7		42.3		34.1		26		26.4		67.9		80.6		74.2		77.5		57.1		55.2		52.4		55.7		49.3		44.5		46.6		51.8		54		58.5		64.8		64.7		51.7		48.3		46.9		50.2		43.8		35.5		26.3		19.3		45.2		50.6		56.5		56.1		47.2		43.9		42.7		43.8		40.3		30.8		21		13.4

		NOR140_15642541_251126_0291.NBF		(2025/11/26 14:39:02.00)		(0:2:57.0)				N/A		48.8		50		56.1		71.3		51.4		44.7		59.3		59.8		61.2		61		51.1		45.3		44.4		46.2		39.1		30		21.1		14.6		78.1		76		76		76.1		64.8		54.4		55		53.5		45.3		38.7		35.3		35.7		62.6		62.3		63.5		64.1		53.7		47.2		46.8		49.1		41.8		32		23.3		14.9		45.6		52.1		56.3		54.7		45.9		42.1		40.7		41.4		34.8		25.7		16.8		11.7

		NOR140_15642541_251126_0292.NBF		(2025/11/26 14:42:02.00)		(0:2:57.0)				N/A		50.6		51.8		61.4		73.1		52.6		44.7		55.5		58.8		60.5		59.1		51.6		48.3		47.2		48.1		39.8		29.3		19.2		13.9		71.6		73.3		75.9		68		64.3		61.4		60.2		58.7		46.6		40.8		34.2		32.8		58.8		61.7		63.2		62.8		53.9		50.7		49		50.5		42.2		31.6		21.7		13.9		47.5		52.5		55.1		53.1		45.1		40.9		41.1		41.1		33.7		22.3		14		11.4

		NOR140_15642541_251126_0293.NBF		(2025/11/26 14:45:02.00)		(0:2:57.0)				N/A		50.3		51.1		62.3		72.8		51.9		45.2		51.5		56.8		60.1		57.6		50.3		45.8		45.2		48.1		41.6		31		22.5		13.9		62.5		66.2		73.1		66.8		67.7		55.2		57		60.2		55.5		44.5		41.5		28.6		54.2		59.4		62		60.3		50.9		47.6		46.1		50		43		32.8		24.7		15.2		46.6		52.7		55.7		53.1		45.2		41.9		40.2		42.2		36.2		26.2		15.5		11.5

		NOR140_15642541_251126_0294.NBF		(2025/11/26 14:48:02.00)		(0:2:57.0)				N/A		50.5		51.9		60.5		73		52.8		46.5		55.7		60.5		61.4		60.4		49.3		46.1		47		47.7		41.5		32.4		22.9		13.6		71.4		73.3		74.6		70.8		59.7		59.9		59.1		58.4		53.8		43.8		38		28.6		58.1		64		64		64.1		52.1		47.7		50.3		49.7		42.8		35.1		26.6		15.1		48.7		53.6		56.3		53.8		45.2		42.3		41.8		43.5		36.4		25.5		15.4		11.5

		NOR140_15642541_251126_0295.NBF		(2025/11/26 14:51:02.00)		(0:2:57.0)				N/A		49.6		50.8		59.8		72.1		52.1		45.7		56.1		59.9		63.9		59.1		50		46.2		45.1		46.9		40.8		32.3		23.8		28		75.2		74.9		76.4		69.7		64.7		53.9		54.5		56.8		54.5		47.4		38.1		51.1		58.1		62.6		66.1		62.1		52		48.6		48.1		49.2		43.5		35		26.6		18.6		48.2		53.7		57.5		53.2		45.6		42.3		41.5		42.1		35.3		25.6		15.7		11.5

		NOR140_15642541_251126_0296.NBF		(2025/11/26 14:54:03.00)		(0:2:56.0)				N/A		51		52.3		61.6		73.5		54.1		44.3		54.8		60		63.3		59.6		50.3		47.2		46		48.6		42.2		32.1		22.9		14.7		71.5		71.7		77		76.7		66.2		58.1		55.7		59.8		53.3		42.5		37.2		28.9		57.3		63.3		66.4		61.5		53.2		50.4		49.4		51.9		45.3		35.9		26.1		16.3		46.5		52.3		55.6		52.8		44.9		40.8		40.3		41.3		34.6		24.4		15.5		11.5

		NOR140_15642541_251126_0297.NBF		(2025/11/26 14:57:02.00)		(0:2:57.0)				N/A		51.7		52.6		61		74.1		55.2		46.2		63.1		60.8		63.2		59.9		50.4		47.7		46.7		49		43.4		35.1		26.3		15.9		80.6		77.5		76.1		73.1		62.9		62		55.8		59		54.2		53.8		42		30.9		66.4		64.3		66.5		62.8		52.9		50.8		50.1		52.2		47.6		38.9		29.2		17.8		48.3		52.9		55.5		53.6		45.6		43.1		42.1		43		36.5		25.3		16.3		11.8

		NOR140_15642541_251126_0298.NBF		(2025/11/26 15:00:02.00)		(0:2:57.0)				N/A		52.3		53.8		65		74.8		54.3		47.5		56.6		57.3		60.8		57.8		49.9		47.7		46.7		50.1		44.1		33.4		21.7		15.3		72.9		71.4		77.1		69.7		59.4		58.6		60.2		63.7		60.5		51.3		36.8		35.4		59.3		60		61.7		60.1		52.1		49.6		47.8		51.7		46.9		35.9		24		15.3		47.7		52		55.5		53.6		46.6		43.8		42.7		44.8		37.9		25.5		15.1		11.5

		NOR140_15642541_251126_0299.NBF		(2025/11/26 15:03:02.00)		(0:2:57.0)				N/A		52.8		54		64.8		75.3		55.1		49		53.2		58.4		64.2		60.9		54		49.6		48.9		49.6		44.4		36.8		28.5		18.7		72.5		75.7		75.6		73.2		65.6		58.4		62.4		61		56.4		51.7		44.2		36.2		54.6		60.6		67.6		63.8		58.3		52.5		51.3		51.7		47.1		38.6		29.6		19.8		45.5		52.2		57.5		55.6		48		45.7		44.8		45.6		40.5		31.7		22.7		14.1

		NOR140_15642541_251126_0300.NBF		(2025/11/26 15:06:03.00)		(0:2:56.0)				N/A		51		52.6		61.3		73.5		53.9		46.2		54.9		58.6		66.7		62.2		51.2		47.4		46.5		48.1		42.5		34.2		25.7		15.9		68.1		73.3		77.1		75.7		64.1		59.6		59.4		58.1		52.1		45.1		38.2		29		58.6		60.7		69.3		64.8		53.7		50		49.1		50.7		46.1		37.5		28.6		17.9		47.1		53.8		62.1		55.9		46.6		42.9		41.4		42.7		36.4		27.9		21.5		14.1

		NOR140_15642541_251126_0301.NBF		(2025/11/26 15:09:02.00)		(0:2:57.0)				N/A		54		55.7		68.2		76.5		56.1		47.4		53.9		59.4		63		62.9		57.2		52.7		50.8		50.7		43.5		37.3		33		16.8		68.2		74.2		80.7		73.6		72.8		68.9		66.8		65.5		56.5		61.1		60.5		38.7		57.4		62.3		65.4		66.5		61		54.9		52.9		52.6		46.5		39.2		31.6		18.5		45.8		52.4		58.6		56.5		47.4		44.2		42.7		44.5		37.8		27.2		18.2		11.8

		NOR140_15642541_251126_0302.NBF		(2025/11/26 15:12:02.00)		(0:2:57.0)				N/A		48.6		50.2		58.4		71.1		50.9		44.8		58.8		59.3		63.1		61.8		49.3		45.7		45.5		45.5		38.5		30.7		22.3		14.4		75		76.4		74.5		81.7		66.3		60.9		58.4		53.7		48.7		44.5		37.7		29.4		62.5		62.8		66.2		62.2		51.3		48		47.4		47.8		40.6		33.8		25.1		15.1		46.9		52.5		57.5		53.9		45.6		41.7		41		41.7		34.9		24		15.1		11.4

		NOR140_15642541_251126_0303.NBF		(2025/11/26 15:15:02.00)		(0:2:57.0)				N/A		49.7		51		59.8		72.2		52.6		44.7		54.4		58.8		65		62.7		50.8		45.6		45.6		46.6		41		34.9		26.1		15.8		70.4		71.3		77.5		77.9		67.8		57.2		55.3		55.5		53.9		50		41.7		28.1		57.8		61.5		67.8		64.9		52.9		47.8		48.5		49.7		44.7		38.8		29.9		19		46.7		53.9		59.5		54.8		46.3		41.4		41		41.7		34.3		23.4		14.9		11.4

		NOR140_15642541_251126_0304.NBF		(2025/11/26 15:18:02.00)		(0:2:57.0)				N/A		48.7		50		57.7		71.2		50.6		46		51.4		57.9		62.5		58.7		49.6		45.6		44.8		46		39.5		30.6		21.9		14.8		65.8		74.1		75.7		73.8		62.7		56.1		52.1		56.1		51.1		46.7		39.2		30.8		54.1		59.6		64.6		60.9		51.3		47.2		46.7		48		41.5		32.3		23.8		15.7		45.7		53.6		58.3		54.5		46.7		43.3		42.3		42.7		35.7		24.7		16.1		11.6

		NOR140_15642541_251126_0305.NBF		(2025/11/26 15:21:02.00)		(0:2:57.0)				N/A		52		53.2		62.6		74.5		54.5		48.6		50.8		57.9		63		61.5		50.9		48.2		47.7		49.1		43.8		36.2		29.8		23		66.4		72.1		76.8		76.2		62.9		57.2		58.4		59.5		55.6		51.7		51.2		46.6		53.4		60.1		65.4		64.4		52.9		50.9		50.5		51.7		46.2		38		30.8		21.5		45.5		52.5		58.3		55.9		47.7		45.3		44.4		45.3		40.2		31.7		22.5		13.6

		NOR140_15642541_251126_0306.NBF		(2025/11/26 15:24:02.00)		(0:2:57.0)				N/A		49		50		55.7		71.5		50.9		46.3		50.5		56.8		62.9		59.9		50.7		46.1		44.5		46.3		39.8		29.8		20.8		13.9		68.6		72.1		76.6		72.3		62.3		56.8		53.6		53.5		49		40.7		38.4		31.1		52.7		59		65.2		62.3		53.1		48.3		46.5		48.3		42		33.3		23.8		15.6		45		51.9		57.7		55.1		46.6		43.2		42		43.6		36.1		24		14.8		11.4

		NOR140_15642541_251126_0307.NBF		(2025/11/26 15:27:02.00)		(0:2:57.0)				N/A		50		50.9		60.6		72.5		52		46.1		51		58.3		62		60.5		52.3		46.8		45.6		47.2		41.3		31.2		21.6		12.9		64.7		72.6		79.2		71.9		65.4		56.3		55.3		58.2		54.2		44.7		34.6		24.3		53.8		60.9		63.5		63.9		55.4		48.8		47.7		49.4		42.9		33.8		24.3		14.2		45.4		53		57.2		55.5		47		43.3		42.2		42.9		36		24.4		15		11.4

		NOR140_15642541_251126_0308.NBF		(2025/11/26 15:30:02.00)		(0:2:57.0)				N/A		51.3		52.5		62.6		73.8		52.7		47.8		52.8		59.2		64.2		60.9		53.7		47.4		46.4		48.6		42.8		34.6		25		13.8		69.5		75.4		79.3		70.8		69.8		56.5		58.7		60		56.1		51.9		41.4		30.2		54.8		61.6		65.2		63.7		55.8		49.5		48.8		50		44.2		36.7		27.6		15.4		45		53.1		58.5		56.4		47.7		44.2		42.7		44.6		38.1		26.8		15.3		11.4

		NOR140_15642541_251126_0309.NBF		(2025/11/26 15:33:02.00)		(0:2:57.0)				N/A		49.1		51		60.7		71.5		51.1		46.2		51.8		58.1		61.6		60		50.1		46.2		45		46.3		39.7		31.5		24.1		15.5		66.3		75.6		72.8		71.7		61.1		58.7		58.3		56.2		54.9		51.5		47.2		38.6		53.8		59.5		64.4		62.3		51.8		48.1		46.5		48.7		42		33.2		26.2		15.8		45.1		51.8		56.2		55.2		47.5		43.6		42.3		42.6		35.6		25.5		15.8		11.6

		NOR140_15642541_251126_0310.NBF		(2025/11/26 15:36:02.00)		(0:2:57.0)				N/A		50.6		53.2		61.7		73.1		51.7		47.1		51.5		59.1		63.3		60.7		53		47.7		46.5		47.7		41.6		31.6		22.6		15.1		69.1		80		80.4		79.4		69.6		64.1		62.7		59.3		54.9		44.8		37.7		30.2		52.9		60.7		66.3		62.5		54.4		49.7		48.9		49.1		42.1		33		25.4		16.8		45.2		53		57.8		54.9		46.9		43.9		42.3		43.8		36.7		25.6		15.9		11.5

		NOR140_15642541_251126_0311.NBF		(2025/11/26 15:39:02.00)		(0:2:57.0)				N/A		50.5		51.6		60.3		73		52.9		47.1		50.9		57.1		61.6		61.6		51.5		47		46.3		47.9		41.2		31.9		23.9		14.6		71.6		72.4		74.3		77.5		65.5		55.7		57		57.3		51.8		47.7		42.7		30.7		52.6		59.4		64		63.2		53.8		49.2		49		50.5		43.8		33.9		25.1		15.3		44.8		51.8		57		55.1		47.2		43.6		42.3		44.3		37.2		25.1		15.6		11.4

		NOR140_15642541_251126_0312.NBF		(2025/11/26 15:42:02.00)		(0:2:57.0)				N/A		49.5		51.2		60.8		72		51.1		46.5		50.8		58.7		60.8		58.5		48.6		45.3		45.2		47.1		40.2		30.2		21.7		15.3		65.4		78		74.7		70.8		62.8		57.3		62.1		53.6		49.1		41.7		36		33.7		53.6		60.9		63.3		60.9		50.4		47		46.7		49.1		41.8		32.2		22.9		15.4		45.2		52.2		56.4		54.6		45.8		42.7		42.1		43.9		36.8		25.4		15.1		11.4

		NOR140_15642541_251126_0313.NBF		(2025/11/26 15:45:02.00)		(0:2:57.0)				N/A		50		51.6		58.8		72.5		52		46.9		50.9		57.5		63.3		59.1		50.5		47.3		45.3		47.4		41.2		30.7		22.8		13		63		76.8		78.5		71.2		59.7		59.9		58.3		55.5		55.7		49.3		44.9		23.8		53.7		59.2		65.5		61.7		53		49.5		47.6		49.6		43		32.8		23.9		14.2		46.1		52.4		58.1		55.1		47		43.9		42.6		44		37.1		25.5		15.6		11.5

		NOR140_15642541_251126_0314.NBF		(2025/11/26 15:48:02.00)		(0:2:57.0)				N/A		50.4		51.2		56		72.8		52.3		47.6		55		59.8		59.7		59.8		54.5		48.8		46.8		47.3		40.3		29.7		21		12.7		71.3		72.9		71.8		71.1		64.4		56.2		55.1		52.4		50.4		41.6		33.6		29		57.6		63.9		62.7		62.3		58		52.2		50.1		49.5		42.2		32		23.9		13.4		45.9		51.8		54.9		54.5		47.6		44.6		43		44		36.3		23.6		14.5		11.3

		NOR140_15642541_251126_0315.NBF		(2025/11/26 15:51:02.00)		(0:2:57.0)				N/A		49.9		50.8		59.8		72.3		51.8		45.5		50.8		57.7		58.8		57.7		50.9		47.2		45		47.4		40.8		29.9		20.4		12.4		67.1		70.6		69.8		67.6		67.3		58.5		55.8		57.7		52.8		42.5		37.2		24.5		53.3		60.8		61.8		60.4		52.1		50.4		47		49.4		42		32.6		23.4		13.5		44.6		51.4		54.2		53.2		45.7		42		41.1		42.8		36		24.2		13.8		11.3

		NOR140_15642541_251126_0316.NBF		(2025/11/26 15:54:02.00)		(0:2:57.0)				N/A		51.1		51.9		60.2		73.6		52.8		48		53.5		59.2		60.8		58.9		52.2		48.9		46.1		48.4		42.5		34		24.9		16.1		69		76.6		75		69.4		59.3		58.3		54.3		58.1		53.6		49.3		39.7		28.3		54.9		60.4		63.4		61.6		54.9		51.2		47.8		50.3		44.5		36.2		27.2		18.6		45.4		51.7		56.3		54.6		48.9		46.2		43.3		44		37.1		26		17.3		12

		NOR140_15642541_251126_0317.NBF		(2025/11/26 15:57:02.00)		(0:2:57.0)				N/A		50		50.8		56		72.4		51.9		46.9		50.7		56.9		59.5		60.6		53.1		46.6		45		47.3		41		31.7		23.9		13.8		69.8		71.8		71.5		75.5		64.7		58.9		55.9		52.3		53.1		44.5		41.5		28.3		52.6		58.6		62.1		62.7		56.1		48.4		46.6		49.3		43.1		34.3		25.8		14.4		45.2		51.1		55.4		54		48.9		43.5		42.7		44		36.2		24.2		14.6		11.3

		NOR140_15642541_251126_0318.NBF		(2025/11/26 16:00:02.00)		(0:2:57.0)				N/A		49.7		51.9		60.5		72.2		52		46.2		53.7		60.2		62.8		59.3		50.8		46.7		45.4		47.1		40.4		32.3		25.2		15.3		66		79.1		78.3		75.2		63.4		65.1		58.6		56.5		52.7		48.7		44.5		33.1		56.7		62.6		65.1		62		52.6		48.1		46.9		49.9		42.7		33.3		25.7		15		47.6		53.9		57.2		53.4		46.7		43.7		42.6		43.1		36.2		27.4		16.1		11.6

		NOR140_15642541_251126_0319.NBF		(2025/11/26 16:03:02.00)		(0:2:57.0)				N/A		52.6		53.6		63.6		75.1		56.1		47.7		53.7		59.9		63.8		60.1		51.1		48.7		47.1		50.2		44.4		34.5		24.8		13.8		69.6		75.1		74		70.1		59.7		59.1		57.2		62		57		48.7		42.2		26.5		55.9		62.5		67.1		63.3		53.5		51.8		50.4		53.6		48		38		28		16.2		45.9		53.2		56.9		55.3		47.2		44.3		42.8		45.2		38.2		26.9		16.1		11.6

		NOR140_15642541_251126_0320.NBF		(2025/11/26 16:06:03.00)		(0:2:56.0)				N/A		51		52.5		60.5		73.5		52.9		47.6		51.6		58.2		60.9		59.7		50.6		47		46		48.7		42.1		32.9		26.1		13.7		69.3		73		74.9		74.3		69.9		60.3		58		57.4		53.6		46.9		39.8		25.5		53.9		60.9		63.3		62		51.8		48.7		48		50.7		44.2		35.6		30.1		15.6		45.1		51.5		55.4		55.3		47.5		44.1		42.8		44.8		37.8		26.7		18.5		11.7

		NOR140_15642541_251126_0321.NBF		(2025/11/26 16:09:02.00)		(0:2:57.0)				N/A		52.3		53.7		64.2		74.8		53.6		46.7		50.3		57.6		59.4		58.8		51.2		47.8		46.5		49.2		43.9		41.8		21.1		14.3		70.9		71.6		73.7		71.8		57.8		59.6		59.1		62.5		56.6		58.5		35.9		32.5		51.9		60.1		62		60.4		53.2		49.6		47.6		51		44.3		35.1		24.3		14.6		44.5		52		54.5		54.6		48.2		44.8		42.8		43.6		36.3		25		15.3		11.5

		NOR140_15642541_251126_0322.NBF		(2025/11/26 16:12:02.00)		(0:2:57.0)				N/A		50.8		51.8		59.8		73.3		53.1		47.3		49.6		56.8		59.7		60.4		54.7		49.3		46		48.2		40.9		30.5		20.5		12.1		63.6		72.4		73.5		72.9		68.7		62.2		57.7		56.2		53.9		39.8		34.6		25.6		52.2		59		62.2		63.7		57		51.3		48.5		50.6		43.2		33.3		23.1		12.9		44.9		51.8		54.7		54.3		50.7		45.1		42.2		44.3		37.4		25.7		15.3		11.4

		NOR140_15642541_251126_0323.NBF		(2025/11/26 16:15:02.00)		(0:2:57.0)				N/A		50.9		52.1		59.9		73.4		52.4		47.2		49.6		57.8		62.2		59		53		47.8		46.1		48.5		41.7		33.3		25.3		13.9		61		71.9		76.9		71		60.6		56.5		58		56.8		52.6		50.7		44.7		31.5		52.3		60.4		63.5		62		54.4		49.1		47.4		50.3		42.9		35.3		27.6		14.7		44.6		52.7		56.4		54.3		51.2		45.6		43.2		44		36.8		26		16		11.4

		NOR140_15642541_251126_0324.NBF		(2025/11/26 16:18:02.00)		(0:2:57.0)				N/A		51		53.1		65.4		73.5		52.7		45.8		50.8		57.8		58.8		57.5		54.5		48.4		48.2		48		41		30.2		20.8		13.2		68.5		71.7		68.7		69.8		72.1		64.6		68.4		57.9		53		44.1		35.9		32.8		53.1		60.5		61.3		59.9		53.5		49		47.5		50.8		43.1		31.9		23.3		14		45		51.8		54		53.3		50.1		44.4		41.3		42.9		35.5		23.1		14.5		11.4

		NOR140_15642541_251126_0325.NBF		(2025/11/26 16:21:02.00)		(0:2:57.0)				N/A		50.2		50.8		56.7		72.7		52.6		46.8		54		56.9		58.1		56.7		52.2		48.9		45.5		47.4		41.1		33.3		26		15.7		72.9		75.6		70.1		69.6		68.7		56.4		54.2		52.6		47.4		48.8		42.4		26.8		55.8		59		60.7		58.8		54.6		52.2		47.9		49.9		43.7		35.6		27		18.8		45.7		50.6		53.5		53.2		49.5		44.6		42.2		43.7		36.5		25.5		15.9		11.5

		NOR140_15642541_251126_0326.NBF		(2025/11/26 16:24:02.00)		(0:2:57.0)				N/A		51.1		52		60.7		73.5		53		48.2		55.2		59.6		60.3		58.2		52.5		48.3		46.2		48.6		41.8		32		21.4		13.2		72.2		74.7		70.6		69.9		58.1		55.6		54.3		57.9		55.3		44.7		32.4		21.9		57.7		62.8		63		60.1		54.3		50.2		48.4		50.9		43.6		34.7		24.3		14.8		47		52.4		54.8		54.3		49.8		46		43.5		45.4		37.5		25.9		15.4		11.4

		NOR140_15642541_251126_0327.NBF		(2025/11/26 16:27:02.00)		(0:2:57.0)				N/A		49.5		50.1		54.8		72		51		47.3		55.2		59.5		58.9		56.9		51.3		46.8		44.6		47.2		39.6		31.9		28.1		14.8		72.9		75.3		68.5		68		62.5		51.4		49.3		53.8		45.8		45.2		42.7		31.3		57.4		61.5		61.7		59.2		52.9		48.2		46.4		49		41.2		35		33		14.8		47		53.2		54.1		53.5		49.2		45.2		42.6		44.4		36.8		25.9		16.9		11.5

		NOR140_15642541_251126_0328.NBF		(2025/11/26 16:30:02.00)		(0:2:57.0)				N/A		50.8		51.5		59.8		73.3		53.6		46.6		52.7		58.9		60.2		60		53.7		49.7		46.3		47.8		41.9		33.6		26.3		16		67.9		72.4		72.3		74.2		68.5		65		56.3		55.8		53.2		47.4		42.5		35.6		55		61.7		63.5		62.5		56.3		51.8		48.7		50.6		44.8		36.7		28.6		15.7		44.3		52.2		53.7		52.5		48.9		44.9		42.5		43.9		36.4		23.4		14.7		11.5

		NOR140_15642541_251126_0329.NBF		(2025/11/26 16:33:02.00)		(0:2:57.0)				N/A		51.2		51.8		61.2		73.7		53		47.6		50.9		58.1		61.3		61		52.7		48.2		46.5		48.5		42.5		33.5		24.5		14.7		72		79.7		78.4		77.6		66.6		57.3		56.6		57.6		55.3		47.7		41.5		29.8		52.8		60.1		63.3		62.8		53.7		49.9		48.3		50.5		44.8		36.5		27.2		16.3		44.9		51.6		56.7		54.5		49.6		45.3		42.9		44.8		37.8		25.9		15.5		11.4

		NOR140_15642541_251126_0330.NBF		(2025/11/26 16:36:03.00)		(0:2:56.0)				N/A		51.1		52		58.3		73.6		53.5		47.8		51.2		58.7		61.6		65.7		54.2		48.5		46.6		48		41.7		33.5		31.1		15.7		69.8		71.9		72.5		80.9		64.9		59.9		56.6		55.5		51.5		47		51		29.2		53.6		61.9		64.7		67.7		57.5		50.3		48.7		50.1		44.3		36.7		31.4		17.6		44.5		50.6		56.1		54.7		49.2		45.7		43.6		44.8		37.5		26		16.5		11.6

		NOR140_15642541_251126_0331.NBF		(2025/11/26 16:39:02.00)		(0:2:57.0)				N/A		51.1		51.8		58.4		73.5		52.6		48.2		51		57.2		61.1		59.7		53.2		49.1		46.5		48.4		41.9		31.5		21.7		21.5		67		73.9		74.9		82		64.6		58.5		53.6		56		51.4		42.2		37		49.2		53.6		59.9		63.9		61.5		55.3		51.1		48		50.2		43.9		34.4		24.6		14.7		44.3		51.3		56		54.4		49.6		46.3		43.9		45.1		38		25.3		15.5		11.5

		NOR140_15642541_251126_0332.NBF		(2025/11/26 16:42:02.00)		(0:2:57.0)				N/A		52		53		63.5		74.5		54.2		48.6		49.4		60.9		60.7		59.6		55.1		52.7		48.3		48.7		42.1		32.6		25		14.4		64.3		78.7		77.6		70.3		70		68.2		61.4		60.3		52.2		44.2		38.8		29.8		52		65.6		62.3		62.6		56.6		53.6		50		50.2		44.8		35.6		27		15.9		44		50.6		55.3		54.7		50		46.7		43.9		45.8		38.6		25.7		15.4		11.5

		NOR140_15642541_251126_0333.NBF		(2025/11/26 16:45:02.00)		(0:2:57.0)				N/A		60.9		64.3		80.5		83.3		62.5		49.3		52.6		56.7		58.4		57.3		51.6		49.7		53.1		56.4		54.3		53.7		45.3		28		71.5		73.4		73.5		70.5		61.2		66		70.6		72.2		74.6		76.2		66.5		48.4		54.2		58.7		60.8		59.6		53.4		52.2		55.9		58.4		55.5		53.7		43.6		24.2		44.9		50.1		54		53.4		49.2		45.5		44.5		46.7		39.9		28		16.1		11.5

		NOR140_15642541_251126_0334.NBF		(2025/11/26 16:48:02.00)		(0:2:57.0)				N/A		52.9		54.3		64.7		75.3		53.9		49.8		56.6		58.9		61.2		59.7		53.1		49.8		48.3		50.1		44.4		35.7		26		16.2		74.1		74.5		75.5		76.3		63.6		60.9		60.6		59.9		58.3		57.5		43.3		26.5		59.4		62.1		63.3		61.7		55.8		51.5		49.6		51.2		45.9		37.7		28.5		19		45.5		51.9		56.6		55.1		48.4		47.3		45.3		46.7		40.7		31.6		22.3		13.4

		NOR140_15642541_251126_0335.NBF		(2025/11/26 16:51:03.00)		(0:2:56.0)				N/A		50.5		51.2		56.6		73		52.5		47.5		51.3		55.5		59.2		57		50.4		47.5		45.4		48.1		41.7		31.9		21.5		13.6		68.8		72.9		71.9		67.7		57.7		53.6		52.3		54		50.6		41.2		35		28.1		53.1		57.7		62		59.6		52.1		49.3		47.3		50.2		44		35.2		24.5		15.2		43.8		49.6		54		52.9		48.4		45.3		42.8		44.9		37.7		25.9		14.7		11.3

		NOR140_15642541_251126_0336.NBF		(2025/11/26 16:54:02.00)		(0:2:57.0)				N/A		55.8		57.3		70.6		78.3		56.3		48.4		52.6		55.9		60.8		61.4		57.7		56.7		52.7		52.1		46.1		38.9		26.5		14.2		70.6		73		77		78.2		76		74.1		69.3		66.6		62.4		57.6		43.8		27.2		54.6		58.2		62.7		62.8		57.2		55.4		51.5		53.3		47.1		38.8		28.7		16.6		44.1		49.7		55.2		53.8		49.5		46.7		43.6		45.2		38		25.8		15.6		11.4

		NOR140_15642541_251126_0337.NBF		(2025/11/26 16:57:02.00)		(0:2:57.0)				N/A		55.2		60.1		71.4		77.7		57.7		50		56.2		58.4		63.7		63.7		56.6		54.4		52		51.8		45.5		36.6		27.7		18.5		79.3		81.8		78.3		80.8		66.1		64.5		70.4		69.5		60.1		54.4		48.3		41.5		58.3		60		66.7		63.9		60		58.3		54		54.2		48.8		37.9		28.5		19.5		44.7		52		57.3		55.8		51.3		48.5		45.5		46.5		39.5		27.6		16.8		11.6

		NOR140_15642541_251126_0338.NBF		(2025/11/26 17:00:02.00)		(0:2:57.0)				N/A		51.8		52.6		63.8		74.3		54.7		47.6		53.4		58.9		65.2		61.7		52.3		48.2		46.8		49.2		43.5		34		24.6		14.5		70.6		78.7		77.1		77.9		60		57.1		58.3		61.4		57.2		46.4		38.9		26.3		55.6		60.5		68.4		64.6		54.6		50.2		49.1		52.1		46.2		37.4		27.9		16.3		44.8		51.1		57.6		55.1		49.5		45.6		43.2		45		37.4		25.5		16		11.7

		NOR140_15642541_251126_0339.NBF		(2025/11/26 17:03:03.00)		(0:2:56.0)				N/A		51.5		52.2		61.8		74		53		48.4		53.4		55.5		59.1		60.1		52.8		48.4		46.6		48.7		42.8		36		25.3		14.3		68.1		72.6		69.5		73		66		58		58.6		58.3		55.7		54.3		43.1		29.1		56.7		58		61.3		62.3		54		49.7		47.4		50.7		43.6		33.2		22.8		13.8		45.4		50.7		55.4		55.3		49.5		46		43.8		45.6		37.9		25.2		14.7		11.4

		NOR140_15642541_251126_0340.NBF		(2025/11/26 17:06:02.00)		(0:2:57.0)				N/A		50.2		50.7		57.1		72.7		51.9		47.9		57.3		57.2		60.3		59.1		51.7		47.7		45		47.9		40.8		29.6		19.7		12.4		73.8		73.8		77		70.4		60.5		52.6		51.3		55		50.4		39.3		33.6		24.3		60.9		60		62.5		61.4		53.6		49.1		46.6		49.9		42.4		32.1		22.3		13.2		45.2		50.5		55		54.6		49.4		46.1		43.2		45.3		37.8		24.9		14.6		11.3

		NOR140_15642541_251126_0341.NBF		(2025/11/26 17:09:02.00)		(0:2:57.0)				N/A		50.1		50.8		58.2		72.6		52		47.1		55.1		60.7		59.3		57.2		51.1		47		44.8		47.9		40.9		29.4		18.8		12.2		69.8		79.7		71		66.8		57.9		55.4		52.3		55		51.7		41.5		31.1		22.6		58.6		60.2		62		59.7		52.6		48.2		46.4		50.1		43		32		21		13		44.5		50.1		54.8		53.6		49.2		45		42.5		44.5		37.1		23.7		13.9		11.4

		NOR140_15642541_251126_0342.NBF		(2025/11/26 17:12:02.00)		(0:2:57.0)				N/A		50.5		51		55.7		72.9		52.1		48.3		50.6		55.3		59.1		57.9		52.4		48.4		46.7		47.6		41.2		31.9		23.8		15.3		67.6		72.7		65.4		67.5		63.8		56.1		57.7		53.7		47.6		44.6		37.5		25.7		53.2		57.4		61.6		60.6		54.6		49.8		48.2		49.3		43.7		35.6		27.1		18.7		44		50		55.5		54.3		49.6		46.4		44.1		44.6		36.8		24.2		15.1		11.5

		NOR140_15642541_251126_0343.NBF		(2025/11/26 17:15:02.00)		(0:2:57.0)				N/A		52.2		53		60.4		74.7		54.2		49.2		54.5		60		60.8		60.9		52.1		49.2		48.1		49.3		43.3		35.1		25.8		15.3		67.3		75.6		75		79		63.5		60.8		61.5		56.7		52.4		47.3		38.2		26.7		57.9		62.7		63.1		63.1		54		50.9		49.8		51.3		45.9		38		28.5		16.8		46.5		52.5		56.1		54.9		49.2		46.5		44.2		46.4		39.7		28.2		16.9		11.6

		NOR140_15642541_251126_0344.NBF		(2025/11/26 17:18:02.00)		(0:2:57.0)				N/A		51.3		52.7		62.5		73.8		52.6		48.2		53.2		58.8		62.8		60.9		54.7		49.3		46.9		48.5		42.1		32		21.6		13.3		70.5		77.3		85.1		79.8		70.5		60.2		59.3		59.9		54		48.3		35		28.8		55.3		60.3		64.5		62.8		56.3		51.7		48.6		49.5		43.5		35.1		24.7		14.3		45.2		52		57.2		56.2		50.2		46.3		43.7		45.1		37.6		25.2		15.5		11.4

		NOR140_15642541_251126_0345.NBF		(2025/11/26 17:21:02.00)		(0:2:57.0)				N/A		50.8		51.8		61		73.3		52.6		48		55.1		60.5		62.4		61.8		53.3		49.4		46.7		47.9		41.5		32.3		23.7		14.9		70.9		80.2		74.6		76.5		61.8		60.4		56		57.9		53.8		45.3		41.1		31.6		58.2		61.8		64.7		64.1		55.1		51.5		48.5		49.8		43.9		35.4		26.6		16.8		45		52.5		57.6		55.4		50.8		46.5		43.5		44.7		37.4		25.6		16.7		11.7

		NOR140_15642541_251126_0346.NBF		(2025/11/26 17:24:02.00)		(0:2:57.0)				N/A		50.6		51.4		58.7		73.1		52.3		47		51.1		56.8		61.5		59		53		48.5		45.9		48.1		41		31.8		26		15.1		65		70.6		72.2		72.6		65.4		57.5		56.5		56.1		52.1		47.1		43.9		30.7		54.3		59.1		64.8		61.6		54.6		50.7		47.7		49.9		42.3		32.9		24.3		14.6		44.1		52		54.5		53.4		49.4		45.2		42.6		44.7		35.8		23.4		13.7		11.3

		NOR140_15642541_251126_0347.NBF		(2025/11/26 17:27:02.00)		(0:2:57.0)				N/A		50.3		50.8		54.3		72.8		52.2		47.8		51.1		55.3		60.5		58.9		52.5		48.2		45.6		47.9		40.3		28.6		18.7		12.8		67.7		70		75.6		72.1		58.9		52.6		51.8		52.2		48.4		41.4		33.5		27.1		53.6		57.7		63.2		61.1		54.5		49.8		47.4		50		42.3		30.9		21.2		13.8		44.1		50.6		55.4		54.7		49.9		45.7		43.2		45.1		37.2		23.2		13.4		11.3

		NOR140_15642541_251126_0348.NBF		(2025/11/26 17:30:02.00)		(0:2:57.0)				N/A		58		59.3		75.9		80.5		55.4		49.1		53.5		56.4		63.3		60.9		53.4		49.9		52.2		53.1		50.4		51.1		43.1		26.4		73.5		69.1		77.4		74.4		62		63.5		70.5		70.7		68.8		70.6		64.6		48.1		54.1		59.1		66		64		55.7		50.9		51.6		51.5		47.8		44.1		30.9		18.7		43.9		51.4		56.8		55.4		50.3		46.2		44.3		46		39.1		27		16.5		11.5

		NOR140_15642541_251126_0349.NBF		(2025/11/26 17:33:02.00)		(0:2:57.0)				N/A		51.4		52.5		56.7		73.8		53.1		48.2		53		59.5		59.9		59.3		55.1		48.9		47.7		48.3		42.1		34		25.2		14.5		68.5		76.6		75.3		73.2		71.3		56		55.3		52.8		52.3		47.4		41.1		27.8		56.1		61.4		62.6		61.3		54.7		50.8		50.1		50.2		44.7		38		29.1		16.4		44.5		51		54.7		53.8		50		46.3		44.2		44.7		36.7		24.8		15.4		11.4

		NOR140_15642541_251126_0350.NBF		(2025/11/26 17:36:02.00)		(0:2:57.0)				N/A		50.4		51		58		72.9		52		48		52.8		59.8		60.9		60.8		54.3		47.9		45.7		47.9		40.3		30.3		21.3		12.7		68.9		77.7		79.9		74.4		71.2		55.5		53.6		55.4		50.2		45.6		37		24.5		55.9		61.2		62.7		63.2		56.3		49.8		47.3		49.8		42		31.3		22.9		13.2		44.2		52		55.3		55.1		49.7		45.7		43.5		45.1		37.1		25.1		15.1		11.3

		NOR140_15642541_251126_0351.NBF		(2025/11/26 17:39:02.00)		(0:2:57.0)				N/A		49.9		50.5		57.1		72.4		51.3		48		50.6		56.3		59.8		58.9		50.5		47.6		44.8		47.3		41.1		31.9		23		20.5		67.3		75.4		70.4		73.1		61.6		55.3		51.9		54.3		49.4		41.7		34.1		47.4		52.9		58.7		62.3		60.6		52.1		49		46.2		49		42.5		34.2		25.7		18.3		44.6		50.1		54.9		54.1		48.3		45.6		43		44.7		38.3		25.3		15.1		11.4

		NOR140_15642541_251126_0352.NBF		(2025/11/26 17:42:02.00)		(0:2:57.0)				N/A		50.8		51.9		59.2		73.3		52.3		47.6		53.3		57.7		62.2		61.7		52.1		48.1		45.6		48		42.3		33.3		24.5		14.4		69.7		74.8		76.8		76.6		66.1		56.4		54		55.6		53.6		46.3		38.7		25.5		55.2		58.8		65.6		64.6		53.8		49.7		47.3		49.7		43.9		36.1		27.7		16.6		45.9		51		54.3		53.6		48.8		45.5		42.7		44.9		38.1		25.7		15.1		11.5

		NOR140_15642541_251126_0353.NBF		(2025/11/26 17:45:02.00)		(0:2:57.0)				N/A		50.7		52.1		59.5		73.2		52.7		47.2		51.8		58.4		60.3		59		52.9		47.6		45.9		48		42.2		30.3		21.3		13.2		67.6		77.4		78.4		74.7		65.2		56		56.9		58.2		54.8		41.3		36.2		25.1		54.5		60.9		62.7		61.6		55.3		49.7		47.7		50.6		44.3		32.5		24.3		14.8		44.3		51.4		54.6		53.4		49.5		44.6		42.3		44.6		37.3		23.8		14.3		11.4

		NOR140_15642541_251126_0354.NBF		(2025/11/26 17:48:02.00)		(0:2:57.0)				N/A		51.5		53.4		62.1		74		54.1		47.7		49.9		56.9		61		58.5		51.4		48		46.6		48.9		42.9		34.1		25.7		16.9		68		73.9		77		73.2		62.7		58		59.4		60.2		54.1		47.9		41.2		38.9		51.7		59		64		60.6		53.1		49.9		48.7		51.7		46.1		37		28.1		15.8		44		51.8		55.9		54.8		49.1		45.1		42.6		44.8		37.9		28		19.1		11.8

		NOR140_15642541_251126_0355.NBF		(2025/11/26 17:51:03.00)		(0:2:56.0)				N/A		49.2		50.4		56		71.7		50.8		47.4		52.7		59		59.8		57.6		51.2		46.7		44.3		46.6		39.8		31.6		23.8		12.7		66.9		77.6		73.2		73.2		64.7		57		54.3		53		48.6		48.6		39.7		23.6		55		61.1		62.7		59.7		53		48.5		46.1		48.5		41.7		33.8		25.7		13.7		44.1		49.5		55		54.4		49		44.7		42.2		44.6		37.4		28.1		20.8		11.6

		NOR140_15642541_251126_0356.NBF		(2025/11/26 17:54:03.00)		(0:2:56.0)				N/A		50		50.6		55.1		72.5		51.7		46.9		49.7		54.9		59.8		58.8		51		47.1		44.9		47.8		40.5		29.3		19.7		13.3		68		72.8		73.2		68.5		59.2		54.4		53.5		53.7		46.2		38.5		30.7		28.5		51.5		57		62.7		61.8		52.7		48.4		46.4		49.6		42.5		31.2		22.8		14.3		44.2		49.3		53.3		54.3		48.7		44.9		42.4		44.4		36.7		23.8		15.3		11.4

		NOR140_15642541_251126_0357.NBF		(2025/11/26 17:57:02.00)		(0:2:57.0)				N/A		50.1		51.1		57.1		72.6		52.3		46.7		51.3		59.1		61.1		58.8		51.4		46.9		45.3		47.7		40.8		30.1		20.5		13.5		66.7		76.1		73.2		79.7		65.3		53.8		54.9		53.6		49		41.5		33.8		32.6		54		61.6		64.1		60.6		53		48.7		47.6		50.1		43.3		33.3		23.5		14.1		44.2		50.7		54.8		53.7		49.2		44.4		42.1		44.1		36.4		23		14.6		11.4

		NOR140_15642541_251126_0358.NBF		(2025/11/26 18:00:02.00)		(0:2:57.0)				N/A		51.2		52.2		60.3		73.7		53.7		47.5		53.5		58.8		62.3		61.4		52.1		47.7		47.1		48.6		41.9		33.3		24.6		14.4		67.9		75		74.9		76.4		60.9		55.7		58.7		56.6		52.5		52.9		41.3		31.5		56.8		61.4		65.8		63.4		53.7		49.3		49.5		51		45		35.3		26.8		15.9		44.8		50.4		54.9		54.4		50		44.9		43.2		44.8		36.9		25.1		15		11.5

		NOR140_15642541_251126_0359.NBF		(2025/11/26 18:03:02.00)		(0:2:57.0)				N/A		51.5		52.3		60.2		74		53.7		48.1		51.7		59.1		60.8		60.1		52.4		48.9		47.4		48.7		42.5		33.4		25		15.6		67.9		78.2		73.6		75.7		61.8		57.1		56.2		57.9		53.8		46.4		38.9		38.7		53.4		60.6		63.5		62.1		54		50.6		49.1		50.8		44.9		37.5		28.9		16.5		43.5		49.7		55		57		50		46.4		44.6		44.9		37.4		25.7		15.6		11.5

		NOR140_15642541_251126_0360.NBF		(2025/11/26 18:06:02.00)		(0:2:57.0)				N/A		51.8		52.3		57.5		74.3		53.7		49.8		50.4		56.8		59.5		60		51.2		49.3		47.2		49		42.9		35		26.8		16.4		68.6		76.6		74.9		74.5		60		56.8		52.8		54.8		50.8		50.5		48.1		32.6		52.4		58.1		61.6		61.7		53		50.5		48.6		51.1		45.3		37.4		27.8		19.2		43.8		50.1		55.5		54.7		48.3		47.7		45.7		46.5		40.4		28.4		18		11.7

		NOR140_15642541_251126_0361.NBF		(2025/11/26 18:09:02.00)		(0:2:57.0)				N/A		51.2		51.8		57.8		73.7		52.7		48.7		52.1		56.3		59.9		58.1		51.3		48.6		46.8		48.8		41.8		31		21.3		13		68		75		71		67.2		57.7		55		53.5		55.7		49.9		43.6		40.8		27.1		55.1		58.6		62.6		60.4		53.1		50.1		48		50.5		43.5		34.3		23.9		14.4		44.9		49.8		55.3		54.7		48.9		46.6		45		45.8		37.9		25.6		16.4		11.5

		NOR140_15642541_251126_0362.NBF		(2025/11/26 18:12:02.00)		(0:2:57.0)				N/A		50.9		52.5		60.9		73.3		52.6		48.3		52.7		58.8		60.3		59.6		52.4		48.8		47.2		48.2		40.6		29.8		19.5		12.3		68.6		79.2		74.1		79.1		62.2		56.3		60.9		55.8		53.2		41.5		33.8		22.4		55.4		59.9		62.3		61.1		54.4		50.5		48.3		50.2		42.5		32		21.5		13.2		44.1		50.9		55.3		55.2		49.4		46.7		45.1		45.2		37		25.5		16.2		11.5

		NOR140_15642541_251126_0363.NBF		(2025/11/26 18:15:02.00)		(0:2:57.0)				N/A		50.7		51.8		59.3		73.2		52.5		47.8		55.2		63.2		61.5		59.8		51.5		47.9		46.3		48.3		41.2		30.8		24.6		14.6		72.5		83.1		80.3		76.1		63.4		57.4		55.9		55.3		49.5		43		42.2		31.4		57		63.1		64.5		62.4		53.3		49.9		48.2		50.2		43		33.2		25.7		15.8		45.2		51.2		54.6		53.9		49		45.3		43.1		45.4		37.6		24		14.7		11.4

		NOR140_15642541_251126_0364.NBF		(2025/11/26 18:18:02.00)		(0:2:57.0)				N/A		48.9		50.5		58.7		71.4		50.7		46.4		53.1		63.9		64.4		56.1		50.5		46.5		44.7		46.4		39.1		28.8		23.9		13.9		70.3		90.4		91.6		73.7		65.6		58.8		56		54.1		53.8		45.2		49.8		35.1		54		59.5		61.3		57.8		52		48.2		46.8		48.5		40.9		31.1		22.1		14.3		44.1		49.2		52.1		52		47.8		44		41.8		43.9		36.1		22.3		13.7		11.3

		NOR140_15642541_251126_0365.NBF		(2025/11/26 18:21:02.00)		(0:2:57.0)				N/A		51.8		52.5		59		74.2		53.9		48.8		51.3		58.9		60.2		56.9		54.3		52.9		47.1		48.7		41.6		30.4		20.9		13.5		67.1		79.2		73.2		65.3		67.2		64.4		56.7		56		50.1		39.6		31.9		23.8		53.6		59.8		62.3		59.3		58.9		57.7		49.3		50.5		43.3		33.1		23.2		15		46.3		52.2		56.2		53.3		48.2		45.6		43.9		46.1		38.8		26.7		17.4		11.9

		NOR140_15642541_251126_0366.NBF		(2025/11/26 18:24:02.00)		(0:2:57.0)				N/A		50.6		51.3		55.6		73.1		52.7		47.9		52.4		59.8		60.9		57.8		52.9		49.1		48.1		47.7		40.4		30.1		21		13.3		66.9		84.5		83.1		68.8		63.2		56.7		53.5		52.7		48.7		42.7		36.4		26.6		55		58.3		61.9		60.8		55.4		51.3		50.2		50		42.6		32.4		22.7		13.9		45.2		50.2		53.7		52.6		48.7		45.9		44.6		44.9		37.2		23.8		15.1		11.5

		NOR140_15642541_251126_0367.NBF		(2025/11/26 18:27:02.00)		(0:2:57.0)				N/A		52.1		53.1		59.6		74.5		55		47.8		50		53.9		57.3		58.7		55.2		51.2		49.6		48.8		41.3		29.5		19.4		12.4		65.5		71.4		67.3		69.6		67.3		61.3		61.3		54.8		47.9		39.6		32.2		21.3		52.4		56.3		60		61.7		59		55.2		53.2		51.6		43.9		33.1		22.4		13.5		44		48.8		52.4		52.8		48.9		45.7		43.4		45		36.9		22.4		13.1		11.3

		NOR140_15642541_251126_0368.NBF		(2025/11/26 18:30:02.00)		(0:2:57.0)				N/A		50		51		59		72.5		52.2		46.7		54.7		60.1		60.8		57.8		51.5		47.3		45.6		47.5		40.7		31.2		22.5		13.3		71.6		75.1		76.1		75.8		63.7		57.1		55.6		56.3		51.4		45		36.4		22.9		57.4		62.6		65.2		60		53.1		48.6		47.2		49.9		43.3		32.2		24.4		14.8		44.2		49.9		52.8		53.3		49.2		44.8		42.5		43.8		36.5		23.3		14		11.5

		NOR140_15642541_251126_0369.NBF		(2025/11/26 18:33:02.00)		(0:2:57.0)				N/A		51.6		52.8		58.1		74.1		53.5		49.3		50.6		55.7		59.4		58.1		51.3		48.1		46.6		49.2		42.7		33.7		24.7		15.9		63.3		70.9		73.8		69.2		63.8		55.7		56.6		54.8		48.8		41.9		35.9		23.6		53.9		58.6		62.5		61		53.3		49.4		48.1		51.3		44.5		35.5		27.3		18.9		43.6		49.2		53.1		53.2		48.5		46.5		44.5		46.4		40.7		30.5		19.9		12

		NOR140_15642541_251126_0370.NBF		(2025/11/26 18:36:03.00)		(0:2:56.0)				N/A		50.8		51.6		58.4		73.2		53.5		47		49		52.9		57.1		57.6		53.6		49.8		48.5		47.4		40.2		29.2		18.9		14		63.4		63.8		67.6		70.6		63.8		59.7		59.8		55.8		49.6		40.7		30.2		34.2		52		55.6		59.9		60.5		57.9		53.9		52.6		49.6		42.9		32		21.3		13.3		42.8		48.2		52.2		52.4		48.5		44.6		42.6		43.9		35.1		20.8		12.7		11.3

		NOR140_15642541_251126_0371.NBF		(2025/11/26 18:39:02.00)		(0:2:57.0)				N/A		49.8		51.2		59.9		72.2		52.2		45.9		51.3		57.3		59.1		58.9		52.7		47.6		45.4		47.2		40		29.4		20.2		12.5		69.5		73.1		77.3		73.9		65.3		58.2		59.2		54.1		50.3		42.6		34.1		23.8		53.7		60.3		61.4		60.8		55.4		49.6		47.2		50.1		42.9		31.8		21.7		12.9		42.9		49.1		53		52.2		49		44.8		42.6		43		34		20.8		13.2		11.3

		NOR140_15642541_251126_0372.NBF		(2025/11/26 18:42:02.00)		(0:2:57.0)				N/A		49.7		50.3		54.1		72.2		51.9		46.3		50.7		58.6		59.5		56.8		50.8		46.7		44.5		47.6		39.9		28		17.8		12.5		68.8		79.5		77.5		65.1		60.5		54.6		51.4		52.2		46.3		43.5		34.4		26.6		52.9		59.4		63.1		59.7		52.9		48.3		46.4		50		42.4		31.2		21.2		13.3		43.9		49.3		52.5		52.3		47.9		44.3		41.9		43.9		35.5		21.7		13.1		11.3

		NOR140_15642541_251126_0373.NBF		(2025/11/26 18:45:03.00)		(0:2:56.0)				N/A		50.3		51.4		60.5		72.8		52.7		46.5		54.7		59.9		61.3		57.7		55.4		48.4		45.4		47.7		40.5		29.8		20.3		12.7		71.9		83.8		80.6		74.1		74.4		64.2		55.2		53.3		51.5		44.7		36.3		24.6		59		60.9		64.8		60.3		56.3		49.7		47.5		50		43		31.9		22.3		13.7		44.3		50.3		54.2		53		48.5		44.5		42.2		43.9		36.1		23.6		13.9		11.3

		NOR140_15642541_251126_0374.NBF		(2025/11/26 18:48:02.00)		(0:2:57.0)				N/A		48.1		48.6		52.7		70.6		50.5		44.8		51.2		53.2		54.7		54.8		49.4		45.5		43.1		46		38.3		25.6		15.5		11.8		69.2		66.4		64.7		67		56.5		49.6		47.9		51.4		45.1		34.3		27		22.8		53.2		55.9		57.7		57.3		50.9		47.1		45.2		48.6		41.1		29		17.6		12.3		42.8		47.5		50.4		50.2		47.6		43.3		40.3		42.3		33.6		18.1		12.3		11.2

		NOR140_15642541_251126_0375.NBF		(2025/11/26 18:51:02.00)		(0:2:57.0)				N/A		49.7		50.3		54.8		72.2		52.3		46.2		51.4		53.2		56.6		55.7		50.1		46.6		44.3		47.7		40		26.9		15.6		11.6		70.6		68.3		65.2		66.3		59.7		54.1		54.1		53.5		44.9		34.5		22.9		18.7		52.4		56.2		59.4		58.5		51.9		48.5		46.3		50.6		42.7		30		17.7		12		42.7		47		51.9		51.2		47.6		43.8		41.4		43.8		35.4		20.5		12.5		11.2

		NOR140_15642541_251126_0376.NBF		(2025/11/26 18:54:02.00)		(0:2:57.0)				N/A		50.1		50.6		58.8		72.6		51.5		46.7		50.9		53.3		57.4		57.2		50.6		47.3		45.7		47.8		40.5		29.4		20.4		14.1		70		64.8		72.7		72.1		56.8		54.1		53.5		56.4		51.9		43.6		38.1		33		51.6		56.1		59.4		59.2		52.4		48.7		47.6		49.6		41.8		29.9		21.6		13.4		43.1		48.4		52		52		48.3		44.8		42.6		44.2		36.2		22.2		13.3		11.3

		NOR140_15642541_251126_0377.NBF		(2025/11/26 18:57:02.00)		(0:2:57.0)				N/A		49.5		50.2		59.6		72		51.2		46		51.6		56.2		56.8		58.7		49.4		46.7		44.6		47.1		40.5		30.6		22.7		15.5		69.5		74.2		69.6		76.7		60.8		58.8		55.2		56		52.8		42.9		38.6		31.1		53.4		58.1		60.1		58.8		50.6		47.7		45.6		49.4		41.8		34.2		25.9		18.4		42.6		47.2		49.7		50.7		46.9		43.7		41.3		43.7		35.8		19.5		12.6		11.3

		NOR140_15642541_251126_0378.NBF		(2025/11/26 19:00:02.00)		(0:2:57.0)				N/A		50.2		50.7		57.6		72.7		52.3		47.8		53.2		57.7		58.9		56.5		50.3		47.6		45.5		47.6		41.5		32.3		23.1		13.9		69.1		72.3		75.2		66.5		57		56		52.7		54.1		51		43.8		35.6		22.3		56.4		60.4		61.1		58.7		52		49.2		47.1		50.1		43.1		33.6		24.6		15		44.7		50.2		52.5		52.3		48.1		45		43.2		45		38.2		24.9		15.7		11.8

		NOR140_15642541_251126_0379.NBF		(2025/11/26 19:03:02.00)		(0:2:57.0)				N/A		51		51.7		60		73.5		53.7		46.6		55.9		55.8		58.5		64.2		52.5		47.4		45.7		48.1		42.7		35.4		27.4		16.7		75		71.7		73		81.5		64.5		55.7		55.2		57		53.7		50.3		43.2		31.4		58.1		58.5		61.4		62.5		54.1		49.9		48.7		50.6		45.6		39.6		31.3		18.7		44.5		49.2		52.2		52.4		48.5		44.2		41.5		44.1		37.1		23.2		13.7		11.3

		NOR140_15642541_251126_0380.NBF		(2025/11/26 19:06:02.00)		(0:2:57.0)				N/A		49.2		49.9		57.9		71.7		51.5		45.6		53.3		58.9		60.3		57		50.6		46.7		44.1		46.6		40.6		31		23		13		71.8		78		72.8		69.4		59.7		54.1		52.7		54.2		53		44.6		37.3		24.1		54		59.9		63.8		59.8		52.6		48.9		46.7		49		42.8		34.6		25.5		14.1		43.5		50.8		53.3		52		48.3		43.9		40.7		43		35.7		21.6		13.1		11.3

		NOR140_15642541_251126_0381.NBF		(2025/11/26 19:09:02.00)		(0:2:57.0)				N/A		50.5		51.5		62		73		53.1		45.1		50.9		57.2		60.8		57.3		55.8		51.1		47.5		47		40		31.4		30.4		14.8		65.5		72.5		80.5		67.8		72.8		68.6		62.3		55.7		52.6		45.6		53.4		34.9		54.4		60.3		63.1		60.5		56		50.8		49		49.6		42.2		34.6		26.9		16.3		43		48.3		50.5		51		48.4		44.1		41.8		41.7		34.1		20.5		14.6		11.5

		NOR140_15642541_251126_0382.NBF		(2025/11/26 19:12:02.00)		(0:2:57.0)				N/A		49.8		51.1		57.8		72.2		52.6		46		57.8		61.2		60.6		57.1		51.4		47.9		46.2		47		40.2		29		21		14.4		76.9		82		78.6		76.3		63.8		58.9		57.3		53.3		49		40.6		33.5		33.8		58.8		58.7		64		58.7		54.1		51.2		49.4		49.8		42.9		32.6		24.8		16.5		43.4		48.9		53.3		50.6		47.7		43.8		41		43.4		36.2		22.2		13.2		11.3

		NOR140_15642541_251126_0383.NBF		(2025/11/26 19:15:02.00)		(0:2:57.0)				N/A		50.8		51.8		61.4		73.3		53.1		46.4		52.2		57.5		60.6		60.5		52.1		47.3		46		48.4		41.9		32.1		24.7		19.3		68.8		78.4		79.6		80.8		66.2		55.8		55.9		59		54.8		44.8		43.5		40.6		55.3		59.5		62.6		63		54.3		49.5		48.1		50.9		44.1		35.9		27.9		19.2		43.4		49.8		54		52.3		48.2		44.3		42.4		43.2		36.1		22.8		15.5		11.6

		NOR140_15642541_251126_0384.NBF		(2025/11/26 19:18:02.00)		(0:2:57.0)				N/A		49.6		50.4		59.2		72.1		52.4		45.9		49.6		57.3		57.1		56		50.5		46.6		44.6		47.4		40.3		29.3		20		13.6		65.5		72		71.7		71.7		60.7		55.2		53.9		57.8		50.3		43.4		33.6		25.5		52		60.3		59.8		59.3		52.4		48.7		46.8		50.5		43.2		32.8		25.7		15.9		43		49.7		50.4		50.5		48.4		43.7		40.9		43.1		35.8		22.2		13.3		11.3

		NOR140_15642541_251126_0385.NBF		(2025/11/26 19:21:02.00)		(0:2:57.0)				N/A		50.1		51.7		60.6		72.6		51.7		47.8		50.3		51.3		53.3		53.7		49		46.9		45.7		47.5		41.5		32		22.7		14.5		70.2		66.9		61.8		62.3		58.7		51.4		57.6		60.5		52.1		38		32.9		22.3		52.5		53.8		56.3		55.7		50.7		48.3		47.4		49.4		42.8		33.1		24.8		17		41.7		46.4		49.2		50.6		46.9		45.2		42.8		44.7		39.6		30.7		21.3		13.4

		NOR140_15642541_251126_0386.NBF		(2025/11/26 19:24:02.00)		(0:2:57.0)				N/A		48.5		49.4		55.4		71		50.6		45.1		69.3		63.9		61.6		53.9		50.7		46.6		44		46		39.3		29.3		22.1		14.8		85.5		81.4		75.6		65.3		57.9		56.7		53		53.3		44.1		43.1		40		34.9		73.4		67.8		67.3		56.5		52.4		48.4		46.5		48.6		41.8		32.2		25		16.6		43		47.5		49.7		50		48.3		43.4		39.9		42.1		35.3		22.1		14.3		11.5

		NOR140_15642541_251126_0387.NBF		(2025/11/26 19:27:02.00)		(0:2:57.0)				N/A		50.3		51.2		60.6		72.8		51.8		47.1		59.7		60.5		60.2		64.6		52.1		47.7		45.6		47.4		41.3		30.7		29.6		21.8		79.1		81.1		75.1		83.1		67.2		61.2		58.9		55.6		52.3		43		55.7		47.3		62.7		60.2		64.4		65.4		53.4		49.8		46.8		49.4		42.7		32.8		25.1		15		43.3		48.7		51.4		51.3		47.9		44.4		41.9		44.1		37.6		24.9		14.8		11.4

		NOR140_15642541_251126_0388.NBF		(2025/11/26 19:30:02.00)		(0:2:57.0)				N/A		48.9		50		57.7		71.4		51.6		45.6		67.6		62.8		61		58.8		50.8		46.6		44.8		46.1		39.9		32		24.8		16.8		86.7		80		78		78		62.4		58.1		54.8		53.9		49.4		45.2		38		33.1		69.6		64.9		63.6		61		52.6		48.7		46.9		48.9		42.6		35.2		28.8		20.5		45.3		48.7		51.7		50.7		48.1		43.3		41		42.7		35.9		23.2		16.3		11.8

		NOR140_15642541_251126_0389.NBF		(2025/11/26 19:33:02.00)		(0:2:57.0)				N/A		49.4		50.1		54.3		71.8		52.1		45.5		58.9		56.2		56.6		55.7		50		45.9		43.8		47.3		40.3		28.5		18.7		12.3		79.1		73.6		71.4		73.1		61.9		53.4		52.7		53.1		47.6		40.2		35		23.3		56.9		57.5		59		58.5		51.3		47.9		46.2		50.2		43		31.3		20.4		13.1		42.6		47.6		51.8		51.1		48		43.5		40.6		42.5		36.3		23.3		14.2		11.5

		NOR140_15642541_251126_0390.NBF		(2025/11/26 19:36:02.00)		(0:2:57.0)				N/A		49.9		51.7		60.9		72.4		52.6		45		64.5		63.6		61.5		59.8		51.9		47.5		45.2		46.8		41.8		33.8		27.8		15.9		83.1		85		80.7		80.3		67.1		60.1		59.7		56.3		54.5		49.8		45.2		29.9		67.5		65.2		64		62.3		53		49.6		47.7		49.8		45		35.9		27.8		16.6		49.1		50.7		51.7		49.3		47.6		43.3		39.9		42.2		35.5		20.8		13.8		11.5

		NOR140_15642541_251126_0391.NBF		(2025/11/26 19:39:02.00)		(0:2:57.0)				N/A		48		49.1		57.6		70.5		49.9		45.9		63.3		60.4		59		62.7		50.7		46.1		43.7		45.1		38.7		28.9		23.2		15.6		83.2		77.1		74.6		71		62.4		56.9		51.5		52.3		52.3		49.6		37.1		27.7		64		62.6		61.6		65.7		52.1		47.6		45.3		47.4		40.7		31		24.8		16.2		43.9		48.8		55.3		59.1		48.7		44.2		41.4		42.2		35.9		24		15.9		11.9

		NOR140_15642541_251126_0392.NBF		(2025/11/26 19:42:02.00)		(0:2:57.0)				N/A		50.1		50.8		62.2		72.6		52.5		43.7		59.9		60.4		60		60.8		51		47.1		45.2		47.3		41.6		34		26.4		22		83.5		78.3		75.4		73.1		61.6		56.1		58.5		58.8		56.6		52.7		44.4		46.5		61.9		63.5		62.1		64.4		53.5		49.6		47.5		50.6		43		33.1		23.1		15.3		43.8		48.4		53.3		51		47.9		43.3		39.2		40.3		34.3		21.8		15.3		11.9

		NOR140_15642541_251126_0393.NBF		(2025/11/26 19:45:02.00)		(0:2:57.0)				N/A		48.1		48.9		54.8		70.6		51.2		43.8		64.7		60.5		56.1		54.1		48.9		45.2		42.4		46		39.1		27.8		19.9		14.1		83.1		80.5		71.7		65.4		57		61.8		48.3		52.9		45.6		34.5		30.7		23.2		68.1		63.7		59.3		57.4		50.5		47		45.1		49.3		42.2		31.1		22.3		15.7		44.7		47.8		49.1		48.2		46.9		42.3		38.6		41.1		34.4		21.6		15.9		12.1

		NOR140_15642541_251126_0394.NBF		(2025/11/26 19:48:03.00)		(0:2:56.0)				N/A		49.1		49.8		62.4		71.6		51.1		44.3		60.2		57		55.4		54		49.4		45.6		43.8		46.6		41.1		31		23.3		15.5		82.9		80.3		71		65.4		59.2		55.7		56.8		59.6		56.3		47.2		37.1		26.8		60.2		56.7		58.3		56.7		50.8		46.9		45.4		49.3		41.7		32.1		24.8		17.3		43.3		46.3		49.4		49		47.4		42.5		39		41.3		35.1		24		18.2		13.2

		NOR140_15642541_251126_0395.NBF		(2025/11/26 19:51:02.00)		(0:2:57.0)				N/A		48.3		49		55.5		70.8		50.8		45.6		64.1		59.3		55.3		54.8		52		46.1		42.7		45.4		40.1		31.8		24.8		16.9		83.5		79.1		68.4		71.1		71.3		54.9		48.6		52.6		44.8		38		34.9		25.3		66.5		60.9		58.4		56.9		51		47.7		44.5		48.3		42.2		33.9		28		20.4		43.8		46.7		49.2		49.7		46.3		43.7		40		42		36.5		26.6		19.3		13.3

		NOR140_15642541_251126_0396.NBF		(2025/11/26 19:54:02.00)		(0:2:57.0)				N/A		46.9		47.5		52.3		69.4		49.4		43.9		57.4		54.8		53.7		52.3		49.4		44.8		41.9		44.3		38.1		27.6		20.3		13.7		74.8		70.8		63.9		61.8		57.8		50.5		47.5		51.5		43.3		34.6		27.5		24.6		59.8		57.6		56.6		54.6		50.9		46.6		44.2		47.2		40.6		30.8		23.1		14.9		43.2		46.9		49.3		48.9		47.1		42.4		38.9		40.8		34.9		23.3		16.7		12.3

		NOR140_15642541_251126_0397.NBF		(2025/11/26 19:57:02.00)		(0:2:57.0)				N/A		46.5		47.1		51.5		69		48.8		44		55.4		55.6		54.3		52.6		48.9		44.2		41.4		44.1		37.4		27		21.2		15.7		70.5		71.3		65.3		64.8		54		48.9		49.2		50.1		45.7		38.5		37.9		30.7		59.2		57.7		56.8		55.2		50.3		45.8		43.7		46.8		39.6		29.5		23.7		18.3		41.8		46		49.8		48.8		47.5		42.2		38.8		41.1		34.6		23		16.8		12.3

		NOR140_15642541_251126_0398.NBF		(2025/11/26 20:00:02.00)		(0:2:57.0)				N/A		48.2		49.1		60.5		70.6		50.7		43.6		55.8		52.9		54.4		53.2		49.3		44.5		42		46.2		39		30		24.7		18.7		73.5		68.7		69		67.9		58.2		53.2		52.7		60		48.8		39.2		35.3		28.8		59.6		55.9		57.7		56		50.8		46.4		44.5		49		41.6		32.5		26.3		20.5		40.8		45.6		48.1		48.2		47.6		42		38.2		40.6		34.2		25.8		22		16.5

		NOR140_15642541_251126_0399.NBF		(2025/11/26 20:03:02.00)		(0:2:57.0)				N/A		49.6		51.4		60.8		72		52.4		44.7		59.6		58.1		57.6		54.1		51.2		48.7		47.6		46.1		39.5		29.3		21.9		15.3		80.7		74.8		68.4		65.5		60.9		63.3		64.6		58.2		45.6		35.7		35		25.6		62.8		60.8		60.6		57.7		54		51.5		49.5		49.2		42.4		32.7		24.5		17.1		43.9		48.3		53		49.4		47.9		43.1		39.3		41.7		35.6		25.4		18.3		13.1

		NOR140_15642541_251126_0400.NBF		(2025/11/26 20:06:02.00)		(0:2:57.0)				N/A		47.5		48.1		52.6		70		50.7		43.5		56.9		53.4		55.7		54.1		50		45.7		43		44.8		38.2		27.5		19.4		13.2		73.5		69		66.1		62.9		58.2		53.8		52.4		50.7		43.7		36		31		21.3		60.7		55.9		58.1		57		51.8		47.6		45.4		48.6		41.8		31.5		21.7		14.6		42		46.7		51.3		49.9		47.8		42.9		38.8		39.4		32.1		21.3		15.2		11.9

		NOR140_15642541_251126_0401.NBF		(2025/11/26 20:09:02.00)		(0:2:57.0)				N/A		48.7		49.4		57.7		71.2		50.9		44.8		63.1		60.3		56.5		54.2		49.6		45.4		42.4		46.3		40.8		29.4		20.8		14.2		86		80.1		71.5		65.4		60.3		56.5		48.5		54.1		54.5		36.7		31.9		25.8		64.3		62.6		59.3		57		51		46.8		44.3		48.9		42.1		32.3		23.1		15.5		42.9		47.6		49.9		49.8		47.6		42.7		39.3		41.9		35.8		24.6		17.2		12.5

		NOR140_15642541_251126_0402.NBF		(2025/11/26 20:12:02.00)		(0:2:57.0)				N/A		48		48.6		54.7		70.5		51		43.8		54.4		52.9		53.1		51.8		49		44.9		42.3		45.8		39.5		28.5		20.5		13.9		68.5		64.5		65.7		66.5		55		50.8		50		53.2		46.7		37.4		31.1		25.7		58.3		56		55.9		53.8		50.3		47.1		45		49.1		42.6		31.8		22.8		15.3		42		46.9		48		48.6		47.4		42.4		38.4		41		34.2		22.8		16.9		12.4

		NOR140_15642541_251126_0403.NBF		(2025/11/26 20:15:02.00)		(0:2:57.0)				N/A		48.8		49.5		54.1		71.3		51.7		45.2		60.6		58.1		55.5		55.3		50.4		45.8		43.5		46.4		40.1		31.6		23.4		15.2		80.9		83.3		68.9		64.7		58.7		56.2		51.4		52.2		47.9		42.4		36.3		31.4		62.7		58.2		58.8		58.8		52.2		48		45.7		49.5		43.4		34.6		26.1		16.6		43		46.1		48.9		50		48.1		42.9		39.5		41.9		35.8		24.5		17.5		12.4

		NOR140_15642541_251126_0404.NBF		(2025/11/26 20:18:02.00)		(0:2:57.0)				N/A		49.7		50.1		53.5		72.2		51.7		47.6		61.2		55.4		54.5		54.7		49.6		46.8		44.4		46.9		41.8		33.1		25.2		17		80.1		74		69.4		66.6		55.7		52.8		50.5		51.8		45.4		38.5		33.9		27.5		62.6		58		56.7		57		51.7		48.7		46.7		49.3		43.6		34.6		27.3		19.2		41.8		45		47.7		50.2		46.7		44.9		42		44.3		39.8		31.4		22.7		14.2

		NOR140_15642541_251126_0405.NBF		(2025/11/26 20:21:02.00)		(0:2:57.0)				N/A		49.8		50.9		60.3		72.3		51.8		44.3		70.3		63.4		61.5		56.8		51.7		47.9		44		46.7		41.9		36.1		30.2		20		89.3		82.5		77.8		72		65.5		66.1		54.6		56.1		55		50.8		45.7		35.7		71.9		66.5		63.6		59.8		53.8		49.4		46.3		49.4		42.9		34.6		29.6		19.8		44.2		48.6		50.5		50.4		48.5		43		39.1		41.1		35.4		25.7		16.8		11.9

		NOR140_15642541_251126_0406.NBF		(2025/11/26 20:24:02.00)		(0:2:57.0)				N/A		51.5		52.4		66.8		74		52.6		43.5		60.2		55.6		57.2		55.2		56.9		52.4		49.6		47.3		40.3		32.4		22.8		14.6		78.8		74.4		72.1		69.8		75.3		71.3		65.1		63.1		53.6		49.5		36.8		23.6		63.1		58		61.3		57.6		56.7		51.6		49.7		49.6		42.7		33.8		24.7		16.7		41.8		46.1		49.9		49		47.9		42.3		37.9		40.2		34.6		24.6		16.6		12.2

		NOR140_15642541_251126_0407.NBF		(2025/11/26 20:27:02.00)		(0:2:57.0)				N/A		47.7		48.2		54.6		70.2		50.8		43.6		59.2		55		54		53.5		49.5		45.6		42.5		45.1		39.1		28.9		21.3		14.5		75.9		73.3		70.4		67.1		57.7		55.1		49		53		46.8		37.2		35.3		30.3		62		58		56.9		56.6		51.1		47.6		45.4		48.7		42.2		32.7		24.3		16.2		41.7		44.9		47.1		47.7		47.5		42.2		38		40.5		34.4		23.6		16.8		12.3

		NOR140_15642541_251126_0408.NBF		(2025/11/26 20:30:02.00)		(0:2:57.0)				N/A		48.1		48.9		54.8		70.6		51.2		43.6		67.2		64		58.2		53.5		49.8		45.5		41.6		45.8		39.5		30.8		24.5		16.5		88.4		85.7		78.1		69.3		62.4		58.6		47.8		53.5		46.8		49		43.9		36		69.2		66.3		61		56.4		51.2		47.4		44.7		49.3		42.6		33.6		27.2		18.2		45.2		46.2		48		48.4		47.7		42		38.1		40.7		34		24.5		17.7		12.8

		NOR140_15642541_251126_0409.NBF		(2025/11/26 20:33:02.00)		(0:2:57.0)				N/A		48.5		49.2		54.9		70.9		51.7		44.1		64.9		60.1		56.4		53.2		50.4		45.3		42.3		46		40.1		30.3		22.3		14.6		81.7		78.6		75		63.8		62.5		58.3		50.9		53.7		47.8		40.1		34.5		23.1		67.7		61.2		58.8		55.9		52.5		47		44.9		49.3		43.4		33.5		25		16.2		42.8		46.1		49.5		48.6		47.8		42.1		38.4		41		35.5		24.7		17		12.8

		NOR140_15642541_251126_0410.NBF		(2025/11/26 20:36:02.00)		(0:2:57.0)				N/A		48.5		49		54.2		71		51.2		44.8		60.2		57.7		56.1		53.8		50.1		45.7		43		46.2		39.7		29.8		21.9		14.9		78.2		80.2		69		63.7		56.9		53.3		49.5		52.9		45.2		36.3		32.9		29.3		62.4		58.7		58.7		56.5		51.6		47.5		45.1		49.3		42.3		32.7		24.5		16.3		41.4		45.9		51.5		49.1		48.2		43.2		39.6		41.5		35.8		25.1		17.8		13.1

		NOR140_15642541_251126_0411.NBF		(2025/11/26 20:39:02.00)		(0:2:57.0)				N/A		46.7		47.4		53.4		69.2		50		42.4		65.9		61.3		56.2		52.5		49		44.9		41.6		44.3		37.4		27.6		20.6		14.6		86.3		80.3		73.2		65.4		59		57.9		52.4		51.3		44		35.4		31.8		24.2		66.6		62.1		57.3		55.3		50.1		46.6		44.2		47.9		40.5		30.9		23.6		16.3		42.2		44.6		48.1		47.7		47.3		41.5		37.5		39.3		32.1		21.9		16		12.7

		NOR140_15642541_251126_0412.NBF		(2025/11/26 20:42:02.00)		(0:2:57.0)				N/A		49.2		50.7		61.9		71.7		51.7		43.2		62.6		58.3		52.4		51.1		49.5		45.8		43.1		46.4		41.8		34.2		27.1		18		84.3		77.3		72.7		63.8		56.3		53.5		56.8		58.1		57.3		53.1		46.6		35.5		63.4		60		54.3		53.3		51.1		48.5		45.7		49.7		44		35.5		28		19.9		43.2		44.8		45.4		47.4		47.4		41.8		37.4		40.3		34.1		23.9		17.6		13.2

		NOR140_15642541_251126_0413.NBF		(2025/11/26 20:45:02.00)		(0:2:57.0)				N/A		47.7		49		59		70.2		50		44		69.9		65.6		59.5		54.1		50.2		47.4		42.5		44.8		38.9		30.6		24.3		17		90.2		85.2		79.1		72.9		63.2		66		55.5		54.5		43.8		38.4		35		30.1		71.2		66.9		59.8		55.9		51.8		47.5		44.6		47.3		41.1		32.9		26.2		19.5		40.8		44.5		45.7		48.7		46.8		42.4		38.1		40.7		34.7		23.7		17.8		13.2

		NOR140_15642541_251126_0414.NBF		(2025/11/26 20:48:02.00)		(0:2:57.0)				N/A		45.3		46.4		53.7		67.8		48.6		41.1		70.7		64.6		58.4		52.1		50		44.4		39.1		42.3		37.2		27.3		22.9		16		92.3		82.2		76.9		68.9		62.6		59.2		50.2		51.7		47.5		36.2		37.9		29.8		72.5		67.5		62		54.4		51.3		45.5		41.8		45.3		41.1		30.3		25.6		18		44.2		45.1		45.3		47.3		47.6		40.9		35.7		37.7		31		21.8		17.6		13.3

		NOR140_15642541_251126_0415.NBF		(2025/11/26 20:51:02.00)		(0:2:57.0)				N/A		45.7		46.6		54.3		68.2		48.6		42.1		66.7		61.1		55.9		53		50.2		45.3		41		42.6		36.8		28.1		22.5		15.1		82.6		77.1		70.9		64.1		58.6		56.9		49		52.9		46		44		35.5		24.6		70.6		65.2		59.4		56		52		47.6		44.4		45.6		39.2		30.6		24.4		16.8		44.8		44.7		45.6		47.5		48		41.4		36.2		38.4		32.2		21.7		16.4		12.9

		NOR140_15642541_251126_0416.NBF		(2025/11/26 20:54:02.00)		(0:2:57.0)				N/A		46.7		49.6		64.9		69.2		49.7		42.6		65.5		62.3		57.9		56.2		50.1		44.8		41		43.8		38.2		31.2		23.7		15.2		81.3		81.9		79		71		64.3		56.7		58.4		60.2		59.3		55.5		47.5		33		68.9		66.3		61.4		59.3		51.9		47.2		43.8		47.2		40.8		33.2		25.4		16.7		43		45.4		47.6		48.3		48		41.6		37		39.2		33.2		23.1		16.8		12.8

		NOR140_15642541_251126_0417.NBF		(2025/11/26 20:57:02.00)		(0:2:57.0)				N/A		46.9		49.7		64.3		69.4		49.8		41.5		65.2		60.1		56.7		51.8		50		44.5		40.7		44.4		38.6		30.1		23.8		16		85.9		81.3		80.4		69		64.2		60.9		59.3		59		59.3		53.6		47.3		33.7		65		60.7		55.5		53.6		51.1		46.2		42.9		47.8		41.1		31.3		24.4		17.2		45.1		45.9		45.1		47.1		48.2		41.1		35.9		37.8		31.6		22.5		17.5		13.4

		NOR140_15642541_251126_0418.NBF		(2025/11/26 21:00:02.00)		(0:2:57.0)				N/A		47.9		48.5		53.5		70.4		51		43.5		64.1		60.2		60.9		53.3		50.6		45.4		42.2		45.4		39.2		31.1		25.6		18.3		80.7		77.2		70.4		64.7		57.9		57		47.3		51.9		45.4		39.2		39.6		36.2		67.1		63.5		62.2		56		51.8		47		44.7		49.1		42.4		34.3		28.2		20.1		40.3		50		58.8		49.7		48.9		43.2		38.9		38.8		33.4		26.3		21.3		14.9

		NOR140_15642541_251126_0419.NBF		(2025/11/26 21:03:02.00)		(0:2:57.0)				N/A		45.7		46.5		51.4		68.2		48.4		43.3		65.7		58.9		60.6		52.5		50		44.2		40		42.5		37.1		31.6		29.1		22.5		89.3		77.1		72.2		62.5		55.7		53.3		44.6		50.1		44.2		44.9		42.9		34		68.6		63		61.7		54.7		51.2		45.9		42		45.8		39.9		34		32.2		25.6		42.3		49.4		59.2		49		48.6		41.7		38.1		39.1		34.2		27.6		23.2		17.3

		NOR140_15642541_251126_0420.NBF		(2025/11/26 21:06:02.00)		(0:2:57.0)				N/A		48.1		49.5		57.3		70.5		51.2		43.4		66.2		61.1		58.9		54.8		50.6		45.6		41.8		44.6		39.7		36.4		34.7		27.5		86.1		78.1		80.2		71.6		61.8		59.3		53.9		53.5		51		52.7		45.9		39.6		70		65.3		61		56.8		52		47.4		44.6		48.3		42.8		39.6		37.8		29.8		42.7		45.3		46.1		47.6		48.6		41.4		36.8		39.1		34		30.4		29.3		23.7

		NOR140_15642541_251126_0421.NBF		(2025/11/26 21:09:03.00)		(0:2:56.0)				N/A		48.9		49.8		54.4		71.4		50.8		47.2		63.2		59.2		54.6		53.9		50.1		46.7		43.9		45.1		41.1		36.7		35.2		28.2		76.5		73.7		66.8		65.8		58		55.8		52.3		53.1		46.1		50.5		47.3		43.4		68.1		63.7		58.6		57		52.1		47.9		45.7		47.7		42.9		39		37.6		30.3		44.8		45.1		46.9		49.4		47.4		44.7		41.8		42.4		39.3		33.7		31.3		25.1

		NOR140_15642541_251126_0422.NBF		(2025/11/26 21:12:02.00)		(0:2:57.0)				N/A		47.3		48.7		55.3		69.8		49.5		43.7		60.6		57.1		52.5		52.4		49.8		44		40.4		44.7		38.8		34.1		33.3		25.7		75.6		76		65		65		54.9		50.9		47.6		53.6		47.7		47.2		51.4		36.5		64.9		60.2		55.6		55.4		50.9		45.7		42.4		47.2		41		36.9		36.2		28.3		41.7		43.9		45.3		47.6		48.4		41.5		37.1		40.2		34.3		28.8		27.3		21.6

		NOR140_15642541_251126_0423.NBF		(2025/11/26 21:15:02.00)		(0:2:57.0)				N/A		47.6		55.4		71.7		70.1		48.5		42.9		54.8		53.5		52.7		53.4		50.4		43.9		43.5		44.7		38.1		34		31.5		24.3		70.4		72.7		71.9		75.8		66.7		63.5		70.4		69		60.5		57.2		49.2		38		58.3		55.9		55.1		55		51.3		45		42		45.9		39.6		35.5		34.3		26.8		39.6		43.2		46		47.8		48.6		41.3		37		39.1		33.7		28.1		25.9		20.4

		NOR140_15642541_251126_0424.NBF		(2025/11/26 21:18:02.00)		(0:2:57.0)				N/A		49.3		50.9		61.7		71.8		51		43.2		58.5		55.4		53.4		55.5		50.6		45.3		43.4		45.2		42.3		38.8		36.2		28		79.7		72.6		67.5		71.6		60.3		59.3		56.7		58.6		56.9		52.3		51.8		40.6		58.7		57.4		56.5		57.6		52		47.3		45.3		47.9		43.1		41		39		30.7		40.5		44.2		45.9		47.8		48.6		41.5		36.8		39		33.8		29.4		28.6		22.7

		NOR140_15642541_251126_0425.NBF		(2025/11/26 21:21:02.00)		(0:2:57.0)				N/A		47		52		62.2		69.5		49.1		43.8		58.8		55		50.5		48.9		49.7		42.5		38.5		41.7		39		39.5		38.7		32.1		79.5		73.9		64.9		56.1		54.2		53.4		46.2		57.1		58.1		51.3		48		40		58.9		55.1		53.2		50.7		50.7		44.1		40.6		44.5		41.1		42		41.1		34.2		40.6		42.3		44		46.4		48.5		40.6		36.1		37.8		34		34.9		35		28.8

		NOR140_15642541_251126_0426.NBF		(2025/11/26 21:24:02.00)		(0:2:57.0)				N/A		49.9		52.5		56.3		72.4		52.4		46.5		61.1		59.5		55.7		52.9		49.9		44		41.5		45.9		42		41.6		40.1		33.2		82.3		79.2		70.1		64.1		54.9		53		47.3		53.6		51.5		51.5		51.3		45.1		60.5		57.3		58.6		55.8		51.1		46.2		44.3		48.9		44.8		44.2		42.2		35.1		40.1		44.3		46.8		48		48.3		41.3		37.7		41.2		37.8		37.5		36.8		30.5

		NOR140_15642541_251126_0427.NBF		(2025/11/26 21:27:02.00)		(0:2:57.0)				N/A		48.7		52.5		61		71.2		51.1		45.6		64.6		60.2		55.7		52.5		50.9		46.2		43		43.1		40		41		40		32.8		82.3		79.1		73		65.3		62.2		60.5		55.1		52.9		53.7		57.5		53.7		41.1		67.7		62.6		58.8		55.6		52		47.7		45.1		46.3		42.9		43.5		42.1		34.8		41.4		43.7		45.3		46.8		48.5		41.8		37.9		38.8		35.7		37		36.5		30.2

		NOR140_15642541_251126_0428.NBF		(2025/11/26 21:30:02.00)		(0:2:57.0)				N/A		47.7		51.3		54.7		70.2		50		45.1		57.9		54.2		52.5		51.5		50.2		43.6		39.7		42.1		39.5		40.6		39.4		32.4		79.4		73.8		69.1		61.9		55.5		49.1		45.8		48.2		50.5		51		50.7		40.9		60.5		56.6		55.4		54.3		51.7		45.4		41.8		44.9		42.2		43.3		41.5		34.3		40.1		43.7		45.7		47.4		48.3		41.6		37.3		38.9		35.6		36.5		36.2		29.9

		NOR140_15642541_251126_0429.NBF		(2025/11/26 21:33:02.00)		(0:2:57.0)				N/A		50.6		53.1		59.3		73.1		52.5		48.4		71		65.4		59.4		55.1		50.7		47.3		43.6		46.4		42.8		41.3		40		32.6		93.1		83.4		75.1		68.4		62.8		59		49		58.3		52		51.2		54.1		45.5		73.4		68.5		61.4		57.6		52.5		48.9		45.7		48.8		44.6		43.7		42.2		34.5		48.5		47.9		48		50.1		47.9		43.7		41		43.3		40.2		37.8		36.3		29.8

		NOR140_15642541_251126_0430.NBF		(2025/11/26 21:36:02.00)		(0:2:57.0)				N/A		50		51.6		57.5		72.5		51.7		47.6		68.5		62.7		56.9		57.6		54.2		48.4		44.9		45.7		41		39.5		37.9		31		90		83.5		75.6		73.2		68.5		60.6		56		51.7		50.6		50.1		47		38.9		67.5		62.3		56.6		60.1		54.9		50.9		47.7		48		43		42.1		40.3		32.9		42.5		46.8		47.8		49.4		48.4		43.6		40.7		42.4		38.2		35.7		34.5		28.4

		NOR140_15642541_251126_0431.NBF		(2025/11/26 21:39:02.00)		(0:2:57.0)				N/A		46.8		49.1		57.8		69.3		48.6		44.4		72.6		67.4		61.5		53.2		51.1		47.1		40.3		42.8		37.5		36		35.8		29.2		93.6		91.2		85.6		71.3		64.7		64.8		54.4		50.2		46.3		47.3		47.9		40.5		71.2		66.1		58.8		53.1		51.9		45.9		42.3		45.2		39.4		38.6		38.2		31.3		42.2		44.5		44.1		46.5		48.5		41.3		37.3		40.2		35		31.7		31.8		26

		NOR140_15642541_251126_0432.NBF		(2025/11/26 21:42:02.00)		(0:2:57.0)				N/A		47.9		49.2		54.7		70.4		50.4		45		70		65.1		58.5		53.1		51.9		46.8		42.1		44.5		38.8		35.4		34.1		27.2		87.1		81		73.7		65.5		64.5		59.9		51.9		53.1		49.1		45.3		44.5		39.5		74.4		69.3		62.4		56.4		53.7		49.5		44.7		47.5		41.6		38		36.8		29.4		44.5		46.5		47.4		47.3		49		42.1		38.9		40.9		35.6		31.3		29.9		23.9

		NOR140_15642541_251126_0433.NBF		(2025/11/26 21:45:02.00)		(0:2:57.0)				N/A		47.7		48.6		53.8		70.2		50.6		44.3		62.2		57.3		53.2		52.1		50.3		43.8		41		45		39.2		34.4		32.8		25.4		82.1		77.2		71.3		62.6		57		53.5		47.7		51.9		45.5		44		45.7		33.2		64.3		59.9		55.4		55.5		51.6		45.5		43.6		48.5		42		37.1		35.7		27.8		41.7		44.6		46.1		47.1		48.6		41.8		37.7		40.7		35.5		30.2		28.1		22.2

		NOR140_15642541_251126_0434.NBF		(2025/11/26 21:48:02.00)		(0:2:57.0)				N/A		46.9		47.9		54.8		69.4		50.7		42.9		69.5		64.7		57.2		51.8		50.3		45		40.5		44		38.6		33.2		30.9		23.7		92.7		89.3		77.9		69.4		60.4		61.2		49.5		52.8		46.9		42.5		43		34.4		68.4		63.7		57.9		54.3		51.2		45.4		43.5		48.2		42.1		36.3		33.6		25.9		43.6		44.9		45.4		46.4		48.6		40.9		36.8		39.2		33.8		28.3		26		20.3

		NOR140_15642541_251126_0435.NBF		(2025/11/26 21:51:02.00)		(0:2:57.0)				N/A		47.3		49.9		59.9		69.7		50.7		42.9		74.8		69.2		64.1		57.5		53.3		50.1		40.7		42.8		37.5		33.2		30.6		23.4		93.3		85.5		83.2		76.5		67.1		67.4		53.6		53.4		45.5		42.8		44.9		34.7		77.9		73.1		66.6		59.5		55.7		52.8		44		45.7		40.7		36.5		33.5		25.9		47.8		46		46.3		46.8		48.9		41.1		36.6		38.9		33.5		27.5		25		19.5

		NOR140_15642541_251126_0436.NBF		(2025/11/26 21:54:02.00)		(0:2:57.0)				N/A		47.7		49.4		61.5		70.2		50.3		41.9		73.1		67.8		63		56.2		52.2		49.5		41.9		43.9		38.4		32.6		29.3		21.8		93.4		88.5		87.2		79.3		67.1		69		59.3		50.7		45.5		42.3		44.6		35.4		72.9		67.8		62.8		56		53.5		49.7		43.9		47.4		41.2		35.7		32.1		24.2		43.4		45.5		45.4		46.7		48.5		41.5		36.5		38.1		32		25.6		23.3		18.1

		NOR140_15642541_251126_0437.NBF		(2025/11/26 21:57:02.00)		(0:2:57.0)				N/A		47.2		48.8		57.8		69.7		49.3		43.8		73.1		69		61.4		55.3		50.4		46.7		41.3		44.1		38.5		32.3		28.1		21.7		96.3		94		84.3		77.9		65.5		63.9		53.5		51.8		44.5		41.9		39.2		35.9		73.3		67.5		60.9		57		51.8		47.8		43.3		46.4		41		35		30.7		23.6		44.5		44.9		45.5		47.2		47.5		41.4		37.5		40.7		34.9		27.3		22.9		17.7

		NOR140_15642541_251126_0438.NBF		(2025/11/26 22:00:03.00)		(0:2:56.0)				N/A		49.3		51.2		59.4		71.7		51.7		46		74.2		69.4		64.2		57.1		51.7		50.2		43.3		45.8		40.9		33.7		27.5		20.1		91.7		86.4		80.9		73.9		63.9		66.6		56		52.2		45.4		41.2		37.8		30.8		77.8		73.3		67.6		59.2		54.1		51.9		45.3		48.4		43		36		30.4		22.5		43.2		45.2		46.2		48.4		47.3		42.7		39.4		42.8		37.8		29.1		22.6		16.9

		NOR140_15642541_251126_0439.NBF		(2025/11/26 22:03:02.00)		(0:2:57.0)				N/A		44.9		45.6		52.8		67.4		47.3		41.8		66.7		61		54.5		51.4		49.7		43.1		38.8		42		36.4		29.6		25.4		19.3		90.5		83.9		72.1		68.6		56.5		56.9		48.3		50.9		44.2		40		36.9		34.1		69		64.3		58.2		53.4		50.8		44.5		40.9		44.9		39.4		32.1		28.3		21.4		42		43.1		44.5		46.4		48.3		40.7		36.1		38		32.5		25		20.5		15.9

		NOR140_15642541_251126_0440.NBF		(2025/11/26 22:06:02.00)		(0:2:57.0)				N/A		46.8		48.6		57.7		69.3		49.2		43.4		73.3		67.9		62.9		56.8		51.5		47.5		40.5		43.7		37.9		29.4		24.4		17.8		93.8		90.3		86.1		82.4		65.8		64.3		50.3		51.3		43.5		36.9		42		27.4		74.9		69.7		63.9		57		53		49.5		42.7		46.4		40.3		31.9		27.1		20		43.6		44.8		44.8		46.8		48.6		41.2		37		40.1		34.6		24.9		20		15.1

		NOR140_15642541_251126_0441.NBF		(2025/11/26 22:09:02.00)		(0:2:57.0)				N/A		46.8		50.2		63.1		69.3		48.1		42.1		61.2		56.1		51.4		49.6		49.8		42.6		42.8		43.9		38.4		27.8		22.9		17.1		78.1		71.5		64.5		58.8		55.8		51.6		61.5		59.9		57.1		36.8		39.5		33.5		65.4		59.9		54.7		51.9		50.9		44.1		41.8		45.8		39.6		30.9		25.3		18.8		42.2		43.6		44.3		46.4		48.3		40.6		36.4		39		32.5		23.8		18.6		14.5

		NOR140_15642541_251126_0442.NBF		(2025/11/26 22:12:02.00)		(0:2:57.0)				N/A		47.1		47.7		53.2		69.6		49.9		42.7		65.3		62		56.7		54.8		50.4		44.1		39.9		44.5		39.3		30		23.6		16.9		83.9		85		80.5		69.4		59.2		58.7		47		51.6		45.9		37.6		35		30.7		64.9		60.9		56.1		56.8		51.5		45.1		42.5		47.7		42.5		33.1		26.2		18.7		41.6		42.7		44.5		46.8		48.7		41		36.8		39.3		33.6		25.4		19.4		14.5

		NOR140_15642541_251126_0443.NBF		(2025/11/26 22:15:02.00)		(0:2:57.0)				N/A		48.1		49.3		56.7		70.6		51.3		43.8		70.6		64.5		59.2		54		51.4		47		41.1		45.5		39.8		31		24.6		17.5		88.7		80.8		76.5		72.2		62.7		63.6		51.8		52.5		45.7		40.7		35.9		33.7		74		68.3		61.9		56.6		53		48.8		43.9		49.1		43.1		34.3		27.1		19.5		46.3		45.3		47		47.2		49		41.5		36.9		40.3		34.8		25.5		19.5		14.8

		NOR140_15642541_251126_0444.NBF		(2025/11/26 22:18:02.00)		(0:2:57.0)				N/A		46.9		48		53.7		69.4		50.7		42.1		66.6		62.1		56.7		53.7		50.6		44.8		40.6		44.4		38.2		30.3		23.1		16.4		84.5		80.3		73.6		68.2		60.2		58.6		47.5		51.5		47.3		39.6		34.8		28.1		69.6		66		60.2		57.1		51.7		46.5		44.2		48.5		42.1		34		26.1		17.9		41.2		43.8		44.4		46.3		48.9		40.9		36.3		39		32.5		21.2		17.9		14.3

		NOR140_15642541_251126_0445.NBF		(2025/11/26 22:21:02.00)		(0:2:57.0)				N/A		45.6		47.1		53.8		68.1		48.7		42.4		65.5		60.1		55.2		52.2		50.6		44.4		39.8		42.6		36.8		30.5		26.1		19.2		84.7		79.8		72.6		64.4		60.4		60.3		50.1		52.9		48.2		42		36.4		32.5		67.2		62.2		56.3		55.4		51.7		45.3		42.7		45.9		39.9		33.1		28.8		21.3		41.9		44.3		45.9		47.1		49		40.7		36.6		38.8		33.4		25.6		21.3		15.7

		NOR140_15642541_251126_0446.NBF		(2025/11/26 22:24:02.00)		(0:2:57.0)				N/A		49.5		50.5		57.4		72		51.4		47.7		70.9		66		60.2		54.6		50.4		48.3		46.4		45.5		41.6		35.8		30.7		23.9		92.8		85.3		80.2		69.8		62.2		64.4		52.8		52.1		47.8		43.3		40.9		47		70.9		67.2		61.5		57.1		52		49		48		48.1		43.3		37.6		33.2		25.4		46		45.3		46.7		49.5		47.2		45.1		44.4		42.7		39.9		33.6		27.4		20.6

		NOR140_15642541_251126_0447.NBF		(2025/11/26 22:27:03.00)		(0:2:56.0)				N/A		47.4		49.3		56.1		69.9		50.8		43.4		67.7		64.1		58.1		52.8		50.6		46		42.3		43.4		39.2		36		34.3		27.5		86.9		86.2		79.8		71		60.1		61.3		52.2		51.2		50.7		47.9		45		42		69.8		65.3		58.7		55.4		52.1		48.2		45.7		47.7		42.4		39		37.1		30		40.9		42.5		43.6		45.9		48.5		41.3		36.8		38.2		34.2		30.8		29.1		22.8

		NOR140_15642541_251126_0448.NBF		(2025/11/26 22:30:02.00)		(0:2:57.0)				N/A		46.5		48.9		54.2		69		49		43.5		61.1		56.8		51.6		49.8		50.1		43.6		40.1		42.3		37.7		37.4		36.5		29.9		81.7		77.2		73.3		64.2		57.7		54.5		46.2		51.8		48.8		48.7		45.3		39.9		62.7		56.8		53.3		51.6		51.3		45.6		42.8		46		40.2		40.2		38.9		31.9		39.9		40.7		42.8		45.6		48.7		40.6		35.6		37.7		34		32.9		33		27.1

		NOR140_15642541_251126_0449.NBF		(2025/11/26 22:33:02.00)		(0:2:57.0)				N/A		46.9		50.1		57.6		69.4		49.5		43.9		68.3		62.8		56.4		51.8		51		46.2		40.1		41.7		38.2		38.3		37.3		30.5		87.8		82.7		75.4		68.6		64.3		64.9		52		50.7		52.2		51.4		49.5		39.7		70.9		65.4		58.6		54.6		52.5		47.6		43.1		45.4		40.8		41		39.6		32.5		40.8		42.2		43.7		45.7		48.8		40.7		36.2		37.8		34.2		33.9		33.8		27.9

		NOR140_15642541_251126_0450.NBF		(2025/11/26 22:36:03.00)		(0:2:56.0)				N/A		46.1		49.6		57.5		68.6		48.6		43.3		61.8		57.8		51.1		48.8		50.2		42.5		38.1		41.1		37.6		38.3		37.5		30.9		78.9		78.8		70.3		60.8		56.8		55.6		48		55.6		51.3		48.9		48.3		41.1		65.5		59.7		53.3		51.2		51.1		44.1		41.4		44.1		40.4		40.9		39.7		32.8		40.1		40.1		41.6		45		48.9		39.9		35		37		33.9		34.1		34.1		28.2

		NOR140_15642541_251126_0451.NBF		(2025/11/26 22:39:02.00)		(0:2:57.0)				N/A		49.2		53		64.1		71.7		50.9		44.3		75.5		70.6		66.2		59.3		54.2		52.5		43.7		42.4		38.8		39.1		37.8		31.1		93.7		90.5		88.4		82		73.7		70.7		60.6		54.5		50.1		52.8		47.5		38.1		75.2		70		63.2		56.6		54.3		51.6		44.4		45.2		41.5		41.8		40.2		33.1		45.4		43.3		43.7		45.9		49.2		40.7		36.1		38.1		34.9		34.7		34.3		28.4

		NOR140_15642541_251126_0452.NBF		(2025/11/26 22:42:02.00)		(0:2:57.0)				N/A		46.7		50		53.8		69.2		48.8		44.1		64.9		60.5		55.2		51.6		50.5		44.5		39		41.3		38.1		39.1		37.8		31		83.3		79.7		74.6		64.7		60.6		59.5		47.2		48.6		51.6		49		48.6		39.1		68.6		63.6		57.5		55.1		51.5		45		41.2		44		40.4		41.8		40.1		32.9		43.6		43		44.1		45.7		48.9		40.5		36.3		38		34.9		35		34.4		28.5

		NOR140_15642541_251126_0453.NBF		(2025/11/26 22:45:02.00)		(0:2:57.0)				N/A		47.6		51.5		58.2		70.1		49.6		44.8		67.9		62		56		51		50.8		47		39.9		41.7		39.2		40.2		38.7		31.7		86.4		80.2		75.8		67.2		63		65.6		52.9		55.6		49.8		51.4		48.2		41.7		71.2		64.8		58.1		53.6		51.9		46.4		41.7		44.4		41.4		42.7		40.8		33.6		43.6		42.5		44.2		45.9		48.3		41.2		37		38.2		35.3		36.2		35.5		29.2

		NOR140_15642541_251126_0454.NBF		(2025/11/26 22:48:02.00)		(0:2:57.0)				N/A		48.7		51.6		59.1		71.2		51.1		44.5		72.7		67.3		62.2		55.2		51.4		48.8		42.2		43.1		40.7		40		38.1		31.4		92.5		89.6		86.3		77.7		66.5		65.2		54.6		52.7		48.8		50.6		46.3		40.4		75.5		70.4		63.3		56.9		53.1		49.4		44.2		46		43.1		42.5		40.2		33.3		42.9		43.6		44.8		47.1		47.7		41.5		35.8		35.7		34.2		36.1		35.1		28.9

		NOR140_15642541_251126_0455.NBF		(2025/11/26 22:51:02.00)		(0:2:57.0)				N/A		47.6		50.3		56.3		70.1		50.1		43.9		66.3		62.2		55.9		50.5		46.8		43.7		40.1		42.8		40.1		39.4		37.9		30.7		83.1		82.4		78.3		68.3		61.3		63.7		50.4		53.1		48.2		48.1		50.6		38.2		69.8		65.3		58.3		53.4		49.7		45.3		42.9		45.7		43		41.8		40		32.6		44.5		43.1		43.1		44		39.3		35.6		35.5		37.7		35.5		35.8		34.6		28.3

		NOR140_15642541_251126_0456.NBF		(2025/11/26 22:54:02.00)		(0:2:57.0)				N/A		47.9		50.6		56.9		70.4		51.1		43.7		66.7		61.4		56.8		51.8		46.4		45.8		40.7		43.9		39.6		38.9		37.5		30.6		85		81		74.2		68.5		62.4		65.4		49.5		52.8		48.9		49		48.6		41.2		67.4		62.2		56.4		54.8		48.2		45.3		43.7		48		42.5		41.6		39.6		32.4		40.4		41.8		45		44.3		38.7		35.3		35.7		37		34.2		34.7		34.3		28.1

		NOR140_15642541_251126_0457.NBF		(2025/11/26 22:57:02.00)		(0:2:57.0)				N/A		44.5		49.3		57.2		67		46.6		41.3		65.9		60.5		53.9		48.6		42.8		40.8		35.4		38.5		36.1		37.9		37		30.3		86		79.9		71.7		64.1		58		60.1		44.5		51.7		51		54		46.6		40.4		69.2		63.7		55.9		52		45.3		41.9		37.7		40.8		38.1		40.4		39.4		32.2		44.5		40.7		41.4		41.9		36.5		32.7		32.6		35		32.1		33.3		33.4		27.4

		NOR140_15642541_251126_0458.NBF		(2025/11/26 23:00:02.00)		(0:2:57.0)				N/A		44.5		48.1		52.6		67		46.7		41.7		66.6		61.7		55.8		50.5		44.8		42.3		38.4		38.9		35.5		36.9		36.5		29.6		84.7		83.5		74.3		66.2		59.3		57.2		47.8		49.5		47.4		46.5		50.3		39.8		69.5		64.2		57.2		53.8		47.4		44.4		41.4		39.9		37.4		39.6		38.6		31.5		41.7		40.2		42		43.6		37.5		33.3		33.8		35.7		32.5		32.9		32.9		27

		NOR140_15642541_251126_0459.NBF		(2025/11/26 23:03:02.00)		(0:2:57.0)				N/A		46.5		48.5		55.2		69		49.4		42.1		61.5		56		58.9		56.2		45.7		40.4		40.1		42.6		38.3		37.2		36.1		29.1		86.3		78.7		75.6		70.9		58.8		56.5		51.3		52.2		48.8		46.5		45.9		39.1		60.7		56.6		62.8		61.2		50.3		43.9		43.7		46.5		41.2		39.8		38.4		31		38.9		39.8		42.1		42.1		36.2		33.2		33.9		36.9		33.9		33.1		32.7		26.6

		NOR140_15642541_251126_0460.NBF		(2025/11/26 23:06:02.00)		(0:2:57.0)				N/A		46		48.7		56		68.4		48.7		42.3		62.2		57.9		52.3		48.6		41.4		39		38.1		41.6		38		38		36.9		29.9		81.1		79.8		72.7		60.7		55.3		54.5		46.9		50.9		51.9		48.7		45.5		38.9		65.5		60.1		55.1		51.8		44.2		42.5		40.3		45		41.3		40.6		39.1		31.8		41		40.8		42.8		42.3		36.5		33.7		34.2		35.4		33.1		34		33.7		27.3

		NOR140_15642541_251126_0461.NBF		(2025/11/26 23:09:02.00)		(0:2:57.0)				N/A		45.8		50.8		59.9		68.3		47.8		42.7		69.9		63.9		58.1		50.8		46		44.7		39.5		38.8		37.2		39		37.9		30.7		91.9		85.1		77.5		70.2		64.6		68.1		52.2		55		49.7		49.9		49.2		42.7		70.2		64.7		58.2		52		47		42.9		42.6		41.2		39.7		41.6		39.9		32.4		43.1		40.6		41.6		42.3		37.6		33.7		33.7		35		33		34.8		34.6		28.2

		NOR140_15642541_251126_0462.NBF		(2025/11/26 23:12:02.00)		(0:2:57.0)				N/A		47.7		51.1		56.6		70.2		49.8		44.4		69.9		63.7		57.7		51.7		47.6		45.2		39.4		42.2		40		40.1		38.8		31.4		89.5		82.7		77.2		70.2		61.9		63.4		52		51.5		49		52.8		50.8		43.4		72.4		66.6		59.4		53.9		50.1		46.3		41.2		44.9		42.3		42.4		40.9		33.3		40.6		41.1		43.5		43.8		38.4		34.6		34.3		37.2		36		36.6		35.6		28.9

		NOR140_15642541_251126_0463.NBF		(2025/11/26 23:15:02.00)		(0:2:57.0)				N/A		46.9		50.2		54.4		69.4		49		43.4		62.3		57		51		48.6		46.1		42.7		40.6		40.7		39.2		39.6		38.5		31.2		80.3		73.5		68.9		59.8		57.8		57.1		46.2		51.4		49.9		49.3		48.2		39.5		64.7		60.9		53.2		50.9		49.1		44		42.4		42.6		41.6		42		40.6		33		39.1		39.7		40.7		43.9		37.6		37.7		36.6		35.4		33.4		35.7		35.4		28.7

		NOR140_15642541_251126_0464.NBF		(2025/11/26 23:18:02.00)		(0:2:57.0)				N/A		47.3		50.6		55.9		69.8		50.2		43.4		70.2		66		60.5		53.1		46.5		45.1		38.8		42		39.2		40		38.4		31		88.2		84.5		81.5		73.3		62.2		62.6		49.6		54.2		48.2		52.9		47.6		40.2		72.4		68.9		62		55.5		48.8		46.5		41.6		44.4		42.2		42.7		40.6		32.9		43.7		43.6		43.3		42.8		36.6		34.3		34.4		36.6		34.7		35.8		35.2		28.4

		NOR140_15642541_251126_0465.NBF		(2025/11/26 23:21:02.00)		(0:2:57.0)				N/A		47.6		49.8		58.8		70.1		50.8		42.3		57.6		50.8		46.8		50.1		45.5		47.1		43.7		42.8		37.9		37.8		37.2		30		78.8		70.7		61.1		71.1		59.8		61.8		58.7		56.3		45.8		48.1		48.2		40		59.5		53.5		50.2		49.8		49.4		50.4		46.4		46.5		41.1		40.4		39.5		31.9		40.6		40.5		39.9		40.9		37.3		34.3		34.1		35.6		33.1		33.9		33.8		27.4

		NOR140_15642541_251126_0466.NBF		(2025/11/26 23:24:02.00)		(0:2:57.0)				N/A		48.1		49.3		56.3		70.6		50.4		46		65		60.5		55.2		54.7		53.6		47.1		43		43		40.2		37.2		35.9		28.7		88.2		83.5		77.7		69.4		71		62.1		51.9		51.3		46		44.7		46.1		39.2		67		61.3		56.5		56.4		57		50.2		45		45		41.4		39.3		38.1		30.5		40.7		40.7		42.2		46.4		45.5		41.4		39.5		41.1		38.9		34.5		32.6		26.1

		NOR140_15642541_251126_0467.NBF		(2025/11/26 23:27:02.00)		(0:2:57.0)				N/A		42		45.6		51.4		64.5		44		39.2		61.5		56.7		50.6		45.4		42		37.9		34.1		36		33.5		34.9		35		27.8		80.6		77.3		69.6		60.4		60.7		59.2		42.1		48.1		43.9		46.1		46		37.6		63.7		58.3		51.6		48.1		44.5		38.7		35.8		37.7		35.4		37.5		37.4		29.8		38.2		38.3		39.1		39		33.7		30.8		31.1		32.4		30		30.8		31		24.9

		NOR140_15642541_251126_0468.NBF		(2025/11/26 23:30:02.00)		(0:2:57.0)				N/A		46.3		48.8		57.9		68.8		49.9		41.7		70.6		66.1		59.8		53.6		46.5		46.1		40.7		42		37.8		35.8		34.9		27.5		88.7		86.9		80.7		73.5		65.2		65.3		54.3		54.2		48		48.4		47		38.6		72.5		67.3		59.6		55		48.5		46		43.3		45.7		41		38.3		37.4		29.5		41.3		41.7		42.2		43.1		36.7		35.7		36.2		34.8		32.3		31.6		30.9		24.6

		NOR140_15642541_251126_0469.NBF		(2025/11/26 23:33:02.00)		(0:2:57.0)				N/A		44		47.4		52.7		66.4		46.6		39.9		66.7		61.3		55.3		48.1		43.2		41.2		35.9		39		35.6		36.2		35.5		28.3		89		83.1		78.5		67		58.6		59.6		47.4		51.3		47.8		47.1		46.5		41.5		68.2		62.9		54.8		49.8		45.5		42.5		39.2		42		38.2		38.8		37.9		30.4		40.7		40.7		40.2		39.4		34.1		30.8		31.4		33.2		31.1		32		31.7		25.4

		NOR140_15642541_251126_0470.NBF		(2025/11/26 23:36:03.00)		(0:2:56.0)				N/A		44.6		49		54.3		67.1		47.3		41		66.9		61.5		54.1		47.6		42.1		39.6		34.3		38.1		36.3		38.5		37.5		30.3		83.6		81.3		72		64.1		58.6		57.4		43.3		48.3		49.1		52.7		49.5		39.6		70.1		64.6		56.9		50.5		44.7		41.2		37.1		41.1		39.3		41		39.7		32.2		41.2		40.3		40.4		38.7		33.4		30.7		31.2		33.2		32.1		34.3		34		27.6
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		(2025/11/26 20:57:02.00)		46.9		64.3

		(2025/11/26 21:00:02.00)		47.9		53.5

		(2025/11/26 21:03:02.00)		45.7		51.4

		(2025/11/26 21:06:02.00)		48.1		57.3

		(2025/11/26 21:09:03.00)		48.9		54.4

		(2025/11/26 21:12:02.00)		47.3		55.3

		(2025/11/26 21:15:02.00)		47.6		71.7

		(2025/11/26 21:18:02.00)		49.3		61.7

		(2025/11/26 21:21:02.00)		47		62.2

		(2025/11/26 21:24:02.00)		49.9		56.3

		(2025/11/26 21:27:02.00)		48.7		61

		(2025/11/26 21:30:02.00)		47.7		54.7

		(2025/11/26 21:33:02.00)		50.6		59.3

		(2025/11/26 21:36:02.00)		50		57.5

		(2025/11/26 21:39:02.00)		46.8		57.8

		(2025/11/26 21:42:02.00)		47.9		54.7

		(2025/11/26 21:45:02.00)		47.7		53.8

		(2025/11/26 21:48:02.00)		46.9		54.8

		(2025/11/26 21:51:02.00)		47.3		59.9

		(2025/11/26 21:54:02.00)		47.7		61.5

		(2025/11/26 21:57:02.00)		47.2		57.8

		(2025/11/26 22:00:03.00)		49.3		59.4

		(2025/11/26 22:03:02.00)		44.9		52.8

		(2025/11/26 22:06:02.00)		46.8		57.7

		(2025/11/26 22:09:02.00)		46.8		63.1

		(2025/11/26 22:12:02.00)		47.1		53.2

		(2025/11/26 22:15:02.00)		48.1		56.7

		(2025/11/26 22:18:02.00)		46.9		53.7

		(2025/11/26 22:21:02.00)		45.6		53.8

		(2025/11/26 22:24:02.00)		49.5		57.4

		(2025/11/26 22:27:03.00)		47.4		56.1

		(2025/11/26 22:30:02.00)		46.5		54.2

		(2025/11/26 22:33:02.00)		46.9		57.6

		(2025/11/26 22:36:03.00)		46.1		57.5

		(2025/11/26 22:39:02.00)		49.2		64.1

		(2025/11/26 22:42:02.00)		46.7		53.8

		(2025/11/26 22:45:02.00)		47.6		58.2				57.5		52.6		50.4		58		51.3		48.6		49.4		50.1		52.3		49.7		51.8		51.2		50.2		48.2		47.9		49.3

		(2025/11/26 22:48:02.00)		48.7		59.1				50.9		52.2		50.9		55.3		50.8		51.9		49.5		50		52.8		52.6		51.5		51.5		51		49.6		45.7		44.9

		(2025/11/26 22:51:02.00)		47.6		56.3				47.7		51.7		54.6		52.9		50.8		49.4		49.5		49.6		51		51		50.2		51.8		49.2		47.5		48.1		46.8

		(2025/11/26 22:54:02.00)		47.9		56.9				48		53.9		52.3		53.6		49.6		49.3		50.7		50.6		54		52.3		50.1		51.2		50.5		48.7		48.9		46.8

		(2025/11/26 22:57:02.00)		44.5		57.2				48.5		51.5		51.5		52.7		52.5		49.1		50.9		51.4		48.6		50.8		50.5		50.9		49.8		48		47.3		47.1

		(2025/11/26 23:00:02.00)		44.5		52.6				50.6		59		50.8		61.2		52.4		47.8		51		49.2		49.7		50.9		52.2		50.7		50.8		48.8		47.6		48.1

		(2025/11/26 23:03:02.00)		46.5		55.2				49.4		59.3		51.8		61.6		54.5		51.2		50.2		49.7		48.7		51		51.3		48.9		49.6		49.7		49.3		46.9

		(2025/11/26 23:06:02.00)		46		56				49.9		52.8		51.1		51.8		51.5		51.5		49.4		48.8		52		50.2		50.8		51.8		50.1		49.8		47		45.6

		(2025/11/26 23:09:02.00)		45.8		59.9				51.6		52.8		51.6		52.2		50		49.7		50.6		50.2		49		51.1		50.6		50.6		48.5		51.5		49.9		49.5

		(2025/11/26 23:12:02.00)		47.7		56.6				50.2		53		51.6		50.9		50.6		50.6		49.7		49.6		50		49.5		50.3		52.1		50.3		47.7		48.7		47.4

		(2025/11/26 23:15:02.00)		46.9		54.4				50.9		51.8		50		51.4		50.5		49.8		50.6		51.5		51.3		50.8		58		50		48.9		48.1		47.7		46.5

		(2025/11/26 23:18:02.00)		47.3		55.9				51.8		53.8		50.4		51.8		51.8		52.1		48.6		49.9		49.1		51.2		51.4		51.6		49.4		48.5		50.6		46.9

		(2025/11/26 23:21:02.00)		47.6		58.8				51		51.4		52.4		59.6		53.1		49.9		47.7		50.5		50.6		51.1		50.4		50.8		49.9		48.5		50		46.1

		(2025/11/26 23:24:02.00)		48.1		56.3				51.9		50.6		50.7		51.4		50.5		47.9		49		48.8		50.5		51.1		49.9		49.8		48		46.7		46.8		49.2

		(2025/11/26 23:27:02.00)		42		51.4				51.3		52.5		53.9		53.8		51.1		52.7		51.8		50.6		49.5		52		50.8		49.7		50.1		49.2		47.9		46.7

		(2025/11/26 23:30:02.00)		46.3		57.9				51.2		51.2		52.4		51.4		52.2		50.3		49.7		50.3		50		60.9		50.7		50.3		48.1		47.7		47.7		47.6

		(2025/11/26 23:33:02.00)		44		52.7				50.7		50.6		52.4		52.3		50.1		52.3		49.1		50.5		50.4		52.9		51.5		48.1		49.1		45.3		46.9		48.7

		(2025/11/26 23:36:03.00)		44.6		54.3				49.9		52.7		51.5		50.5		50.1		50.3		51.1		49.6		49.9		50.5		49.2		49.7		48.3		45.7		47.3		47.6

		(2025/11/26 23:39:02.00)		46.2		61.9				52.9		51.3		52.3		54		50.9		49.8		51.1		51		51.1		55.8		50		50.1		46.9		46.7		47.7		47.9

		(2025/11/26 23:42:02.00)		46.9		55.6				52.4		50.7		52.7		51.2		50.6		50.3		49.1		51.7		50		55.2		50.1		49.5		46.5		46.9		47.2		44.5

		(2025/11/26 23:45:02.00)		47.3		57.1

		(2025/11/26 23:48:02.00)		45.5		54.6				44.5		46.1		43		45.6		35.5		38.9		44.4		47

		(2025/11/26 23:51:02.00)		45.8		53.5				46.5		45.6		44.3		41.5		39.7		36.8		43		45.9

		(2025/11/26 23:54:03.00)		47.9		57.7				46		46.5		47.5		35.3		39.7		39.6		42.3		43.7

		(2025/11/26 23:57:02.00)		45.8		53.6				45.8		47.1		45.8		38		38.9		33		47.2		44.5

		(2025/11/27 00:00:03.00)		46.1		56.7				47.7		45.3		45.5		38.5		45		36.7		44.5		42.7

		(2025/11/27 00:03:02.00)		45.6		54.2				46.9		46.1		42.4		47.9		41.2		39.2		41.5		44

		(2025/11/27 00:06:02.00)		46.5		57				47.3		47.5		42.4		40.1		38.1		43.9		42		45.6

		(2025/11/27 00:09:02.00)		47.1		56.8				47.6		46.7		41.4		40.3		39.6		41.5		41.8		46.9

		(2025/11/27 00:12:02.00)		45.3		56.1				48.1		43.7		42.8		45.6		44.6		35.7		45.6		47.8

		(2025/11/27 00:15:02.00)		46.1		56.5				42		43.7		42.7		37.2		38.8		45.6		48.6		48.5

		(2025/11/27 00:18:02.00)		47.5		55.1				46.3		46.5		43.6		42.8		32.1		40.2		49.6		49.6

		(2025/11/27 00:21:02.00)		46.7		53.5				44		43.2		45.8		40.7		40.3		45.5		46.6		50.1

		(2025/11/27 00:24:02.00)		43.7		52.4				44.6		43.6		43.4		44.2		35.3		43.1		46		47.5

		(2025/11/27 00:27:02.00)		43.7		57				46.2		42.9		43.1		40.7		32.9		43.3		45.1		48

		(2025/11/27 00:30:02.00)		46.5		58.7				46.9		43.1		43.7		43.1		38.1		44.4		43.1		48.4

		(2025/11/27 00:33:02.00)		43.2		59.5				47.3		46.8		40.7		43.7		37.3		45		46.1		48.7

		(2025/11/27 00:36:02.00)		43.6		55.6				45.5		43.8		39.7		44.4		39.1		41.2		47.3		48.4

		(2025/11/27 00:39:02.00)		42.9		57.7				45.8		42.7		44.9		40.4		39.8		40.5		45.4		49.9

		(2025/11/27 00:42:02.00)		43.1		56.3				47.9		39.6		42.1		41.2		44.8		41.1		43		49.9

		(2025/11/27 00:45:02.00)		46.8		58.2				45.8		43.2		45.7		42.3		39.6		40.1		44.5		52.9

		(2025/11/27 00:48:02.00)		43.8		58.9

		(2025/11/27 00:51:02.00)		42.7		57.3

		(2025/11/27 00:54:02.00)		39.6		55.5

		(2025/11/27 00:57:02.00)		43.2		60.6

		(2025/11/27 01:00:02.00)		43		58.7

		(2025/11/27 01:03:02.00)		44.3		59.1

		(2025/11/27 01:06:02.00)		47.5		61.6

		(2025/11/27 01:09:02.00)		45.8		58

		(2025/11/27 01:12:02.00)		45.5		58.7

		(2025/11/27 01:15:02.00)		42.4		56.8

		(2025/11/27 01:18:02.00)		42.4		57.7

		(2025/11/27 01:21:02.00)		41.4		56.8

		(2025/11/27 01:24:02.00)		42.8		56.7

		(2025/11/27 01:27:02.00)		42.7		66.3

		(2025/11/27 01:30:02.00)		43.6		58.8

		(2025/11/27 01:33:02.00)		45.8		62

		(2025/11/27 01:36:02.00)		43.4		55.9

		(2025/11/27 01:39:02.00)		43.1		63.1

		(2025/11/27 01:42:02.00)		43.7		62.3

		(2025/11/27 01:45:02.00)		40.7		58.6

		(2025/11/27 01:48:02.00)		39.7		54.8

		(2025/11/27 01:51:02.00)		44.9		62.9

		(2025/11/27 01:54:02.00)		42.1		60.5

		(2025/11/27 01:57:02.00)		45.7		59.2

		(2025/11/27 02:00:02.00)		45.6		57.4

		(2025/11/27 02:03:02.00)		41.5		56.1

		(2025/11/27 02:06:02.00)		35.3		54.9

		(2025/11/27 02:09:02.00)		38		51

		(2025/11/27 02:12:02.00)		38.5		55.3

		(2025/11/27 02:15:02.00)		47.9		65

		(2025/11/27 02:18:02.00)		40.1		59.2

		(2025/11/27 02:21:02.00)		40.3		46.7

		(2025/11/27 02:24:02.00)		45.6		57.7

		(2025/11/27 02:27:02.00)		37.2		48.9

		(2025/11/27 02:30:02.00)		42.8		61

		(2025/11/27 02:33:02.00)		40.7		56.7

		(2025/11/27 02:36:02.00)		44.2		59.4

		(2025/11/27 02:39:02.00)		40.7		62.4

		(2025/11/27 02:42:02.00)		43.1		59.9

		(2025/11/27 02:45:02.00)		43.7		56.2

		(2025/11/27 02:48:02.00)		44.4		55

		(2025/11/27 02:51:02.00)		40.4		57.3

		(2025/11/27 02:54:02.00)		41.2		57.4

		(2025/11/27 02:57:02.00)		42.3		60.4

		(2025/11/27 03:00:02.00)		35.5		50.5

		(2025/11/27 03:03:02.00)		39.7		58.5

		(2025/11/27 03:06:02.00)		39.7		57.9

		(2025/11/27 03:09:02.00)		38.9		56.5

		(2025/11/27 03:12:02.00)		45		57.4

		(2025/11/27 03:15:02.00)		41.2		54.3

		(2025/11/27 03:18:02.00)		38.1		55.6

		(2025/11/27 03:21:02.00)		39.6		51.3

		(2025/11/27 03:24:02.00)		44.6		52.1

		(2025/11/27 03:27:02.00)		38.8		51.4

		(2025/11/27 03:30:02.00)		32.1		48.6

		(2025/11/27 03:33:02.00)		40.3		58.6

		(2025/11/27 03:36:02.00)		35.3		45.6

		(2025/11/27 03:39:02.00)		32.9		47.4

		(2025/11/27 03:42:02.00)		38.1		46.2

		(2025/11/27 03:45:02.00)		37.3		47.9

		(2025/11/27 03:48:02.00)		39.1		55.5

		(2025/11/27 03:51:02.00)		39.8		52.1

		(2025/11/27 03:54:02.00)		44.8		50.4

		(2025/11/27 03:57:02.00)		39.6		50.5

		(2025/11/27 04:00:02.00)		38.9		51.3

		(2025/11/27 04:03:02.00)		36.8		51.1

		(2025/11/27 04:06:02.00)		39.6		53.4

		(2025/11/27 04:09:02.00)		33		48.2

		(2025/11/27 04:12:02.00)		36.7		44.4

		(2025/11/27 04:15:02.00)		39.2		51.3

		(2025/11/27 04:18:02.00)		43.9		56.1

		(2025/11/27 04:21:02.00)		41.5		47.4

		(2025/11/27 04:24:02.00)		35.7		47

		(2025/11/27 04:27:02.00)		45.6		57.1

		(2025/11/27 04:30:02.00)		40.2		57.2

		(2025/11/27 04:33:02.00)		45.5		63.5

		(2025/11/27 04:36:02.00)		43.1		56

		(2025/11/27 04:39:02.00)		43.3		56.2

		(2025/11/27 04:42:02.00)		44.4		55.7

		(2025/11/27 04:45:02.00)		45		51.8

		(2025/11/27 04:48:02.00)		41.2		59

		(2025/11/27 04:51:02.00)		40.5		48.5

		(2025/11/27 04:54:02.00)		41.1		52

		(2025/11/27 04:57:02.00)		40.1		53.4

		(2025/11/27 05:00:02.00)		44.4		55

		(2025/11/27 05:03:02.00)		43		56.3

		(2025/11/27 05:06:02.00)		42.3		56.9

		(2025/11/27 05:09:02.00)		47.2		53.6

		(2025/11/27 05:12:02.00)		44.5		57.1

		(2025/11/27 05:15:02.00)		41.5		54.5

		(2025/11/27 05:18:02.00)		42		56.3

		(2025/11/27 05:21:02.00)		41.8		60.9

		(2025/11/27 05:24:02.00)		45.6		60.4

		(2025/11/27 05:27:02.00)		48.6		59.2

		(2025/11/27 05:30:02.00)		49.6		60.7

		(2025/11/27 05:33:02.00)		46.6		57.1

		(2025/11/27 05:36:02.00)		46		53.3

		(2025/11/27 05:39:02.00)		45.1		53.7

		(2025/11/27 05:42:02.00)		43.1		54

		(2025/11/27 05:45:02.00)		46.1		54.7

		(2025/11/27 05:48:02.00)		47.3		57.8

		(2025/11/27 05:51:02.00)		45.4		52.5

		(2025/11/27 05:54:02.00)		43		52.7

		(2025/11/27 05:57:02.00)		44.5		53.2

		(2025/11/27 06:00:02.00)		47		53.4

		(2025/11/27 06:03:02.00)		45.9		55.9

		(2025/11/27 06:06:02.00)		43.7		54

		(2025/11/27 06:09:02.00)		44.5		54.2

		(2025/11/27 06:12:02.00)		42.7		51.5

		(2025/11/27 06:15:02.00)		44		54.3

		(2025/11/27 06:18:02.00)		45.6		53.8

		(2025/11/27 06:21:02.00)		46.9		54.5

		(2025/11/27 06:24:02.00)		47.8		53.3

		(2025/11/27 06:27:02.00)		48.5		55.7

		(2025/11/27 06:30:02.00)		49.6		63.2

		(2025/11/27 06:33:02.00)		50.1		63.6

		(2025/11/27 06:36:02.00)		47.5		55.1

		(2025/11/27 06:39:02.00)		48		55.2

		(2025/11/27 06:42:02.00)		48.4		54.8

		(2025/11/27 06:45:02.00)		48.7		54.6

		(2025/11/27 06:48:02.00)		48.4		61.4

		(2025/11/27 06:51:02.00)		49.9		59.7

		(2025/11/27 06:54:02.00)		49.9		62.1

		(2025/11/27 06:57:02.00)		52.9		67.9

		(2025/11/27 07:00:02.00)		57.5		70.2

		(2025/11/27 07:03:02.00)		50.9		63.2

		(2025/11/27 07:06:02.00)		47.7		56.4

		(2025/11/27 07:09:02.00)		48		54.7

		(2025/11/27 07:12:02.00)		48.5		55

		(2025/11/27 07:15:02.00)		50.6		57.2

		(2025/11/27 07:18:02.00)		49.4		65.6

		(2025/11/27 07:21:02.00)		49.9		54.3

		(2025/11/27 07:24:02.00)		51.6		70

		(2025/11/27 07:27:02.00)		50.2		60

		(2025/11/27 07:30:02.00)		50.9		62.8

		(2025/11/27 07:33:02.00)		51.8		63.7

		(2025/11/27 07:36:02.00)		51		59.8

		(2025/11/27 07:39:02.00)		51.9		60.4

		(2025/11/27 07:42:02.00)		51.3		60

		(2025/11/27 07:45:02.00)		51.2		58.9

		(2025/11/27 07:48:02.00)		50.7		60.2

		(2025/11/27 07:51:02.00)		49.9		54.5

		(2025/11/27 07:54:02.00)		52.9		65.4

		(2025/11/27 07:57:02.00)		52.4		62.4

		(2025/11/27 08:00:02.00)		52.6		59.5

		(2025/11/27 08:03:02.00)		52.2		64.8

		(2025/11/27 08:06:02.00)		51.7		61.1

		(2025/11/27 08:09:02.00)		53.9		64.1

		(2025/11/27 08:12:03.00)		51.5		63.1

		(2025/11/27 08:15:02.00)		59		74.1

		(2025/11/27 08:18:02.00)		59.3		71.6

		(2025/11/27 08:21:02.00)		52.8		63.6

		(2025/11/27 08:24:02.00)		52.8		64.3

		(2025/11/27 08:27:02.00)		53		63.3

		(2025/11/27 08:30:02.00)		51.8		63.3

		(2025/11/27 08:33:02.00)		53.8		65.3

		(2025/11/27 08:36:02.00)		51.4		63.9

		(2025/11/27 08:39:02.00)		50.6		61.6

		(2025/11/27 08:42:02.00)		52.5		63.6

		(2025/11/27 08:45:02.00)		51.2		60.8

		(2025/11/27 08:48:02.00)		50.6		58.6

		(2025/11/27 08:51:02.00)		52.7		62.7

		(2025/11/27 08:54:02.00)		51.3		59.5

		(2025/11/27 08:57:02.00)		50.7		62.2

		(2025/11/27 09:00:02.00)		50.4		55.3

		(2025/11/27 09:03:02.00)		50.9		56.9

		(2025/11/27 09:06:02.00)		54.6		68.2

		(2025/11/27 09:09:02.00)		52.3		61.7

		(2025/11/27 09:12:02.00)		51.5		61.7

		(2025/11/27 09:15:02.00)		50.8		58.9

		(2025/11/27 09:18:02.00)		51.8		63.2

		(2025/11/27 09:21:02.00)		51.1		58.7

		(2025/11/27 09:24:02.00)		51.6		61.1

		(2025/11/27 09:27:02.00)		51.6		61.2

		(2025/11/27 09:30:02.00)		50		61.2

		(2025/11/27 09:33:02.00)		50.4		61.2

		(2025/11/27 09:36:02.00)		52.4		63.8

		(2025/11/27 09:39:02.00)		50.7		58.1

		(2025/11/27 09:42:02.00)		53.9		67.2

		(2025/11/27 09:45:03.00)		52.4		61.2

		(2025/11/27 09:48:02.00)		52.4		62.9

		(2025/11/27 09:51:02.00)		51.5		61.1

		(2025/11/27 09:54:02.00)		52.3		59.9

		(2025/11/27 09:57:02.00)		52.7		62.4

		(2025/11/27 10:00:02.00)		58		70.5

		(2025/11/27 10:03:02.00)		55.3		68.9

		(2025/11/27 10:06:02.00)		52.9		62.3

		(2025/11/27 10:09:02.00)		53.6		65.3

		(2025/11/27 10:12:02.00)		52.7		61.6

		(2025/11/27 10:15:02.00)		61.2		73

		(2025/11/27 10:18:02.00)		61.6		75.3

		(2025/11/27 10:21:02.00)		51.8		59.7

		(2025/11/27 10:24:02.00)		52.2		63.1





Sheet1

		



LAeq

LAmax

Time Intervas - 3minute

dB

A graph showing the LAeq & LAmax 3minute values in ML 2 - Rear Façade




