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	For Applicant: 
Mr A Ward



The Town and Country Planning Act 1990
Notification of Decision

[bookmark: _Hlk200381508]Application Number: APP/26/00141
Site Address: Trevanion, 1 Beach Road, Emsworth, PO10 7JS
Proposal: Discharge of condition 1 of Planning Permission APP/25/00359

Havant Borough Council as Local Planning Authority has made the following
decision relating to your request to discharge condition(s):

	 
Condition(s):

	1
	Within 2 months of the date of this permission, the existing screening shall be upgraded in accordance with the recommended specification detailed in the Sound Advice Acoustics Report (Ref: SA-8074).
A post-completion noise validation survey shall also be undertaken by a suitably qualified acoustic consultant and submitted to the Local Planning Authority for approval within 2 months of the date of this permission. The survey shall:
· Confirm that the plant installed corresponds to the models and sound power levels detailed in the Sound Advice Acoustics Report (Ref: SA-8074).
· Verify that the acoustic screen has been installed to the recommended specification, including:
· Minimum height of 1.6 metres,
· Minimum surface mass of 14 kg/m²,
· Continuous construction with no gaps and sealed to the floor.
· Demonstrate that the rating level of noise from the plant at the nearest noise-sensitive receptor does not exceed 37 dB LAr,Tr, as predicted in the report.
Where the survey identifies that the rating level exceeds 37 dB or that the installed mitigation does not meet the required specification, further mitigation measures shall be agreed with the Local Planning Authority and further implemented on site to an agreed timetable, and further verified to achieve compliance before continued operation of the plant.
The final mitigation measures shall thereafter be maintained on site to the satisfaction of the Local Planning Authority for the duration of the life of the equipment. 
Reason: To secure appropriate noise mitigation to ensure the development does not result in any adverse impact on neighbouring amenity, having due regard to policies CS16 and DM10 of the Havant Borough Local Plan (Core Strategy) 2011 and the National planning Policy Framework. 

Details Submitted
Sustainable Acoustics – Technical Memorandum dated 27 February 2026 Ref 26-0031-0 TM01 Report AOPR Issue 1
	Fully Discharged
	25/03/2026

	
Fully Discharged : The details hereby approved are considered to be in accordance with the relevant adopted policies of the Council, in particular the policies contained within the Havant Borough Local Plan (Core Strategy) 2011.

	






Other Important Information:

	1. 
	This notice only relates to the decision of Havant Borough Council as Local Planning Authority under the Town and Country Planning Acts.  It does not relate to any other application that may be required under the Building Regulations or under any other Act, Regulation, Byelaw or Order where the Council's approval may be needed.  For further guidance as to the need for consent under the Building Regulations please phone 023 9244 6571.


	2. 
	Any failure to adhere to the details of the approved plans, and other documents or to comply with any conditions listed above may lead to enforcement action being taken by the Council.  If you wish to depart from the approved details or conditions in any way, you should contact the Planning and Development service at the Plaza or by telephoning 023 9244 6015.





	
	Steve Weaver﻿
Steve Weaver
Development Manager

Havant Borough Council
25 March 2026
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