| Mr Aharon Horwich 67 Windsor Road, Manchester, United Kingdom, M25 0DB. | For Applicant: BH Deals |
| --- | --- |

The Town and Country Planning Act 1990

Notification of Decision

Application Number: APP/25/00990

Site Address: 21 Mengham Road, Hayling Island, PO11 9BG

Proposal: Discharge of Conditions 2, 3 and 4 of Planning Permission APP/24/00618.

Havant Borough Council as Local Planning Authority has made the following

decision relating to your request to discharge condition(s):

Condition(s): 2; Prior to the commencement of development hereby approved, the existing water supply shall be tested for a comprehensive chemical suite in accordance with UKWIR Guidance (Report Ref: 10/WM/03/21) and the test results submitted for approval by the LPA. Where it appears that the potable supply might be affected by a significant contaminant, a scheme of mitigation and remedial work must also be submitted, demonstrating how it will be ensured that that the water supply will be made & demonstrated to be wholesome within the meaning of SI 2016/614 Regulation 4. Any mitigation and remedial scheme agreed in accordance with this condition must then be implemented in full, prior to the first occupation of the hereby approved residential flats, to the satisfaction of the Local Planning Authority. Reason: Contaminants may be present at the site as a result of previous land uses (&/or activities) on adjacent land, which could be capable of penetrating potable supply pipework and affecting the quality of supply to the detriment of the health of future occupants. In line with the objectives of policy DM10 of the Havant Borough Local Plan (Core Strategy) 2011, DM17 and DM18 of the Havant Borough Local Plan (Allocations) 2014, and paragraphs 189-191 of the National Planning Policy Framework 2023, to ensure that neither the development nor it's future occupants are placed at unacceptable risk from soil contamination. Details Submitted Chemical Suite Water Test documents by Eurofins AR-26-TO-020261-01; Fully Discharged; 09/04/2026. Fully Discharged : The details hereby approved are considered to be in accordance with the relevant adopted policies of the Council, in particular the policies contained within the Havant Borough Local Plan (Core Strategy) 2011..

Other Important Information:

|  | This notice only relates to the decision of Havant Borough Council as Local Planning Authority under the Town and Country Planning Acts. It does not relate to any other application that may be required under the Building Regulations or under any other Act, Regulation, Byelaw or Order where the Council's approval may be needed. For further guidance as to the need for consent under the Building Regulations please phone 023 9244 6571. |
| --- | --- |
|  | Any failure to adhere to the details of the approved plans, and other documents or to comply with any conditions listed above may lead to enforcement action being taken by the Council. If you wish to depart from the approved details or conditions in any way, you should contact the Planning and Development service at the Plaza or by telephoning 023 9244 6015. |

|  | Paul Barton﻿ Paul Barton Interim Head of Planning Havant Borough Council 09 April 2026 |
| --- | --- |