Havant Borough Council

Date – 20/5/2026

Officer – Rachael McMurray, Principal Heritage Officer

Application – APP/26/00200

Site Address – 39 Havant Road, Emsworth

Proposal:

Listed Building Consent for proposed replacement of failing internal wooden beam, to steel beam with oak cladding, including insulation above.

Heritage Consultation Response

Site / Location

The site lies on Havant Road in Emsworth. It forms one of a pair of large, semi-detached dwellings, both of which are Grade II listed.

Legislation

When assessing the proposal, the following legislation and policy context is taken in consideration.

Planning (Listed Building and Conservation Areas) Act 1990

Section 16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 ("1990 Act") requires local planning authorities to have special regard to the desirability of preserving a listed building, its setting or any features of special architectural or historic interest when considering whether to grant listed building consent.

National Planning Policy Framework (revised December 2024)

Chapter 16 of the NPPF relates to the Historic Environment including paragraphs 202-221. The following paragraphs are most relevant to the determination of this application:

Para 212 states that:

‘When considering the impact of a proposed development on the significance of a designated heritage asset, great weight should be given to the asset’s conservation (and the more important the asset, the greater the weight should be). This is irrespective of whether any potential harm amounts to substantial harm, total loss or less than substantial harm to its significance’.

Para 214 states that:

‘Where a development will result in substantial harm to, or total loss of, the significance of a designated heritage asset, permission should be refused, unless this harm is necessary to achieve substantial public benefits, or a number of criteria are met. Where less than substantial harm is identified paragraph 208 requires this harm to be weighed against the public benefits of the proposed development

Para 215 states that:

‘Where a development proposal will lead to less than substantial harm to the significance of a designated heritage asset, this harm should be weighed against the public benefits of the proposal including, where appropriate, securing its optimum viable use’.

Havant Borough Local Plan (Core Strategy 2011 and Allocations Plan 2014)

Policy CS11 – Protecting and Enhancing the Special Environment and Heritage of the Havant Borough

Policy CS11 (4) states that planning permission will be granted for development which:

‘Protects and where appropriate enhances the borough’s statutory and non-statutory heritage designations by appropriately managing development in or adjacent to conservation areas, listed buildings, scheduled ancient monuments, historic parks and gardens, archaeological sites, buildings of local historic or architectural interest’.

Policy CS16 – High Quality Design

Policy CP16 (1a) of the Core Strategy states that:

‘Planning permission will be granted for development that is designed to a high standard, which helps to create places where people want to live, work and relax. All development should demonstrate that its design:

- Identifies and responds positively to existing features of natural, historic or local character within or close to the proposed development site’.

- Integrates with existing local landscape features, promotes wildlife and biodiversity and/or applies characteristics of the local area into the design of a scheme wherever possible to create variety and interest;

- Uses the characteristics of the locality to help inform the design of the new development including heights, massing, existing buildings lines, plot widths and depths, materials and proportions of windows and doors;

- Is well connected to and integrates with the immediate local area and the wider area by linking to existing pedestrian and cycle routes and encouraging people to use public transport where possible; and

- The development does not cause unacceptable harm to the amenity of neighbours through smell, the loss of privacy, outlook, noise and overlooking.

Policy DM20 (Allocations Plan) - Historic Assets

Policy DM20 states that;

‘Planning permission will be granted for development proposals that conserves and enhances the historic assets of Havant. It also states that application which affect, or have the potential to affect, heritage assets are expected to provide a Heritage Statement that:

1. Describe the significance of the asset and its setting, using appropriate expertise and where necessary original survey, at a level of detail proportionate to its significance and sufficient to understand the potential impact of the proposal.

2. Sets out the impact of the development on the heritage assets and mitigation that is proportionate to the impact and the significance of the heritage asset, including where possible positive opportunities to conserve and enjoy heritage assets.

Emsworth Neighbourhood Plan

- Heritage policies

Assessment

The application seeks Listed Building Consent for the replacement of an internal loadbearing timber beam within the south-east corner of the building, together with associated repair works. The submitted Heritage Statement explains that the existing beam has deteriorated due to water ingress, resulting in rot, and therefore requires replacement to ensure the continued structural stability of the building. This is justified with a structural survey and a thermal imaging report.

Hearnesbrook is a Grade II listed building dating from the early nineteenth century, forming part of a symmetrical pair of houses of circa 1805. The building is of clear architectural and historic interest, retaining characteristic features including its rendered elevations, classical detailing and internal plan form. The list description identifies a high level of survival of historic fabric, particularly internally. However, the affected area lies within a later extension dating from around 1900, which is of comparatively lesser significance than the original core of the building.

In considering the impact of the proposals, it is noted that the works are confined to internal fabric and will not affect the external appearance of the building. The replacement of the beam arises from structural necessity following decay and therefore constitutes a repair-led intervention. Given that the existing timber is no longer sound, its replacement is considered to be justified in principle in order to secure the long-term conservation of the building.

It is proposed that the beam is replaced with steel rather than like for like timber. The reason for this is that a like for like timber beam in terms of size, would not meet current structural standards and would need to be much larger to meet current standards. This would appear visually overbearing within the room it is located, which is a home office with decorative wooden cladding on the wall. The building is not a timber framed building and therefore this beam does not form part of a wider wooden framed structure. Therefore, its loss and replacement with a stronger steel beam would have very limited harm. Furthermore, if the replacement beam to be boxed in, plastered and painted to match the ceiling, then it the resultant appearance would not result in harm to the interior of the building.

Overall, the proposals are considered to be appropriate and proportionate. The replacement of the deteriorated structural element is necessary to ensure the continued viability of the building, and the associated repairs will have a positive effect. The works will preserve the character and appearance of the listed building and accord with the relevant statutory duty and NPPF and development plan policies.

Conclusion

NO OBJECTION subject to the following condition:

No works shall commence on the installation of the replacement structural beam hereby approved until full details of the proposed steel beam and its enclosure have been submitted to and approved in writing by the Local Planning Authority.

The details shall include:

- the size and specification of the steel beam;

- details of how the beam will be encased or boxed-in, including materials, profile and finish;

- junction details showing how the beam enclosure will relate to adjoining walls, ceilings and any historic fabric;

- details of any associated making good; and

- measures to ensure the protection and retention of adjacent historic fabric during the works.

The works shall thereafter be carried out in full accordance with the approved details.

Reason: To ensure that the introduction of a modern structural element is appropriately detailed and integrated so as to preserve the special architectural and historic interest of the listed building, in accordance with Section 66(1) of the Planning (Listed Buildings and Conservation Areas) Act 1990.