Havant Borough Council

Date – 13/8/2026

Officer – Rachael McMurray, Principal Heritage Officer

Application – APP/26/00440

Site Address – Bosemere Junior School, South Street, Havant

Heritage Consultation Response

Proposal

Application for Listed Building Consent for:

- -Installation of 2No. new internal high-level, wall mounted heat pump units below the internal windows complete with refrigeration, condensate drain and wiring enclosed in the white PVC trunking below running below the units.

- -Installation of 5No. internal high-level, electric destratification fans within the assembly hall, mounted to the sides of the two structural timber beams supporting the roof.

- -Creation of 2No. new high level holes in the east wall of the assembly hall, 50x50mm, to accommodate a new high-level refrigeration pipework and all associated wiring from the external condensing unit.

- -Installation of a new low-level, wall mounted external heat pump unit adjacent to the existing units, located on the external elevation facing service path and not visible from the road.

- -Addition of solar filming to South West facing wall of the school hall.

Heritage Assets Affected

The application relates to Bosmere Junior School which was constructed in the 1980’s and is located in South Street. The school is Grade II listed due to its architectural and historical significance and was designed by Sir Colin Stansfield Smith. The significance is set out in detail in the accompanying Hertiage Statement submitted with the application.

The site is also within the St Faiths Conservation Area however, the boundary for this is under review and if adopted, the site would no longer be within the conservation area. This is because the school site is clearly separated from the wider conservation area and also benefits from its own protection as a statutory listed building.

Legislation

When assessing the proposal, the following legislation and policy context is taken in consideration.

Planning (Listed Building and Conservation Areas) Act 1990

Regard must be had for Section 16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 ("1990 Act") which requires local planning authorities to have special regard to the desirability of preserving a listed building, its setting or any features of special architectural or historic interest when considering whether to grant listed building consent.

Regard must also be had under Section 72 of the Planning (Listed Buildings and Conservation Areas) Act 1990  which requires planning authorities, when considering whether to grant planning permission for development which affects a Conservation Area, to have special regard to the desirability of preserving or enhancing the character and appearance of that area.

National Planning Policy Framework (revised December 2024)

Relevant policy considerations also include Section 16 of the National Planning Policy Framework (2024), particularly paragraphs 212, 213, 215 and 216, alongside Policies CS11.4 and CS16 of the Havant Borough Core Strategy and Policy DM20 of the Havant Borough Allocations Plan.

Assessment

Significance

The application site comprises a Grade II listed school, constructed in the 1980s and designed by Sir Colin Stansfield Smith. The building is also currently located within the St Faiths Conservation Area.

Impact of the proposal

The proposal has been subject to detailed pre-app discussions with the applicant. The proposal relates to a number of small-scale changes as listed above, which aim to address the ventilation of the interior spaces, mainly the hall, which suffers from significant overheating. The hall and school in general are characterised by internally visible ventilation and service pipes which form part of its historic fabric.

Overall, it is deemed that the proposals would not result in harm to the architectural significance of this unique building and will increase its future longevity by improving its useability. Due to the nature of the works, no harm will arise to the St Faiths Conservation Area.

Conclusion

The proposal would preserve the significance of the Grade II listed building and the St Faiths CA, being in accordance with the duty under Sections 16 and 72 of the Planning (Listed Buildings and Conservation Areas) Act 1990.

The proposal is consistent with the aims of the NPPF in conserving heritage assets, and with Policies CS11, CS16 and DM20 of the Havant Borough Local Plan.

NO OBJECTION

NB – No conditions other than the standard time limit one are suggested as the necessary information has been provided within the application pack.